## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1972.3456 | 1904.9239 | 1872.7713 | 1819.6857 | 1817.0335 | 1842.1471 | 1747.5005 | -- | -- | --
Post Opto-pack Burn-in |  | 1826.9683 | 1807.1946 | 1761.9248 | 1748.8548 | 1723.2194 | 1704.8218 | 1674.7589 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1434.611 | 1223.0285 | 1414.3663 | 1196.3265 | 1302.9765 | 1196.3268 | 1368.9811 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1373.223 | 1070.7895 | 1286.2008 | 1173.2476 | 1273.2923 | 1212.3888 | 1347.554 | -- | -- | --
Change (%) |  | -4.2791 | -12.4477 | -9.0617 | -1.9291 | -2.2782 | 1.3426 | -1.5652 | -- | -- | --
Opto-board at 0C |  | 1471.9254 | 1146.3938 | 1383.5698 | 1246.5085 | 1411.4476 | 1332.7835 | 1472.188 | -- | -- | --
Change (%) |  | 2.601 | -6.266 | -2.1774 | 4.1947 | 8.3249 | 11.4063 | 7.539 | -- | -- | --
Opto-board at 50C |  | 1279.8015 | 1015.1331 | 1236.2265 | 1111.7009 | 1232.133 | 1181.0907 | 1262.8509 | -- | -- | --
Change (%) |  | -10.791 | -16.9984 | -12.595 | -7.0738 | -5.437 | -1.2736 | -7.7525 | -- | -- | --
Opto-board QA (10C) |  | 1474.15 | 1133.8728 | 1368.1015 | 1236.058 | 1400.0984 | 1312.9169 | 1466.0646 | -- | -- | --
Change (%) |  | 2.7561 | -7.2898 | -3.2711 | 3.3211 | 7.4538 | 9.7457 | 7.0917 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2108.3847 | 2055.7431 | 2013.0701 | 1960.304 | 2037.3616 | 2052.4492 | 2024.0471 | -- | -- | --
Post Opto-pack Burn-in |  | 1939.406 | 1934.1996 | 1944.6592 | 1873.2259 | 1944.5794 | 1965.3709 | 1954.0527 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1442.7976 | 1489.4714 | 1419.2705 | 1474.2875 | 1403.3666 | 1583.0915 | 1624.8671 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1313.8863 | 1380.7616 | 1391.5389 | 1278.9946 | 1255.4377 | 1417.1576 | 1461.7688 | -- | -- | --
Change (%) |  | -8.9348 | -7.2985 | -1.9539 | -13.2466 | -10.541 | -10.4816 | -10.0376 | -- | -- | --
Opto-board at 0C |  | 1519.1908 | 1360.6566 | 1439.1685 | 1441.5902 | 1375.846 | 1516.3311 | 1524.5424 | -- | -- | --
Change (%) |  | 5.2948 | -8.6484 | 1.402 | -2.2178 | -1.961 | -4.2171 | -6.1743 | -- | -- | --
Opto-board at 50C |  | 1380.8791 | 1219.6895 | 1269.3701 | 1205.8298 | 1247.3978 | 1328.2658 | 1351.4701 | -- | -- | --
Change (%) |  | -4.2916 | -18.1126 | -10.5618 | -18.2093 | -11.1139 | -16.0967 | -16.8258 | -- | -- | --
Opto-board QA (10C) |  | 1467.4118 | 1356.7786 | 1502.3637 | 1447.4959 | 1292.0562 | 1622.9036 | 1563.7323 | -- | -- | --
Change (%) |  | 1.706 | -8.9087 | 5.8546 | -1.8173 | -7.9317 | 2.5148 | -3.7624 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 358.0322 |  |  |  | 2021-02-11 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 343.5059 |  |  |  | 2021-02-11 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.67995 |  | 2021-02-11 |  |  |  | Pass
QA | uA | 1 | 0.6362 |  | 2021-02-11 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.4155 | 0.25551 | 0.53325 | 0.31223 | 0.64903 | 0.51615 | 0.41194 | 0.34698 | 0.67891 | 0.46056 | 0.5654 | 0.48987 | 0.41561 | 0.39826 |  |  | Pass
Fall | ns | 1 | 0.47095 | 0.65458 | 0.57367 | 0.80133 | 0.64292 | 0.46212 | 0.40423 | 0.48846 | 0.60555 | 0.45412 | 0.61114 | 0.45939 | 0.41548 | 0.47232 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):02/11/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.50463; Date (DD/MM/YY):02/11/2021 2: 0.51799; Date (DD/MM/YY):02/11/2021 3: 0.5399; Date (DD/MM/YY):02/11/2021 4: 0.55677; Date (DD/MM/YY):02/11/2021 5: 0.5781; Date (DD/MM/YY):02/11/2021 6: 0.57589; Initial: 7: 0.58006 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.49524; Date (DD/MM/YY):02/11/2021 2: 0.51412; Date (DD/MM/YY):02/11/2021 3: 0.53159; Date (DD/MM/YY):02/11/2021 4: 0.52972; Date (DD/MM/YY):02/11/2021 5: 0.56486; Date (DD/MM/YY):02/11/2021 6: 0.56898; Initial: 7: 0.58793 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.64204; Date (DD/MM/YY):02/11/2021 2: 0.6926; Date (DD/MM/YY):02/11/2021 3: 0.65751; Date (DD/MM/YY):02/11/2021 4: 0.63988; Date (DD/MM/YY):02/11/2021 5: 0.69347; Date (DD/MM/YY):02/11/2021 6: 0.66719; Initial: 7: 0.67139 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.63728; Date (DD/MM/YY):02/11/2021 2: 0.62229; Date (DD/MM/YY):02/11/2021 3: 0.66416; Date (DD/MM/YY):02/11/2021 4: 0.6488; Date (DD/MM/YY):02/11/2021 5: 0.62748; Date (DD/MM/YY):02/11/2021 6: 0.65998; Initial: 7: 0.68138 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.07344; Date (DD/MM/YY):02/11/2021 2: 0.08471; Date (DD/MM/YY):02/11/2021 3: 0.1401; Date (DD/MM/YY):02/11/2021 4: 0.15824; Date (DD/MM/YY):02/11/2021 5: 0.06618; Date (DD/MM/YY):02/11/2021 6: 0.24216; Initial: 7: 0.05552 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.06328; Date (DD/MM/YY):02/11/2021 2: 0.07857; Date (DD/MM/YY):02/11/2021 3: 0.11118; Date (DD/MM/YY):02/11/2021 4: 0.1546; Date (DD/MM/YY):02/11/2021 5: 0.06104; Date (DD/MM/YY):02/11/2021 6: 0.23107; Initial: 7: 0.05028 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 12.073; Date (DD/MM/YY):02/11/2021 2: 12.452; Date (DD/MM/YY):02/11/2021 3: 12.29; Date (DD/MM/YY):02/11/2021 4: 13.01; Date (DD/MM/YY):02/11/2021 5: 12.475; Date (DD/MM/YY):02/11/2021 6: 11.851; Initial: 7: 12.648
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 12.008; Date (DD/MM/YY):02/11/2021 2: 12.426; Date (DD/MM/YY):02/11/2021 3: 12.239; Date (DD/MM/YY):02/11/2021 4: 12.958; Date (DD/MM/YY):02/11/2021 5: 12.378; Date (DD/MM/YY):02/11/2021 6: 11.828; Initial: 7: 12.633
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 11.535; Date (DD/MM/YY):02/11/2021 2: 12; Date (DD/MM/YY):02/11/2021 3: 11.603; Date (DD/MM/YY):02/11/2021 4: 12.299; Date (DD/MM/YY):02/11/2021 5: 11.971; Date (DD/MM/YY):02/11/2021 6: 11.048; Initial: 7: 12.272
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 11.594; Date (DD/MM/YY):02/11/2021 2: 11.957; Date (DD/MM/YY):02/11/2021 3: 11.684; Date (DD/MM/YY):02/11/2021 4: 12.346; Date (DD/MM/YY):02/11/2021 5: 11.976; Date (DD/MM/YY):02/11/2021 6: 11.123; Initial: 7: 12.312
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 11.8062; Date (DD/MM/YY):02/11/2021 2: 12.2271; Date (DD/MM/YY):02/11/2021 3: 11.9616; Date (DD/MM/YY):02/11/2021 4: 12.6498; Date (DD/MM/YY):02/11/2021 5: 12.2234; Date (DD/MM/YY):02/11/2021 6: 11.4651; Initial: 7: 12.4684
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 11.7967; Date (DD/MM/YY):02/11/2021 2: 12.2082; Date (DD/MM/YY):02/11/2021 3: 11.9574; Date (DD/MM/YY):02/11/2021 4: 12.6409; Date (DD/MM/YY):02/11/2021 5: 12.2181; Date (DD/MM/YY):02/11/2021 6: 11.4746; Initial: 7: 12.4733
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):02/11/2021 1: 47.1841; Date (DD/MM/YY):02/11/2021 2: 48.9008; Date (DD/MM/YY):02/11/2021 3: 47.8454; Date (DD/MM/YY):02/11/2021 4: 50.4816; Date (DD/MM/YY):02/11/2021 5: 48.8801; Date (DD/MM/YY):02/11/2021 6: 45.9459; Initial: 7: 49.9895 | Fail
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):02/11/2021 1: 47.2728; Date (DD/MM/YY):02/11/2021 2: 48.9548; Date (DD/MM/YY):02/11/2021 3: 47.9067; Date (DD/MM/YY):02/11/2021 4: 50.6747; Date (DD/MM/YY):02/11/2021 5: 48.9639; Date (DD/MM/YY):02/11/2021 6: 45.9059; Initial: 7: 49.9233 | Fail
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):02/11/2021 1: 47.192; Date (DD/MM/YY):02/11/2021 2: 48.8458; Date (DD/MM/YY):02/11/2021 3: 47.8331; Date (DD/MM/YY):02/11/2021 4: 50.5658; Date (DD/MM/YY):02/11/2021 5: 48.9127; Date (DD/MM/YY):02/11/2021 6: 45.8971; Initial: 7: 49.9085 | Fail
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/11/2021 1: 1.0426; Date (DD/MM/YY):02/11/2021 2: 1.0561; Date (DD/MM/YY):02/11/2021 3: 1.0381; Date (DD/MM/YY):02/11/2021 4: 1.0668; Date (DD/MM/YY):02/11/2021 5: 1.0465; Date (DD/MM/YY):02/11/2021 6: 1.0625; Initial: 7: 1.0674 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/11/2021 1: 1.0359; Date (DD/MM/YY):02/11/2021 2: 1.0488; Date (DD/MM/YY):02/11/2021 3: 1.0316; Date (DD/MM/YY):02/11/2021 4: 1.0571; Date (DD/MM/YY):02/11/2021 5: 1.0412; Date (DD/MM/YY):02/11/2021 6: 1.055; Initial: 7: 1.0594 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/11/2021 1: 1.0661; Date (DD/MM/YY):02/11/2021 2: 1.0897; Date (DD/MM/YY):02/11/2021 3: 1.0881; Date (DD/MM/YY):02/11/2021 4: 1.0785; Date (DD/MM/YY):02/11/2021 5: 1.0938; Date (DD/MM/YY):02/11/2021 6: 1.0835; Initial: 7: 1.1224 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/11/2021 1: 1.054; Date (DD/MM/YY):02/11/2021 2: 1.0658; Date (DD/MM/YY):02/11/2021 3: 1.0771; Date (DD/MM/YY):02/11/2021 4: 1.0778; Date (DD/MM/YY):02/11/2021 5: 1.0767; Date (DD/MM/YY):02/11/2021 6: 1.0765; Initial: 7: 1.11 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/11/2021 1: 0.35239; Date (DD/MM/YY):02/11/2021 2: 0.35181; Date (DD/MM/YY):02/11/2021 3: 0.34516; Date (DD/MM/YY):02/11/2021 4: 0.35928; Date (DD/MM/YY):02/11/2021 5: 0.34379; Date (DD/MM/YY):02/11/2021 6: 0.35319; Initial: 7: 0.35448 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/11/2021 1: 0.31192; Date (DD/MM/YY):02/11/2021 2: 0.32293; Date (DD/MM/YY):02/11/2021 3: 0.31765; Date (DD/MM/YY):02/11/2021 4: 0.3338; Date (DD/MM/YY):02/11/2021 5: 0.3218; Date (DD/MM/YY):02/11/2021 6: 0.32761; Initial: 7: 0.33316 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/11/2021 1: 0.38754; Date (DD/MM/YY):02/11/2021 2: 0.4018; Date (DD/MM/YY):02/11/2021 3: 0.40464; Date (DD/MM/YY):02/11/2021 4: 0.38279; Date (DD/MM/YY):02/11/2021 5: 0.39434; Date (DD/MM/YY):02/11/2021 6: 0.38398; Initial: 7: 0.40777 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/11/2021 1: 0.36557; Date (DD/MM/YY):02/11/2021 2: 0.36761; Date (DD/MM/YY):02/11/2021 3: 0.38032; Date (DD/MM/YY):02/11/2021 4: 0.37859; Date (DD/MM/YY):02/11/2021 5: 0.3683; Date (DD/MM/YY):02/11/2021 6: 0.36759; Initial: 7: 0.38511 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/11/2021 1: 0; Date (DD/MM/YY):02/11/2021 2: 0; Date (DD/MM/YY):02/11/2021 3: 0; Date (DD/MM/YY):02/11/2021 4: 0; Date (DD/MM/YY):02/11/2021 5: 0; Date (DD/MM/YY):02/11/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/11/2021 1: 0; Date (DD/MM/YY):02/11/2021 2: 0; Date (DD/MM/YY):02/11/2021 3: 0; Date (DD/MM/YY):02/11/2021 4: 0; Date (DD/MM/YY):02/11/2021 5: 0; Date (DD/MM/YY):02/11/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/11/2021 1: 0; Date (DD/MM/YY):02/11/2021 2: 0; Date (DD/MM/YY):02/11/2021 3: 0; Date (DD/MM/YY):02/11/2021 4: 0; Date (DD/MM/YY):02/11/2021 5: 0; Date (DD/MM/YY):02/11/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/11/2021 1: 0; Date (DD/MM/YY):02/11/2021 2: 0; Date (DD/MM/YY):02/11/2021 3: 0; Date (DD/MM/YY):02/11/2021 4: 0; Date (DD/MM/YY):02/11/2021 5: 0; Date (DD/MM/YY):02/11/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass