## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1956.2528 | 1982.2855 | 1985.0254 | 1927.5152 | 1961.5211 | 1965.4875 | 1901.9218 | -- | -- | --
Post Opto-pack Burn-in |  | 1900.0456 | 1922.3703 | 1948.4386 | 1861.6614 | 1884.4399 | 1937.1476 | 1866.2271 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1497.324 | 1335.8992 | 1634.3613 | 1317.475 | 1548.7419 | 1416.1337 | 1602.4737 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1525.1019 | 1270.376 | 1587.0267 | 1314.2663 | 1513.8813 | 1368.7912 | 1546.1417 | -- | -- | --
Change (%) |  | 1.8552 | -4.9048 | -2.8962 | -0.24354 | -2.2509 | -3.3431 | -3.5153 | -- | -- | --
Opto-board at 0C |  | 1498.3299 | 1263.2623 | 1551.1208 | 1358.6226 | 1565.8093 | 1338.6969 | 1587.1291 | -- | -- | --
Change (%) |  | 0.067179 | -5.4373 | -5.0932 | 3.1232 | 1.102 | -5.4682 | -0.95756 | -- | -- | --
Opto-board at 50C |  | 1313.044 | 1084.1348 | 1368.5315 | 1170.2809 | 1366.0699 | 1185.7652 | 1384.6232 | -- | -- | --
Change (%) |  | -12.3073 | -18.8461 | -16.2651 | -11.1724 | -11.7949 | -16.2674 | -13.5946 | -- | -- | --
Opto-board QA (10C) |  | 1524.6763 | 1267.8537 | 1530.8331 | 1336.3862 | 1563.5743 | 1333.2844 | 1564.3481 | -- | -- | --
Change (%) |  | 1.8267 | -5.0936 | -6.3345 | 1.4354 | 0.95771 | -5.8504 | -2.3792 | -- | -- | --
Reception Test |  | 1240.647 | 1079.644 | 1243.909 | 1059.305 | 958.8355 | 913.1189 | 1193.184 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2043.0284 | 2049.6656 | 1918.9108 | 2002.3939 | 2023.1206 | 2126.6485 | 2060.959 | -- | -- | --
Post Opto-pack Burn-in |  | 1922.8798 | 1973.0768 | 1819.2704 | 1897.6184 | 1950.4095 | 2006.6095 | 1978.1071 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1069.9616 | 1238.7491 | 1041.2817 | 1212.36 | 1073.4505 | 1199.3742 | 1269.9068 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1180.063 | 1167.6222 | 1152.3652 | 1242.6601 | 1178.0815 | 1332.9231 | 1370.3068 | -- | -- | --
Change (%) |  | 10.2902 | -5.7418 | 10.668 | 2.4993 | 9.7472 | 11.1349 | 7.9061 | -- | -- | --
Opto-board at 0C |  | 1203.2171 | 1243.4849 | 1244.7885 | 1254.0675 | 1151.9497 | 1275.2988 | 1415.4963 | -- | -- | --
Change (%) |  | 12.4542 | 0.38231 | 19.5439 | 3.4402 | 7.3128 | 6.3304 | 11.4646 | -- | -- | --
Opto-board at 50C |  | 1048.9616 | 1108.862 | 1083.8029 | 1103.3476 | 999.212 | 1114.2101 | 1204.8069 | -- | -- | --
Change (%) |  | -1.9627 | -10.4853 | 4.0835 | -8.9918 | -6.9159 | -7.1007 | -5.1264 | -- | -- | --
Opto-board QA (10C) |  | 1218.4939 | 1209.235 | 1257.4719 | 1255.4452 | 1143.0691 | 1265.0641 | 1385.1691 | -- | -- | --
Change (%) |  | 13.882 | -2.3826 | 20.7619 | 3.5538 | 6.4855 | 5.477 | 9.0764 | -- | -- | --
Reception Test |  | 882.1457 | 1110.301 | 1010.321 | 1113.065 | 915.155 | 909.6354 | 974.6373 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 359.4971 |  |  |  | 2021-02-08 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 339.4165 |  |  |  | 2021-02-08 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.74156 |  | 2021-02-08 |  |  |  | Pass
QA | uA | 1 | 0.57285 |  | 2021-02-08 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.42639 | 0.47544 | 0.3263 | 0.459 | 0.56337 | 0.49441 | 0.3961 | 0.51126 | 0.63505 | 0.43795 | 0.51513 | 0.5437 | 0.28817 | 0.36619 |  |  | Pass
Fall | ns | 1 | 0.56867 | 0.52424 | 0.88272 | 0.41258 | 0.54631 | 0.42758 | 0.38454 | 0.53046 | 0.65129 | 0.41897 | 0.55713 | 0.45018 | 0.64984 | 0.53738 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):02/08/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.54091; Date (DD/MM/YY):02/08/2021 2: 0.55153; Date (DD/MM/YY):02/08/2021 3: 0.57051; Date (DD/MM/YY):02/08/2021 4: 0.59898; Date (DD/MM/YY):02/08/2021 5: 0.60852; Date (DD/MM/YY):02/08/2021 6: 0.61336; Initial: 7: 0.61291 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.51474; Date (DD/MM/YY):02/08/2021 2: 0.53624; Date (DD/MM/YY):02/08/2021 3: 0.54569; Date (DD/MM/YY):02/08/2021 4: 0.57722; Date (DD/MM/YY):02/08/2021 5: 0.59545; Date (DD/MM/YY):02/08/2021 6: 0.60415; Initial: 7: 0.6123 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.67976; Date (DD/MM/YY):02/08/2021 2: 0.72292; Date (DD/MM/YY):02/08/2021 3: 0.71689; Date (DD/MM/YY):02/08/2021 4: 0.69196; Date (DD/MM/YY):02/08/2021 5: 0.7434; Date (DD/MM/YY):02/08/2021 6: 0.73758; Initial: 7: 0.73031 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.66082; Date (DD/MM/YY):02/08/2021 2: 0.6458; Date (DD/MM/YY):02/08/2021 3: 0.67992; Date (DD/MM/YY):02/08/2021 4: 0.69417; Date (DD/MM/YY):02/08/2021 5: 0.65969; Date (DD/MM/YY):02/08/2021 6: 0.71158; Initial: 7: 0.70575 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.19195; Date (DD/MM/YY):02/08/2021 2: 0.19036; Date (DD/MM/YY):02/08/2021 3: 0.09473; Date (DD/MM/YY):02/08/2021 4: 0.12326; Date (DD/MM/YY):02/08/2021 5: 0.12478; Date (DD/MM/YY):02/08/2021 6: 0.14441; Initial: 7: 0.07829 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.20024; Date (DD/MM/YY):02/08/2021 2: 0.18518; Date (DD/MM/YY):02/08/2021 3: 0.0756; Date (DD/MM/YY):02/08/2021 4: 0.11864; Date (DD/MM/YY):02/08/2021 5: 0.11068; Date (DD/MM/YY):02/08/2021 6: 0.15361; Initial: 7: 0.07801 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.581; Date (DD/MM/YY):02/08/2021 2: 12.138; Date (DD/MM/YY):02/08/2021 3: 12.127; Date (DD/MM/YY):02/08/2021 4: 12.103; Date (DD/MM/YY):02/08/2021 5: 12.568; Date (DD/MM/YY):02/08/2021 6: 12.624; Initial: 7: 12.683
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.548; Date (DD/MM/YY):02/08/2021 2: 12.071; Date (DD/MM/YY):02/08/2021 3: 12.086; Date (DD/MM/YY):02/08/2021 4: 12.076; Date (DD/MM/YY):02/08/2021 5: 12.512; Date (DD/MM/YY):02/08/2021 6: 12.56; Initial: 7: 12.679
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 11.803; Date (DD/MM/YY):02/08/2021 2: 11.329; Date (DD/MM/YY):02/08/2021 3: 11.581; Date (DD/MM/YY):02/08/2021 4: 11.562; Date (DD/MM/YY):02/08/2021 5: 12.017; Date (DD/MM/YY):02/08/2021 6: 11.946; Initial: 7: 12.244
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 11.829; Date (DD/MM/YY):02/08/2021 2: 11.341; Date (DD/MM/YY):02/08/2021 3: 11.599; Date (DD/MM/YY):02/08/2021 4: 11.598; Date (DD/MM/YY):02/08/2021 5: 12.027; Date (DD/MM/YY):02/08/2021 6: 11.996; Initial: 7: 12.272
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.1762; Date (DD/MM/YY):02/08/2021 2: 11.7131; Date (DD/MM/YY):02/08/2021 3: 11.8621; Date (DD/MM/YY):02/08/2021 4: 11.8251; Date (DD/MM/YY):02/08/2021 5: 12.2863; Date (DD/MM/YY):02/08/2021 6: 12.2599; Initial: 7: 12.4718
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.1743; Date (DD/MM/YY):02/08/2021 2: 11.7142; Date (DD/MM/YY):02/08/2021 3: 11.8741; Date (DD/MM/YY):02/08/2021 4: 11.824; Date (DD/MM/YY):02/08/2021 5: 12.2783; Date (DD/MM/YY):02/08/2021 6: 12.2634; Initial: 7: 12.4776
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):02/08/2021 1: 48.7467; Date (DD/MM/YY):02/08/2021 2: 46.8754; Date (DD/MM/YY):02/08/2021 3: 47.5256; Date (DD/MM/YY):02/08/2021 4: 47.3734; Date (DD/MM/YY):02/08/2021 5: 49.2703; Date (DD/MM/YY):02/08/2021 6: 49.0625; Initial: 7: 49.8343 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):02/08/2021 1: 48.7922; Date (DD/MM/YY):02/08/2021 2: 46.8939; Date (DD/MM/YY):02/08/2021 3: 47.5004; Date (DD/MM/YY):02/08/2021 4: 47.3526; Date (DD/MM/YY):02/08/2021 5: 49.1998; Date (DD/MM/YY):02/08/2021 6: 49.1071; Initial: 7: 49.9021 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):02/08/2021 1: 48.7027; Date (DD/MM/YY):02/08/2021 2: 46.8788; Date (DD/MM/YY):02/08/2021 3: 47.5155; Date (DD/MM/YY):02/08/2021 4: 47.3086; Date (DD/MM/YY):02/08/2021 5: 49.1314; Date (DD/MM/YY):02/08/2021 6: 49.0554; Initial: 7: 49.9161 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.0245; Date (DD/MM/YY):02/08/2021 2: 1.0182; Date (DD/MM/YY):02/08/2021 3: 1.0401; Date (DD/MM/YY):02/08/2021 4: 1.0659; Date (DD/MM/YY):02/08/2021 5: 1.0537; Date (DD/MM/YY):02/08/2021 6: 1.0584; Initial: 7: 1.0627 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.018; Date (DD/MM/YY):02/08/2021 2: 1.0126; Date (DD/MM/YY):02/08/2021 3: 1.0321; Date (DD/MM/YY):02/08/2021 4: 1.0575; Date (DD/MM/YY):02/08/2021 5: 1.0477; Date (DD/MM/YY):02/08/2021 6: 1.0532; Initial: 7: 1.0584 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.0602; Date (DD/MM/YY):02/08/2021 2: 1.06; Date (DD/MM/YY):02/08/2021 3: 1.0642; Date (DD/MM/YY):02/08/2021 4: 1.0827; Date (DD/MM/YY):02/08/2021 5: 1.107; Date (DD/MM/YY):02/08/2021 6: 1.0961; Initial: 7: 1.1057 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.0495; Date (DD/MM/YY):02/08/2021 2: 1.0405; Date (DD/MM/YY):02/08/2021 3: 1.0568; Date (DD/MM/YY):02/08/2021 4: 1.083; Date (DD/MM/YY):02/08/2021 5: 1.0909; Date (DD/MM/YY):02/08/2021 6: 1.0902; Initial: 7: 1.0958 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.34402; Date (DD/MM/YY):02/08/2021 2: 0.34387; Date (DD/MM/YY):02/08/2021 3: 0.35774; Date (DD/MM/YY):02/08/2021 4: 0.36233; Date (DD/MM/YY):02/08/2021 5: 0.35091; Date (DD/MM/YY):02/08/2021 6: 0.35179; Initial: 7: 0.35861 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.30115; Date (DD/MM/YY):02/08/2021 2: 0.29704; Date (DD/MM/YY):02/08/2021 3: 0.31126; Date (DD/MM/YY):02/08/2021 4: 0.31941; Date (DD/MM/YY):02/08/2021 5: 0.31969; Date (DD/MM/YY):02/08/2021 6: 0.32276; Initial: 7: 0.32744 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.38636; Date (DD/MM/YY):02/08/2021 2: 0.38828; Date (DD/MM/YY):02/08/2021 3: 0.39403; Date (DD/MM/YY):02/08/2021 4: 0.38383; Date (DD/MM/YY):02/08/2021 5: 0.40297; Date (DD/MM/YY):02/08/2021 6: 0.39179; Initial: 7: 0.40283 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.3569; Date (DD/MM/YY):02/08/2021 2: 0.34713; Date (DD/MM/YY):02/08/2021 3: 0.36402; Date (DD/MM/YY):02/08/2021 4: 0.37357; Date (DD/MM/YY):02/08/2021 5: 0.37017; Date (DD/MM/YY):02/08/2021 6: 0.3695; Initial: 7: 0.37537 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass