## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2154.4199 | 2024.9622 | 2103.5281 | 2089.3294 | 2083.5623 | 2116.7042 | 2027.7994 | -- | -- | --
Post Opto-pack Burn-in |  | 2081.0478 | 1969.6115 | 2065.9245 | 2039.9593 | 2036.2749 | 2102.3141 | 1995.799 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1370.7857 | 1146.501 | 1513.825 | 1309.292 | 1410.7704 | 1274.7564 | 1440.668 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1410.992 | 1142.1157 | 1509.1855 | 1352.6356 | 1411.8734 | 1319.1466 | 1408.194 | -- | -- | --
Change (%) |  | 2.9331 | -0.38249 | -0.30647 | 3.3105 | 0.078184 | 3.4822 | -2.2541 | -- | -- | --
Opto-board at 0C |  | 1502.3438 | 1240.2563 | 1554.8503 | 1365.1295 | 1420.6006 | 1355.5058 | 1461.295 | -- | -- | --
Change (%) |  | 9.5973 | 8.1775 | 2.71 | 4.2647 | 0.6968 | 6.3345 | 1.4318 | -- | -- | --
Opto-board at 50C |  | 1314.2337 | 1106.193 | 1342.3245 | 1162.9853 | 1227.4308 | 1151.5851 | 1228.2742 | -- | -- | --
Change (%) |  | -4.1255 | -3.5157 | -11.329 | -11.1745 | -12.9957 | -9.6623 | -14.7427 | -- | -- | --
Opto-board QA (10C) |  | 1464.5554 | 1272.3873 | 1557.95 | 1335.714 | 1398.3568 | 1326.3165 | 1454.5048 | -- | -- | --
Change (%) |  | 6.8406 | 10.98 | 2.9148 | 2.018 | -0.87991 | 4.0447 | 0.96045 | -- | -- | --
Reception Test |  | 1375 | 1118.715 | 1223.257 | 1200.118 | 988.1425 | 989.5135 | 1261.322 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1714.8718 | 1697.1151 | 1708.0457 | 1673.2146 | 1700.4495 | 1723.8906 | 1715.0817 | -- | -- | --
Post Opto-pack Burn-in |  | 1650.9957 | 1623.0392 | 1587.1589 | 1616.2393 | 1640.0999 | 1650.4077 | 1615.3449 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1004.2487 | 1213.0147 | 1165.0486 | 1160.2464 | 1116.2665 | 1270.9233 | 1304.5194 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1097.5411 | 1104.6266 | 1141.7788 | 1121.377 | 1098.4202 | 1243.8248 | 1378.7928 | -- | -- | --
Change (%) |  | 9.2898 | -8.9354 | -1.9973 | -3.3501 | -1.5988 | -2.1322 | 5.6935 | -- | -- | --
Opto-board at 0C |  | 1266.118 | 1232.0474 | 1199.2374 | 1224.548 | 1233.0282 | 1441.8618 | 1343.5492 | -- | -- | --
Change (%) |  | 26.0761 | 1.569 | 2.9345 | 5.5421 | 10.46 | 13.4499 | 2.9919 | -- | -- | --
Opto-board at 50C |  | 1058.1998 | 1045.795 | 1047.3139 | 1073.0842 | 1103.4274 | 1223.7685 | 1151.6213 | -- | -- | --
Change (%) |  | 5.3723 | -13.7855 | -10.1056 | -7.5124 | -1.1502 | -3.7103 | -11.7206 | -- | -- | --
Opto-board QA (10C) |  | 1271.4086 | 1253.7965 | 1220.946 | 1190.2802 | 1150.287 | 1431.9557 | 1356.0945 | -- | -- | --
Change (%) |  | 26.603 | 3.362 | 4.7979 | 2.5886 | 3.0477 | 12.6705 | 3.9536 | -- | -- | --
Reception Test |  | 794.4313 | 960.3381 | 905.012 | 922.2228 | 842.9131 | 868.2901 | 853.8253 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 363.7695 |  |  |  | 2021-02-11 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 340.9668 |  |  |  | 2021-02-11 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.63002 |  | 2021-02-11 |  |  |  | Pass
QA | uA | 1 | 0.59198 |  | 2021-02-11 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.45349 | 0.37352 | 0.47503 | 0.41295 | 0.58626 | 0.46992 | 0.34291 | 0.51846 | 0.64665 | 0.60537 | 0.51295 | 0.54194 | 0.49773 | 0.29233 |  |  | Pass
Fall | ns | 1 | 0.61746 | 0.56479 | 0.58801 | 0.68036 | 0.55364 | 0.52547 | 0.59525 | 0.50217 | 0.64973 | 0.63096 | 0.48914 | 0.48688 | 0.44667 | 0.68277 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):02/11/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.49393; Date (DD/MM/YY):02/11/2021 2: 0.52783; Date (DD/MM/YY):02/11/2021 3: 0.53615; Date (DD/MM/YY):02/11/2021 4: 0.55527; Date (DD/MM/YY):02/11/2021 5: 0.56305; Date (DD/MM/YY):02/11/2021 6: 0.57319; Initial: 7: 0.55852 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.48584; Date (DD/MM/YY):02/11/2021 2: 0.51089; Date (DD/MM/YY):02/11/2021 3: 0.52095; Date (DD/MM/YY):02/11/2021 4: 0.5438; Date (DD/MM/YY):02/11/2021 5: 0.55793; Date (DD/MM/YY):02/11/2021 6: 0.57506; Initial: 7: 0.58702 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.61879; Date (DD/MM/YY):02/11/2021 2: 0.66006; Date (DD/MM/YY):02/11/2021 3: 0.64947; Date (DD/MM/YY):02/11/2021 4: 0.59597; Date (DD/MM/YY):02/11/2021 5: 0.62861; Date (DD/MM/YY):02/11/2021 6: 0.61637; Initial: 7: 0.62229 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.63581; Date (DD/MM/YY):02/11/2021 2: 0.59996; Date (DD/MM/YY):02/11/2021 3: 0.64586; Date (DD/MM/YY):02/11/2021 4: 0.61441; Date (DD/MM/YY):02/11/2021 5: 0.60656; Date (DD/MM/YY):02/11/2021 6: 0.63336; Initial: 7: 0.65145 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.30109; Date (DD/MM/YY):02/11/2021 2: 0.06936; Date (DD/MM/YY):02/11/2021 3: 0.08153; Date (DD/MM/YY):02/11/2021 4: 0.18181; Date (DD/MM/YY):02/11/2021 5: 0.26314; Date (DD/MM/YY):02/11/2021 6: 0.1056; Initial: 7: 0.06616 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):02/11/2021 1: 0.30021; Date (DD/MM/YY):02/11/2021 2: 0.06519; Date (DD/MM/YY):02/11/2021 3: 0.07718; Date (DD/MM/YY):02/11/2021 4: 0.16019; Date (DD/MM/YY):02/11/2021 5: 0.2573; Date (DD/MM/YY):02/11/2021 6: 0.09686; Initial: 7: 0.05767 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 12.418; Date (DD/MM/YY):02/11/2021 2: 12.137; Date (DD/MM/YY):02/11/2021 3: 12.98; Date (DD/MM/YY):02/11/2021 4: 12.306; Date (DD/MM/YY):02/11/2021 5: 12.746; Date (DD/MM/YY):02/11/2021 6: 12.479; Initial: 7: 11.881
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 12.373; Date (DD/MM/YY):02/11/2021 2: 12.101; Date (DD/MM/YY):02/11/2021 3: 12.933; Date (DD/MM/YY):02/11/2021 4: 12.234; Date (DD/MM/YY):02/11/2021 5: 12.709; Date (DD/MM/YY):02/11/2021 6: 12.472; Initial: 7: 11.853
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 11.528; Date (DD/MM/YY):02/11/2021 2: 11.745; Date (DD/MM/YY):02/11/2021 3: 12.493; Date (DD/MM/YY):02/11/2021 4: 11.589; Date (DD/MM/YY):02/11/2021 5: 11.865; Date (DD/MM/YY):02/11/2021 6: 11.949; Initial: 7: 11.489
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 11.539; Date (DD/MM/YY):02/11/2021 2: 11.748; Date (DD/MM/YY):02/11/2021 3: 12.502; Date (DD/MM/YY):02/11/2021 4: 11.672; Date (DD/MM/YY):02/11/2021 5: 11.91; Date (DD/MM/YY):02/11/2021 6: 12.012; Initial: 7: 11.511
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 11.9543; Date (DD/MM/YY):02/11/2021 2: 11.9371; Date (DD/MM/YY):02/11/2021 3: 12.7262; Date (DD/MM/YY):02/11/2021 4: 11.9389; Date (DD/MM/YY):02/11/2021 5: 12.3325; Date (DD/MM/YY):02/11/2021 6: 12.2265; Initial: 7: 11.7029
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/11/2021 1: 11.958; Date (DD/MM/YY):02/11/2021 2: 11.9313; Date (DD/MM/YY):02/11/2021 3: 12.7294; Date (DD/MM/YY):02/11/2021 4: 11.9381; Date (DD/MM/YY):02/11/2021 5: 12.3311; Date (DD/MM/YY):02/11/2021 6: 12.2312; Initial: 7: 11.6996
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):02/11/2021 1: 47.8689; Date (DD/MM/YY):02/11/2021 2: 47.7932; Date (DD/MM/YY):02/11/2021 3: 50.8512; Date (DD/MM/YY):02/11/2021 4: 47.8811; Date (DD/MM/YY):02/11/2021 5: 49.4184; Date (DD/MM/YY):02/11/2021 6: 49.0636; Initial: 7: 46.7687 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):02/11/2021 1: 47.8226; Date (DD/MM/YY):02/11/2021 2: 47.7874; Date (DD/MM/YY):02/11/2021 3: 50.9316; Date (DD/MM/YY):02/11/2021 4: 47.8186; Date (DD/MM/YY):02/11/2021 5: 49.3438; Date (DD/MM/YY):02/11/2021 6: 48.9362; Initial: 7: 46.8524 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):02/11/2021 1: 47.8499; Date (DD/MM/YY):02/11/2021 2: 47.7323; Date (DD/MM/YY):02/11/2021 3: 50.9375; Date (DD/MM/YY):02/11/2021 4: 47.7594; Date (DD/MM/YY):02/11/2021 5: 49.3358; Date (DD/MM/YY):02/11/2021 6: 48.9411; Initial: 7: 46.7913 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/11/2021 1: 1.0642; Date (DD/MM/YY):02/11/2021 2: 1.0564; Date (DD/MM/YY):02/11/2021 3: 1.0648; Date (DD/MM/YY):02/11/2021 4: 1.0507; Date (DD/MM/YY):02/11/2021 5: 1.0558; Date (DD/MM/YY):02/11/2021 6: 1.0391; Initial: 7: 1.0398 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/11/2021 1: 1.0542; Date (DD/MM/YY):02/11/2021 2: 1.0485; Date (DD/MM/YY):02/11/2021 3: 1.0555; Date (DD/MM/YY):02/11/2021 4: 1.0443; Date (DD/MM/YY):02/11/2021 5: 1.0504; Date (DD/MM/YY):02/11/2021 6: 1.0381; Initial: 7: 1.0364 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/11/2021 1: 1.0836; Date (DD/MM/YY):02/11/2021 2: 1.0813; Date (DD/MM/YY):02/11/2021 3: 1.0785; Date (DD/MM/YY):02/11/2021 4: 1.0656; Date (DD/MM/YY):02/11/2021 5: 1.0767; Date (DD/MM/YY):02/11/2021 6: 1.0692; Initial: 7: 1.0622 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/11/2021 1: 1.0727; Date (DD/MM/YY):02/11/2021 2: 1.0592; Date (DD/MM/YY):02/11/2021 3: 1.0701; Date (DD/MM/YY):02/11/2021 4: 1.0674; Date (DD/MM/YY):02/11/2021 5: 1.065; Date (DD/MM/YY):02/11/2021 6: 1.0654; Initial: 7: 1.0539 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/11/2021 1: 0.36494; Date (DD/MM/YY):02/11/2021 2: 0.35285; Date (DD/MM/YY):02/11/2021 3: 0.35768; Date (DD/MM/YY):02/11/2021 4: 0.34941; Date (DD/MM/YY):02/11/2021 5: 0.34807; Date (DD/MM/YY):02/11/2021 6: 0.33702; Initial: 7: 0.34147 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/11/2021 1: 0.3204; Date (DD/MM/YY):02/11/2021 2: 0.32021; Date (DD/MM/YY):02/11/2021 3: 0.32978; Date (DD/MM/YY):02/11/2021 4: 0.31879; Date (DD/MM/YY):02/11/2021 5: 0.32524; Date (DD/MM/YY):02/11/2021 6: 0.32028; Initial: 7: 0.31963 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/11/2021 1: 0.39582; Date (DD/MM/YY):02/11/2021 2: 0.39471; Date (DD/MM/YY):02/11/2021 3: 0.39732; Date (DD/MM/YY):02/11/2021 4: 0.37391; Date (DD/MM/YY):02/11/2021 5: 0.38603; Date (DD/MM/YY):02/11/2021 6: 0.37646; Initial: 7: 0.37627 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/11/2021 1: 0.37332; Date (DD/MM/YY):02/11/2021 2: 0.36188; Date (DD/MM/YY):02/11/2021 3: 0.37305; Date (DD/MM/YY):02/11/2021 4: 0.36943; Date (DD/MM/YY):02/11/2021 5: 0.36316; Date (DD/MM/YY):02/11/2021 6: 0.36192; Initial: 7: 0.35471 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/11/2021 1: 0; Date (DD/MM/YY):02/11/2021 2: 0; Date (DD/MM/YY):02/11/2021 3: 0; Date (DD/MM/YY):02/11/2021 4: 0; Date (DD/MM/YY):02/11/2021 5: 0; Date (DD/MM/YY):02/11/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/11/2021 1: 0; Date (DD/MM/YY):02/11/2021 2: 0; Date (DD/MM/YY):02/11/2021 3: 0; Date (DD/MM/YY):02/11/2021 4: 0; Date (DD/MM/YY):02/11/2021 5: 0; Date (DD/MM/YY):02/11/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/11/2021 1: 0; Date (DD/MM/YY):02/11/2021 2: 0; Date (DD/MM/YY):02/11/2021 3: 0; Date (DD/MM/YY):02/11/2021 4: 0; Date (DD/MM/YY):02/11/2021 5: 0; Date (DD/MM/YY):02/11/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/11/2021 1: 0; Date (DD/MM/YY):02/11/2021 2: 0; Date (DD/MM/YY):02/11/2021 3: 0; Date (DD/MM/YY):02/11/2021 4: 0; Date (DD/MM/YY):02/11/2021 5: 0; Date (DD/MM/YY):02/11/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass