## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1932.6435 | 2012.6244 | 2030.9674 | 1864.1511 | 2026.3406 | 1992.4397 | 1982.8365 | -- | -- | --
Post Opto-pack Burn-in |  | 1805.2322 | 1866.2945 | 1925.89 | 1759.8322 | 1921.7102 | 1836.3721 | 1843.2913 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1300.8864 | 1209.6997 | 1539.952 | 1203.6042 | 1465.4558 | 1250.7074 | 1524.0582 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1374.0548 | 1199.8081 | 1460.781 | 1283.9097 | 1558.2819 | 1360.277 | 1574.9539 | -- | -- | --
Change (%) |  | 5.6245 | -0.81769 | -5.1411 | 6.6721 | 6.3343 | 8.7606 | 3.3395 | -- | -- | --
Opto-board at 0C |  | 1439.9886 | 1249.3977 | 1685.6355 | 1336.2428 | 1503.2384 | 1388.2185 | 1651.5745 | -- | -- | --
Change (%) |  | 10.6929 | 3.2816 | 9.4603 | 11.0201 | 2.5782 | 10.9947 | 8.3669 | -- | -- | --
Opto-board at 50C |  | 1229.662 | 1085.5444 | 1448.7624 | 1146.5298 | 1325.3944 | 1227.6863 | 1458.1256 | -- | -- | --
Change (%) |  | -5.4751 | -10.2633 | -5.9216 | -4.742 | -9.5575 | -1.8406 | -4.3261 | -- | -- | --
Opto-board QA (10C) |  | 1403.4769 | 1240.2398 | 1668.1575 | 1324.3045 | 1496.0882 | 1368.9758 | 1631.45 | -- | -- | --
Change (%) |  | 7.8862 | 2.5246 | 8.3253 | 10.0282 | 2.0903 | 9.4561 | 7.0464 | -- | -- | --
Reception Test |  | 1196.721 | 1076.994 | 1250.429 | 1047.617 | 1010.443 | 934.6555 | 1253.308 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1822.5938 | 1907.37 | 1878.7736 | 1776.7722 | 1798.6568 | 1790.4698 | 1910.8964 | -- | -- | --
Post Opto-pack Burn-in |  | 1663.4764 | 1715.7867 | 1725.9767 | 1621.0176 | 1649.5156 | 1645.9553 | 1757.6665 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1085.6981 | 1110.3543 | 1170.4803 | 1119.5034 | 1101.0655 | 1228.745 | 1345.5365 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1142.975 | 1138.3315 | 1183.4686 | 1143.8886 | 1145.8278 | 1278.097 | 1379.3014 | -- | -- | --
Change (%) |  | 5.2756 | 2.5197 | 1.1096 | 2.1782 | 4.0654 | 4.0165 | 2.5094 | -- | -- | --
Opto-board at 0C |  | 1142.3531 | 1088.7839 | 1092.7173 | 1167.9339 | 1179.2719 | 1210.4164 | 1360.5305 | -- | -- | --
Change (%) |  | 5.2183 | -1.9427 | -6.6437 | 4.3261 | 7.1028 | -1.4917 | 1.1144 | -- | -- | --
Opto-board at 50C |  | 992.6582 | 937.0495 | 986.2526 | 1019.8868 | 1030.162 | 1056.1539 | 1136.6272 | -- | -- | --
Change (%) |  | -8.5696 | -15.6081 | -15.7395 | -8.8983 | -6.4395 | -14.0461 | -15.5261 | -- | -- | --
Opto-board QA (10C) |  | 1166.2282 | 1107.763 | 1084.8837 | 1135.852 | 1148.133 | 1257.3458 | 1374.9972 | -- | -- | --
Change (%) |  | 7.4174 | -0.23338 | -7.313 | 1.4603 | 4.2747 | 2.3276 | 2.1895 | -- | -- | --
Reception Test |  | 792.8243 | 957.6351 | 991.5464 | 945.8205 | 865.7667 | 823.5212 | 930.6653 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 362.1826 |  |  |  | 2021-02-10 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 339.0991 |  |  |  | 2021-02-10 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.6166 |  | 2021-02-10 |  |  |  | Pass
QA | uA | 1 | 0.61129 |  | 2021-02-10 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.39695 | 0.33385 | 0.5054 | 0.33305 | 0.57728 | 0.38791 | 0.31846 | 0.52166 | 0.73206 | 0.42074 | 0.47443 | 0.50889 | 0.31636 | 0.46139 |  |  | Pass
Fall | ns | 1 | 0.56726 | 0.58279 | 0.66997 | 0.735 | 0.77835 | 0.76838 | 0.50746 | 0.53137 | 0.58619 | 0.33535 | 0.52511 | 0.4499 | 0.54826 | 0.54916 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):02/10/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):02/10/2021 1: 0.49178; Date (DD/MM/YY):02/10/2021 2: 0.5113; Date (DD/MM/YY):02/10/2021 3: 0.52361; Date (DD/MM/YY):02/10/2021 4: 0.55253; Date (DD/MM/YY):02/10/2021 5: 0.55282; Date (DD/MM/YY):02/10/2021 6: 0.57229; Initial: 7: 0.58306 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):02/10/2021 1: 0.47788; Date (DD/MM/YY):02/10/2021 2: 0.49651; Date (DD/MM/YY):02/10/2021 3: 0.51849; Date (DD/MM/YY):02/10/2021 4: 0.53897; Date (DD/MM/YY):02/10/2021 5: 0.54555; Date (DD/MM/YY):02/10/2021 6: 0.56604; Initial: 7: 0.59205 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):02/10/2021 1: 0.61344; Date (DD/MM/YY):02/10/2021 2: 0.64427; Date (DD/MM/YY):02/10/2021 3: 0.64732; Date (DD/MM/YY):02/10/2021 4: 0.59442; Date (DD/MM/YY):02/10/2021 5: 0.63415; Date (DD/MM/YY):02/10/2021 6: 0.60907; Initial: 7: 0.61867 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):02/10/2021 1: 0.63794; Date (DD/MM/YY):02/10/2021 2: 0.59771; Date (DD/MM/YY):02/10/2021 3: 0.62972; Date (DD/MM/YY):02/10/2021 4: 0.61969; Date (DD/MM/YY):02/10/2021 5: 0.58817; Date (DD/MM/YY):02/10/2021 6: 0.6253; Initial: 7: 0.64576 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):02/10/2021 1: 0.08477; Date (DD/MM/YY):02/10/2021 2: 0.10523; Date (DD/MM/YY):02/10/2021 3: 0.16803; Date (DD/MM/YY):02/10/2021 4: 0.08556; Date (DD/MM/YY):02/10/2021 5: 0.06958; Date (DD/MM/YY):02/10/2021 6: 0.12201; Initial: 7: 0.05218 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):02/10/2021 1: 0.06466; Date (DD/MM/YY):02/10/2021 2: 0.0916; Date (DD/MM/YY):02/10/2021 3: 0.15875; Date (DD/MM/YY):02/10/2021 4: 0.06834; Date (DD/MM/YY):02/10/2021 5: 0.06769; Date (DD/MM/YY):02/10/2021 6: 0.1211; Initial: 7: 0.04634 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/10/2021 1: 12.458; Date (DD/MM/YY):02/10/2021 2: 12.217; Date (DD/MM/YY):02/10/2021 3: 12.472; Date (DD/MM/YY):02/10/2021 4: 12.403; Date (DD/MM/YY):02/10/2021 5: 12.804; Date (DD/MM/YY):02/10/2021 6: 12.716; Initial: 7: 12.556
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/10/2021 1: 12.408; Date (DD/MM/YY):02/10/2021 2: 12.109; Date (DD/MM/YY):02/10/2021 3: 12.468; Date (DD/MM/YY):02/10/2021 4: 12.355; Date (DD/MM/YY):02/10/2021 5: 12.736; Date (DD/MM/YY):02/10/2021 6: 12.651; Initial: 7: 12.541
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/10/2021 1: 11.916; Date (DD/MM/YY):02/10/2021 2: 11.583; Date (DD/MM/YY):02/10/2021 3: 11.707; Date (DD/MM/YY):02/10/2021 4: 11.921; Date (DD/MM/YY):02/10/2021 5: 12.355; Date (DD/MM/YY):02/10/2021 6: 12.114; Initial: 7: 12.248
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/10/2021 1: 12.003; Date (DD/MM/YY):02/10/2021 2: 11.647; Date (DD/MM/YY):02/10/2021 3: 11.794; Date (DD/MM/YY):02/10/2021 4: 11.975; Date (DD/MM/YY):02/10/2021 5: 12.347; Date (DD/MM/YY):02/10/2021 6: 12.163; Initial: 7: 12.253
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/10/2021 1: 12.213; Date (DD/MM/YY):02/10/2021 2: 11.8851; Date (DD/MM/YY):02/10/2021 3: 12.1102; Date (DD/MM/YY):02/10/2021 4: 12.1757; Date (DD/MM/YY):02/10/2021 5: 12.5376; Date (DD/MM/YY):02/10/2021 6: 12.4244; Initial: 7: 12.401
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/10/2021 1: 12.2189; Date (DD/MM/YY):02/10/2021 2: 11.8836; Date (DD/MM/YY):02/10/2021 3: 12.1268; Date (DD/MM/YY):02/10/2021 4: 12.169; Date (DD/MM/YY):02/10/2021 5: 12.5343; Date (DD/MM/YY):02/10/2021 6: 12.4304; Initial: 7: 12.4083
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):02/10/2021 1: 48.9314; Date (DD/MM/YY):02/10/2021 2: 47.5898; Date (DD/MM/YY):02/10/2021 3: 48.5922; Date (DD/MM/YY):02/10/2021 4: 48.7166; Date (DD/MM/YY):02/10/2021 5: 50.1302; Date (DD/MM/YY):02/10/2021 6: 49.713; Initial: 7: 49.6485 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):02/10/2021 1: 48.9111; Date (DD/MM/YY):02/10/2021 2: 47.5766; Date (DD/MM/YY):02/10/2021 3: 48.4467; Date (DD/MM/YY):02/10/2021 4: 48.7559; Date (DD/MM/YY):02/10/2021 5: 50.2384; Date (DD/MM/YY):02/10/2021 6: 49.7314; Initial: 7: 49.6578 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):02/10/2021 1: 48.8824; Date (DD/MM/YY):02/10/2021 2: 47.5274; Date (DD/MM/YY):02/10/2021 3: 48.5076; Date (DD/MM/YY):02/10/2021 4: 48.6793; Date (DD/MM/YY):02/10/2021 5: 50.144; Date (DD/MM/YY):02/10/2021 6: 49.7287; Initial: 7: 49.6325 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/10/2021 1: 1.0607; Date (DD/MM/YY):02/10/2021 2: 1.0586; Date (DD/MM/YY):02/10/2021 3: 1.0406; Date (DD/MM/YY):02/10/2021 4: 1.0613; Date (DD/MM/YY):02/10/2021 5: 1.0543; Date (DD/MM/YY):02/10/2021 6: 1.0477; Initial: 7: 1.0439 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/10/2021 1: 1.0486; Date (DD/MM/YY):02/10/2021 2: 1.0483; Date (DD/MM/YY):02/10/2021 3: 1.032; Date (DD/MM/YY):02/10/2021 4: 1.0514; Date (DD/MM/YY):02/10/2021 5: 1.0454; Date (DD/MM/YY):02/10/2021 6: 1.0431; Initial: 7: 1.0379 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/10/2021 1: 1.0599; Date (DD/MM/YY):02/10/2021 2: 1.0965; Date (DD/MM/YY):02/10/2021 3: 1.0763; Date (DD/MM/YY):02/10/2021 4: 1.0773; Date (DD/MM/YY):02/10/2021 5: 1.0786; Date (DD/MM/YY):02/10/2021 6: 1.081; Initial: 7: 1.0995 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/10/2021 1: 1.0485; Date (DD/MM/YY):02/10/2021 2: 1.0721; Date (DD/MM/YY):02/10/2021 3: 1.0667; Date (DD/MM/YY):02/10/2021 4: 1.0754; Date (DD/MM/YY):02/10/2021 5: 1.0603; Date (DD/MM/YY):02/10/2021 6: 1.0742; Initial: 7: 1.0876 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/10/2021 1: 0.36049; Date (DD/MM/YY):02/10/2021 2: 0.35714; Date (DD/MM/YY):02/10/2021 3: 0.34817; Date (DD/MM/YY):02/10/2021 4: 0.35391; Date (DD/MM/YY):02/10/2021 5: 0.34791; Date (DD/MM/YY):02/10/2021 6: 0.34042; Initial: 7: 0.34339 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/10/2021 1: 0.32834; Date (DD/MM/YY):02/10/2021 2: 0.32599; Date (DD/MM/YY):02/10/2021 3: 0.32265; Date (DD/MM/YY):02/10/2021 4: 0.32744; Date (DD/MM/YY):02/10/2021 5: 0.32923; Date (DD/MM/YY):02/10/2021 6: 0.32539; Initial: 7: 0.32451 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/10/2021 1: 0.38555; Date (DD/MM/YY):02/10/2021 2: 0.40466; Date (DD/MM/YY):02/10/2021 3: 0.3967; Date (DD/MM/YY):02/10/2021 4: 0.38721; Date (DD/MM/YY):02/10/2021 5: 0.38789; Date (DD/MM/YY):02/10/2021 6: 0.38218; Initial: 7: 0.39662 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/10/2021 1: 0.37175; Date (DD/MM/YY):02/10/2021 2: 0.37509; Date (DD/MM/YY):02/10/2021 3: 0.37783; Date (DD/MM/YY):02/10/2021 4: 0.37762; Date (DD/MM/YY):02/10/2021 5: 0.36335; Date (DD/MM/YY):02/10/2021 6: 0.36957; Initial: 7: 0.37578 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/10/2021 1: 0; Date (DD/MM/YY):02/10/2021 2: 0; Date (DD/MM/YY):02/10/2021 3: 0; Date (DD/MM/YY):02/10/2021 4: 0; Date (DD/MM/YY):02/10/2021 5: 0; Date (DD/MM/YY):02/10/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/10/2021 1: 0; Date (DD/MM/YY):02/10/2021 2: 0; Date (DD/MM/YY):02/10/2021 3: 0; Date (DD/MM/YY):02/10/2021 4: 0; Date (DD/MM/YY):02/10/2021 5: 0; Date (DD/MM/YY):02/10/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/10/2021 1: 0; Date (DD/MM/YY):02/10/2021 2: 0; Date (DD/MM/YY):02/10/2021 3: 0; Date (DD/MM/YY):02/10/2021 4: 0; Date (DD/MM/YY):02/10/2021 5: 0; Date (DD/MM/YY):02/10/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/10/2021 1: 0; Date (DD/MM/YY):02/10/2021 2: 0; Date (DD/MM/YY):02/10/2021 3: 0; Date (DD/MM/YY):02/10/2021 4: 0; Date (DD/MM/YY):02/10/2021 5: 0; Date (DD/MM/YY):02/10/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass