## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2192.8917 | 2144.8898 | 2173.3466 | 2194.1986 | 2333.1493 | 2197.7765 | 2266.2629 | -- | -- | --
Post Opto-pack Burn-in |  | 1964.3014 | 1940.2202 | 1993.2042 | 2035.1003 | 2161.4052 | 2097.7692 | 2153.9796 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1281.7745 | 943.8893 | 1244.0556 | 1170.4333 | 1294.4815 | 1026.8322 | 1299.3354 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1339.168 | 1057.4359 | 1436.0538 | 1315.4046 | 1496.8913 | 1310.0524 | 1482.4246 | -- | -- | --
Change (%) |  | 4.4777 | 12.0297 | 15.4332 | 12.3861 | 15.6364 | 27.5819 | 14.091 | -- | -- | --
Opto-board at 0C |  | 1338.2878 | 1040.7934 | 1394.8385 | 1301.8261 | 1553.5119 | 1366.4979 | 1562.5223 | -- | -- | --
Change (%) |  | 4.409 | 10.2665 | 12.1203 | 11.226 | 20.0104 | 33.079 | 20.2555 | -- | -- | --
Opto-board at 50C |  | 1198.6246 | 942.3314 | 1198.0909 | 1172.7367 | 1385.7981 | 1203.7251 | 1358.6317 | -- | -- | --
Change (%) |  | -6.4871 | -0.16505 | -3.6948 | 0.1968 | 7.0543 | 17.2271 | 4.5636 | -- | -- | --
Opto-board QA (10C) |  | 1363.4543 | 1034.4628 | 1395.8284 | 1278.6218 | 1546.3327 | 1326.2023 | 1539.5977 | -- | -- | --
Change (%) |  | 6.3724 | 9.5958 | 12.1998 | 9.2435 | 19.4558 | 29.1547 | 18.4912 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2287.193 | 2332.3904 | 2245.0627 | 2190.4061 | 2244.0174 | 2284.4797 | 2265.3072 | -- | -- | --
Post Opto-pack Burn-in |  | 2128.4461 | 2181.2979 | 2098.8326 | 2073.5967 | 2184.3396 | 2151.1924 | 2168.2623 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1310.867 | 1249.0607 | 880.9242 | 1281.6306 | 1195.2004 | 1425.2327 | 1511.9688 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1378.1842 | 1329.9362 | 1339.2164 | 1343.0574 | 1293.171 | 1475.6551 | 1528.2721 | -- | -- | --
Change (%) |  | 5.1353 | 6.4749 | 52.024 | 4.7929 | 8.197 | 3.5378 | 1.0783 | -- | -- | --
Opto-board at 0C |  | 1447.1238 | 1446.2591 | 1378.9109 | 1341.7807 | 1397.7548 | 1539.8334 | 1568.9501 | -- | -- | --
Change (%) |  | 10.3944 | 15.7877 | 56.53 | 4.6933 | 16.9473 | 8.0408 | 3.7687 | -- | -- | --
Opto-board at 50C |  | 1244.5953 | 1269.398 | 1181.1591 | 1192.7508 | 1204.7046 | 1317.4771 | 1348.9177 | -- | -- | --
Change (%) |  | -5.0556 | 1.6282 | 34.0818 | -6.9349 | 0.7952 | -7.5606 | -10.784 | -- | -- | --
Opto-board QA (10C) |  | 1395.4078 | 1470.2689 | 1347.4103 | 1342.7635 | 1365.5483 | 1541.9179 | 1597.4502 | -- | -- | --
Change (%) |  | 6.4492 | 17.71 | 52.9542 | 4.7699 | 14.2527 | 8.1871 | 5.6536 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 364.3799 |  |  |  | 2021-03-01 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 343.9453 |  |  |  | 2021-03-01 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.18332 |  | 2021-03-01 |  |  |  | Pass
QA | uA | 1 | 0.36436 |  | 2021-03-01 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.39222 | 0.3428 | 0.56964 | 0.29196 | 0.63971 | 0.53028 | 0.37752 | 0.46589 | 0.6145 | 0.58158 | 0.37489 | 0.60375 | 0.35635 | 0.36189 |  |  | Pass
Fall | ns | 1 | 0.52939 | 0.79495 | 0.69414 | 0.86673 | 0.65498 | 0.46969 | 0.4354 | 0.47518 | 0.63689 | 0.53237 | 0.5599 | 0.51664 | 0.51708 | 0.51483 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/01/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/01/2021 1: 0.55707; Date (DD/MM/YY):03/01/2021 2: 0.56401; Date (DD/MM/YY):03/01/2021 3: 0.58593; Date (DD/MM/YY):03/01/2021 4: 0.59863; Date (DD/MM/YY):03/01/2021 5: 0.62801; Date (DD/MM/YY):03/01/2021 6: 0.62618; Initial: 7: 0.62705 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/01/2021 1: 0.52589; Date (DD/MM/YY):03/01/2021 2: 0.54806; Date (DD/MM/YY):03/01/2021 3: 0.56089; Date (DD/MM/YY):03/01/2021 4: 0.58167; Date (DD/MM/YY):03/01/2021 5: 0.61407; Date (DD/MM/YY):03/01/2021 6: 0.61464; Initial: 7: 0.62058 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/01/2021 1: 0.62926; Date (DD/MM/YY):03/01/2021 2: 0.7101; Date (DD/MM/YY):03/01/2021 3: 0.68225; Date (DD/MM/YY):03/01/2021 4: 0.64045; Date (DD/MM/YY):03/01/2021 5: 0.69056; Date (DD/MM/YY):03/01/2021 6: 0.68211; Initial: 7: 0.68686 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/01/2021 1: 0.66988; Date (DD/MM/YY):03/01/2021 2: 0.64662; Date (DD/MM/YY):03/01/2021 3: 0.6776; Date (DD/MM/YY):03/01/2021 4: 0.65862; Date (DD/MM/YY):03/01/2021 5: 0.65112; Date (DD/MM/YY):03/01/2021 6: 0.66668; Initial: 7: 0.68912 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/01/2021 1: 0.06367; Date (DD/MM/YY):03/01/2021 2: 0.14405; Date (DD/MM/YY):03/01/2021 3: 0.12129; Date (DD/MM/YY):03/01/2021 4: 0.14573; Date (DD/MM/YY):03/01/2021 5: 0.07517; Date (DD/MM/YY):03/01/2021 6: 0.12916; Initial: 7: 0.07213 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/01/2021 1: 0.05672; Date (DD/MM/YY):03/01/2021 2: 0.11926; Date (DD/MM/YY):03/01/2021 3: 0.12199; Date (DD/MM/YY):03/01/2021 4: 0.144; Date (DD/MM/YY):03/01/2021 5: 0.07501; Date (DD/MM/YY):03/01/2021 6: 0.12584; Initial: 7: 0.06127 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/01/2021 1: 12.554; Date (DD/MM/YY):03/01/2021 2: 12.45; Date (DD/MM/YY):03/01/2021 3: 12.798; Date (DD/MM/YY):03/01/2021 4: 12.397; Date (DD/MM/YY):03/01/2021 5: 11.91; Date (DD/MM/YY):03/01/2021 6: 12.543; Initial: 7: 12.208
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/01/2021 1: 12.495; Date (DD/MM/YY):03/01/2021 2: 12.402; Date (DD/MM/YY):03/01/2021 3: 12.775; Date (DD/MM/YY):03/01/2021 4: 12.349; Date (DD/MM/YY):03/01/2021 5: 11.879; Date (DD/MM/YY):03/01/2021 6: 12.51; Initial: 7: 12.187
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/01/2021 1: 12.154; Date (DD/MM/YY):03/01/2021 2: 11.79; Date (DD/MM/YY):03/01/2021 3: 12.166; Date (DD/MM/YY):03/01/2021 4: 11.736; Date (DD/MM/YY):03/01/2021 5: 11.474; Date (DD/MM/YY):03/01/2021 6: 11.94; Initial: 7: 11.771
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/01/2021 1: 12.154; Date (DD/MM/YY):03/01/2021 2: 11.861; Date (DD/MM/YY):03/01/2021 3: 12.181; Date (DD/MM/YY):03/01/2021 4: 11.788; Date (DD/MM/YY):03/01/2021 5: 11.478; Date (DD/MM/YY):03/01/2021 6: 11.981; Initial: 7: 11.806
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/01/2021 1: 12.353; Date (DD/MM/YY):03/01/2021 2: 12.1243; Date (DD/MM/YY):03/01/2021 3: 12.4594; Date (DD/MM/YY):03/01/2021 4: 12.0684; Date (DD/MM/YY):03/01/2021 5: 11.67; Date (DD/MM/YY):03/01/2021 6: 12.2479; Initial: 7: 11.9895
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/01/2021 1: 12.3376; Date (DD/MM/YY):03/01/2021 2: 12.1042; Date (DD/MM/YY):03/01/2021 3: 12.4532; Date (DD/MM/YY):03/01/2021 4: 12.0671; Date (DD/MM/YY):03/01/2021 5: 11.6796; Date (DD/MM/YY):03/01/2021 6: 12.2402; Initial: 7: 11.9864
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):03/01/2021 1: 49.508; Date (DD/MM/YY):03/01/2021 2: 48.5216; Date (DD/MM/YY):03/01/2021 3: 49.8776; Date (DD/MM/YY):03/01/2021 4: 48.3907; Date (DD/MM/YY):03/01/2021 5: 46.8165; Date (DD/MM/YY):03/01/2021 6: 49.0256; Initial: 7: 48.0307 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):03/01/2021 1: 49.5215; Date (DD/MM/YY):03/01/2021 2: 48.5478; Date (DD/MM/YY):03/01/2021 3: 49.9261; Date (DD/MM/YY):03/01/2021 4: 48.3348; Date (DD/MM/YY):03/01/2021 5: 46.6875; Date (DD/MM/YY):03/01/2021 6: 49.127; Initial: 7: 47.9932 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):03/01/2021 1: 49.3458; Date (DD/MM/YY):03/01/2021 2: 48.419; Date (DD/MM/YY):03/01/2021 3: 49.8185; Date (DD/MM/YY):03/01/2021 4: 48.266; Date (DD/MM/YY):03/01/2021 5: 46.727; Date (DD/MM/YY):03/01/2021 6: 48.9536; Initial: 7: 47.9589 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/01/2021 1: 1.0907; Date (DD/MM/YY):03/01/2021 2: 1.0766; Date (DD/MM/YY):03/01/2021 3: 1.0931; Date (DD/MM/YY):03/01/2021 4: 1.0289; Date (DD/MM/YY):03/01/2021 5: 1.0225; Date (DD/MM/YY):03/01/2021 6: 1.0182; Initial: 7: 1.0277 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/01/2021 1: 1.0796; Date (DD/MM/YY):03/01/2021 2: 1.0671; Date (DD/MM/YY):03/01/2021 3: 1.0827; Date (DD/MM/YY):03/01/2021 4: 1.025; Date (DD/MM/YY):03/01/2021 5: 1.0189; Date (DD/MM/YY):03/01/2021 6: 1.0161; Initial: 7: 1.0254 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/01/2021 1: 1.1151; Date (DD/MM/YY):03/01/2021 2: 1.1252; Date (DD/MM/YY):03/01/2021 3: 1.1167; Date (DD/MM/YY):03/01/2021 4: 1.0397; Date (DD/MM/YY):03/01/2021 5: 1.0712; Date (DD/MM/YY):03/01/2021 6: 1.0621; Initial: 7: 1.0545 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/01/2021 1: 1.1022; Date (DD/MM/YY):03/01/2021 2: 1.1022; Date (DD/MM/YY):03/01/2021 3: 1.106; Date (DD/MM/YY):03/01/2021 4: 1.0431; Date (DD/MM/YY):03/01/2021 5: 1.0603; Date (DD/MM/YY):03/01/2021 6: 1.0574; Initial: 7: 1.0474 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/01/2021 1: 0.37201; Date (DD/MM/YY):03/01/2021 2: 0.36553; Date (DD/MM/YY):03/01/2021 3: 0.37583; Date (DD/MM/YY):03/01/2021 4: 0.34852; Date (DD/MM/YY):03/01/2021 5: 0.34417; Date (DD/MM/YY):03/01/2021 6: 0.33945; Initial: 7: 0.34771 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/01/2021 1: 0.33383; Date (DD/MM/YY):03/01/2021 2: 0.32686; Date (DD/MM/YY):03/01/2021 3: 0.33858; Date (DD/MM/YY):03/01/2021 4: 0.31289; Date (DD/MM/YY):03/01/2021 5: 0.31089; Date (DD/MM/YY):03/01/2021 6: 0.31399; Initial: 7: 0.31913 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/01/2021 1: 0.41254; Date (DD/MM/YY):03/01/2021 2: 0.41617; Date (DD/MM/YY):03/01/2021 3: 0.41516; Date (DD/MM/YY):03/01/2021 4: 0.36379; Date (DD/MM/YY):03/01/2021 5: 0.39028; Date (DD/MM/YY):03/01/2021 6: 0.38203; Initial: 7: 0.38279 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/01/2021 1: 0.39183; Date (DD/MM/YY):03/01/2021 2: 0.38548; Date (DD/MM/YY):03/01/2021 3: 0.39142; Date (DD/MM/YY):03/01/2021 4: 0.3641; Date (DD/MM/YY):03/01/2021 5: 0.36716; Date (DD/MM/YY):03/01/2021 6: 0.36547; Initial: 7: 0.36072 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/01/2021 1: 0; Date (DD/MM/YY):03/01/2021 2: 0; Date (DD/MM/YY):03/01/2021 3: 0; Date (DD/MM/YY):03/01/2021 4: 0; Date (DD/MM/YY):03/01/2021 5: 0; Date (DD/MM/YY):03/01/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/01/2021 1: 0; Date (DD/MM/YY):03/01/2021 2: 0; Date (DD/MM/YY):03/01/2021 3: 0; Date (DD/MM/YY):03/01/2021 4: 0; Date (DD/MM/YY):03/01/2021 5: 0; Date (DD/MM/YY):03/01/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/01/2021 1: 0; Date (DD/MM/YY):03/01/2021 2: 0; Date (DD/MM/YY):03/01/2021 3: 0; Date (DD/MM/YY):03/01/2021 4: 0; Date (DD/MM/YY):03/01/2021 5: 0; Date (DD/MM/YY):03/01/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/01/2021 1: 0; Date (DD/MM/YY):03/01/2021 2: 0; Date (DD/MM/YY):03/01/2021 3: 0; Date (DD/MM/YY):03/01/2021 4: 0; Date (DD/MM/YY):03/01/2021 5: 0; Date (DD/MM/YY):03/01/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass