## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2053.1596 | 2115.4902 | 2073.5948 | 2063.6111 | 2129.9544 | 2121.2103 | 2110.9218 | -- | -- | --
Post Opto-pack Burn-in |  | 1955.377 | 1997.7607 | 1955.8862 | 1929.2268 | 1989.9545 | 1994.7077 | 1946.3338 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1675.5204 | 1388.9756 | 1696.3343 | 1458.8343 | 1651.2433 | 1489.9065 | 1673.217 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1565.2503 | 1384.5986 | 1584.6869 | 1408.6971 | 1571.3243 | 1419.9911 | 1573.3743 | -- | -- | --
Change (%) |  | -6.5812 | -0.31512 | -6.5817 | -3.4368 | -4.8399 | -4.6926 | -5.9671 | -- | -- | --
Opto-board at 0C |  | 1631.6773 | 1498.9036 | 1716.682 | 1488.5815 | 1566.2641 | 1441.3339 | 1753.2018 | -- | -- | --
Change (%) |  | -2.6167 | 7.9143 | 1.1995 | 2.0391 | -5.1464 | -3.2601 | 4.7803 | -- | -- | --
Opto-board at 50C |  | 1467.8439 | 1301.7322 | 1504.526 | 1305.223 | 1387.2784 | 1264.52 | 1495.9435 | -- | -- | --
Change (%) |  | -12.3947 | -6.2811 | -11.3072 | -10.5297 | -15.9858 | -15.1276 | -10.5948 | -- | -- | --
Opto-board QA (10C) |  | 1603.8027 | 1492.7296 | 1718.3318 | 1474.8058 | 1554.6923 | 1472.3332 | 1717.2507 | -- | -- | --
Change (%) |  | -4.2803 | 7.4698 | 1.2968 | 1.0948 | -5.8472 | -1.1795 | 2.6317 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1349.1548 | 1364.1188 | 1390.3212 | 1356.2371 | 1400.77 | 1411.6079 | 1467.3867 | -- | -- | --
Post Opto-pack Burn-in |  | 1262.2174 | 1262.9186 | 1285.3443 | 1229.4572 | 1281.1022 | 1259.5932 | 1326.7247 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1017.002 | 1013.7879 | 1040.7274 | 1004.9801 | 1010.5963 | 1098.7172 | 1170.2414 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 928.4774 | 919.8843 | 975.2136 | 915.7882 | 944.1615 | 1020.7174 | 1052.7753 | -- | -- | --
Change (%) |  | -8.7045 | -9.2626 | -6.295 | -8.875 | -6.5738 | -7.0992 | -10.0378 | -- | -- | --
Opto-board at 0C |  | 1013.2075 | 1011.2323 | 1085.7336 | 1014.1464 | 1056.7851 | 1122.0692 | 1186.9591 | -- | -- | --
Change (%) |  | -0.3731 | -0.25208 | 4.3245 | 0.91208 | 4.5705 | 2.1254 | 1.4286 | -- | -- | --
Opto-board at 50C |  | 875.4997 | 871.0069 | 912.8313 | 869.02 | 889.2054 | 962.896 | 993.2887 | -- | -- | --
Change (%) |  | -13.9137 | -14.0839 | -12.2891 | -13.5286 | -12.0118 | -12.3618 | -15.121 | -- | -- | --
Opto-board QA (10C) |  | 1016.4522 | 998.9281 | 1067.757 | 1006.3854 | 1023.6999 | 1118.0692 | 1175.7888 | -- | -- | --
Change (%) |  | -0.054059 | -1.4658 | 2.5972 | 0.13983 | 1.2966 | 1.7613 | 0.47404 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 356.8115 |  |  |  | 2021-03-29 |  |  |  | Pass
QA | mA | 304 | 366 | 337.4146 |  |  |  | 2021-03-29 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.50059 |  | 2021-03-29 |  |  |  | Pass
QA | uA | 1 | 0.37419 |  | 2021-03-29 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.40627 | 0.63708 | 0.48921 | 0.33653 | 0.54334 | 0.42466 | 0.30855 | 0.52352 | 0.646 | 0.44329 | 0.50428 | 0.56964 | 0.32346 | 0.41067 |  |  | Pass
Fall | ns | 1 | 0.47641 | 0.54707 | 0.58899 | 0.71132 | 0.6221 | 0.57906 | 0.52331 | 0.52971 | 0.53066 | 0.3499 | 0.55149 | 0.47959 | 0.61327 | 0.58854 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/29/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/29/2021 1: 0.52235; Date (DD/MM/YY):03/29/2021 2: 0.54245; Date (DD/MM/YY):03/29/2021 3: 0.55528; Date (DD/MM/YY):03/29/2021 4: 0.57842; Date (DD/MM/YY):03/29/2021 5: 0.59641; Date (DD/MM/YY):03/29/2021 6: 0.59228; Initial: 7: 0.61534 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/29/2021 1: 0.51278; Date (DD/MM/YY):03/29/2021 2: 0.53152; Date (DD/MM/YY):03/29/2021 3: 0.54537; Date (DD/MM/YY):03/29/2021 4: 0.57103; Date (DD/MM/YY):03/29/2021 5: 0.59247; Date (DD/MM/YY):03/29/2021 6: 0.60391; Initial: 7: 0.62284 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/29/2021 1: 0.65576; Date (DD/MM/YY):03/29/2021 2: 0.6836; Date (DD/MM/YY):03/29/2021 3: 0.67922; Date (DD/MM/YY):03/29/2021 4: 0.644; Date (DD/MM/YY):03/29/2021 5: 0.67435; Date (DD/MM/YY):03/29/2021 6: 0.63632; Initial: 7: 0.67045 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/29/2021 1: 0.67661; Date (DD/MM/YY):03/29/2021 2: 0.64423; Date (DD/MM/YY):03/29/2021 3: 0.66163; Date (DD/MM/YY):03/29/2021 4: 0.65281; Date (DD/MM/YY):03/29/2021 5: 0.62658; Date (DD/MM/YY):03/29/2021 6: 0.66278; Initial: 7: 0.69363 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/29/2021 1: 0.27503; Date (DD/MM/YY):03/29/2021 2: 0.0912; Date (DD/MM/YY):03/29/2021 3: 0.0952; Date (DD/MM/YY):03/29/2021 4: 0.15074; Date (DD/MM/YY):03/29/2021 5: 0.0621; Date (DD/MM/YY):03/29/2021 6: 0.08571; Initial: 7: 0.07625 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/29/2021 1: 0.24636; Date (DD/MM/YY):03/29/2021 2: 0.07081; Date (DD/MM/YY):03/29/2021 3: 0.09566; Date (DD/MM/YY):03/29/2021 4: 0.14514; Date (DD/MM/YY):03/29/2021 5: 0.04781; Date (DD/MM/YY):03/29/2021 6: 0.08357; Initial: 7: 0.07236 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/29/2021 1: 13.137; Date (DD/MM/YY):03/29/2021 2: 12.922; Date (DD/MM/YY):03/29/2021 3: 12.432; Date (DD/MM/YY):03/29/2021 4: 12.257; Date (DD/MM/YY):03/29/2021 5: 12.167; Date (DD/MM/YY):03/29/2021 6: 12.877; Initial: 7: 12.595
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/29/2021 1: 13.163; Date (DD/MM/YY):03/29/2021 2: 12.807; Date (DD/MM/YY):03/29/2021 3: 12.359; Date (DD/MM/YY):03/29/2021 4: 12.216; Date (DD/MM/YY):03/29/2021 5: 12.129; Date (DD/MM/YY):03/29/2021 6: 12.821; Initial: 7: 12.603
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/29/2021 1: 12.212; Date (DD/MM/YY):03/29/2021 2: 12.304; Date (DD/MM/YY):03/29/2021 3: 11.83; Date (DD/MM/YY):03/29/2021 4: 11.677; Date (DD/MM/YY):03/29/2021 5: 11.82; Date (DD/MM/YY):03/29/2021 6: 12.369; Initial: 7: 12.191
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/29/2021 1: 12.302; Date (DD/MM/YY):03/29/2021 2: 12.274; Date (DD/MM/YY):03/29/2021 3: 11.829; Date (DD/MM/YY):03/29/2021 4: 11.642; Date (DD/MM/YY):03/29/2021 5: 11.827; Date (DD/MM/YY):03/29/2021 6: 12.398; Initial: 7: 12.196
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/29/2021 1: 12.6951; Date (DD/MM/YY):03/29/2021 2: 12.5385; Date (DD/MM/YY):03/29/2021 3: 12.0986; Date (DD/MM/YY):03/29/2021 4: 11.9387; Date (DD/MM/YY):03/29/2021 5: 11.9856; Date (DD/MM/YY):03/29/2021 6: 12.6039; Initial: 7: 12.4009
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/29/2021 1: 12.7178; Date (DD/MM/YY):03/29/2021 2: 12.534; Date (DD/MM/YY):03/29/2021 3: 12.0834; Date (DD/MM/YY):03/29/2021 4: 11.938; Date (DD/MM/YY):03/29/2021 5: 11.9841; Date (DD/MM/YY):03/29/2021 6: 12.6038; Initial: 7: 12.4062
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/29/2021 1: 50.7572; Date (DD/MM/YY):03/29/2021 2: 50.2298; Date (DD/MM/YY):03/29/2021 3: 48.3523; Date (DD/MM/YY):03/29/2021 4: 47.8186; Date (DD/MM/YY):03/29/2021 5: 47.9617; Date (DD/MM/YY):03/29/2021 6: 50.5122; Initial: 7: 49.6498 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/29/2021 1: 50.8157; Date (DD/MM/YY):03/29/2021 2: 50.3004; Date (DD/MM/YY):03/29/2021 3: 48.4018; Date (DD/MM/YY):03/29/2021 4: 47.7812; Date (DD/MM/YY):03/29/2021 5: 48.1156; Date (DD/MM/YY):03/29/2021 6: 50.4539; Initial: 7: 49.6874 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/29/2021 1: 50.8999; Date (DD/MM/YY):03/29/2021 2: 50.1388; Date (DD/MM/YY):03/29/2021 3: 48.3314; Date (DD/MM/YY):03/29/2021 4: 47.7694; Date (DD/MM/YY):03/29/2021 5: 47.9411; Date (DD/MM/YY):03/29/2021 6: 50.4105; Initial: 7: 49.6152 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/29/2021 1: 1.0458; Date (DD/MM/YY):03/29/2021 2: 1.0426; Date (DD/MM/YY):03/29/2021 3: 1.0426; Date (DD/MM/YY):03/29/2021 4: 1.0216; Date (DD/MM/YY):03/29/2021 5: 1.0146; Date (DD/MM/YY):03/29/2021 6: 0.99847; Initial: 7: 1.0189 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/29/2021 1: 1.0417; Date (DD/MM/YY):03/29/2021 2: 1.0374; Date (DD/MM/YY):03/29/2021 3: 1.0363; Date (DD/MM/YY):03/29/2021 4: 1.0176; Date (DD/MM/YY):03/29/2021 5: 1.0134; Date (DD/MM/YY):03/29/2021 6: 0.9967; Initial: 7: 1.0177 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/29/2021 1: 1.0761; Date (DD/MM/YY):03/29/2021 2: 1.0879; Date (DD/MM/YY):03/29/2021 3: 1.0745; Date (DD/MM/YY):03/29/2021 4: 1.0428; Date (DD/MM/YY):03/29/2021 5: 1.0505; Date (DD/MM/YY):03/29/2021 6: 1.0457; Initial: 7: 1.0591 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/29/2021 1: 1.0654; Date (DD/MM/YY):03/29/2021 2: 1.0674; Date (DD/MM/YY):03/29/2021 3: 1.067; Date (DD/MM/YY):03/29/2021 4: 1.0456; Date (DD/MM/YY):03/29/2021 5: 1.039; Date (DD/MM/YY):03/29/2021 6: 1.0425; Initial: 7: 1.0509 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/29/2021 1: 0.34317; Date (DD/MM/YY):03/29/2021 2: 0.33884; Date (DD/MM/YY):03/29/2021 3: 0.34175; Date (DD/MM/YY):03/29/2021 4: 0.33737; Date (DD/MM/YY):03/29/2021 5: 0.33046; Date (DD/MM/YY):03/29/2021 6: 0.31676; Initial: 7: 0.33349 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/29/2021 1: 0.31778; Date (DD/MM/YY):03/29/2021 2: 0.319; Date (DD/MM/YY):03/29/2021 3: 0.31961; Date (DD/MM/YY):03/29/2021 4: 0.3132; Date (DD/MM/YY):03/29/2021 5: 0.31175; Date (DD/MM/YY):03/29/2021 6: 0.30485; Initial: 7: 0.31893 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/29/2021 1: 0.389; Date (DD/MM/YY):03/29/2021 2: 0.3963; Date (DD/MM/YY):03/29/2021 3: 0.39132; Date (DD/MM/YY):03/29/2021 4: 0.36232; Date (DD/MM/YY):03/29/2021 5: 0.37574; Date (DD/MM/YY):03/29/2021 6: 0.36853; Initial: 7: 0.37924 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/29/2021 1: 0.37439; Date (DD/MM/YY):03/29/2021 2: 0.36669; Date (DD/MM/YY):03/29/2021 3: 0.37294; Date (DD/MM/YY):03/29/2021 4: 0.36587; Date (DD/MM/YY):03/29/2021 5: 0.35453; Date (DD/MM/YY):03/29/2021 6: 0.35646; Initial: 7: 0.36061 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/29/2021 1: 0; Date (DD/MM/YY):03/29/2021 2: 0; Date (DD/MM/YY):03/29/2021 3: 0; Date (DD/MM/YY):03/29/2021 4: 0; Date (DD/MM/YY):03/29/2021 5: 0; Date (DD/MM/YY):03/29/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/29/2021 1: 0; Date (DD/MM/YY):03/29/2021 2: 0; Date (DD/MM/YY):03/29/2021 3: 0; Date (DD/MM/YY):03/29/2021 4: 0; Date (DD/MM/YY):03/29/2021 5: 0; Date (DD/MM/YY):03/29/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/29/2021 1: 0; Date (DD/MM/YY):03/29/2021 2: 0; Date (DD/MM/YY):03/29/2021 3: 0; Date (DD/MM/YY):03/29/2021 4: 0; Date (DD/MM/YY):03/29/2021 5: 0; Date (DD/MM/YY):03/29/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/29/2021 1: 0; Date (DD/MM/YY):03/29/2021 2: 0; Date (DD/MM/YY):03/29/2021 3: 0; Date (DD/MM/YY):03/29/2021 4: 0; Date (DD/MM/YY):03/29/2021 5: 0; Date (DD/MM/YY):03/29/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass