## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2315.8434 | 2224.0739 | 2251.9787 | 2090.5203 | 2161.3503 | 2213.429 | 2058.6981 | -- | -- | --
Post Opto-pack Burn-in |  | 2245.1157 | 2116.4674 | 2147.1108 | 2005.699 | 2057.7918 | 2140.7731 | 1986.8288 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1495.2445 | 1347.1756 | 1696.8042 | 1265.9754 | 1515.8454 | 1191.7841 | 1513.1652 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1568.3259 | 1387.261 | 1605.2146 | 1190.9309 | 1540.2275 | 1239.7328 | 1586.6983 | -- | -- | --
Change (%) |  | 4.8876 | 2.9755 | -5.3978 | -5.9278 | 1.6085 | 4.0233 | 4.8596 | -- | -- | --
Opto-board at 0C |  | 1634.163 | 1337.8446 | 1850.4468 | 1295.9287 | 1460.8987 | 1323.1797 | 1639.7685 | -- | -- | --
Change (%) |  | 9.2907 | -0.69264 | 9.0548 | 2.366 | -3.6248 | 11.0251 | 8.3668 | -- | -- | --
Opto-board at 50C |  | 1409.8024 | 1211.9994 | 1618.9431 | 1160.6998 | 1315.1578 | 1179.5706 | 1465.8081 | -- | -- | --
Change (%) |  | -5.7143 | -10.034 | -4.5887 | -8.3158 | -13.2393 | -1.0248 | -3.1297 | -- | -- | --
Opto-board QA (10C) |  | 1629.0272 | 1328.9339 | 1823.8498 | 1276.399 | 1458.9636 | 1320.4734 | 1653.6361 | -- | -- | --
Change (%) |  | 8.9472 | -1.3541 | 7.4873 | 0.82336 | -3.7525 | 10.798 | 9.2833 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1927.0877 | 1741.0001 | 1790.8813 | 1807.8722 | 1850.7715 | 1995.0357 | 1811.7303 | -- | -- | --
Post Opto-pack Burn-in |  | 1824.8602 | 1617.3953 | 1682.1708 | 1709.5699 | 1747.8441 | 1873.2384 | 1689.9859 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1139.5771 | 957.9497 | 1131.4141 | 1081.2218 | 1059.8272 | 1285.0171 | 1238.7884 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1205.2901 | 959.7279 | 1128.0792 | 1043.7577 | 1066.2515 | 1284.5664 | 1111.6496 | -- | -- | --
Change (%) |  | 5.7664 | 0.18562 | -0.29475 | -3.465 | 0.60616 | -0.035074 | -10.2632 | -- | -- | --
Opto-board at 0C |  | 1184.3531 | 1070.2337 | 1070.0572 | 1195.1113 | 1137.0699 | 1294.1063 | 1299.3299 | -- | -- | --
Change (%) |  | 3.9292 | 11.7213 | -5.423 | 10.5334 | 7.2882 | 0.70732 | 4.8871 | -- | -- | --
Opto-board at 50C |  | 1019.823 | 927.5242 | 963.186 | 1046.6049 | 1007.1007 | 1133.8251 | 1114.8613 | -- | -- | --
Change (%) |  | -10.5086 | -3.1761 | -14.8688 | -3.2016 | -4.975 | -11.7658 | -10.0039 | -- | -- | --
Opto-board QA (10C) |  | 1170.8609 | 1045.7861 | 1080.893 | 1156.0582 | 1097.9384 | 1254.9421 | 1314.6159 | -- | -- | --
Change (%) |  | 2.7452 | 9.1692 | -4.4653 | 6.9215 | 3.596 | -2.3404 | 6.1211 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 356.5674 |  |  |  | 2021-02-22 |  |  |  | Pass
QA | mA | 304 | 366 | 339.4653 |  |  |  | 2021-02-22 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.47994 |  | 2021-02-22 |  |  |  | Pass
QA | uA | 1 | 0.47086 |  | 2021-02-22 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.45895 | 0.50453 | 0.5195 | 0.36475 | 0.61212 | 0.43532 | 0.32136 | 0.43152 | 0.68734 | 0.56918 | 0.42765 | 0.57838 | 0.34878 | 0.42103 |  |  | Pass
Fall | ns | 1 | 0.41794 | 0.5054 | 0.5653 | 0.52512 | 0.67888 | 0.59959 | 0.4834 | 0.59758 | 0.63998 | 0.54916 | 0.54945 | 0.49142 | 0.57098 | 0.57748 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):02/22/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):02/22/2021 1: 0.49722; Date (DD/MM/YY):02/22/2021 2: 0.50782; Date (DD/MM/YY):02/22/2021 3: 0.53496; Date (DD/MM/YY):02/22/2021 4: 0.5345; Date (DD/MM/YY):02/22/2021 5: 0.54255; Date (DD/MM/YY):02/22/2021 6: 0.55435; Initial: 7: 0.57035 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):02/22/2021 1: 0.48472; Date (DD/MM/YY):02/22/2021 2: 0.50317; Date (DD/MM/YY):02/22/2021 3: 0.52901; Date (DD/MM/YY):02/22/2021 4: 0.52218; Date (DD/MM/YY):02/22/2021 5: 0.5315; Date (DD/MM/YY):02/22/2021 6: 0.55596; Initial: 7: 0.56797 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):02/22/2021 1: 0.62315; Date (DD/MM/YY):02/22/2021 2: 0.63345; Date (DD/MM/YY):02/22/2021 3: 0.60986; Date (DD/MM/YY):02/22/2021 4: 0.58003; Date (DD/MM/YY):02/22/2021 5: 0.59812; Date (DD/MM/YY):02/22/2021 6: 0.58122; Initial: 7: 0.58738 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):02/22/2021 1: 0.62763; Date (DD/MM/YY):02/22/2021 2: 0.57798; Date (DD/MM/YY):02/22/2021 3: 0.61221; Date (DD/MM/YY):02/22/2021 4: 0.59148; Date (DD/MM/YY):02/22/2021 5: 0.56383; Date (DD/MM/YY):02/22/2021 6: 0.60188; Initial: 7: 0.61824 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):02/22/2021 1: 0.22118; Date (DD/MM/YY):02/22/2021 2: 0.08044; Date (DD/MM/YY):02/22/2021 3: 0.08058; Date (DD/MM/YY):02/22/2021 4: 0.07439; Date (DD/MM/YY):02/22/2021 5: 0.07531; Date (DD/MM/YY):02/22/2021 6: 0.24877; Initial: 7: 0.16529 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):02/22/2021 1: 0.20574; Date (DD/MM/YY):02/22/2021 2: 0.07764; Date (DD/MM/YY):02/22/2021 3: 0.05579; Date (DD/MM/YY):02/22/2021 4: 0.04635; Date (DD/MM/YY):02/22/2021 5: 0.05798; Date (DD/MM/YY):02/22/2021 6: 0.24582; Initial: 7: 0.14633 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/22/2021 1: 12.276; Date (DD/MM/YY):02/22/2021 2: 13.021; Date (DD/MM/YY):02/22/2021 3: 12.513; Date (DD/MM/YY):02/22/2021 4: 12.388; Date (DD/MM/YY):02/22/2021 5: 12.456; Date (DD/MM/YY):02/22/2021 6: 12.325; Initial: 7: 12.561
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/22/2021 1: 12.2; Date (DD/MM/YY):02/22/2021 2: 12.993; Date (DD/MM/YY):02/22/2021 3: 12.363; Date (DD/MM/YY):02/22/2021 4: 12.306; Date (DD/MM/YY):02/22/2021 5: 12.362; Date (DD/MM/YY):02/22/2021 6: 12.278; Initial: 7: 12.45
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/22/2021 1: 11.499; Date (DD/MM/YY):02/22/2021 2: 12.546; Date (DD/MM/YY):02/22/2021 3: 11.981; Date (DD/MM/YY):02/22/2021 4: 11.96; Date (DD/MM/YY):02/22/2021 5: 11.996; Date (DD/MM/YY):02/22/2021 6: 11.504; Initial: 7: 11.895
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/22/2021 1: 11.517; Date (DD/MM/YY):02/22/2021 2: 12.518; Date (DD/MM/YY):02/22/2021 3: 12.018; Date (DD/MM/YY):02/22/2021 4: 12.002; Date (DD/MM/YY):02/22/2021 5: 11.975; Date (DD/MM/YY):02/22/2021 6: 11.505; Initial: 7: 11.903
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/22/2021 1: 11.8783; Date (DD/MM/YY):02/22/2021 2: 12.763; Date (DD/MM/YY):02/22/2021 3: 12.2101; Date (DD/MM/YY):02/22/2021 4: 12.1525; Date (DD/MM/YY):02/22/2021 5: 12.2019; Date (DD/MM/YY):02/22/2021 6: 11.9102; Initial: 7: 12.2027
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/22/2021 1: 11.8577; Date (DD/MM/YY):02/22/2021 2: 12.7641; Date (DD/MM/YY):02/22/2021 3: 12.2013; Date (DD/MM/YY):02/22/2021 4: 12.14; Date (DD/MM/YY):02/22/2021 5: 12.1995; Date (DD/MM/YY):02/22/2021 6: 11.9052; Initial: 7: 12.19
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):02/22/2021 1: 47.4429; Date (DD/MM/YY):02/22/2021 2: 51.1148; Date (DD/MM/YY):02/22/2021 3: 48.856; Date (DD/MM/YY):02/22/2021 4: 48.5914; Date (DD/MM/YY):02/22/2021 5: 48.7455; Date (DD/MM/YY):02/22/2021 6: 47.7017; Initial: 7: 48.8192 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):02/22/2021 1: 47.508; Date (DD/MM/YY):02/22/2021 2: 51.1027; Date (DD/MM/YY):02/22/2021 3: 48.8991; Date (DD/MM/YY):02/22/2021 4: 48.6817; Date (DD/MM/YY):02/22/2021 5: 48.8285; Date (DD/MM/YY):02/22/2021 6: 47.6718; Initial: 7: 48.8313 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):02/22/2021 1: 47.4504; Date (DD/MM/YY):02/22/2021 2: 51.0647; Date (DD/MM/YY):02/22/2021 3: 48.8097; Date (DD/MM/YY):02/22/2021 4: 48.5757; Date (DD/MM/YY):02/22/2021 5: 48.8302; Date (DD/MM/YY):02/22/2021 6: 47.6524; Initial: 7: 48.7847 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/22/2021 1: 1.0342; Date (DD/MM/YY):02/22/2021 2: 1.0353; Date (DD/MM/YY):02/22/2021 3: 1.0365; Date (DD/MM/YY):02/22/2021 4: 1.069; Date (DD/MM/YY):02/22/2021 5: 1.0492; Date (DD/MM/YY):02/22/2021 6: 1.034; Initial: 7: 1.0523 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/22/2021 1: 1.0299; Date (DD/MM/YY):02/22/2021 2: 1.0325; Date (DD/MM/YY):02/22/2021 3: 1.0313; Date (DD/MM/YY):02/22/2021 4: 1.0611; Date (DD/MM/YY):02/22/2021 5: 1.0439; Date (DD/MM/YY):02/22/2021 6: 1.0319; Initial: 7: 1.0472 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/22/2021 1: 1.0498; Date (DD/MM/YY):02/22/2021 2: 1.0808; Date (DD/MM/YY):02/22/2021 3: 1.051; Date (DD/MM/YY):02/22/2021 4: 1.0584; Date (DD/MM/YY):02/22/2021 5: 1.0792; Date (DD/MM/YY):02/22/2021 6: 1.0737; Initial: 7: 1.1072 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/22/2021 1: 1.0374; Date (DD/MM/YY):02/22/2021 2: 1.0583; Date (DD/MM/YY):02/22/2021 3: 1.0428; Date (DD/MM/YY):02/22/2021 4: 1.0607; Date (DD/MM/YY):02/22/2021 5: 1.0641; Date (DD/MM/YY):02/22/2021 6: 1.0693; Initial: 7: 1.0975 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/22/2021 1: 0.34259; Date (DD/MM/YY):02/22/2021 2: 0.33677; Date (DD/MM/YY):02/22/2021 3: 0.34301; Date (DD/MM/YY):02/22/2021 4: 0.36202; Date (DD/MM/YY):02/22/2021 5: 0.34867; Date (DD/MM/YY):02/22/2021 6: 0.3388; Initial: 7: 0.35155 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/22/2021 1: 0.31227; Date (DD/MM/YY):02/22/2021 2: 0.31854; Date (DD/MM/YY):02/22/2021 3: 0.31639; Date (DD/MM/YY):02/22/2021 4: 0.33514; Date (DD/MM/YY):02/22/2021 5: 0.3276; Date (DD/MM/YY):02/22/2021 6: 0.32108; Initial: 7: 0.33154 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/22/2021 1: 0.372; Date (DD/MM/YY):02/22/2021 2: 0.39129; Date (DD/MM/YY):02/22/2021 3: 0.38038; Date (DD/MM/YY):02/22/2021 4: 0.36983; Date (DD/MM/YY):02/22/2021 5: 0.39087; Date (DD/MM/YY):02/22/2021 6: 0.38125; Initial: 7: 0.40354 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/22/2021 1: 0.35138; Date (DD/MM/YY):02/22/2021 2: 0.36086; Date (DD/MM/YY):02/22/2021 3: 0.35761; Date (DD/MM/YY):02/22/2021 4: 0.37001; Date (DD/MM/YY):02/22/2021 5: 0.36634; Date (DD/MM/YY):02/22/2021 6: 0.36845; Initial: 7: 0.3825 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/22/2021 1: 0; Date (DD/MM/YY):02/22/2021 2: 0; Date (DD/MM/YY):02/22/2021 3: 0; Date (DD/MM/YY):02/22/2021 4: 0; Date (DD/MM/YY):02/22/2021 5: 0; Date (DD/MM/YY):02/22/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/22/2021 1: 0; Date (DD/MM/YY):02/22/2021 2: 0; Date (DD/MM/YY):02/22/2021 3: 0; Date (DD/MM/YY):02/22/2021 4: 0; Date (DD/MM/YY):02/22/2021 5: 0; Date (DD/MM/YY):02/22/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/22/2021 1: 0; Date (DD/MM/YY):02/22/2021 2: 0; Date (DD/MM/YY):02/22/2021 3: 0; Date (DD/MM/YY):02/22/2021 4: 0; Date (DD/MM/YY):02/22/2021 5: 0; Date (DD/MM/YY):02/22/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/22/2021 1: 0; Date (DD/MM/YY):02/22/2021 2: 0; Date (DD/MM/YY):02/22/2021 3: 0; Date (DD/MM/YY):02/22/2021 4: 0; Date (DD/MM/YY):02/22/2021 5: 0; Date (DD/MM/YY):02/22/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass