## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2088.1031 | 2055.5225 | 2030.6797 | 2019.3407 | 2078.7154 | 2079.9214 | 2043.0142 | -- | -- | --
Post Opto-pack Burn-in |  | 1994.8997 | 1953.8063 | 1947.9135 | 1901.2699 | 1990.2076 | 1993.7884 | 1942.438 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1597.1291 | 1309.9669 | 1654.519 | 1480.9004 | 1640.2424 | 1498.0078 | 1649.5436 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1449.3607 | 1284.1912 | 1424.1752 | 1285.6664 | 1574.2463 | 1342.0622 | 1612.7308 | -- | -- | --
Change (%) |  | -9.2521 | -1.9677 | -13.9221 | -13.1835 | -4.0236 | -10.4102 | -2.2317 | -- | -- | --
Opto-board at 0C |  | 1673.6634 | 1419.9856 | 1557.46 | 1477.3691 | 1656.6229 | 1445.7887 | 1679.6071 | -- | -- | --
Change (%) |  | 4.792 | 8.3986 | -5.8663 | -0.23846 | 0.99866 | -3.4859 | 1.8225 | -- | -- | --
Opto-board at 50C |  | 1485.0793 | 1242.3665 | 1365.3718 | 1285.4603 | 1447.3144 | 1269.7305 | 1492.7433 | -- | -- | --
Change (%) |  | -7.0157 | -5.1605 | -17.4762 | -13.1974 | -11.7622 | -15.2387 | -9.5057 | -- | -- | --
Opto-board QA (10C) |  | 1640.4788 | 1445.9838 | 1561.0196 | 1489.2895 | 1685.117 | 1452.7389 | 1674.8786 | -- | -- | --
Change (%) |  | 2.7142 | 10.3832 | -5.6512 | 0.56648 | 2.7359 | -3.0219 | 1.5359 | -- | -- | --
Reception Test |  | 1299.308 | 1155.382 | 1243.598 | 1139.96 | 1083.245 | 1027.403 | 1327.868 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2092.8772 | 2061.8479 | 2091.5909 | 1938.5775 | 2083.8809 | 2038.2232 | 2054.3524 | -- | -- | --
Post Opto-pack Burn-in |  | 2001.2459 | 1996.0649 | 1995.8638 | 1854.4477 | 1989.0619 | 1942.1263 | 1934.3485 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1517.5054 | 1452.9697 | 1484.535 | 1396.8151 | 1411.9638 | 1535.5141 | 1253.6789 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1365.8366 | 1261.6866 | 1433.7737 | 1253.1031 | 1269.9018 | 1442.7256 | 1481.1425 | -- | -- | --
Change (%) |  | -9.9946 | -13.165 | -3.4193 | -10.2885 | -10.0613 | -6.0428 | 18.1437 | -- | -- | --
Opto-board at 0C |  | 1529.6818 | 1520.2097 | 1424.5545 | 1433.7924 | 1394.7977 | 1471.2702 | 1579.4234 | -- | -- | --
Change (%) |  | 0.8024 | 4.6278 | -4.0404 | 2.6473 | -1.2158 | -4.1839 | 25.9831 | -- | -- | --
Opto-board at 50C |  | 1335.8507 | 1339.4437 | 1276.7972 | 1211.7722 | 1193.3109 | 1287.5523 | 1337.8887 | -- | -- | --
Change (%) |  | -11.9706 | -7.8134 | -13.9935 | -13.2475 | -15.4857 | -16.1485 | 6.717 | -- | -- | --
Opto-board QA (10C) |  | 1485.3925 | 1476.1842 | 1440.12 | 1411.4554 | 1374.0983 | 1493.8616 | 1605.889 | -- | -- | --
Change (%) |  | -2.1162 | 1.5977 | -2.9918 | 1.0481 | -2.6818 | -2.7126 | 28.0941 | -- | -- | --
Reception Test |  | 1048.475 | 1155.116 | 1142.834 | 1044.701 | 976.817 | 935.6879 | 953.8447 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 367.6758 |  |  |  | 2021-02-16 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 347.4976 |  |  |  | 2021-02-16 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.64407 |  | 2021-02-16 |  |  |  | Pass
QA | uA | 1 | 0.59369 |  | 2021-02-16 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.44512 | 0.61042 | 0.59878 | 0.5052 | 0.45707 | 0.50594 | 0.31116 | 0.44463 | 0.55795 | 0.5855 | 0.42355 | 0.61121 | 0.37658 | 0.38762 |  |  | Pass
Fall | ns | 1 | 0.41908 | 0.48182 | 0.60183 | 0.55594 | 0.67289 | 0.62595 | 0.58598 | 0.43831 | 0.58797 | 0.5113 | 0.473 | 0.46272 | 0.5238 | 0.53061 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):02/16/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):02/16/2021 1: 0.50166; Date (DD/MM/YY):02/16/2021 2: 0.52485; Date (DD/MM/YY):02/16/2021 3: 0.53575; Date (DD/MM/YY):02/16/2021 4: 0.55376; Date (DD/MM/YY):02/16/2021 5: 0.56866; Date (DD/MM/YY):02/16/2021 6: 0.57125; Initial: 7: 0.59059 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):02/16/2021 1: 0.47487; Date (DD/MM/YY):02/16/2021 2: 0.50513; Date (DD/MM/YY):02/16/2021 3: 0.51911; Date (DD/MM/YY):02/16/2021 4: 0.54189; Date (DD/MM/YY):02/16/2021 5: 0.55802; Date (DD/MM/YY):02/16/2021 6: 0.5675; Initial: 7: 0.59009 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):02/16/2021 1: 0.62757; Date (DD/MM/YY):02/16/2021 2: 0.66303; Date (DD/MM/YY):02/16/2021 3: 0.65715; Date (DD/MM/YY):02/16/2021 4: 0.60831; Date (DD/MM/YY):02/16/2021 5: 0.62649; Date (DD/MM/YY):02/16/2021 6: 0.62119; Initial: 7: 0.63531 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):02/16/2021 1: 0.63184; Date (DD/MM/YY):02/16/2021 2: 0.58646; Date (DD/MM/YY):02/16/2021 3: 0.63149; Date (DD/MM/YY):02/16/2021 4: 0.6197; Date (DD/MM/YY):02/16/2021 5: 0.58374; Date (DD/MM/YY):02/16/2021 6: 0.61677; Initial: 7: 0.64578 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):02/16/2021 1: 0.07691; Date (DD/MM/YY):02/16/2021 2: 0.13012; Date (DD/MM/YY):02/16/2021 3: 0.06802; Date (DD/MM/YY):02/16/2021 4: 0.11464; Date (DD/MM/YY):02/16/2021 5: 0.07542; Date (DD/MM/YY):02/16/2021 6: 0.0726; Initial: 7: 0.13586 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):02/16/2021 1: 0.06718; Date (DD/MM/YY):02/16/2021 2: 0.10184; Date (DD/MM/YY):02/16/2021 3: 0.06536; Date (DD/MM/YY):02/16/2021 4: 0.11619; Date (DD/MM/YY):02/16/2021 5: 0.06044; Date (DD/MM/YY):02/16/2021 6: 0.05073; Initial: 7: 0.1244 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/16/2021 1: 12.733; Date (DD/MM/YY):02/16/2021 2: 12.752; Date (DD/MM/YY):02/16/2021 3: 12.188; Date (DD/MM/YY):02/16/2021 4: 12.481; Date (DD/MM/YY):02/16/2021 5: 12.161; Date (DD/MM/YY):02/16/2021 6: 12.647; Initial: 7: 12.195
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/16/2021 1: 12.697; Date (DD/MM/YY):02/16/2021 2: 12.606; Date (DD/MM/YY):02/16/2021 3: 12.139; Date (DD/MM/YY):02/16/2021 4: 12.388; Date (DD/MM/YY):02/16/2021 5: 12.109; Date (DD/MM/YY):02/16/2021 6: 12.552; Initial: 7: 12.084
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/16/2021 1: 12.276; Date (DD/MM/YY):02/16/2021 2: 12.03; Date (DD/MM/YY):02/16/2021 3: 11.726; Date (DD/MM/YY):02/16/2021 4: 11.927; Date (DD/MM/YY):02/16/2021 5: 11.713; Date (DD/MM/YY):02/16/2021 6: 12.158; Initial: 7: 11.539
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/16/2021 1: 12.262; Date (DD/MM/YY):02/16/2021 2: 12.084; Date (DD/MM/YY):02/16/2021 3: 11.716; Date (DD/MM/YY):02/16/2021 4: 11.891; Date (DD/MM/YY):02/16/2021 5: 11.794; Date (DD/MM/YY):02/16/2021 6: 12.215; Initial: 7: 11.605
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/16/2021 1: 12.5057; Date (DD/MM/YY):02/16/2021 2: 12.3644; Date (DD/MM/YY):02/16/2021 3: 11.9203; Date (DD/MM/YY):02/16/2021 4: 12.1637; Date (DD/MM/YY):02/16/2021 5: 11.9486; Date (DD/MM/YY):02/16/2021 6: 12.3712; Initial: 7: 11.8383
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/16/2021 1: 12.5049; Date (DD/MM/YY):02/16/2021 2: 12.3572; Date (DD/MM/YY):02/16/2021 3: 11.9311; Date (DD/MM/YY):02/16/2021 4: 12.162; Date (DD/MM/YY):02/16/2021 5: 11.9515; Date (DD/MM/YY):02/16/2021 6: 12.3784; Initial: 7: 11.8405
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):02/16/2021 1: 50.07; Date (DD/MM/YY):02/16/2021 2: 49.535; Date (DD/MM/YY):02/16/2021 3: 47.8801; Date (DD/MM/YY):02/16/2021 4: 48.6608; Date (DD/MM/YY):02/16/2021 5: 47.8907; Date (DD/MM/YY):02/16/2021 6: 49.5675; Initial: 7: 47.4814 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):02/16/2021 1: 50.0689; Date (DD/MM/YY):02/16/2021 2: 49.5118; Date (DD/MM/YY):02/16/2021 3: 47.6909; Date (DD/MM/YY):02/16/2021 4: 48.7057; Date (DD/MM/YY):02/16/2021 5: 47.8364; Date (DD/MM/YY):02/16/2021 6: 49.5435; Initial: 7: 47.4041 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):02/16/2021 1: 50.0239; Date (DD/MM/YY):02/16/2021 2: 49.4421; Date (DD/MM/YY):02/16/2021 3: 47.7294; Date (DD/MM/YY):02/16/2021 4: 48.6609; Date (DD/MM/YY):02/16/2021 5: 47.8092; Date (DD/MM/YY):02/16/2021 6: 49.517; Initial: 7: 47.3646 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/16/2021 1: 1.1237; Date (DD/MM/YY):02/16/2021 2: 1.1126; Date (DD/MM/YY):02/16/2021 3: 1.1303; Date (DD/MM/YY):02/16/2021 4: 1.0648; Date (DD/MM/YY):02/16/2021 5: 1.0766; Date (DD/MM/YY):02/16/2021 6: 1.055; Initial: 7: 1.059 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/16/2021 1: 1.1129; Date (DD/MM/YY):02/16/2021 2: 1.1027; Date (DD/MM/YY):02/16/2021 3: 1.1188; Date (DD/MM/YY):02/16/2021 4: 1.0547; Date (DD/MM/YY):02/16/2021 5: 1.0685; Date (DD/MM/YY):02/16/2021 6: 1.0504; Initial: 7: 1.0528 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/16/2021 1: 1.1562; Date (DD/MM/YY):02/16/2021 2: 1.1605; Date (DD/MM/YY):02/16/2021 3: 1.1604; Date (DD/MM/YY):02/16/2021 4: 1.0897; Date (DD/MM/YY):02/16/2021 5: 1.0976; Date (DD/MM/YY):02/16/2021 6: 1.1152; Initial: 7: 1.1085 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/16/2021 1: 1.1426; Date (DD/MM/YY):02/16/2021 2: 1.1331; Date (DD/MM/YY):02/16/2021 3: 1.1501; Date (DD/MM/YY):02/16/2021 4: 1.0898; Date (DD/MM/YY):02/16/2021 5: 1.0809; Date (DD/MM/YY):02/16/2021 6: 1.1084; Initial: 7: 1.0998 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/16/2021 1: 0.39296; Date (DD/MM/YY):02/16/2021 2: 0.38662; Date (DD/MM/YY):02/16/2021 3: 0.39369; Date (DD/MM/YY):02/16/2021 4: 0.36983; Date (DD/MM/YY):02/16/2021 5: 0.37073; Date (DD/MM/YY):02/16/2021 6: 0.35636; Initial: 7: 0.36409 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/16/2021 1: 0.35578; Date (DD/MM/YY):02/16/2021 2: 0.35263; Date (DD/MM/YY):02/16/2021 3: 0.35807; Date (DD/MM/YY):02/16/2021 4: 0.33683; Date (DD/MM/YY):02/16/2021 5: 0.34392; Date (DD/MM/YY):02/16/2021 6: 0.33652; Initial: 7: 0.33781 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/16/2021 1: 0.43609; Date (DD/MM/YY):02/16/2021 2: 0.43692; Date (DD/MM/YY):02/16/2021 3: 0.43951; Date (DD/MM/YY):02/16/2021 4: 0.39427; Date (DD/MM/YY):02/16/2021 5: 0.40687; Date (DD/MM/YY):02/16/2021 6: 0.40909; Initial: 7: 0.4107 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/16/2021 1: 0.42096; Date (DD/MM/YY):02/16/2021 2: 0.40585; Date (DD/MM/YY):02/16/2021 3: 0.42017; Date (DD/MM/YY):02/16/2021 4: 0.39173; Date (DD/MM/YY):02/16/2021 5: 0.37977; Date (DD/MM/YY):02/16/2021 6: 0.39345; Initial: 7: 0.38861 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/16/2021 1: 0; Date (DD/MM/YY):02/16/2021 2: 0; Date (DD/MM/YY):02/16/2021 3: 0; Date (DD/MM/YY):02/16/2021 4: 0; Date (DD/MM/YY):02/16/2021 5: 0; Date (DD/MM/YY):02/16/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/16/2021 1: 0; Date (DD/MM/YY):02/16/2021 2: 0; Date (DD/MM/YY):02/16/2021 3: 0; Date (DD/MM/YY):02/16/2021 4: 0; Date (DD/MM/YY):02/16/2021 5: 0; Date (DD/MM/YY):02/16/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/16/2021 1: 0; Date (DD/MM/YY):02/16/2021 2: 0; Date (DD/MM/YY):02/16/2021 3: 0; Date (DD/MM/YY):02/16/2021 4: 0; Date (DD/MM/YY):02/16/2021 5: 0; Date (DD/MM/YY):02/16/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/16/2021 1: 0; Date (DD/MM/YY):02/16/2021 2: 0; Date (DD/MM/YY):02/16/2021 3: 0; Date (DD/MM/YY):02/16/2021 4: 0; Date (DD/MM/YY):02/16/2021 5: 0; Date (DD/MM/YY):02/16/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass