## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1676.8094 | 1552.8941 | 1618.8242 | 1499.9154 | 1570.6198 | 1622.4246 | 1525.2037 | -- | -- | --
Post Opto-pack Burn-in |  | 1567.811 | 1445.6744 | 1504.1222 | 1399.4678 | 1440.3364 | 1529.9811 | 1420.1765 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1000.6685 | 728.7566 | 1008.3224 | 822.8518 | 874.0748 | 822.3843 | 1025.194 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1068.9042 | 779.8052 | 1045.3182 | 868.1043 | 842.5329 | 905.6642 | 1134.6885 | -- | -- | --
Change (%) |  | 6.819 | 7.0049 | 3.669 | 5.4995 | -3.6086 | 10.1266 | 10.6804 | -- | -- | --
Opto-board at 0C |  | 1104.913 | 832.4364 | 1106.5613 | 893.5942 | 871.8107 | 841.2405 | 1114.7282 | -- | -- | --
Change (%) |  | 10.4175 | 14.2269 | 9.7428 | 8.5972 | -0.25902 | 2.2929 | 8.7334 | -- | -- | --
Opto-board at 50C |  | 1015.9986 | 728.6165 | 1032.3597 | 813.423 | 803.0765 | 779.1189 | 985.5195 | -- | -- | --
Change (%) |  | 1.532 | -0.019229 | 2.3839 | -1.1459 | -8.1227 | -5.261 | -3.8699 | -- | -- | --
Opto-board QA (10C) |  | 1104.8066 | 832.931 | 1123.4194 | 894.5263 | 857.733 | 830.2308 | 1124.3596 | -- | -- | --
Change (%) |  | 10.4068 | 14.2948 | 11.4147 | 8.7105 | -1.8696 | 0.95411 | 9.6729 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1777.3657 | 1644.9622 | 1677.5783 | 1603.6234 | 1621.2553 | 1715.9835 | 1526.5156 | -- | -- | --
Post Opto-pack Burn-in |  | 1582.7397 | 1442.5972 | 1499.896 | 1404.9495 | 1399.9133 | 1482.4686 | 1310.5749 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 881.8718 | 806.0367 | 864.555 | 823.5377 | 751.6876 | 889.3093 | 871.3677 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 889.7491 | 692.1086 | 775.7251 | 809.8159 | 694.4074 | 871.0559 | 844.0261 | -- | -- | --
Change (%) |  | 0.89324 | -14.1344 | -10.2746 | -1.6662 | -7.6202 | -2.0525 | -3.1378 | -- | -- | --
Opto-board at 0C |  | 834.6353 | 708.5768 | 765.1387 | 818.8443 | 727.9933 | 835.1593 | 838.4881 | -- | -- | --
Change (%) |  | -5.3564 | -12.0912 | -11.4991 | -0.5699 | -3.1522 | -6.089 | -3.7733 | -- | -- | --
Opto-board at 50C |  | 750.3559 | 666.3921 | 717.9894 | 759.2361 | 644.9403 | 779.3472 | 782.9008 | -- | -- | --
Change (%) |  | -14.9133 | -17.3248 | -16.9527 | -7.808 | -14.201 | -12.3649 | -10.1526 | -- | -- | --
Opto-board QA (10C) |  | 815.2306 | 720.7916 | 755.1897 | 810.67 | 723.2506 | 816.6523 | 844.6854 | -- | -- | --
Change (%) |  | -7.5568 | -10.5758 | -12.6499 | -1.5625 | -3.7831 | -8.1701 | -3.0621 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 347.9004 |  |  |  | 2021-03-03 |  |  |  | Pass
QA | mA | 304 | 366 | 335.5957 |  |  |  | 2021-03-03 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.86956 |  | 2021-03-03 |  |  |  | Pass
QA | uA | 1 | 0.60477 |  | 2021-03-03 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.43307 | 0.42498 | 0.47747 | 0.39767 | 0.50371 | 0.48387 | 0.46067 | 0.37702 | 0.54757 | 0.47553 | 0.57263 | 0.62003 | 0.41525 | 0.44096 |  |  | Pass
Fall | ns | 1 | 0.53805 | 0.66445 | 0.65902 | 0.74218 | 0.68109 | 0.71895 | 0.60836 | 0.48818 | 0.52247 | 0.40818 | 0.57957 | 0.44112 | 0.44338 | 0.54919 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/03/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/03/2021 1: 0.58637; Date (DD/MM/YY):03/03/2021 2: 0.60885; Date (DD/MM/YY):03/03/2021 3: 0.62695; Date (DD/MM/YY):03/03/2021 4: 0.65661; Date (DD/MM/YY):03/03/2021 5: 0.66206; Date (DD/MM/YY):03/03/2021 6: 0.70454; Initial: 7: 0.69463 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/03/2021 1: 0.55117; Date (DD/MM/YY):03/03/2021 2: 0.59316; Date (DD/MM/YY):03/03/2021 3: 0.61831; Date (DD/MM/YY):03/03/2021 4: 0.63591; Date (DD/MM/YY):03/03/2021 5: 0.65169; Date (DD/MM/YY):03/03/2021 6: 0.65363; Initial: 7: 0.66817 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/03/2021 1: 0.70783; Date (DD/MM/YY):03/03/2021 2: 0.81453; Date (DD/MM/YY):03/03/2021 3: 0.74972; Date (DD/MM/YY):03/03/2021 4: 0.7376; Date (DD/MM/YY):03/03/2021 5: 0.83001; Date (DD/MM/YY):03/03/2021 6: 0.76702; Initial: 7: 0.75511 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/03/2021 1: 0.72873; Date (DD/MM/YY):03/03/2021 2: 0.7126; Date (DD/MM/YY):03/03/2021 3: 0.73603; Date (DD/MM/YY):03/03/2021 4: 0.75451; Date (DD/MM/YY):03/03/2021 5: 0.69975; Date (DD/MM/YY):03/03/2021 6: 0.73544; Initial: 7: 0.72444 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/03/2021 1: 0.08614; Date (DD/MM/YY):03/03/2021 2: 0.08607; Date (DD/MM/YY):03/03/2021 3: 0.15792; Date (DD/MM/YY):03/03/2021 4: 0.08538; Date (DD/MM/YY):03/03/2021 5: 0.10261; Date (DD/MM/YY):03/03/2021 6: 0.07719; Initial: 7: 0.07004 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/03/2021 1: 0.07564; Date (DD/MM/YY):03/03/2021 2: 0.08396; Date (DD/MM/YY):03/03/2021 3: 0.1496; Date (DD/MM/YY):03/03/2021 4: 0.077; Date (DD/MM/YY):03/03/2021 5: 0.08497; Date (DD/MM/YY):03/03/2021 6: 0.06652; Initial: 7: 0.0679 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/03/2021 1: 12.943; Date (DD/MM/YY):03/03/2021 2: 12.245; Date (DD/MM/YY):03/03/2021 3: 12.143; Date (DD/MM/YY):03/03/2021 4: 12.811; Date (DD/MM/YY):03/03/2021 5: 12.203; Date (DD/MM/YY):03/03/2021 6: 12.119; Initial: 7: 12.823
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/03/2021 1: 12.917; Date (DD/MM/YY):03/03/2021 2: 12.237; Date (DD/MM/YY):03/03/2021 3: 12.202; Date (DD/MM/YY):03/03/2021 4: 12.757; Date (DD/MM/YY):03/03/2021 5: 12.143; Date (DD/MM/YY):03/03/2021 6: 12.152; Initial: 7: 12.767
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/03/2021 1: 12.467; Date (DD/MM/YY):03/03/2021 2: 11.718; Date (DD/MM/YY):03/03/2021 3: 11.429; Date (DD/MM/YY):03/03/2021 4: 12.321; Date (DD/MM/YY):03/03/2021 5: 11.645; Date (DD/MM/YY):03/03/2021 6: 11.636; Initial: 7: 12.362
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/03/2021 1: 12.497; Date (DD/MM/YY):03/03/2021 2: 11.799; Date (DD/MM/YY):03/03/2021 3: 11.52; Date (DD/MM/YY):03/03/2021 4: 12.36; Date (DD/MM/YY):03/03/2021 5: 11.697; Date (DD/MM/YY):03/03/2021 6: 11.732; Initial: 7: 12.378
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/03/2021 1: 12.724; Date (DD/MM/YY):03/03/2021 2: 11.9915; Date (DD/MM/YY):03/03/2021 3: 11.7843; Date (DD/MM/YY):03/03/2021 4: 12.559; Date (DD/MM/YY):03/03/2021 5: 11.9308; Date (DD/MM/YY):03/03/2021 6: 11.8879; Initial: 7: 12.5685
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/03/2021 1: 12.7175; Date (DD/MM/YY):03/03/2021 2: 11.9944; Date (DD/MM/YY):03/03/2021 3: 11.7856; Date (DD/MM/YY):03/03/2021 4: 12.5595; Date (DD/MM/YY):03/03/2021 5: 11.9302; Date (DD/MM/YY):03/03/2021 6: 11.8983; Initial: 7: 12.5673
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/03/2021 1: 50.8133; Date (DD/MM/YY):03/03/2021 2: 47.9891; Date (DD/MM/YY):03/03/2021 3: 47.1538; Date (DD/MM/YY):03/03/2021 4: 50.2677; Date (DD/MM/YY):03/03/2021 5: 47.7056; Date (DD/MM/YY):03/03/2021 6: 47.5935; Initial: 7: 50.2596 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/03/2021 1: 50.9306; Date (DD/MM/YY):03/03/2021 2: 47.949; Date (DD/MM/YY):03/03/2021 3: 47.1869; Date (DD/MM/YY):03/03/2021 4: 50.3047; Date (DD/MM/YY):03/03/2021 5: 47.7907; Date (DD/MM/YY):03/03/2021 6: 47.5997; Initial: 7: 50.3015 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/03/2021 1: 50.8824; Date (DD/MM/YY):03/03/2021 2: 47.9818; Date (DD/MM/YY):03/03/2021 3: 47.1533; Date (DD/MM/YY):03/03/2021 4: 50.2458; Date (DD/MM/YY):03/03/2021 5: 47.74; Date (DD/MM/YY):03/03/2021 6: 47.6027; Initial: 7: 50.2722 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/03/2021 1: 1.047; Date (DD/MM/YY):03/03/2021 2: 1.0461; Date (DD/MM/YY):03/03/2021 3: 1.0678; Date (DD/MM/YY):03/03/2021 4: 1.0742; Date (DD/MM/YY):03/03/2021 5: 1.0682; Date (DD/MM/YY):03/03/2021 6: 1.0517; Initial: 7: 1.0773 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/03/2021 1: 1.0378; Date (DD/MM/YY):03/03/2021 2: 1.04; Date (DD/MM/YY):03/03/2021 3: 1.0581; Date (DD/MM/YY):03/03/2021 4: 1.0679; Date (DD/MM/YY):03/03/2021 5: 1.0609; Date (DD/MM/YY):03/03/2021 6: 1.0476; Initial: 7: 1.0707 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/03/2021 1: 1.0749; Date (DD/MM/YY):03/03/2021 2: 1.0935; Date (DD/MM/YY):03/03/2021 3: 1.0894; Date (DD/MM/YY):03/03/2021 4: 1.0782; Date (DD/MM/YY):03/03/2021 5: 1.0992; Date (DD/MM/YY):03/03/2021 6: 1.0898; Initial: 7: 1.1108 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/03/2021 1: 1.0619; Date (DD/MM/YY):03/03/2021 2: 1.0713; Date (DD/MM/YY):03/03/2021 3: 1.0796; Date (DD/MM/YY):03/03/2021 4: 1.0796; Date (DD/MM/YY):03/03/2021 5: 1.0843; Date (DD/MM/YY):03/03/2021 6: 1.0846; Initial: 7: 1.1016 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/03/2021 1: 0.36141; Date (DD/MM/YY):03/03/2021 2: 0.35674; Date (DD/MM/YY):03/03/2021 3: 0.36854; Date (DD/MM/YY):03/03/2021 4: 0.36009; Date (DD/MM/YY):03/03/2021 5: 0.358; Date (DD/MM/YY):03/03/2021 6: 0.34709; Initial: 7: 0.35999 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/03/2021 1: 0.29474; Date (DD/MM/YY):03/03/2021 2: 0.29618; Date (DD/MM/YY):03/03/2021 3: 0.30883; Date (DD/MM/YY):03/03/2021 4: 0.31407; Date (DD/MM/YY):03/03/2021 5: 0.31202; Date (DD/MM/YY):03/03/2021 6: 0.30711; Initial: 7: 0.32116 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/03/2021 1: 0.38975; Date (DD/MM/YY):03/03/2021 2: 0.39981; Date (DD/MM/YY):03/03/2021 3: 0.40195; Date (DD/MM/YY):03/03/2021 4: 0.37351; Date (DD/MM/YY):03/03/2021 5: 0.39258; Date (DD/MM/YY):03/03/2021 6: 0.38311; Initial: 7: 0.39841 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/03/2021 1: 0.36049; Date (DD/MM/YY):03/03/2021 2: 0.36108; Date (DD/MM/YY):03/03/2021 3: 0.37188; Date (DD/MM/YY):03/03/2021 4: 0.3693; Date (DD/MM/YY):03/03/2021 5: 0.36442; Date (DD/MM/YY):03/03/2021 6: 0.36438; Initial: 7: 0.37326 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/03/2021 1: 0; Date (DD/MM/YY):03/03/2021 2: 0; Date (DD/MM/YY):03/03/2021 3: 0; Date (DD/MM/YY):03/03/2021 4: 0; Date (DD/MM/YY):03/03/2021 5: 0; Date (DD/MM/YY):03/03/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/03/2021 1: 0; Date (DD/MM/YY):03/03/2021 2: 0; Date (DD/MM/YY):03/03/2021 3: 0; Date (DD/MM/YY):03/03/2021 4: 0; Date (DD/MM/YY):03/03/2021 5: 0; Date (DD/MM/YY):03/03/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/03/2021 1: 0; Date (DD/MM/YY):03/03/2021 2: 0; Date (DD/MM/YY):03/03/2021 3: 0; Date (DD/MM/YY):03/03/2021 4: 0; Date (DD/MM/YY):03/03/2021 5: 0; Date (DD/MM/YY):03/03/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/03/2021 1: 0; Date (DD/MM/YY):03/03/2021 2: 0; Date (DD/MM/YY):03/03/2021 3: 0; Date (DD/MM/YY):03/03/2021 4: 0; Date (DD/MM/YY):03/03/2021 5: 0; Date (DD/MM/YY):03/03/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass