## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2198.1742 | 2145.7557 | 2066.2313 | 2093.873 | 2151.6081 | 2266.516 | 2074.6143 | -- | -- | --
Post Opto-pack Burn-in |  | 2062.2824 | 2002.9094 | 1943.6571 | 1942.725 | 1961.5443 | 2101.9342 | 1934.8327 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1489.393 | 1334.2012 | 1330.6558 | 1404.646 | 1607.0557 | 1539.3666 | 1751.971 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1580.6674 | 1282.5261 | 1542.6917 | 1356.0324 | 1508.1438 | 1467.2457 | 1654.8362 | -- | -- | --
Change (%) |  | 6.1283 | -3.8731 | 15.9347 | -3.4609 | -6.1548 | -4.6851 | -5.5443 | -- | -- | --
Opto-board at 0C |  | 1558.3348 | 1400.9031 | 1705.6632 | 1433.8643 | 1704.8742 | 1597.0422 | 1825.6272 | -- | -- | --
Change (%) |  | 4.6289 | 4.9994 | 28.1822 | 2.0801 | 6.0868 | 3.7467 | 4.2042 | -- | -- | --
Opto-board at 50C |  | 1379.297 | 1232.2853 | 1514.4949 | 1268.6553 | 1486.8676 | 1420.0789 | 1604.3303 | -- | -- | --
Change (%) |  | -7.392 | -7.6387 | 13.8157 | -9.6815 | -7.4788 | -7.7491 | -8.4271 | -- | -- | --
Opto-board QA (10C) |  | 1628.9498 | 1438.1036 | 1719.7916 | 1429.1948 | 1678.6441 | 1584.6794 | 1797.1433 | -- | -- | --
Change (%) |  | 9.37 | 7.7876 | 29.2439 | 1.7477 | 4.4546 | 2.9436 | 2.5784 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1928.2048 | 1798.4609 | 1902.6816 | 1940.4801 | 1969.0119 | 1883.2045 | 1849.118 | -- | -- | --
Post Opto-pack Burn-in |  | 1873.0914 | 1711.0982 | 1822.0855 | 1866.8296 | 1884.0855 | 1821.1598 | 1769.8404 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 870.128 | 875.3764 | 893.6353 | 1036.8968 | 980.4115 | 1077.797 | 1212.1815 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1091.7548 | 1098.5862 | 1141.206 | 1190.2067 | 1141.3402 | 1183.055 | 1270.1517 | -- | -- | --
Change (%) |  | 25.4706 | 25.4987 | 27.7038 | 14.7855 | 16.4144 | 9.766 | 4.7823 | -- | -- | --
Opto-board at 0C |  | 1319.3842 | 1137.6345 | 1307.2447 | 1256.1799 | 1254.0867 | 1377.7305 | 1349.8783 | -- | -- | --
Change (%) |  | 51.631 | 29.9595 | 46.2839 | 21.148 | 27.9143 | 27.8284 | 11.3594 | -- | -- | --
Opto-board at 50C |  | 1152.5827 | 963.3111 | 1162.4897 | 1107.6001 | 1087.9807 | 1191.1864 | 1193.4107 | -- | -- | --
Change (%) |  | 32.4613 | 10.0454 | 30.0855 | 6.8187 | 10.9718 | 10.5205 | -1.5485 | -- | -- | --
Opto-board QA (10C) |  | 1301.1601 | 1133.1667 | 1292.9263 | 1276.2667 | 1251.413 | 1388.66 | 1383.6998 | -- | -- | --
Change (%) |  | 49.5366 | 29.4491 | 44.6816 | 23.0852 | 27.6416 | 28.8424 | 14.1496 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 364.8682 |  |  |  | 2021-03-15 |  |  |  | Pass
QA | mA | 304 | 366 | 338.5864 |  |  |  | 2021-03-15 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.54135 |  | 2021-03-15 |  |  |  | Pass
QA | uA | 1 | 0.47235 |  | 2021-03-15 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.51208 | 0.64851 | 0.52003 | 0.41669 | 0.47501 | 0.46069 | 0.36263 | 0.57841 | 0.53385 | 0.78264 | 0.63419 | 0.65431 | 0.51161 | 0.55765 |  |  | Pass
Fall | ns | 1 | 0.4547 | 0.51302 | 0.63928 | 0.70102 | 0.58613 | 0.47409 | 0.42216 | 0.42991 | 0.5217 | 0.72059 | 0.49991 | 0.53898 | 0.37265 | 0.45234 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/15/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/15/2021 1: 0.63858; Date (DD/MM/YY):03/15/2021 2: 0.67042; Date (DD/MM/YY):03/15/2021 3: 0.68286; Date (DD/MM/YY):03/15/2021 4: 0.63389; Date (DD/MM/YY):03/15/2021 5: 0.61118; Date (DD/MM/YY):03/15/2021 6: 0.62917; Initial: 7: 0.64175 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/15/2021 1: 0.60017; Date (DD/MM/YY):03/15/2021 2: 0.66224; Date (DD/MM/YY):03/15/2021 3: 0.68117; Date (DD/MM/YY):03/15/2021 4: 0.61367; Date (DD/MM/YY):03/15/2021 5: 0.6204; Date (DD/MM/YY):03/15/2021 6: 0.64174; Initial: 7: 0.65282 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/15/2021 1: 0.7059; Date (DD/MM/YY):03/15/2021 2: 0.74478; Date (DD/MM/YY):03/15/2021 3: 0.70449; Date (DD/MM/YY):03/15/2021 4: 0.67852; Date (DD/MM/YY):03/15/2021 5: 0.7247; Date (DD/MM/YY):03/15/2021 6: 0.69583; Initial: 7: 0.72366 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/15/2021 1: 0.67653; Date (DD/MM/YY):03/15/2021 2: 0.64234; Date (DD/MM/YY):03/15/2021 3: 0.68258; Date (DD/MM/YY):03/15/2021 4: 0.68464; Date (DD/MM/YY):03/15/2021 5: 0.65254; Date (DD/MM/YY):03/15/2021 6: 0.69399; Initial: 7: 0.71445 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/15/2021 1: 0.16388; Date (DD/MM/YY):03/15/2021 2: 0.09914; Date (DD/MM/YY):03/15/2021 3: 0.21482; Date (DD/MM/YY):03/15/2021 4: 0.12817; Date (DD/MM/YY):03/15/2021 5: 0.10471; Date (DD/MM/YY):03/15/2021 6: 0.07784; Initial: 7: 0.14663 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/15/2021 1: 0.15936; Date (DD/MM/YY):03/15/2021 2: 0.08486; Date (DD/MM/YY):03/15/2021 3: 0.22233; Date (DD/MM/YY):03/15/2021 4: 0.12496; Date (DD/MM/YY):03/15/2021 5: 0.09312; Date (DD/MM/YY):03/15/2021 6: 0.06358; Initial: 7: 0.15639 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/15/2021 1: 13.104; Date (DD/MM/YY):03/15/2021 2: 12.261; Date (DD/MM/YY):03/15/2021 3: 12.196; Date (DD/MM/YY):03/15/2021 4: 12.239; Date (DD/MM/YY):03/15/2021 5: 12.472; Date (DD/MM/YY):03/15/2021 6: 12.917; Initial: 7: 13.183
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/15/2021 1: 13.137; Date (DD/MM/YY):03/15/2021 2: 12.241; Date (DD/MM/YY):03/15/2021 3: 12.162; Date (DD/MM/YY):03/15/2021 4: 12.174; Date (DD/MM/YY):03/15/2021 5: 12.351; Date (DD/MM/YY):03/15/2021 6: 12.864; Initial: 7: 13.184
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/15/2021 1: 12.48; Date (DD/MM/YY):03/15/2021 2: 11.759; Date (DD/MM/YY):03/15/2021 3: 11.437; Date (DD/MM/YY):03/15/2021 4: 11.692; Date (DD/MM/YY):03/15/2021 5: 11.933; Date (DD/MM/YY):03/15/2021 6: 12.473; Initial: 7: 12.562
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/15/2021 1: 12.521; Date (DD/MM/YY):03/15/2021 2: 11.796; Date (DD/MM/YY):03/15/2021 3: 11.422; Date (DD/MM/YY):03/15/2021 4: 11.736; Date (DD/MM/YY):03/15/2021 5: 11.912; Date (DD/MM/YY):03/15/2021 6: 12.514; Initial: 7: 12.595
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/15/2021 1: 12.8144; Date (DD/MM/YY):03/15/2021 2: 12.006; Date (DD/MM/YY):03/15/2021 3: 11.8158; Date (DD/MM/YY):03/15/2021 4: 11.9613; Date (DD/MM/YY):03/15/2021 5: 12.1735; Date (DD/MM/YY):03/15/2021 6: 12.6906; Initial: 7: 12.8803
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/15/2021 1: 12.7919; Date (DD/MM/YY):03/15/2021 2: 11.981; Date (DD/MM/YY):03/15/2021 3: 11.7943; Date (DD/MM/YY):03/15/2021 4: 11.9592; Date (DD/MM/YY):03/15/2021 5: 12.1671; Date (DD/MM/YY):03/15/2021 6: 12.6814; Initial: 7: 12.876
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/15/2021 1: 51.1097; Date (DD/MM/YY):03/15/2021 2: 47.881; Date (DD/MM/YY):03/15/2021 3: 47.2993; Date (DD/MM/YY):03/15/2021 4: 47.9615; Date (DD/MM/YY):03/15/2021 5: 48.8327; Date (DD/MM/YY):03/15/2021 6: 50.7141; Initial: 7: 51.5668 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/15/2021 1: 51.2718; Date (DD/MM/YY):03/15/2021 2: 48.0525; Date (DD/MM/YY):03/15/2021 3: 47.2477; Date (DD/MM/YY):03/15/2021 4: 47.8714; Date (DD/MM/YY):03/15/2021 5: 48.7286; Date (DD/MM/YY):03/15/2021 6: 50.7883; Initial: 7: 51.5593 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/15/2021 1: 51.1692; Date (DD/MM/YY):03/15/2021 2: 47.9398; Date (DD/MM/YY):03/15/2021 3: 47.1731; Date (DD/MM/YY):03/15/2021 4: 47.8455; Date (DD/MM/YY):03/15/2021 5: 48.6871; Date (DD/MM/YY):03/15/2021 6: 50.7286; Initial: 7: 51.5037 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2021 1: 1.0527; Date (DD/MM/YY):03/15/2021 2: 1.0441; Date (DD/MM/YY):03/15/2021 3: 1.0555; Date (DD/MM/YY):03/15/2021 4: 1.0394; Date (DD/MM/YY):03/15/2021 5: 1.0239; Date (DD/MM/YY):03/15/2021 6: 1.0221; Initial: 7: 1.0418 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2021 1: 1.0469; Date (DD/MM/YY):03/15/2021 2: 1.0406; Date (DD/MM/YY):03/15/2021 3: 1.0482; Date (DD/MM/YY):03/15/2021 4: 1.0374; Date (DD/MM/YY):03/15/2021 5: 1.0208; Date (DD/MM/YY):03/15/2021 6: 1.0211; Initial: 7: 1.04 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2021 1: 1.0835; Date (DD/MM/YY):03/15/2021 2: 1.0907; Date (DD/MM/YY):03/15/2021 3: 1.0879; Date (DD/MM/YY):03/15/2021 4: 1.0545; Date (DD/MM/YY):03/15/2021 5: 1.0647; Date (DD/MM/YY):03/15/2021 6: 1.0715; Initial: 7: 1.0789 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2021 1: 1.071; Date (DD/MM/YY):03/15/2021 2: 1.0692; Date (DD/MM/YY):03/15/2021 3: 1.0794; Date (DD/MM/YY):03/15/2021 4: 1.0566; Date (DD/MM/YY):03/15/2021 5: 1.0527; Date (DD/MM/YY):03/15/2021 6: 1.0668; Initial: 7: 1.0715 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2021 1: 0.36017; Date (DD/MM/YY):03/15/2021 2: 0.35498; Date (DD/MM/YY):03/15/2021 3: 0.36103; Date (DD/MM/YY):03/15/2021 4: 0.34129; Date (DD/MM/YY):03/15/2021 5: 0.32999; Date (DD/MM/YY):03/15/2021 6: 0.32504; Initial: 7: 0.33948 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2021 1: 0.31924; Date (DD/MM/YY):03/15/2021 2: 0.31584; Date (DD/MM/YY):03/15/2021 3: 0.32466; Date (DD/MM/YY):03/15/2021 4: 0.31936; Date (DD/MM/YY):03/15/2021 5: 0.3158; Date (DD/MM/YY):03/15/2021 6: 0.31731; Initial: 7: 0.32788 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2021 1: 0.40261; Date (DD/MM/YY):03/15/2021 2: 0.40756; Date (DD/MM/YY):03/15/2021 3: 0.40783; Date (DD/MM/YY):03/15/2021 4: 0.3691; Date (DD/MM/YY):03/15/2021 5: 0.38168; Date (DD/MM/YY):03/15/2021 6: 0.37955; Initial: 7: 0.39 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2021 1: 0.38056; Date (DD/MM/YY):03/15/2021 2: 0.37325; Date (DD/MM/YY):03/15/2021 3: 0.38579; Date (DD/MM/YY):03/15/2021 4: 0.36769; Date (DD/MM/YY):03/15/2021 5: 0.36007; Date (DD/MM/YY):03/15/2021 6: 0.36679; Initial: 7: 0.37 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2021 1: 0; Date (DD/MM/YY):03/15/2021 2: 0; Date (DD/MM/YY):03/15/2021 3: 0; Date (DD/MM/YY):03/15/2021 4: 0; Date (DD/MM/YY):03/15/2021 5: 0; Date (DD/MM/YY):03/15/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2021 1: 0; Date (DD/MM/YY):03/15/2021 2: 0; Date (DD/MM/YY):03/15/2021 3: 0; Date (DD/MM/YY):03/15/2021 4: 0; Date (DD/MM/YY):03/15/2021 5: 0; Date (DD/MM/YY):03/15/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2021 1: 0; Date (DD/MM/YY):03/15/2021 2: 0; Date (DD/MM/YY):03/15/2021 3: 0; Date (DD/MM/YY):03/15/2021 4: 0; Date (DD/MM/YY):03/15/2021 5: 0; Date (DD/MM/YY):03/15/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2021 1: 0; Date (DD/MM/YY):03/15/2021 2: 0; Date (DD/MM/YY):03/15/2021 3: 0; Date (DD/MM/YY):03/15/2021 4: 0; Date (DD/MM/YY):03/15/2021 5: 0; Date (DD/MM/YY):03/15/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass