## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1498.0881 | 1404.2885 | 1429.5181 | 1358.7298 | 1426.7253 | 1521.9624 | 1395.4927 | -- | -- | --
Post Opto-pack Burn-in |  | 1669.1683 | 1540.9782 | 1555.8807 | 1431.8287 | 1493.2318 | 1561.7596 | 1406.3561 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1198.112 | 1048.9951 | 1166.5644 | 1034.353 | 1146.1185 | 1075.563 | 1248.1217 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1297.772 | 1049.8112 | 1279.9316 | 1014.5723 | 1120.0917 | 1054.2817 | 1208.6729 | -- | -- | --
Change (%) |  | 8.3181 | 0.077794 | 9.718 | -1.9124 | -2.2709 | -1.9786 | -3.1607 | -- | -- | --
Opto-board at 0C |  | 1362.7386 | 1112.0619 | 1336.0352 | 1047.6715 | 1173.6548 | 1108.9083 | 1269.5796 | -- | -- | --
Change (%) |  | 13.7405 | 6.0121 | 14.5273 | 1.2876 | 2.4026 | 3.1003 | 1.7192 | -- | -- | --
Opto-board at 50C |  | 1141.3086 | 984.2221 | 1232.317 | 922.3374 | 1053.2248 | 1001.3685 | 1118.9951 | -- | -- | --
Change (%) |  | -4.7411 | -6.1748 | 5.6364 | -10.8295 | -8.1051 | -6.8982 | -10.3457 | -- | -- | --
Opto-board QA (10C) |  | 1355.5813 | 1104.124 | 1337.935 | 1029.9254 | 1159.9641 | 1095.579 | 1275.3338 | -- | -- | --
Change (%) |  | 13.1431 | 5.2554 | 14.6902 | -0.42805 | 1.208 | 1.861 | 2.1802 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2025.2995 | 2049.653 | 1964.0797 | 2011.9422 | 2045.6357 | 2082.1572 | 2000.3227 | -- | -- | --
Post Opto-pack Burn-in |  | 1961.3537 | 1986.4548 | 1920.0306 | 1960.9742 | 1994.3391 | 2019.2753 | 1942.1617 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1249.291 | 1384.4162 | 1286.5984 | 1344.4076 | 1383.5458 | 1382.2657 | 1447.8013 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1219.9811 | 1359.5844 | 1221.7219 | 1220.764 | 1344.726 | 1369.4676 | 1367.4625 | -- | -- | --
Change (%) |  | -2.3461 | -1.7937 | -5.0425 | -9.1969 | -2.8058 | -0.92588 | -5.549 | -- | -- | --
Opto-board at 0C |  | 1308.3344 | 1412.9742 | 1286.9125 | 1295.233 | 1386.21 | 1491.2325 | 1552.8164 | -- | -- | --
Change (%) |  | 4.7262 | 2.0628 | 0.024412 | -3.6577 | 0.19256 | 7.8832 | 7.2534 | -- | -- | --
Opto-board at 50C |  | 1149.8428 | 1235.2553 | 1119.3219 | 1122.4884 | 1253.0569 | 1293.9091 | 1356.9327 | -- | -- | --
Change (%) |  | -7.9604 | -10.7743 | -13.0015 | -16.5068 | -9.4315 | -6.3922 | -6.2763 | -- | -- | --
Opto-board QA (10C) |  | 1385.728 | 1447.9211 | 1430.4851 | 1355.0801 | 1408.6667 | 1523.9273 | 1544.9144 | -- | -- | --
Change (%) |  | 10.9212 | 4.5871 | 11.1835 | 0.79385 | 1.8157 | 10.2485 | 6.7076 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 362.4268 |  |  |  | 2021-03-18 |  |  |  | Pass
QA | mA | 304 | 366 | 339.0015 |  |  |  | 2021-03-18 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.65834 |  | 2021-03-18 |  |  |  | Pass
QA | uA | 1 | 0.65095 |  | 2021-03-18 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.54822 | 0.642 | 0.61479 | 0.33726 | 0.68586 | 0.5721 | 0.43352 | 0.46912 | 0.70139 | 0.62469 | 0.50041 | 0.607 | 0.27748 | 0.40003 |  |  | Pass
Fall | ns | 1 | 0.60147 | 0.47968 | 0.6559 | 0.67978 | 0.69305 | 0.52212 | 0.45668 | 0.41186 | 0.45215 | 0.61992 | 0.49781 | 0.48269 | 0.62793 | 0.51109 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/18/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/18/2021 1: 0.48509; Date (DD/MM/YY):03/18/2021 2: 0.50682; Date (DD/MM/YY):03/18/2021 3: 0.51974; Date (DD/MM/YY):03/18/2021 4: 0.5423; Date (DD/MM/YY):03/18/2021 5: 0.55548; Date (DD/MM/YY):03/18/2021 6: 0.55374; Initial: 7: 0.57263 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/18/2021 1: 0.48184; Date (DD/MM/YY):03/18/2021 2: 0.49978; Date (DD/MM/YY):03/18/2021 3: 0.51568; Date (DD/MM/YY):03/18/2021 4: 0.53858; Date (DD/MM/YY):03/18/2021 5: 0.55646; Date (DD/MM/YY):03/18/2021 6: 0.55795; Initial: 7: 0.57593 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/18/2021 1: 0.55057; Date (DD/MM/YY):03/18/2021 2: 0.6167; Date (DD/MM/YY):03/18/2021 3: 0.62164; Date (DD/MM/YY):03/18/2021 4: 0.59237; Date (DD/MM/YY):03/18/2021 5: 0.61775; Date (DD/MM/YY):03/18/2021 6: 0.60187; Initial: 7: 0.60308 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/18/2021 1: 0.62465; Date (DD/MM/YY):03/18/2021 2: 0.61594; Date (DD/MM/YY):03/18/2021 3: 0.62472; Date (DD/MM/YY):03/18/2021 4: 0.60825; Date (DD/MM/YY):03/18/2021 5: 0.58678; Date (DD/MM/YY):03/18/2021 6: 0.60885; Initial: 7: 0.62492 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/18/2021 1: 0.3567; Date (DD/MM/YY):03/18/2021 2: 0.09016; Date (DD/MM/YY):03/18/2021 3: 0.09933; Date (DD/MM/YY):03/18/2021 4: 0.17273; Date (DD/MM/YY):03/18/2021 5: 0.15222; Date (DD/MM/YY):03/18/2021 6: 0.08164; Initial: 7: 0.05456 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/18/2021 1: 0.36372; Date (DD/MM/YY):03/18/2021 2: 0.08584; Date (DD/MM/YY):03/18/2021 3: 0.06699; Date (DD/MM/YY):03/18/2021 4: 0.16877; Date (DD/MM/YY):03/18/2021 5: 0.14219; Date (DD/MM/YY):03/18/2021 6: 0.08533; Initial: 7: 0.04911 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/18/2021 1: 12.754; Date (DD/MM/YY):03/18/2021 2: 12.831; Date (DD/MM/YY):03/18/2021 3: 12.317; Date (DD/MM/YY):03/18/2021 4: 12.317; Date (DD/MM/YY):03/18/2021 5: 12.376; Date (DD/MM/YY):03/18/2021 6: 12.413; Initial: 7: 12.517
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/18/2021 1: 12.738; Date (DD/MM/YY):03/18/2021 2: 12.778; Date (DD/MM/YY):03/18/2021 3: 12.276; Date (DD/MM/YY):03/18/2021 4: 12.301; Date (DD/MM/YY):03/18/2021 5: 12.314; Date (DD/MM/YY):03/18/2021 6: 12.39; Initial: 7: 12.456
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/18/2021 1: 11.638; Date (DD/MM/YY):03/18/2021 2: 12.252; Date (DD/MM/YY):03/18/2021 3: 11.762; Date (DD/MM/YY):03/18/2021 4: 11.663; Date (DD/MM/YY):03/18/2021 5: 11.681; Date (DD/MM/YY):03/18/2021 6: 11.967; Initial: 7: 12.148
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/18/2021 1: 11.664; Date (DD/MM/YY):03/18/2021 2: 12.297; Date (DD/MM/YY):03/18/2021 3: 11.826; Date (DD/MM/YY):03/18/2021 4: 11.696; Date (DD/MM/YY):03/18/2021 5: 11.772; Date (DD/MM/YY):03/18/2021 6: 11.972; Initial: 7: 12.115
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/18/2021 1: 12.1818; Date (DD/MM/YY):03/18/2021 2: 12.5164; Date (DD/MM/YY):03/18/2021 3: 12.0396; Date (DD/MM/YY):03/18/2021 4: 12.007; Date (DD/MM/YY):03/18/2021 5: 12.032; Date (DD/MM/YY):03/18/2021 6: 12.1813; Initial: 7: 12.3179
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/18/2021 1: 12.1867; Date (DD/MM/YY):03/18/2021 2: 12.5283; Date (DD/MM/YY):03/18/2021 3: 12.0369; Date (DD/MM/YY):03/18/2021 4: 11.9952; Date (DD/MM/YY):03/18/2021 5: 12.0267; Date (DD/MM/YY):03/18/2021 6: 12.1707; Initial: 7: 12.3003
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/18/2021 1: 49.1674; Date (DD/MM/YY):03/18/2021 2: 50.2071; Date (DD/MM/YY):03/18/2021 3: 48.1783; Date (DD/MM/YY):03/18/2021 4: 48.052; Date (DD/MM/YY):03/18/2021 5: 48.102; Date (DD/MM/YY):03/18/2021 6: 48.7692; Initial: 7: 49.2901 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/18/2021 1: 48.7782; Date (DD/MM/YY):03/18/2021 2: 50.1323; Date (DD/MM/YY):03/18/2021 3: 48.1828; Date (DD/MM/YY):03/18/2021 4: 48.0712; Date (DD/MM/YY):03/18/2021 5: 48.1744; Date (DD/MM/YY):03/18/2021 6: 48.7277; Initial: 7: 49.301 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/18/2021 1: 48.8076; Date (DD/MM/YY):03/18/2021 2: 50.1226; Date (DD/MM/YY):03/18/2021 3: 48.1869; Date (DD/MM/YY):03/18/2021 4: 48.0458; Date (DD/MM/YY):03/18/2021 5: 48.1167; Date (DD/MM/YY):03/18/2021 6: 48.6941; Initial: 7: 49.2138 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/18/2021 1: 1.0067; Date (DD/MM/YY):03/18/2021 2: 1.0119; Date (DD/MM/YY):03/18/2021 3: 1.0374; Date (DD/MM/YY):03/18/2021 4: 1.0287; Date (DD/MM/YY):03/18/2021 5: 1.0244; Date (DD/MM/YY):03/18/2021 6: 1.0235; Initial: 7: 1.0398 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/18/2021 1: 0.99972; Date (DD/MM/YY):03/18/2021 2: 1.0076; Date (DD/MM/YY):03/18/2021 3: 1.0301; Date (DD/MM/YY):03/18/2021 4: 1.0252; Date (DD/MM/YY):03/18/2021 5: 1.0209; Date (DD/MM/YY):03/18/2021 6: 1.0188; Initial: 7: 1.0349 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/18/2021 1: 1.0467; Date (DD/MM/YY):03/18/2021 2: 1.0533; Date (DD/MM/YY):03/18/2021 3: 1.0793; Date (DD/MM/YY):03/18/2021 4: 1.0445; Date (DD/MM/YY):03/18/2021 5: 1.0501; Date (DD/MM/YY):03/18/2021 6: 1.0482; Initial: 7: 1.0666 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/18/2021 1: 1.0353; Date (DD/MM/YY):03/18/2021 2: 1.0325; Date (DD/MM/YY):03/18/2021 3: 1.0687; Date (DD/MM/YY):03/18/2021 4: 1.0445; Date (DD/MM/YY):03/18/2021 5: 1.0366; Date (DD/MM/YY):03/18/2021 6: 1.0431; Initial: 7: 1.0564 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/18/2021 1: 0.33667; Date (DD/MM/YY):03/18/2021 2: 0.33474; Date (DD/MM/YY):03/18/2021 3: 0.35192; Date (DD/MM/YY):03/18/2021 4: 0.34381; Date (DD/MM/YY):03/18/2021 5: 0.33739; Date (DD/MM/YY):03/18/2021 6: 0.33566; Initial: 7: 0.34759 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/18/2021 1: 0.31007; Date (DD/MM/YY):03/18/2021 2: 0.31572; Date (DD/MM/YY):03/18/2021 3: 0.32759; Date (DD/MM/YY):03/18/2021 4: 0.32051; Date (DD/MM/YY):03/18/2021 5: 0.32009; Date (DD/MM/YY):03/18/2021 6: 0.32215; Initial: 7: 0.33157 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/18/2021 1: 0.38129; Date (DD/MM/YY):03/18/2021 2: 0.38678; Date (DD/MM/YY):03/18/2021 3: 0.40396; Date (DD/MM/YY):03/18/2021 4: 0.36909; Date (DD/MM/YY):03/18/2021 5: 0.37614; Date (DD/MM/YY):03/18/2021 6: 0.36946; Initial: 7: 0.38574 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/18/2021 1: 0.36417; Date (DD/MM/YY):03/18/2021 2: 0.35647; Date (DD/MM/YY):03/18/2021 3: 0.3851; Date (DD/MM/YY):03/18/2021 4: 0.36789; Date (DD/MM/YY):03/18/2021 5: 0.35641; Date (DD/MM/YY):03/18/2021 6: 0.36062; Initial: 7: 0.3691 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/18/2021 1: 0; Date (DD/MM/YY):03/18/2021 2: 0; Date (DD/MM/YY):03/18/2021 3: 0; Date (DD/MM/YY):03/18/2021 4: 0; Date (DD/MM/YY):03/18/2021 5: 0; Date (DD/MM/YY):03/18/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/18/2021 1: 0; Date (DD/MM/YY):03/18/2021 2: 0; Date (DD/MM/YY):03/18/2021 3: 0; Date (DD/MM/YY):03/18/2021 4: 0; Date (DD/MM/YY):03/18/2021 5: 0; Date (DD/MM/YY):03/18/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/18/2021 1: 0; Date (DD/MM/YY):03/18/2021 2: 0; Date (DD/MM/YY):03/18/2021 3: 0; Date (DD/MM/YY):03/18/2021 4: 0; Date (DD/MM/YY):03/18/2021 5: 0; Date (DD/MM/YY):03/18/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/18/2021 1: 0; Date (DD/MM/YY):03/18/2021 2: 0; Date (DD/MM/YY):03/18/2021 3: 0; Date (DD/MM/YY):03/18/2021 4: 0; Date (DD/MM/YY):03/18/2021 5: 0; Date (DD/MM/YY):03/18/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass