## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2148.6783 | 2071.2183 | 2123.1082 | 2117.3027 | 2146.8436 | 2175.9713 | 2098.3663 | -- | -- | --
Post Opto-pack Burn-in |  | 2125.9256 | 2023.7685 | 2091.1707 | 2047.1461 | 2107.0348 | 2108.1517 | 2070.2315 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1424.4748 | 1299.4242 | 1726.7508 | 1446.6809 | 1620.3207 | 1314.7797 | 1797.215 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1612.5365 | 1358.4684 | 1650.7495 | 1344.0135 | 1495.7206 | 1379.6955 | 1658.0262 | -- | -- | --
Change (%) |  | 13.2022 | 4.5439 | -4.4014 | -7.0968 | -7.6898 | 4.9374 | -7.7447 | -- | -- | --
Opto-board at 0C |  | 1650.7021 | 1469.9626 | 1777.785 | 1474.8686 | 1644.1222 | 1448.5038 | 1821.5552 | -- | -- | --
Change (%) |  | 15.8815 | 13.1242 | 2.9555 | 1.9484 | 1.4689 | 10.1708 | 1.3543 | -- | -- | --
Opto-board at 50C |  | 1514.4627 | 1316.7756 | 1565.5191 | 1310.2869 | 1451.8619 | 1302.6453 | 1593.2423 | -- | -- | --
Change (%) |  | 6.3173 | 1.3353 | -9.3373 | -9.4281 | -10.3966 | -0.92292 | -11.3494 | -- | -- | --
Opto-board QA (10C) |  | 1705.5712 | 1464.3409 | 1753.2078 | 1485.561 | 1646.6572 | 1438.5485 | 1797.3689 | -- | -- | --
Change (%) |  | 19.7333 | 12.6915 | 1.5322 | 2.6875 | 1.6254 | 9.4137 | 0.0085609 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2098.8771 | 1993.3392 | 2094.5573 | 2052.9097 | 2085.4044 | 2149.8823 | 2152.2031 | -- | -- | --
Post Opto-pack Burn-in |  | 2048.2595 | 1906.4011 | 2024.9799 | 2021.6353 | 1997.1225 | 2095.3566 | 2059.7782 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1269.3536 | 1212.5143 | 1335.586 | 1211.4048 | 1245.5934 | 1354.8855 | 1473.1651 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1236.6729 | 1139.2071 | 1266.2847 | 1188.7923 | 1202.2293 | 1316.6602 | 1446.2096 | -- | -- | --
Change (%) |  | -2.5746 | -6.0459 | -5.1888 | -1.8666 | -3.4814 | -2.8213 | -1.8298 | -- | -- | --
Opto-board at 0C |  | 1401.14 | 1297.6432 | 1413.8941 | 1292.4225 | 1294.0307 | 1446.2655 | 1575.9951 | -- | -- | --
Change (%) |  | 10.3822 | 7.0209 | 5.8632 | 6.6879 | 3.8887 | 6.7445 | 6.9802 | -- | -- | --
Opto-board at 50C |  | 1191.3381 | 1098.7202 | 1229.1953 | 1134.1437 | 1151.2506 | 1260.144 | 1378.9152 | -- | -- | --
Change (%) |  | -6.1461 | -9.385 | -7.9658 | -6.3778 | -7.5741 | -6.9926 | -6.3978 | -- | -- | --
Opto-board QA (10C) |  | 1369.2795 | 1278.0207 | 1388.241 | 1299.9447 | 1270.9599 | 1427.2139 | 1561.8769 | -- | -- | --
Change (%) |  | 7.8722 | 5.4025 | 3.9425 | 7.3089 | 2.0365 | 5.3383 | 6.0219 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 367.9199 |  |  |  | 2021-03-23 |  |  |  | Pass
QA | mA | 304 | 366 | 344.2627 |  |  |  | 2021-03-23 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.70906 |  | 2021-03-23 |  |  |  | Pass
QA | uA | 1 | 0.54481 |  | 2021-03-23 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.50356 | 0.53502 | 0.41644 | 0.56933 | 0.47575 | 0.37841 | 0.39314 | 0.60611 | 0.58745 | 0.68861 | 0.51183 | 0.48967 | 0.24307 | 0.40495 |  |  | Pass
Fall | ns | 1 | 0.45098 | 0.40522 | 0.69193 | 0.68496 | 0.80941 | 0.57067 | 0.53509 | 0.45929 | 0.42959 | 0.61559 | 0.4961 | 0.48454 | 0.58298 | 0.51284 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/23/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.55737; Date (DD/MM/YY):03/23/2021 2: 0.57439; Date (DD/MM/YY):03/23/2021 3: 0.60057; Date (DD/MM/YY):03/23/2021 4: 0.60693; Date (DD/MM/YY):03/23/2021 5: 0.63118; Date (DD/MM/YY):03/23/2021 6: 0.62115; Initial: 7: 0.64434 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.53141; Date (DD/MM/YY):03/23/2021 2: 0.55412; Date (DD/MM/YY):03/23/2021 3: 0.57508; Date (DD/MM/YY):03/23/2021 4: 0.5985; Date (DD/MM/YY):03/23/2021 5: 0.63409; Date (DD/MM/YY):03/23/2021 6: 0.62735; Initial: 7: 0.65102 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.69738; Date (DD/MM/YY):03/23/2021 2: 0.73618; Date (DD/MM/YY):03/23/2021 3: 0.69656; Date (DD/MM/YY):03/23/2021 4: 0.67398; Date (DD/MM/YY):03/23/2021 5: 0.72079; Date (DD/MM/YY):03/23/2021 6: 0.67436; Initial: 7: 0.68374 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.68903; Date (DD/MM/YY):03/23/2021 2: 0.67397; Date (DD/MM/YY):03/23/2021 3: 0.69809; Date (DD/MM/YY):03/23/2021 4: 0.69013; Date (DD/MM/YY):03/23/2021 5: 0.66806; Date (DD/MM/YY):03/23/2021 6: 0.6741; Initial: 7: 0.70366 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.07599; Date (DD/MM/YY):03/23/2021 2: 0.0719; Date (DD/MM/YY):03/23/2021 3: 0.24427; Date (DD/MM/YY):03/23/2021 4: 0.07788; Date (DD/MM/YY):03/23/2021 5: 0.12448; Date (DD/MM/YY):03/23/2021 6: 0.08636; Initial: 7: 0.09206 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.0612; Date (DD/MM/YY):03/23/2021 2: 0.05693; Date (DD/MM/YY):03/23/2021 3: 0.2408; Date (DD/MM/YY):03/23/2021 4: 0.04778; Date (DD/MM/YY):03/23/2021 5: 0.11303; Date (DD/MM/YY):03/23/2021 6: 0.06685; Initial: 7: 0.07564 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 13.201; Date (DD/MM/YY):03/23/2021 2: 12.159; Date (DD/MM/YY):03/23/2021 3: 12.644; Date (DD/MM/YY):03/23/2021 4: 12.782; Date (DD/MM/YY):03/23/2021 5: 13.416; Date (DD/MM/YY):03/23/2021 6: 12.069; Initial: 7: 12.76
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 13.122; Date (DD/MM/YY):03/23/2021 2: 12.124; Date (DD/MM/YY):03/23/2021 3: 12.621; Date (DD/MM/YY):03/23/2021 4: 12.683; Date (DD/MM/YY):03/23/2021 5: 13.313; Date (DD/MM/YY):03/23/2021 6: 11.969; Initial: 7: 12.707
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 12.721; Date (DD/MM/YY):03/23/2021 2: 11.703; Date (DD/MM/YY):03/23/2021 3: 11.756; Date (DD/MM/YY):03/23/2021 4: 12.321; Date (DD/MM/YY):03/23/2021 5: 12.794; Date (DD/MM/YY):03/23/2021 6: 11.535; Initial: 7: 12.234
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 12.74; Date (DD/MM/YY):03/23/2021 2: 11.749; Date (DD/MM/YY):03/23/2021 3: 11.832; Date (DD/MM/YY):03/23/2021 4: 12.399; Date (DD/MM/YY):03/23/2021 5: 12.841; Date (DD/MM/YY):03/23/2021 6: 11.612; Initial: 7: 12.281
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 12.9354; Date (DD/MM/YY):03/23/2021 2: 11.9399; Date (DD/MM/YY):03/23/2021 3: 12.2178; Date (DD/MM/YY):03/23/2021 4: 12.5354; Date (DD/MM/YY):03/23/2021 5: 13.0674; Date (DD/MM/YY):03/23/2021 6: 11.7984; Initial: 7: 12.4896
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 12.9219; Date (DD/MM/YY):03/23/2021 2: 11.9336; Date (DD/MM/YY):03/23/2021 3: 12.2414; Date (DD/MM/YY):03/23/2021 4: 12.5402; Date (DD/MM/YY):03/23/2021 5: 13.0728; Date (DD/MM/YY):03/23/2021 6: 11.7759; Initial: 7: 12.4949
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/23/2021 1: 52.055; Date (DD/MM/YY):03/23/2021 2: 47.8304; Date (DD/MM/YY):03/23/2021 3: 48.9352; Date (DD/MM/YY):03/23/2021 4: 50.1815; Date (DD/MM/YY):03/23/2021 5: 52.375; Date (DD/MM/YY):03/23/2021 6: 47.0692; Initial: 7: 49.9597 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/23/2021 1: 51.7651; Date (DD/MM/YY):03/23/2021 2: 47.7934; Date (DD/MM/YY):03/23/2021 3: 48.8845; Date (DD/MM/YY):03/23/2021 4: 50.2281; Date (DD/MM/YY):03/23/2021 5: 52.2939; Date (DD/MM/YY):03/23/2021 6: 47.2713; Initial: 7: 50.0063 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/23/2021 1: 51.7047; Date (DD/MM/YY):03/23/2021 2: 47.7475; Date (DD/MM/YY):03/23/2021 3: 48.9735; Date (DD/MM/YY):03/23/2021 4: 50.1649; Date (DD/MM/YY):03/23/2021 5: 52.2933; Date (DD/MM/YY):03/23/2021 6: 47.1117; Initial: 7: 49.9825 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/23/2021 1: 1.0609; Date (DD/MM/YY):03/23/2021 2: 1.0737; Date (DD/MM/YY):03/23/2021 3: 1.0772; Date (DD/MM/YY):03/23/2021 4: 1.0313; Date (DD/MM/YY):03/23/2021 5: 1.01; Date (DD/MM/YY):03/23/2021 6: 1.0162; Initial: 7: 1.0415 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/23/2021 1: 1.0557; Date (DD/MM/YY):03/23/2021 2: 1.0702; Date (DD/MM/YY):03/23/2021 3: 1.0698; Date (DD/MM/YY):03/23/2021 4: 1.0313; Date (DD/MM/YY):03/23/2021 5: 1.0112; Date (DD/MM/YY):03/23/2021 6: 1.0137; Initial: 7: 1.0402 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/23/2021 1: 1.1052; Date (DD/MM/YY):03/23/2021 2: 1.1136; Date (DD/MM/YY):03/23/2021 3: 1.1243; Date (DD/MM/YY):03/23/2021 4: 1.0331; Date (DD/MM/YY):03/23/2021 5: 1.0499; Date (DD/MM/YY):03/23/2021 6: 1.0589; Initial: 7: 1.072 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/23/2021 1: 1.094; Date (DD/MM/YY):03/23/2021 2: 1.0928; Date (DD/MM/YY):03/23/2021 3: 1.1152; Date (DD/MM/YY):03/23/2021 4: 1.0379; Date (DD/MM/YY):03/23/2021 5: 1.0388; Date (DD/MM/YY):03/23/2021 6: 1.0556; Initial: 7: 1.0654 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/23/2021 1: 0.35912; Date (DD/MM/YY):03/23/2021 2: 0.36236; Date (DD/MM/YY):03/23/2021 3: 0.36364; Date (DD/MM/YY):03/23/2021 4: 0.32799; Date (DD/MM/YY):03/23/2021 5: 0.31611; Date (DD/MM/YY):03/23/2021 6: 0.32255; Initial: 7: 0.33444 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/23/2021 1: 0.33472; Date (DD/MM/YY):03/23/2021 2: 0.33801; Date (DD/MM/YY):03/23/2021 3: 0.34321; Date (DD/MM/YY):03/23/2021 4: 0.31193; Date (DD/MM/YY):03/23/2021 5: 0.30367; Date (DD/MM/YY):03/23/2021 6: 0.30584; Initial: 7: 0.31988 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/23/2021 1: 0.41206; Date (DD/MM/YY):03/23/2021 2: 0.41766; Date (DD/MM/YY):03/23/2021 3: 0.42142; Date (DD/MM/YY):03/23/2021 4: 0.35097; Date (DD/MM/YY):03/23/2021 5: 0.36768; Date (DD/MM/YY):03/23/2021 6: 0.3675; Initial: 7: 0.37709 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/23/2021 1: 0.39194; Date (DD/MM/YY):03/23/2021 2: 0.38323; Date (DD/MM/YY):03/23/2021 3: 0.40127; Date (DD/MM/YY):03/23/2021 4: 0.35036; Date (DD/MM/YY):03/23/2021 5: 0.34433; Date (DD/MM/YY):03/23/2021 6: 0.35378; Initial: 7: 0.35916 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/23/2021 1: 0; Date (DD/MM/YY):03/23/2021 2: 0; Date (DD/MM/YY):03/23/2021 3: 0; Date (DD/MM/YY):03/23/2021 4: 0; Date (DD/MM/YY):03/23/2021 5: 0; Date (DD/MM/YY):03/23/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/23/2021 1: 0; Date (DD/MM/YY):03/23/2021 2: 0; Date (DD/MM/YY):03/23/2021 3: 0; Date (DD/MM/YY):03/23/2021 4: 0; Date (DD/MM/YY):03/23/2021 5: 0; Date (DD/MM/YY):03/23/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/23/2021 1: 0; Date (DD/MM/YY):03/23/2021 2: 0; Date (DD/MM/YY):03/23/2021 3: 0; Date (DD/MM/YY):03/23/2021 4: 0; Date (DD/MM/YY):03/23/2021 5: 0; Date (DD/MM/YY):03/23/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/23/2021 1: 0; Date (DD/MM/YY):03/23/2021 2: 0; Date (DD/MM/YY):03/23/2021 3: 0; Date (DD/MM/YY):03/23/2021 4: 0; Date (DD/MM/YY):03/23/2021 5: 0; Date (DD/MM/YY):03/23/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass