## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2116.7107 | 1993.6922 | 2097.7234 | 2122.0767 | 2038.9611 | 2130.2698 | 2050.2379 | -- | -- | --
Post Opto-pack Burn-in |  | 2025.3593 | 1881.3284 | 1975.729 | 2037.0277 | 2001.9165 | 2031.5094 | 1963.1709 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1642.7517 | 1365.6728 | 1719.3517 | 1484.4586 | 1602.992 | 1481.2429 | 1700.8701 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1490.7277 | 1277.9513 | 1607.8443 | 1398.7216 | 1529.0911 | 1386.9269 | 1646.2715 | -- | -- | --
Change (%) |  | -9.2542 | -6.4233 | -6.4854 | -5.7756 | -4.6102 | -6.3674 | -3.21 | -- | -- | --
Opto-board at 0C |  | 1656.3119 | 1355.4597 | 1735.5698 | 1496.3073 | 1633.2083 | 1496.2593 | 1713.5479 | -- | -- | --
Change (%) |  | 0.82545 | -0.74784 | 0.94327 | 0.79818 | 1.885 | 1.0138 | 0.74537 | -- | -- | --
Opto-board at 50C |  | 1454.2451 | 1199.0663 | 1511.7052 | 1294.3244 | 1432.2111 | 1298.3662 | 1529.2278 | -- | -- | --
Change (%) |  | -11.4751 | -12.1996 | -12.077 | -12.8083 | -10.6539 | -12.3462 | -10.0914 | -- | -- | --
Opto-board QA (10C) |  | 1640.208 | 1355.5257 | 1717.0519 | 1465.7983 | 1589.9882 | 1478.6596 | 1704.4498 | -- | -- | --
Change (%) |  | -0.15485 | -0.74301 | -0.13376 | -1.257 | -0.81122 | -0.1744 | 0.21046 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2022.7341 | 2066.2337 | 1981.7188 | 2098.5639 | 2111.525 | 2120.3707 | 1965.8196 | -- | -- | --
Post Opto-pack Burn-in |  | 1939.5876 | 1950.2317 | 1997.8829 | 2040.7746 | 2071.3533 | 2071.4747 | 1929.9277 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1352.4795 | 1422.848 | 1451.002 | 1378.0417 | 1403.6123 | 1465.1575 | 1448.7055 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1352.9211 | 1374.9178 | 1366.791 | 1353.2248 | 1373.3519 | 1471.796 | 1407.8297 | -- | -- | --
Change (%) |  | 0.032653 | -3.3686 | -5.8036 | -1.8009 | -2.1559 | 0.45309 | -2.8215 | -- | -- | --
Opto-board at 0C |  | 1433.3521 | 1490.8296 | 1491.5833 | 1464.7355 | 1496.1127 | 1609.082 | 1479.7014 | -- | -- | --
Change (%) |  | 5.9796 | 4.7779 | 2.7968 | 6.2911 | 6.5902 | 9.8231 | 2.1396 | -- | -- | --
Opto-board at 50C |  | 1292.5077 | 1318.1771 | 1318.718 | 1293.8553 | 1289.5337 | 1416.5661 | 1327.8205 | -- | -- | --
Change (%) |  | -4.4342 | -7.3564 | -9.1167 | -6.1091 | -8.1275 | -3.3165 | -8.3443 | -- | -- | --
Opto-board QA (10C) |  | 1455.8753 | 1471.922 | 1445.0068 | 1468.3267 | 1472.2106 | 1598.9036 | 1506.6851 | -- | -- | --
Change (%) |  | 7.6449 | 3.449 | -0.41318 | 6.5517 | 4.8873 | 9.1284 | 4.0022 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 370.2393 |  |  |  | 2021-03-23 |  |  |  | Pass
QA | mA | 304 | 366 | 347.0703 |  |  |  | 2021-03-23 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.80719 |  | 2021-03-23 |  |  |  | Pass
QA | uA | 1 | 0.61361 |  | 2021-03-23 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.42624 | 0.31882 | 0.60474 | 0.36236 | 0.46162 | 0.54036 | 0.37799 | 0.52478 | 0.55789 | 0.39275 | 0.43975 | 0.55188 | 0.43566 | 0.31263 |  |  | Pass
Fall | ns | 1 | 0.5204 | 0.55047 | 0.66774 | 0.67227 | 0.4695 | 0.51395 | 0.44462 | 0.53536 | 0.45694 | 0.36558 | 0.56903 | 0.46475 | 0.45002 | 0.57664 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/23/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.51151; Date (DD/MM/YY):03/23/2021 2: 0.52574; Date (DD/MM/YY):03/23/2021 3: 0.54885; Date (DD/MM/YY):03/23/2021 4: 0.56289; Date (DD/MM/YY):03/23/2021 5: 0.56739; Date (DD/MM/YY):03/23/2021 6: 0.57989; Initial: 7: 0.58456 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.48882; Date (DD/MM/YY):03/23/2021 2: 0.51306; Date (DD/MM/YY):03/23/2021 3: 0.5248; Date (DD/MM/YY):03/23/2021 4: 0.55099; Date (DD/MM/YY):03/23/2021 5: 0.55912; Date (DD/MM/YY):03/23/2021 6: 0.56451; Initial: 7: 0.58329 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.6239; Date (DD/MM/YY):03/23/2021 2: 0.6586; Date (DD/MM/YY):03/23/2021 3: 0.6561; Date (DD/MM/YY):03/23/2021 4: 0.60399; Date (DD/MM/YY):03/23/2021 5: 0.63526; Date (DD/MM/YY):03/23/2021 6: 0.62719; Initial: 7: 0.63395 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.64086; Date (DD/MM/YY):03/23/2021 2: 0.59983; Date (DD/MM/YY):03/23/2021 3: 0.62832; Date (DD/MM/YY):03/23/2021 4: 0.6343; Date (DD/MM/YY):03/23/2021 5: 0.58562; Date (DD/MM/YY):03/23/2021 6: 0.61683; Initial: 7: 0.6441 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.25783; Date (DD/MM/YY):03/23/2021 2: 0.08764; Date (DD/MM/YY):03/23/2021 3: 0.19136; Date (DD/MM/YY):03/23/2021 4: 0.12639; Date (DD/MM/YY):03/23/2021 5: 0.16335; Date (DD/MM/YY):03/23/2021 6: 0.15003; Initial: 7: 0.1346 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/23/2021 1: 0.24509; Date (DD/MM/YY):03/23/2021 2: 0.08181; Date (DD/MM/YY):03/23/2021 3: 0.19806; Date (DD/MM/YY):03/23/2021 4: 0.08512; Date (DD/MM/YY):03/23/2021 5: 0.14674; Date (DD/MM/YY):03/23/2021 6: 0.14859; Initial: 7: 0.12373 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 13.174; Date (DD/MM/YY):03/23/2021 2: 11.644; Date (DD/MM/YY):03/23/2021 3: 12.689; Date (DD/MM/YY):03/23/2021 4: 12.643; Date (DD/MM/YY):03/23/2021 5: 12.313; Date (DD/MM/YY):03/23/2021 6: 12.516; Initial: 7: 12.498
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 13.07; Date (DD/MM/YY):03/23/2021 2: 11.586; Date (DD/MM/YY):03/23/2021 3: 12.609; Date (DD/MM/YY):03/23/2021 4: 12.571; Date (DD/MM/YY):03/23/2021 5: 12.264; Date (DD/MM/YY):03/23/2021 6: 12.493; Initial: 7: 12.447
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 12.186; Date (DD/MM/YY):03/23/2021 2: 11.057; Date (DD/MM/YY):03/23/2021 3: 11.801; Date (DD/MM/YY):03/23/2021 4: 12.056; Date (DD/MM/YY):03/23/2021 5: 11.661; Date (DD/MM/YY):03/23/2021 6: 11.875; Initial: 7: 11.822
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 12.204; Date (DD/MM/YY):03/23/2021 2: 11.095; Date (DD/MM/YY):03/23/2021 3: 11.885; Date (DD/MM/YY):03/23/2021 4: 12.106; Date (DD/MM/YY):03/23/2021 5: 11.726; Date (DD/MM/YY):03/23/2021 6: 11.934; Initial: 7: 11.907
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 12.6327; Date (DD/MM/YY):03/23/2021 2: 11.3147; Date (DD/MM/YY):03/23/2021 3: 12.2495; Date (DD/MM/YY):03/23/2021 4: 12.3354; Date (DD/MM/YY):03/23/2021 5: 11.9822; Date (DD/MM/YY):03/23/2021 6: 12.1968; Initial: 7: 12.153
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/23/2021 1: 12.6438; Date (DD/MM/YY):03/23/2021 2: 11.3267; Date (DD/MM/YY):03/23/2021 3: 12.2525; Date (DD/MM/YY):03/23/2021 4: 12.3386; Date (DD/MM/YY):03/23/2021 5: 11.9891; Date (DD/MM/YY):03/23/2021 6: 12.2031; Initial: 7: 12.1713
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/23/2021 1: 50.5702; Date (DD/MM/YY):03/23/2021 2: 45.4793; Date (DD/MM/YY):03/23/2021 3: 49.0243; Date (DD/MM/YY):03/23/2021 4: 49.4452; Date (DD/MM/YY):03/23/2021 5: 48.0522; Date (DD/MM/YY):03/23/2021 6: 48.7957; Initial: 7: 48.6713 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/23/2021 1: 50.5633; Date (DD/MM/YY):03/23/2021 2: 45.2898; Date (DD/MM/YY):03/23/2021 3: 49.0024; Date (DD/MM/YY):03/23/2021 4: 49.3949; Date (DD/MM/YY):03/23/2021 5: 47.9573; Date (DD/MM/YY):03/23/2021 6: 48.7992; Initial: 7: 48.6548 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/23/2021 1: 50.5937; Date (DD/MM/YY):03/23/2021 2: 45.3131; Date (DD/MM/YY):03/23/2021 3: 49.0008; Date (DD/MM/YY):03/23/2021 4: 49.3609; Date (DD/MM/YY):03/23/2021 5: 47.9702; Date (DD/MM/YY):03/23/2021 6: 48.8113; Initial: 7: 48.7067 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/23/2021 1: 1.0452; Date (DD/MM/YY):03/23/2021 2: 1.0283; Date (DD/MM/YY):03/23/2021 3: 1.0335; Date (DD/MM/YY):03/23/2021 4: 1.0678; Date (DD/MM/YY):03/23/2021 5: 1.0763; Date (DD/MM/YY):03/23/2021 6: 1.0595; Initial: 7: 1.062 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/23/2021 1: 1.0386; Date (DD/MM/YY):03/23/2021 2: 1.0228; Date (DD/MM/YY):03/23/2021 3: 1.0278; Date (DD/MM/YY):03/23/2021 4: 1.0608; Date (DD/MM/YY):03/23/2021 5: 1.0681; Date (DD/MM/YY):03/23/2021 6: 1.0518; Initial: 7: 1.0551 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/23/2021 1: 1.0701; Date (DD/MM/YY):03/23/2021 2: 1.0675; Date (DD/MM/YY):03/23/2021 3: 1.0821; Date (DD/MM/YY):03/23/2021 4: 1.073; Date (DD/MM/YY):03/23/2021 5: 1.0914; Date (DD/MM/YY):03/23/2021 6: 1.096; Initial: 7: 1.1044 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/23/2021 1: 1.0585; Date (DD/MM/YY):03/23/2021 2: 1.0471; Date (DD/MM/YY):03/23/2021 3: 1.0735; Date (DD/MM/YY):03/23/2021 4: 1.0763; Date (DD/MM/YY):03/23/2021 5: 1.0779; Date (DD/MM/YY):03/23/2021 6: 1.0892; Initial: 7: 1.0944 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/23/2021 1: 0.35143; Date (DD/MM/YY):03/23/2021 2: 0.34371; Date (DD/MM/YY):03/23/2021 3: 0.34181; Date (DD/MM/YY):03/23/2021 4: 0.36107; Date (DD/MM/YY):03/23/2021 5: 0.36345; Date (DD/MM/YY):03/23/2021 6: 0.3519; Initial: 7: 0.35792 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/23/2021 1: 0.31219; Date (DD/MM/YY):03/23/2021 2: 0.30118; Date (DD/MM/YY):03/23/2021 3: 0.30943; Date (DD/MM/YY):03/23/2021 4: 0.3281; Date (DD/MM/YY):03/23/2021 5: 0.33385; Date (DD/MM/YY):03/23/2021 6: 0.32912; Initial: 7: 0.33097 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/23/2021 1: 0.38539; Date (DD/MM/YY):03/23/2021 2: 0.3859; Date (DD/MM/YY):03/23/2021 3: 0.39629; Date (DD/MM/YY):03/23/2021 4: 0.37956; Date (DD/MM/YY):03/23/2021 5: 0.39537; Date (DD/MM/YY):03/23/2021 6: 0.39294; Initial: 7: 0.40138 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/23/2021 1: 0.36626; Date (DD/MM/YY):03/23/2021 2: 0.35136; Date (DD/MM/YY):03/23/2021 3: 0.37189; Date (DD/MM/YY):03/23/2021 4: 0.37719; Date (DD/MM/YY):03/23/2021 5: 0.36918; Date (DD/MM/YY):03/23/2021 6: 0.37538; Initial: 7: 0.37772 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/23/2021 1: 0; Date (DD/MM/YY):03/23/2021 2: 0; Date (DD/MM/YY):03/23/2021 3: 0; Date (DD/MM/YY):03/23/2021 4: 0; Date (DD/MM/YY):03/23/2021 5: 0; Date (DD/MM/YY):03/23/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/23/2021 1: 0; Date (DD/MM/YY):03/23/2021 2: 0; Date (DD/MM/YY):03/23/2021 3: 0; Date (DD/MM/YY):03/23/2021 4: 0; Date (DD/MM/YY):03/23/2021 5: 0; Date (DD/MM/YY):03/23/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/23/2021 1: 0; Date (DD/MM/YY):03/23/2021 2: 0; Date (DD/MM/YY):03/23/2021 3: 0; Date (DD/MM/YY):03/23/2021 4: 0; Date (DD/MM/YY):03/23/2021 5: 0; Date (DD/MM/YY):03/23/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/23/2021 1: 0; Date (DD/MM/YY):03/23/2021 2: 0; Date (DD/MM/YY):03/23/2021 3: 0; Date (DD/MM/YY):03/23/2021 4: 0; Date (DD/MM/YY):03/23/2021 5: 0; Date (DD/MM/YY):03/23/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass