## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2288.3764 | 2167.7287 | 2169.8969 | 2191.2255 | 2093.0217 | 2155.7998 | 2124.6087 | -- | -- | --
Post Opto-pack Burn-in |  | 2221.5037 | 2108.2191 | 2122.4696 | 2128.0913 | 2022.0108 | 2154.5524 | 2052.0252 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1596.7712 | 1266.2298 | 1614.8535 | 1424.5342 | 1439.4096 | 1289.8343 | 1663.165 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1568.5291 | 1333.6819 | 1561.3796 | 1358.9632 | 1380.167 | 1408.5684 | 1617.8594 | -- | -- | --
Change (%) |  | -1.7687 | 5.327 | -3.3114 | -4.603 | -4.1158 | 9.2054 | -2.7241 | -- | -- | --
Opto-board at 0C |  | 1700.2129 | 1445.6129 | 1666.5477 | 1432.5647 | 1507.3504 | 1506.3727 | 1728.7694 | -- | -- | --
Change (%) |  | 6.4782 | 14.1667 | 3.2012 | 0.56373 | 4.72 | 16.7881 | 3.9446 | -- | -- | --
Opto-board at 50C |  | 1505.3614 | 1297.3387 | 1481.6286 | 1268.2788 | 1332.1769 | 1365.7862 | 1562.1736 | -- | -- | --
Change (%) |  | -5.7247 | 2.4568 | -8.25 | -10.9689 | -7.4498 | 5.8885 | -6.0722 | -- | -- | --
Opto-board QA (10C) |  | 1690.6377 | 1445.1018 | 1654.889 | 1429.3113 | 1506.6925 | 1514.8167 | 1741.7857 | -- | -- | --
Change (%) |  | 5.8785 | 14.1263 | 2.4792 | 0.33535 | 4.6743 | 17.4427 | 4.7272 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2237.1522 | 2157.6038 | 2257.4662 | 2183.6694 | 2240.7911 | 2286.7566 | 2169.3744 | -- | -- | --
Post Opto-pack Burn-in |  | 2177.4484 | 2073.8327 | 2228.9153 | 2114.2798 | 2159.0419 | 2196.5507 | 2066.2734 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1483.7792 | 1421.2575 | 1615.6828 | 1446.6234 | 1513.4489 | 1592.4154 | 1581.1563 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1445.0868 | 1352.8916 | 1566.298 | 1403.9148 | 1466.646 | 1582.3591 | 1520.6903 | -- | -- | --
Change (%) |  | -2.6077 | -4.8102 | -3.0566 | -2.9523 | -3.0925 | -0.63151 | -3.8242 | -- | -- | --
Opto-board at 0C |  | 1553.9445 | 1480.3482 | 1693.4736 | 1564.4715 | 1616.4928 | 1763.307 | 1656.2115 | -- | -- | --
Change (%) |  | 4.7288 | 4.1576 | 4.8147 | 8.1464 | 6.8085 | 10.7316 | 4.7469 | -- | -- | --
Opto-board at 50C |  | 1379.446 | 1334.5202 | 1521.7537 | 1373.0728 | 1447.8455 | 1534.2371 | 1489.3647 | -- | -- | --
Change (%) |  | -7.0316 | -6.1029 | -5.8136 | -5.0843 | -4.3347 | -3.6535 | -5.8053 | -- | -- | --
Opto-board QA (10C) |  | 1571.123 | 1475.3354 | 1675.3862 | 1534.5112 | 1586.5726 | 1747.0629 | 1651.4458 | -- | -- | --
Change (%) |  | 5.8866 | 3.8049 | 3.6952 | 6.0754 | 4.8316 | 9.7115 | 4.4454 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 355.5908 |  |  |  | 2021-03-24 |  |  |  | Pass
QA | mA | 304 | 366 | 342.4072 |  |  |  | 2021-03-24 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.83737 |  | 2021-03-24 |  |  |  | Pass
QA | uA | 1 | 0.64101 |  | 2021-03-24 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.55667 | 0.4985 | 0.41464 | 0.39881 | 0.5754 | 0.46526 | 0.41127 | 0.54315 | 0.56884 | 0.79684 | 0.66527 | 0.57638 | 0.52848 | 0.42746 |  |  | Pass
Fall | ns | 1 | 0.46596 | 0.40409 | 0.47219 | 0.49653 | 0.65582 | 0.57067 | 0.53081 | 0.44963 | 0.59256 | 0.75234 | 0.50397 | 0.52923 | 0.35839 | 0.40374 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/24/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/24/2021 1: 0.49567; Date (DD/MM/YY):03/24/2021 2: 0.51329; Date (DD/MM/YY):03/24/2021 3: 0.52592; Date (DD/MM/YY):03/24/2021 4: 0.54278; Date (DD/MM/YY):03/24/2021 5: 0.54955; Date (DD/MM/YY):03/24/2021 6: 0.5499; Initial: 7: 0.56677 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/24/2021 1: 0.47888; Date (DD/MM/YY):03/24/2021 2: 0.50145; Date (DD/MM/YY):03/24/2021 3: 0.51804; Date (DD/MM/YY):03/24/2021 4: 0.53409; Date (DD/MM/YY):03/24/2021 5: 0.54396; Date (DD/MM/YY):03/24/2021 6: 0.54315; Initial: 7: 0.57119 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/24/2021 1: 0.62355; Date (DD/MM/YY):03/24/2021 2: 0.63234; Date (DD/MM/YY):03/24/2021 3: 0.61316; Date (DD/MM/YY):03/24/2021 4: 0.6036; Date (DD/MM/YY):03/24/2021 5: 0.62944; Date (DD/MM/YY):03/24/2021 6: 0.6027; Initial: 7: 0.6028 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/24/2021 1: 0.59524; Date (DD/MM/YY):03/24/2021 2: 0.58385; Date (DD/MM/YY):03/24/2021 3: 0.62027; Date (DD/MM/YY):03/24/2021 4: 0.59946; Date (DD/MM/YY):03/24/2021 5: 0.57263; Date (DD/MM/YY):03/24/2021 6: 0.59541; Initial: 7: 0.61996 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/24/2021 1: 0.16784; Date (DD/MM/YY):03/24/2021 2: 0.11654; Date (DD/MM/YY):03/24/2021 3: 0.14281; Date (DD/MM/YY):03/24/2021 4: 0.15272; Date (DD/MM/YY):03/24/2021 5: 0.15939; Date (DD/MM/YY):03/24/2021 6: 0.08504; Initial: 7: 0.19961 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/24/2021 1: 0.15143; Date (DD/MM/YY):03/24/2021 2: 0.12597; Date (DD/MM/YY):03/24/2021 3: 0.14383; Date (DD/MM/YY):03/24/2021 4: 0.16267; Date (DD/MM/YY):03/24/2021 5: 0.13486; Date (DD/MM/YY):03/24/2021 6: 0.07602; Initial: 7: 0.19463 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/24/2021 1: 12.196; Date (DD/MM/YY):03/24/2021 2: 12.214; Date (DD/MM/YY):03/24/2021 3: 12.247; Date (DD/MM/YY):03/24/2021 4: 12.709; Date (DD/MM/YY):03/24/2021 5: 12.101; Date (DD/MM/YY):03/24/2021 6: 13.021; Initial: 7: 13.059
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/24/2021 1: 12.214; Date (DD/MM/YY):03/24/2021 2: 12.267; Date (DD/MM/YY):03/24/2021 3: 12.342; Date (DD/MM/YY):03/24/2021 4: 12.647; Date (DD/MM/YY):03/24/2021 5: 12.023; Date (DD/MM/YY):03/24/2021 6: 12.971; Initial: 7: 13.006
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/24/2021 1: 11.581; Date (DD/MM/YY):03/24/2021 2: 11.673; Date (DD/MM/YY):03/24/2021 3: 11.663; Date (DD/MM/YY):03/24/2021 4: 12.071; Date (DD/MM/YY):03/24/2021 5: 11.472; Date (DD/MM/YY):03/24/2021 6: 12.498; Initial: 7: 12.288
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/24/2021 1: 11.549; Date (DD/MM/YY):03/24/2021 2: 11.649; Date (DD/MM/YY):03/24/2021 3: 11.706; Date (DD/MM/YY):03/24/2021 4: 12.082; Date (DD/MM/YY):03/24/2021 5: 11.497; Date (DD/MM/YY):03/24/2021 6: 12.588; Initial: 7: 12.366
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/24/2021 1: 11.8867; Date (DD/MM/YY):03/24/2021 2: 11.9268; Date (DD/MM/YY):03/24/2021 3: 11.9639; Date (DD/MM/YY):03/24/2021 4: 12.365; Date (DD/MM/YY):03/24/2021 5: 11.7609; Date (DD/MM/YY):03/24/2021 6: 12.7718; Initial: 7: 12.6831
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/24/2021 1: 11.8787; Date (DD/MM/YY):03/24/2021 2: 11.9275; Date (DD/MM/YY):03/24/2021 3: 11.966; Date (DD/MM/YY):03/24/2021 4: 12.373; Date (DD/MM/YY):03/24/2021 5: 11.7575; Date (DD/MM/YY):03/24/2021 6: 12.7789; Initial: 7: 12.6891
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/24/2021 1: 47.4845; Date (DD/MM/YY):03/24/2021 2: 47.7332; Date (DD/MM/YY):03/24/2021 3: 47.9244; Date (DD/MM/YY):03/24/2021 4: 49.5451; Date (DD/MM/YY):03/24/2021 5: 47.1441; Date (DD/MM/YY):03/24/2021 6: 51.0542; Initial: 7: 50.7986 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/24/2021 1: 47.5805; Date (DD/MM/YY):03/24/2021 2: 47.7881; Date (DD/MM/YY):03/24/2021 3: 47.8802; Date (DD/MM/YY):03/24/2021 4: 49.462; Date (DD/MM/YY):03/24/2021 5: 47.0955; Date (DD/MM/YY):03/24/2021 6: 51.1656; Initial: 7: 50.7743 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/24/2021 1: 47.5244; Date (DD/MM/YY):03/24/2021 2: 47.7254; Date (DD/MM/YY):03/24/2021 3: 47.8729; Date (DD/MM/YY):03/24/2021 4: 49.5004; Date (DD/MM/YY):03/24/2021 5: 47.0628; Date (DD/MM/YY):03/24/2021 6: 51.1135; Initial: 7: 50.7538 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/24/2021 1: 1.0197; Date (DD/MM/YY):03/24/2021 2: 1.029; Date (DD/MM/YY):03/24/2021 3: 1.0208; Date (DD/MM/YY):03/24/2021 4: 1.0315; Date (DD/MM/YY):03/24/2021 5: 1.0487; Date (DD/MM/YY):03/24/2021 6: 1.0424; Initial: 7: 1.0287 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/24/2021 1: 1.0159; Date (DD/MM/YY):03/24/2021 2: 1.0265; Date (DD/MM/YY):03/24/2021 3: 1.0174; Date (DD/MM/YY):03/24/2021 4: 1.0297; Date (DD/MM/YY):03/24/2021 5: 1.043; Date (DD/MM/YY):03/24/2021 6: 1.0397; Initial: 7: 1.027 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/24/2021 1: 1.0557; Date (DD/MM/YY):03/24/2021 2: 1.0545; Date (DD/MM/YY):03/24/2021 3: 1.0659; Date (DD/MM/YY):03/24/2021 4: 1.0517; Date (DD/MM/YY):03/24/2021 5: 1.0689; Date (DD/MM/YY):03/24/2021 6: 1.0651; Initial: 7: 1.0865 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/24/2021 1: 1.0434; Date (DD/MM/YY):03/24/2021 2: 1.0344; Date (DD/MM/YY):03/24/2021 3: 1.0572; Date (DD/MM/YY):03/24/2021 4: 1.0533; Date (DD/MM/YY):03/24/2021 5: 1.0536; Date (DD/MM/YY):03/24/2021 6: 1.0614; Initial: 7: 1.0768 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/24/2021 1: 0.34983; Date (DD/MM/YY):03/24/2021 2: 0.34796; Date (DD/MM/YY):03/24/2021 3: 0.3441; Date (DD/MM/YY):03/24/2021 4: 0.34343; Date (DD/MM/YY):03/24/2021 5: 0.35229; Date (DD/MM/YY):03/24/2021 6: 0.34141; Initial: 7: 0.34088 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/24/2021 1: 0.30873; Date (DD/MM/YY):03/24/2021 2: 0.31576; Date (DD/MM/YY):03/24/2021 3: 0.3112; Date (DD/MM/YY):03/24/2021 4: 0.31754; Date (DD/MM/YY):03/24/2021 5: 0.32476; Date (DD/MM/YY):03/24/2021 6: 0.32695; Initial: 7: 0.32186 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/24/2021 1: 0.38776; Date (DD/MM/YY):03/24/2021 2: 0.38944; Date (DD/MM/YY):03/24/2021 3: 0.397; Date (DD/MM/YY):03/24/2021 4: 0.36955; Date (DD/MM/YY):03/24/2021 5: 0.38731; Date (DD/MM/YY):03/24/2021 6: 0.37891; Initial: 7: 0.39574 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/24/2021 1: 0.363; Date (DD/MM/YY):03/24/2021 2: 0.35255; Date (DD/MM/YY):03/24/2021 3: 0.37146; Date (DD/MM/YY):03/24/2021 4: 0.36684; Date (DD/MM/YY):03/24/2021 5: 0.3605; Date (DD/MM/YY):03/24/2021 6: 0.36534; Initial: 7: 0.37317 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/24/2021 1: 0; Date (DD/MM/YY):03/24/2021 2: 0; Date (DD/MM/YY):03/24/2021 3: 0; Date (DD/MM/YY):03/24/2021 4: 0; Date (DD/MM/YY):03/24/2021 5: 0; Date (DD/MM/YY):03/24/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/24/2021 1: 0; Date (DD/MM/YY):03/24/2021 2: 0; Date (DD/MM/YY):03/24/2021 3: 0; Date (DD/MM/YY):03/24/2021 4: 0; Date (DD/MM/YY):03/24/2021 5: 0; Date (DD/MM/YY):03/24/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/24/2021 1: 0; Date (DD/MM/YY):03/24/2021 2: 0; Date (DD/MM/YY):03/24/2021 3: 0; Date (DD/MM/YY):03/24/2021 4: 0; Date (DD/MM/YY):03/24/2021 5: 0; Date (DD/MM/YY):03/24/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/24/2021 1: 0; Date (DD/MM/YY):03/24/2021 2: 0; Date (DD/MM/YY):03/24/2021 3: 0; Date (DD/MM/YY):03/24/2021 4: 0; Date (DD/MM/YY):03/24/2021 5: 0; Date (DD/MM/YY):03/24/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass