## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1733.8658 | 1646.8532 | 1674.6875 | 1778.1042 | 1740.8512 | 1844.4865 | 1762.6702 | -- | -- | --
Post Opto-pack Burn-in |  | 1646.5943 | 1538.7675 | 1606.5207 | 1676.5736 | 1606.0592 | 1740.2406 | 1681.9532 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1354.4981 | 1126.9405 | 1402.4876 | 1260.4992 | 1354.8367 | 1301.2394 | 1510.0778 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1254.1224 | 1058.2437 | 1331.2357 | 1175.2731 | 1257.3278 | 1190.879 | 1396.2958 | -- | -- | --
Change (%) |  | -7.4105 | -6.0959 | -5.0804 | -6.7613 | -7.1971 | -8.4812 | -7.5348 | -- | -- | --
Opto-board at 0C |  | 1332.6588 | 1152.6667 | 1403.1076 | 1288.1132 | 1328.4132 | 1304.0863 | 1519.4322 | -- | -- | --
Change (%) |  | -1.6124 | 2.2828 | 0.044202 | 2.1907 | -1.9503 | 0.21878 | 0.61947 | -- | -- | --
Opto-board at 50C |  | 1167.3165 | 1005.6455 | 1239.0362 | 1122.232 | 1170.7135 | 1146.9721 | 1345.7078 | -- | -- | --
Change (%) |  | -13.8193 | -10.7632 | -11.6544 | -10.9692 | -13.5901 | -11.8554 | -10.8849 | -- | -- | --
Opto-board QA (10C) |  | 1329.6314 | 1141.5305 | 1402.5876 | 1276.4797 | 1310.5523 | 1290.6779 | 1507.5853 | -- | -- | --
Change (%) |  | -1.8359 | 1.2947 | 0.0071294 | 1.2678 | -3.2686 | -0.81165 | -0.16506 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2018.6607 | 1904.3732 | 1983.2461 | 1948.2727 | 1970.1344 | 2024.3596 | 1958.0857 | -- | -- | --
Post Opto-pack Burn-in |  | 1879.4117 | 1791.4189 | 1796.875 | 1798.5256 | 1796.2936 | 1881.9873 | 1794.0962 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1361.4653 | 1301.825 | 1381.8947 | 1250.4855 | 1283.0055 | 1429.9839 | 1436.5558 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1320.5829 | 1207.3496 | 1286.6631 | 1178.5606 | 1200.1036 | 1379.9934 | 1332.7651 | -- | -- | --
Change (%) |  | -3.0028 | -7.2572 | -6.8914 | -5.7518 | -6.4615 | -3.4959 | -7.225 | -- | -- | --
Opto-board at 0C |  | 1413.2894 | 1338.1123 | 1401.2939 | 1204.8746 | 1313.776 | 1492.2842 | 1452.0961 | -- | -- | --
Change (%) |  | 3.8065 | 2.7874 | 1.4038 | -3.6475 | 2.3983 | 4.3567 | 1.0818 | -- | -- | --
Opto-board at 50C |  | 1235.7446 | 1149.8762 | 1217.916 | 1091.7658 | 1180.2072 | 1313.6555 | 1250.2977 | -- | -- | --
Change (%) |  | -9.2342 | -11.672 | -11.8662 | -12.6926 | -8.0123 | -8.1349 | -12.9656 | -- | -- | --
Opto-board QA (10C) |  | 1401.7259 | 1320.5897 | 1378.1257 | 1206.987 | 1293.974 | 1480.1528 | 1450.3161 | -- | -- | --
Change (%) |  | 2.9571 | 1.4414 | -0.27274 | -3.4785 | 0.85491 | 3.5084 | 0.95787 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 362.3047 |  |  |  | 2021-03-30 |  |  |  | Pass
QA | mA | 304 | 366 | 341.6504 |  |  |  | 2021-03-30 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.56298 |  | 2021-03-30 |  |  |  | Pass
QA | uA | 1 | 0.63623 |  | 2021-03-30 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.40977 | 0.36889 | 0.58299 | 0.56569 | 0.37625 | 0.63656 | 0.39708 | 0.41923 | 0.60109 | 0.62602 | 0.40871 | 0.59053 | 0.3299 | 0.41963 |  |  | Pass
Fall | ns | 1 | 0.52492 | 0.44475 | 0.49751 | 0.42422 | 0.62416 | 0.45199 | 0.38799 | 0.45634 | 0.42424 | 0.53122 | 0.46849 | 0.46768 | 0.45096 | 0.52393 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/30/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/30/2021 1: 0.49737; Date (DD/MM/YY):03/30/2021 2: 0.51133; Date (DD/MM/YY):03/30/2021 3: 0.52182; Date (DD/MM/YY):03/30/2021 4: 0.53684; Date (DD/MM/YY):03/30/2021 5: 0.54875; Date (DD/MM/YY):03/30/2021 6: 0.55149; Initial: 7: 0.56939 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/30/2021 1: 0.49114; Date (DD/MM/YY):03/30/2021 2: 0.50967; Date (DD/MM/YY):03/30/2021 3: 0.51334; Date (DD/MM/YY):03/30/2021 4: 0.54085; Date (DD/MM/YY):03/30/2021 5: 0.54749; Date (DD/MM/YY):03/30/2021 6: 0.55547; Initial: 7: 0.57183 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/30/2021 1: 0.57673; Date (DD/MM/YY):03/30/2021 2: 0.62035; Date (DD/MM/YY):03/30/2021 3: 0.6117; Date (DD/MM/YY):03/30/2021 4: 0.56395; Date (DD/MM/YY):03/30/2021 5: 0.63072; Date (DD/MM/YY):03/30/2021 6: 0.61229; Initial: 7: 0.60101 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/30/2021 1: 0.62729; Date (DD/MM/YY):03/30/2021 2: 0.62375; Date (DD/MM/YY):03/30/2021 3: 0.62339; Date (DD/MM/YY):03/30/2021 4: 0.60603; Date (DD/MM/YY):03/30/2021 5: 0.5703; Date (DD/MM/YY):03/30/2021 6: 0.60822; Initial: 7: 0.62407 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/30/2021 1: 0.21808; Date (DD/MM/YY):03/30/2021 2: 0.15477; Date (DD/MM/YY):03/30/2021 3: 0.21385; Date (DD/MM/YY):03/30/2021 4: 0.25807; Date (DD/MM/YY):03/30/2021 5: 0.06921; Date (DD/MM/YY):03/30/2021 6: 0.07452; Initial: 7: 0.06129 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/30/2021 1: 0.21436; Date (DD/MM/YY):03/30/2021 2: 0.14619; Date (DD/MM/YY):03/30/2021 3: 0.21514; Date (DD/MM/YY):03/30/2021 4: 0.26274; Date (DD/MM/YY):03/30/2021 5: 0.05679; Date (DD/MM/YY):03/30/2021 6: 0.07581; Initial: 7: 0.04843 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/30/2021 1: 12.485; Date (DD/MM/YY):03/30/2021 2: 12.895; Date (DD/MM/YY):03/30/2021 3: 12.955; Date (DD/MM/YY):03/30/2021 4: 12.366; Date (DD/MM/YY):03/30/2021 5: 12.902; Date (DD/MM/YY):03/30/2021 6: 12.962; Initial: 7: 12.04
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/30/2021 1: 12.382; Date (DD/MM/YY):03/30/2021 2: 12.84; Date (DD/MM/YY):03/30/2021 3: 12.862; Date (DD/MM/YY):03/30/2021 4: 12.365; Date (DD/MM/YY):03/30/2021 5: 12.826; Date (DD/MM/YY):03/30/2021 6: 13.005; Initial: 7: 11.947
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/30/2021 1: 11.498; Date (DD/MM/YY):03/30/2021 2: 12.204; Date (DD/MM/YY):03/30/2021 3: 12.065; Date (DD/MM/YY):03/30/2021 4: 11.565; Date (DD/MM/YY):03/30/2021 5: 12.475; Date (DD/MM/YY):03/30/2021 6: 12.539; Initial: 7: 11.624
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/30/2021 1: 11.597; Date (DD/MM/YY):03/30/2021 2: 12.216; Date (DD/MM/YY):03/30/2021 3: 12.081; Date (DD/MM/YY):03/30/2021 4: 11.556; Date (DD/MM/YY):03/30/2021 5: 12.494; Date (DD/MM/YY):03/30/2021 6: 12.57; Initial: 7: 11.643
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/30/2021 1: 11.9782; Date (DD/MM/YY):03/30/2021 2: 12.5529; Date (DD/MM/YY):03/30/2021 3: 12.4554; Date (DD/MM/YY):03/30/2021 4: 11.9716; Date (DD/MM/YY):03/30/2021 5: 12.6626; Date (DD/MM/YY):03/30/2021 6: 12.7669; Initial: 7: 11.7931
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/30/2021 1: 11.9831; Date (DD/MM/YY):03/30/2021 2: 12.5376; Date (DD/MM/YY):03/30/2021 3: 12.4467; Date (DD/MM/YY):03/30/2021 4: 11.9697; Date (DD/MM/YY):03/30/2021 5: 12.6594; Date (DD/MM/YY):03/30/2021 6: 12.7754; Initial: 7: 11.7873
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/30/2021 1: 48.0143; Date (DD/MM/YY):03/30/2021 2: 50.1899; Date (DD/MM/YY):03/30/2021 3: 49.6153; Date (DD/MM/YY):03/30/2021 4: 47.9509; Date (DD/MM/YY):03/30/2021 5: 50.6285; Date (DD/MM/YY):03/30/2021 6: 51.1017; Initial: 7: 47.2597 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/30/2021 1: 48.0621; Date (DD/MM/YY):03/30/2021 2: 50.2639; Date (DD/MM/YY):03/30/2021 3: 49.8664; Date (DD/MM/YY):03/30/2021 4: 47.9202; Date (DD/MM/YY):03/30/2021 5: 50.6829; Date (DD/MM/YY):03/30/2021 6: 51.102; Initial: 7: 47.2287 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/30/2021 1: 47.9543; Date (DD/MM/YY):03/30/2021 2: 50.1551; Date (DD/MM/YY):03/30/2021 3: 49.804; Date (DD/MM/YY):03/30/2021 4: 47.8799; Date (DD/MM/YY):03/30/2021 5: 50.6482; Date (DD/MM/YY):03/30/2021 6: 51.1235; Initial: 7: 47.1415 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/30/2021 1: 1.0279; Date (DD/MM/YY):03/30/2021 2: 1.0251; Date (DD/MM/YY):03/30/2021 3: 1.0372; Date (DD/MM/YY):03/30/2021 4: 1.0235; Date (DD/MM/YY):03/30/2021 5: 1.0306; Date (DD/MM/YY):03/30/2021 6: 1.0243; Initial: 7: 1.0433 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/30/2021 1: 1.0215; Date (DD/MM/YY):03/30/2021 2: 1.0222; Date (DD/MM/YY):03/30/2021 3: 1.0298; Date (DD/MM/YY):03/30/2021 4: 1.0185; Date (DD/MM/YY):03/30/2021 5: 1.0267; Date (DD/MM/YY):03/30/2021 6: 1.0214; Initial: 7: 1.0374 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/30/2021 1: 1.0482; Date (DD/MM/YY):03/30/2021 2: 1.0698; Date (DD/MM/YY):03/30/2021 3: 1.0603; Date (DD/MM/YY):03/30/2021 4: 1.0364; Date (DD/MM/YY):03/30/2021 5: 1.0643; Date (DD/MM/YY):03/30/2021 6: 1.0506; Initial: 7: 1.0825 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/30/2021 1: 1.0363; Date (DD/MM/YY):03/30/2021 2: 1.0489; Date (DD/MM/YY):03/30/2021 3: 1.0519; Date (DD/MM/YY):03/30/2021 4: 1.0398; Date (DD/MM/YY):03/30/2021 5: 1.0493; Date (DD/MM/YY):03/30/2021 6: 1.0468; Initial: 7: 1.0722 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/30/2021 1: 0.34557; Date (DD/MM/YY):03/30/2021 2: 0.33555; Date (DD/MM/YY):03/30/2021 3: 0.3446; Date (DD/MM/YY):03/30/2021 4: 0.33283; Date (DD/MM/YY):03/30/2021 5: 0.32844; Date (DD/MM/YY):03/30/2021 6: 0.32527; Initial: 7: 0.34134 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/30/2021 1: 0.32414; Date (DD/MM/YY):03/30/2021 2: 0.3246; Date (DD/MM/YY):03/30/2021 3: 0.33051; Date (DD/MM/YY):03/30/2021 4: 0.31224; Date (DD/MM/YY):03/30/2021 5: 0.32359; Date (DD/MM/YY):03/30/2021 6: 0.32104; Initial: 7: 0.32787 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/30/2021 1: 0.37717; Date (DD/MM/YY):03/30/2021 2: 0.39084; Date (DD/MM/YY):03/30/2021 3: 0.38673; Date (DD/MM/YY):03/30/2021 4: 0.35183; Date (DD/MM/YY):03/30/2021 5: 0.37542; Date (DD/MM/YY):03/30/2021 6: 0.36387; Initial: 7: 0.3842 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/30/2021 1: 0.36773; Date (DD/MM/YY):03/30/2021 2: 0.36712; Date (DD/MM/YY):03/30/2021 3: 0.37422; Date (DD/MM/YY):03/30/2021 4: 0.36186; Date (DD/MM/YY):03/30/2021 5: 0.36069; Date (DD/MM/YY):03/30/2021 6: 0.35955; Initial: 7: 0.37017 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/30/2021 1: 0; Date (DD/MM/YY):03/30/2021 2: 0; Date (DD/MM/YY):03/30/2021 3: 0; Date (DD/MM/YY):03/30/2021 4: 0; Date (DD/MM/YY):03/30/2021 5: 0; Date (DD/MM/YY):03/30/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/30/2021 1: 0; Date (DD/MM/YY):03/30/2021 2: 0; Date (DD/MM/YY):03/30/2021 3: 0; Date (DD/MM/YY):03/30/2021 4: 0; Date (DD/MM/YY):03/30/2021 5: 0; Date (DD/MM/YY):03/30/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/30/2021 1: 0; Date (DD/MM/YY):03/30/2021 2: 0; Date (DD/MM/YY):03/30/2021 3: 0; Date (DD/MM/YY):03/30/2021 4: 0; Date (DD/MM/YY):03/30/2021 5: 0; Date (DD/MM/YY):03/30/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/30/2021 1: 0; Date (DD/MM/YY):03/30/2021 2: 0; Date (DD/MM/YY):03/30/2021 3: 0; Date (DD/MM/YY):03/30/2021 4: 0; Date (DD/MM/YY):03/30/2021 5: 0; Date (DD/MM/YY):03/30/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass