## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1927.564 | 1875.4295 | 1889.612 | 1879.9916 | 1883.9399 | 1880.1442 | 1808.9594 | -- | -- | --
Post Opto-pack Burn-in |  | 1901.4469 | 1795.9728 | 1791.6901 | 1804.2497 | 1803.894 | 1817.2796 | 1728.3254 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1360.5914 | 1139.445 | 1417.4559 | 1186.1 | 1308.1431 | 1174.2371 | 1398.3882 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1280.2851 | 1087.8606 | 1319.917 | 1117.7596 | 1202.2166 | 1094.4719 | 1331.8504 | -- | -- | --
Change (%) |  | -5.9023 | -4.5271 | -6.8813 | -5.7618 | -8.0975 | -6.7929 | -4.7582 | -- | -- | --
Opto-board at 0C |  | 1292.2976 | 1182.366 | 1387.1094 | 1157.0789 | 1300.5189 | 1126.385 | 1416.6869 | -- | -- | --
Change (%) |  | -5.0194 | 3.7668 | -2.1409 | -2.4468 | -0.58283 | -4.0752 | 1.3086 | -- | -- | --
Opto-board at 50C |  | 1158.6504 | 1034.5865 | 1228.6674 | 1025.5068 | 1142.9063 | 995.4638 | 1250.2142 | -- | -- | --
Change (%) |  | -14.8421 | -9.2026 | -13.3188 | -13.5396 | -12.6314 | -15.2246 | -10.5961 | -- | -- | --
Opto-board QA (10C) |  | 1301.2829 | 1177.8159 | 1394.8985 | 1153.1891 | 1290.5339 | 1117.6686 | 1406.3067 | -- | -- | --
Change (%) |  | -4.359 | 3.3675 | -1.5914 | -2.7747 | -1.3461 | -4.8175 | 0.56626 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2276.5088 | 2159.6065 | 2210.9024 | 2198.9393 | 2124.5231 | 2231.0259 | 2176.8832 | -- | -- | --
Post Opto-pack Burn-in |  | 2188.233 | 2036.3591 | 2063.5945 | 2071.2148 | 2015.5371 | 2161.8662 | 2024.9515 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1594.0338 | 1379.8144 | 1409.7279 | 1499.5361 | 1427.8451 | 1606.0585 | 1629.6045 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1466.2942 | 1379.868 | 1409.7741 | 1438.0541 | 1344.4237 | 1529.5705 | 1503.4452 | -- | -- | --
Change (%) |  | -8.0136 | 0.0038855 | 0.0032764 | -4.1001 | -5.8425 | -4.7625 | -7.7417 | -- | -- | --
Opto-board at 0C |  | 1607.3728 | 1506.1451 | 1597.2998 | 1540.2057 | 1455.2428 | 1631.6266 | 1619.9507 | -- | -- | --
Change (%) |  | 0.83681 | 9.1556 | 13.3055 | 2.7121 | 1.9188 | 1.592 | -0.5924 | -- | -- | --
Opto-board at 50C |  | 1426.2139 | 1359.5129 | 1380.3797 | 1332.0634 | 1244.8942 | 1420.059 | 1409.0164 | -- | -- | --
Change (%) |  | -10.528 | -1.4713 | -2.0818 | -11.1683 | -12.8131 | -11.5811 | -13.5363 | -- | -- | --
Opto-board QA (10C) |  | 1584.0926 | 1488.7476 | 1566.2333 | 1522.3875 | 1426.6736 | 1612.1336 | 1605.2298 | -- | -- | --
Change (%) |  | -0.62365 | 7.8948 | 11.1018 | 1.5239 | -0.082046 | 0.37826 | -1.4957 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 358.8867 |  |  |  | 2021-03-31 |  |  |  | Pass
QA | mA | 304 | 366 | 345.752 |  |  |  | 2021-03-31 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.72586 |  | 2021-03-31 |  |  |  | Pass
QA | uA | 1 | 0.61851 |  | 2021-03-31 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.37581 | 0.36839 | 0.59722 | 0.51503 | 0.42932 | 0.56222 | 0.32005 | 0.52124 | 0.55282 | 0.69897 | 0.50323 | 0.55225 | 0.44842 | 0.26926 |  |  | Pass
Fall | ns | 1 | 0.52548 | 0.51058 | 0.46938 | 0.46231 | 0.73268 | 0.58972 | 0.62488 | 0.48456 | 0.48501 | 0.61551 | 0.53825 | 0.47442 | 0.43953 | 0.6583 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/31/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/31/2021 1: 0.4951; Date (DD/MM/YY):03/31/2021 2: 0.50524; Date (DD/MM/YY):03/31/2021 3: 0.51888; Date (DD/MM/YY):03/31/2021 4: 0.53464; Date (DD/MM/YY):03/31/2021 5: 0.54604; Date (DD/MM/YY):03/31/2021 6: 0.54011; Initial: 7: 0.56021 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/31/2021 1: 0.48069; Date (DD/MM/YY):03/31/2021 2: 0.49621; Date (DD/MM/YY):03/31/2021 3: 0.51952; Date (DD/MM/YY):03/31/2021 4: 0.5187; Date (DD/MM/YY):03/31/2021 5: 0.54573; Date (DD/MM/YY):03/31/2021 6: 0.53807; Initial: 7: 0.56569 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/31/2021 1: 0.63068; Date (DD/MM/YY):03/31/2021 2: 0.63236; Date (DD/MM/YY):03/31/2021 3: 0.63771; Date (DD/MM/YY):03/31/2021 4: 0.57244; Date (DD/MM/YY):03/31/2021 5: 0.61108; Date (DD/MM/YY):03/31/2021 6: 0.59271; Initial: 7: 0.60198 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/31/2021 1: 0.62808; Date (DD/MM/YY):03/31/2021 2: 0.59691; Date (DD/MM/YY):03/31/2021 3: 0.62172; Date (DD/MM/YY):03/31/2021 4: 0.59055; Date (DD/MM/YY):03/31/2021 5: 0.57068; Date (DD/MM/YY):03/31/2021 6: 0.60803; Initial: 7: 0.62342 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/31/2021 1: 0.15478; Date (DD/MM/YY):03/31/2021 2: 0.07326; Date (DD/MM/YY):03/31/2021 3: 0.24356; Date (DD/MM/YY):03/31/2021 4: 0.0684; Date (DD/MM/YY):03/31/2021 5: 0.17062; Date (DD/MM/YY):03/31/2021 6: 0.09652; Initial: 7: 0.17018 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/31/2021 1: 0.15096; Date (DD/MM/YY):03/31/2021 2: 0.07263; Date (DD/MM/YY):03/31/2021 3: 0.20724; Date (DD/MM/YY):03/31/2021 4: 0.07151; Date (DD/MM/YY):03/31/2021 5: 0.1605; Date (DD/MM/YY):03/31/2021 6: 0.07175; Initial: 7: 0.1495 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/31/2021 1: 12.815; Date (DD/MM/YY):03/31/2021 2: 12.28; Date (DD/MM/YY):03/31/2021 3: 12.149; Date (DD/MM/YY):03/31/2021 4: 13.03; Date (DD/MM/YY):03/31/2021 5: 12.592; Date (DD/MM/YY):03/31/2021 6: 12.652; Initial: 7: 12.22
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/31/2021 1: 12.78; Date (DD/MM/YY):03/31/2021 2: 12.312; Date (DD/MM/YY):03/31/2021 3: 12.178; Date (DD/MM/YY):03/31/2021 4: 13.028; Date (DD/MM/YY):03/31/2021 5: 12.528; Date (DD/MM/YY):03/31/2021 6: 12.624; Initial: 7: 12.11
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/31/2021 1: 12.075; Date (DD/MM/YY):03/31/2021 2: 11.88; Date (DD/MM/YY):03/31/2021 3: 11.356; Date (DD/MM/YY):03/31/2021 4: 12.63; Date (DD/MM/YY):03/31/2021 5: 11.901; Date (DD/MM/YY):03/31/2021 6: 12.162; Initial: 7: 11.515
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/31/2021 1: 12.157; Date (DD/MM/YY):03/31/2021 2: 11.893; Date (DD/MM/YY):03/31/2021 3: 11.42; Date (DD/MM/YY):03/31/2021 4: 12.644; Date (DD/MM/YY):03/31/2021 5: 11.935; Date (DD/MM/YY):03/31/2021 6: 12.223; Initial: 7: 11.528
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/31/2021 1: 12.4346; Date (DD/MM/YY):03/31/2021 2: 12.0763; Date (DD/MM/YY):03/31/2021 3: 11.7601; Date (DD/MM/YY):03/31/2021 4: 12.8367; Date (DD/MM/YY):03/31/2021 5: 12.2268; Date (DD/MM/YY):03/31/2021 6: 12.4272; Initial: 7: 11.842
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/31/2021 1: 12.4451; Date (DD/MM/YY):03/31/2021 2: 12.0714; Date (DD/MM/YY):03/31/2021 3: 11.7669; Date (DD/MM/YY):03/31/2021 4: 12.8358; Date (DD/MM/YY):03/31/2021 5: 12.226; Date (DD/MM/YY):03/31/2021 6: 12.4266; Initial: 7: 11.8214
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/31/2021 1: 49.8861; Date (DD/MM/YY):03/31/2021 2: 48.4215; Date (DD/MM/YY):03/31/2021 3: 47.0961; Date (DD/MM/YY):03/31/2021 4: 51.4108; Date (DD/MM/YY):03/31/2021 5: 48.9655; Date (DD/MM/YY):03/31/2021 6: 49.649; Initial: 7: 47.4321 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/31/2021 1: 49.8687; Date (DD/MM/YY):03/31/2021 2: 48.3276; Date (DD/MM/YY):03/31/2021 3: 47.0631; Date (DD/MM/YY):03/31/2021 4: 51.3645; Date (DD/MM/YY):03/31/2021 5: 48.9535; Date (DD/MM/YY):03/31/2021 6: 49.7592; Initial: 7: 47.3852 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/31/2021 1: 49.7938; Date (DD/MM/YY):03/31/2021 2: 48.2903; Date (DD/MM/YY):03/31/2021 3: 47.0629; Date (DD/MM/YY):03/31/2021 4: 51.3428; Date (DD/MM/YY):03/31/2021 5: 48.929; Date (DD/MM/YY):03/31/2021 6: 49.7735; Initial: 7: 47.2865 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/31/2021 1: 1.0871; Date (DD/MM/YY):03/31/2021 2: 1.0908; Date (DD/MM/YY):03/31/2021 3: 1.0971; Date (DD/MM/YY):03/31/2021 4: 1.0579; Date (DD/MM/YY):03/31/2021 5: 1.036; Date (DD/MM/YY):03/31/2021 6: 1.0338; Initial: 7: 1.0466 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/31/2021 1: 1.0789; Date (DD/MM/YY):03/31/2021 2: 1.0824; Date (DD/MM/YY):03/31/2021 3: 1.0862; Date (DD/MM/YY):03/31/2021 4: 1.0529; Date (DD/MM/YY):03/31/2021 5: 1.0325; Date (DD/MM/YY):03/31/2021 6: 1.031; Initial: 7: 1.0425 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/31/2021 1: 1.1091; Date (DD/MM/YY):03/31/2021 2: 1.1238; Date (DD/MM/YY):03/31/2021 3: 1.1328; Date (DD/MM/YY):03/31/2021 4: 1.0647; Date (DD/MM/YY):03/31/2021 5: 1.0657; Date (DD/MM/YY):03/31/2021 6: 1.0643; Initial: 7: 1.0727 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/31/2021 1: 1.0945; Date (DD/MM/YY):03/31/2021 2: 1.1005; Date (DD/MM/YY):03/31/2021 3: 1.1231; Date (DD/MM/YY):03/31/2021 4: 1.0671; Date (DD/MM/YY):03/31/2021 5: 1.0532; Date (DD/MM/YY):03/31/2021 6: 1.0599; Initial: 7: 1.0643 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/31/2021 1: 0.36853; Date (DD/MM/YY):03/31/2021 2: 0.36506; Date (DD/MM/YY):03/31/2021 3: 0.36914; Date (DD/MM/YY):03/31/2021 4: 0.34786; Date (DD/MM/YY):03/31/2021 5: 0.33646; Date (DD/MM/YY):03/31/2021 6: 0.33543; Initial: 7: 0.3468 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/31/2021 1: 0.33962; Date (DD/MM/YY):03/31/2021 2: 0.3426; Date (DD/MM/YY):03/31/2021 3: 0.34468; Date (DD/MM/YY):03/31/2021 4: 0.33306; Date (DD/MM/YY):03/31/2021 5: 0.32312; Date (DD/MM/YY):03/31/2021 6: 0.32478; Initial: 7: 0.32738 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/31/2021 1: 0.40288; Date (DD/MM/YY):03/31/2021 2: 0.41039; Date (DD/MM/YY):03/31/2021 3: 0.4172; Date (DD/MM/YY):03/31/2021 4: 0.37041; Date (DD/MM/YY):03/31/2021 5: 0.37917; Date (DD/MM/YY):03/31/2021 6: 0.37462; Initial: 7: 0.38337 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/31/2021 1: 0.38405; Date (DD/MM/YY):03/31/2021 2: 0.38407; Date (DD/MM/YY):03/31/2021 3: 0.40195; Date (DD/MM/YY):03/31/2021 4: 0.37567; Date (DD/MM/YY):03/31/2021 5: 0.36196; Date (DD/MM/YY):03/31/2021 6: 0.3649; Initial: 7: 0.36657 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/31/2021 1: 0; Date (DD/MM/YY):03/31/2021 2: 0; Date (DD/MM/YY):03/31/2021 3: 0; Date (DD/MM/YY):03/31/2021 4: 0; Date (DD/MM/YY):03/31/2021 5: 0; Date (DD/MM/YY):03/31/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/31/2021 1: 0; Date (DD/MM/YY):03/31/2021 2: 0; Date (DD/MM/YY):03/31/2021 3: 0; Date (DD/MM/YY):03/31/2021 4: 0; Date (DD/MM/YY):03/31/2021 5: 0; Date (DD/MM/YY):03/31/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/31/2021 1: 0; Date (DD/MM/YY):03/31/2021 2: 0; Date (DD/MM/YY):03/31/2021 3: 0; Date (DD/MM/YY):03/31/2021 4: 0; Date (DD/MM/YY):03/31/2021 5: 0; Date (DD/MM/YY):03/31/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/31/2021 1: 0; Date (DD/MM/YY):03/31/2021 2: 0; Date (DD/MM/YY):03/31/2021 3: 0; Date (DD/MM/YY):03/31/2021 4: 0; Date (DD/MM/YY):03/31/2021 5: 0; Date (DD/MM/YY):03/31/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass