## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2321.3651 | 2158.4129 | 2228.4951 | 2334.568 | 2236.5814 | 2317.7011 | 2239.7117 | -- | -- | --
Post Opto-pack Burn-in |  | 2192.9452 | 2083.0224 | 2103.5386 | 2203.3441 | 2142.5454 | 2221.6643 | 2131.8454 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1794.6017 | 1481.2389 | 1806.5718 | 1625.4864 | 1712.0824 | 1561.7199 | 1877.2102 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1684.0414 | 1427.6268 | 1712.7224 | 1562.1382 | 1622.933 | 1471.5248 | 1814.1188 | -- | -- | --
Change (%) |  | -6.1607 | -3.6194 | -5.1949 | -3.8972 | -5.2071 | -5.7754 | -3.3609 | -- | -- | --
Opto-board at 0C |  | 1802.1168 | 1592.4446 | 1890.2723 | 1685.3302 | 1734.7616 | 1626.8026 | 1982.8173 | -- | -- | --
Change (%) |  | 0.41876 | 7.5076 | 4.6331 | 3.6816 | 1.3247 | 4.1674 | 5.6257 | -- | -- | --
Opto-board at 50C |  | 1600.64 | 1385.291 | 1668.6574 | 1505.7091 | 1522.8505 | 1443.7766 | 1738.1547 | -- | -- | --
Change (%) |  | -10.8081 | -6.4775 | -7.634 | -7.3687 | -11.0527 | -7.5521 | -7.4076 | -- | -- | --
Opto-board QA (10C) |  | 1792.735 | 1572.2658 | 1852.5266 | 1671.3484 | 1728.3855 | 1594.2129 | 1959.4721 | -- | -- | --
Change (%) |  | -0.10402 | 6.1453 | 2.5438 | 2.8214 | 0.95224 | 2.0806 | 4.3821 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2267.5994 | 2109.2467 | 2159.8757 | 2309.1983 | 2176.7919 | 2266.3455 | 2111.7403 | -- | -- | --
Post Opto-pack Burn-in |  | 2173.4839 | 2044.29 | 2110.4231 | 2248.299 | 2113.5782 | 2166.9981 | 2038.9297 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1509.547 | 1465.0952 | 1559.9332 | 1672.5379 | 1452.9188 | 1659.5138 | 1590.5182 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1510.4933 | 1400.9291 | 1484.1932 | 1588.3607 | 1445.8237 | 1576.9882 | 1489.6755 | -- | -- | --
Change (%) |  | 0.062691 | -4.3797 | -4.8553 | -5.0329 | -0.48833 | -4.9729 | -6.3402 | -- | -- | --
Opto-board at 0C |  | 1617.6385 | 1543.5314 | 1638.3891 | 1695.1413 | 1606.8941 | 1713.7109 | 1647.3205 | -- | -- | --
Change (%) |  | 7.1605 | 5.3537 | 5.0294 | 1.3514 | 10.5977 | 3.2658 | 3.5713 | -- | -- | --
Opto-board at 50C |  | 1443.3654 | 1333.296 | 1409.7095 | 1493.0701 | 1370.1114 | 1519.9273 | 1402.7249 | -- | -- | --
Change (%) |  | -4.3842 | -8.9959 | -9.6301 | -10.7303 | -5.6994 | -8.4113 | -11.8071 | -- | -- | --
Opto-board QA (10C) |  | 1625.3896 | 1535.2929 | 1595.1104 | 1678.0303 | 1558.1639 | 1740.7249 | 1633.9747 | -- | -- | --
Change (%) |  | 7.674 | 4.7913 | 2.255 | 0.32839 | 7.2437 | 4.8937 | 2.7322 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 356.6895 |  |  |  | 2021-04-13 |  |  |  | Pass
QA | mA | 304 | 366 | 335.4614 |  |  |  | 2021-04-13 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.69403 |  | 2021-04-13 |  |  |  | Pass
QA | uA | 1 | 0.64719 |  | 2021-04-13 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.50437 | 0.32807 | 0.47713 | 0.55738 | 0.57154 | 0.60352 | 0.43258 | 0.46848 | 0.51489 | 0.58635 | 0.32646 | 0.46434 | 0.42904 | 0.45416 |  |  | Pass
Fall | ns | 1 | 0.53765 | 0.64627 | 0.70241 | 0.64827 | 0.63205 | 0.59558 | 0.47015 | 0.53294 | 0.58127 | 0.81094 | 0.75724 | 0.51327 | 0.43678 | 0.47695 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):04/13/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):04/13/2021 1: 0.50095; Date (DD/MM/YY):04/13/2021 2: 0.51708; Date (DD/MM/YY):04/13/2021 3: 0.52433; Date (DD/MM/YY):04/13/2021 4: 0.55303; Date (DD/MM/YY):04/13/2021 5: 0.56107; Date (DD/MM/YY):04/13/2021 6: 0.5757; Initial: 7: 0.58858 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):04/13/2021 1: 0.49186; Date (DD/MM/YY):04/13/2021 2: 0.50742; Date (DD/MM/YY):04/13/2021 3: 0.51644; Date (DD/MM/YY):04/13/2021 4: 0.53579; Date (DD/MM/YY):04/13/2021 5: 0.55099; Date (DD/MM/YY):04/13/2021 6: 0.57251; Initial: 7: 0.59461 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):04/13/2021 1: 0.62205; Date (DD/MM/YY):04/13/2021 2: 0.64372; Date (DD/MM/YY):04/13/2021 3: 0.63709; Date (DD/MM/YY):04/13/2021 4: 0.59897; Date (DD/MM/YY):04/13/2021 5: 0.6208; Date (DD/MM/YY):04/13/2021 6: 0.62631; Initial: 7: 0.61555 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):04/13/2021 1: 0.61772; Date (DD/MM/YY):04/13/2021 2: 0.59324; Date (DD/MM/YY):04/13/2021 3: 0.61815; Date (DD/MM/YY):04/13/2021 4: 0.61349; Date (DD/MM/YY):04/13/2021 5: 0.59417; Date (DD/MM/YY):04/13/2021 6: 0.63277; Initial: 7: 0.65679 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):04/13/2021 1: 0.2804; Date (DD/MM/YY):04/13/2021 2: 0.09738; Date (DD/MM/YY):04/13/2021 3: 0.18063; Date (DD/MM/YY):04/13/2021 4: 0.11791; Date (DD/MM/YY):04/13/2021 5: 0.09259; Date (DD/MM/YY):04/13/2021 6: 0.09661; Initial: 7: 0.05221 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):04/13/2021 1: 0.28415; Date (DD/MM/YY):04/13/2021 2: 0.07278; Date (DD/MM/YY):04/13/2021 3: 0.17498; Date (DD/MM/YY):04/13/2021 4: 0.11058; Date (DD/MM/YY):04/13/2021 5: 0.08384; Date (DD/MM/YY):04/13/2021 6: 0.09713; Initial: 7: 0.04888 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):04/13/2021 1: 13.009; Date (DD/MM/YY):04/13/2021 2: 12.73; Date (DD/MM/YY):04/13/2021 3: 12.577; Date (DD/MM/YY):04/13/2021 4: 12.362; Date (DD/MM/YY):04/13/2021 5: 13.252; Date (DD/MM/YY):04/13/2021 6: 12.992; Initial: 7: 12.859
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):04/13/2021 1: 12.958; Date (DD/MM/YY):04/13/2021 2: 12.653; Date (DD/MM/YY):04/13/2021 3: 12.53; Date (DD/MM/YY):04/13/2021 4: 12.33; Date (DD/MM/YY):04/13/2021 5: 13.238; Date (DD/MM/YY):04/13/2021 6: 12.952; Initial: 7: 12.839
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):04/13/2021 1: 11.994; Date (DD/MM/YY):04/13/2021 2: 12.156; Date (DD/MM/YY):04/13/2021 3: 11.838; Date (DD/MM/YY):04/13/2021 4: 11.857; Date (DD/MM/YY):04/13/2021 5: 12.74; Date (DD/MM/YY):04/13/2021 6: 12.501; Initial: 7: 12.509
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):04/13/2021 1: 12.046; Date (DD/MM/YY):04/13/2021 2: 12.21; Date (DD/MM/YY):04/13/2021 3: 11.858; Date (DD/MM/YY):04/13/2021 4: 11.884; Date (DD/MM/YY):04/13/2021 5: 12.81; Date (DD/MM/YY):04/13/2021 6: 12.498; Initial: 7: 12.506
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):04/13/2021 1: 12.4843; Date (DD/MM/YY):04/13/2021 2: 12.4071; Date (DD/MM/YY):04/13/2021 3: 12.1835; Date (DD/MM/YY):04/13/2021 4: 12.0976; Date (DD/MM/YY):04/13/2021 5: 13.0165; Date (DD/MM/YY):04/13/2021 6: 12.7399; Initial: 7: 12.6897
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):04/13/2021 1: 12.4965; Date (DD/MM/YY):04/13/2021 2: 12.4024; Date (DD/MM/YY):04/13/2021 3: 12.1851; Date (DD/MM/YY):04/13/2021 4: 12.1085; Date (DD/MM/YY):04/13/2021 5: 13.0157; Date (DD/MM/YY):04/13/2021 6: 12.7389; Initial: 7: 12.6953
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):04/13/2021 1: 50.0414; Date (DD/MM/YY):04/13/2021 2: 49.5972; Date (DD/MM/YY):04/13/2021 3: 48.6949; Date (DD/MM/YY):04/13/2021 4: 48.3496; Date (DD/MM/YY):04/13/2021 5: 52.2067; Date (DD/MM/YY):04/13/2021 6: 50.8726; Initial: 7: 50.7903 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):04/13/2021 1: 49.95; Date (DD/MM/YY):04/13/2021 2: 49.6522; Date (DD/MM/YY):04/13/2021 3: 48.726; Date (DD/MM/YY):04/13/2021 4: 48.4261; Date (DD/MM/YY):04/13/2021 5: 52.1133; Date (DD/MM/YY):04/13/2021 6: 50.9828; Initial: 7: 50.7886 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):04/13/2021 1: 49.9909; Date (DD/MM/YY):04/13/2021 2: 49.6175; Date (DD/MM/YY):04/13/2021 3: 48.7498; Date (DD/MM/YY):04/13/2021 4: 48.4248; Date (DD/MM/YY):04/13/2021 5: 52.0828; Date (DD/MM/YY):04/13/2021 6: 50.9793; Initial: 7: 50.7897 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):04/13/2021 1: 1.0616; Date (DD/MM/YY):04/13/2021 2: 1.0581; Date (DD/MM/YY):04/13/2021 3: 1.0614; Date (DD/MM/YY):04/13/2021 4: 1.064; Date (DD/MM/YY):04/13/2021 5: 1.0429; Date (DD/MM/YY):04/13/2021 6: 1.0423; Initial: 7: 1.0456 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):04/13/2021 1: 1.0524; Date (DD/MM/YY):04/13/2021 2: 1.0487; Date (DD/MM/YY):04/13/2021 3: 1.0504; Date (DD/MM/YY):04/13/2021 4: 1.0566; Date (DD/MM/YY):04/13/2021 5: 1.0399; Date (DD/MM/YY):04/13/2021 6: 1.0403; Initial: 7: 1.0419 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):04/13/2021 1: 1.0823; Date (DD/MM/YY):04/13/2021 2: 1.0894; Date (DD/MM/YY):04/13/2021 3: 1.0907; Date (DD/MM/YY):04/13/2021 4: 1.072; Date (DD/MM/YY):04/13/2021 5: 1.0831; Date (DD/MM/YY):04/13/2021 6: 1.0761; Initial: 7: 1.0929 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):04/13/2021 1: 1.0704; Date (DD/MM/YY):04/13/2021 2: 1.0674; Date (DD/MM/YY):04/13/2021 3: 1.0815; Date (DD/MM/YY):04/13/2021 4: 1.0733; Date (DD/MM/YY):04/13/2021 5: 1.0693; Date (DD/MM/YY):04/13/2021 6: 1.0717; Initial: 7: 1.0823 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):04/13/2021 1: 0.36018; Date (DD/MM/YY):04/13/2021 2: 0.35567; Date (DD/MM/YY):04/13/2021 3: 0.3586; Date (DD/MM/YY):04/13/2021 4: 0.3564; Date (DD/MM/YY):04/13/2021 5: 0.33891; Date (DD/MM/YY):04/13/2021 6: 0.33896; Initial: 7: 0.34665 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):04/13/2021 1: 0.32599; Date (DD/MM/YY):04/13/2021 2: 0.32666; Date (DD/MM/YY):04/13/2021 3: 0.32876; Date (DD/MM/YY):04/13/2021 4: 0.32971; Date (DD/MM/YY):04/13/2021 5: 0.32906; Date (DD/MM/YY):04/13/2021 6: 0.32759; Initial: 7: 0.33083 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):04/13/2021 1: 0.39434; Date (DD/MM/YY):04/13/2021 2: 0.39929; Date (DD/MM/YY):04/13/2021 3: 0.40317; Date (DD/MM/YY):04/13/2021 4: 0.38229; Date (DD/MM/YY):04/13/2021 5: 0.39107; Date (DD/MM/YY):04/13/2021 6: 0.38291; Initial: 7: 0.39724 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):04/13/2021 1: 0.37787; Date (DD/MM/YY):04/13/2021 2: 0.36877; Date (DD/MM/YY):04/13/2021 3: 0.38217; Date (DD/MM/YY):04/13/2021 4: 0.37781; Date (DD/MM/YY):04/13/2021 5: 0.36923; Date (DD/MM/YY):04/13/2021 6: 0.37131; Initial: 7: 0.37604 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):04/13/2021 1: 0; Date (DD/MM/YY):04/13/2021 2: 0; Date (DD/MM/YY):04/13/2021 3: 0; Date (DD/MM/YY):04/13/2021 4: 0; Date (DD/MM/YY):04/13/2021 5: 0; Date (DD/MM/YY):04/13/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):04/13/2021 1: 0; Date (DD/MM/YY):04/13/2021 2: 0; Date (DD/MM/YY):04/13/2021 3: 0; Date (DD/MM/YY):04/13/2021 4: 0; Date (DD/MM/YY):04/13/2021 5: 0; Date (DD/MM/YY):04/13/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):04/13/2021 1: 0; Date (DD/MM/YY):04/13/2021 2: 0; Date (DD/MM/YY):04/13/2021 3: 0; Date (DD/MM/YY):04/13/2021 4: 0; Date (DD/MM/YY):04/13/2021 5: 0; Date (DD/MM/YY):04/13/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):04/13/2021 1: 0; Date (DD/MM/YY):04/13/2021 2: 0; Date (DD/MM/YY):04/13/2021 3: 0; Date (DD/MM/YY):04/13/2021 4: 0; Date (DD/MM/YY):04/13/2021 5: 0; Date (DD/MM/YY):04/13/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass