## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1861.8495 | 1774.9034 | 1762.887 | 1716.1468 | 1765.2627 | 1850.4945 | 1767.571 | -- | -- | --
Post Opto-pack Burn-in |  | 1725.7126 | 1661.5807 | 1681.3809 | 1625.6658 | 1688.5419 | 1768.7856 | 1698.0498 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1422.9853 | 1158.4945 | 1431.6043 | 1135.8194 | 1357.5942 | 1254.0111 | 1444.4221 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1397.7124 | 1131.8203 | 1406.8471 | 1099.5475 | 1305.5211 | 1219.4181 | 1430.5237 | -- | -- | --
Change (%) |  | -1.776 | -2.3025 | -1.7293 | -3.1935 | -3.8357 | -2.7586 | -0.96221 | -- | -- | --
Opto-board at 0C |  | 1497.237 | 1244.8806 | 1513.655 | 1184.1103 | 1402.9816 | 1197.1703 | 1528.2944 | -- | -- | --
Change (%) |  | 5.218 | 7.4568 | 5.7314 | 4.2516 | 3.3432 | -4.5327 | 5.8066 | -- | -- | --
Opto-board at 50C |  | 1323.4801 | 1069.4376 | 1323.7066 | 1044.8035 | 1271.7732 | 1056.5574 | 1366.3348 | -- | -- | --
Change (%) |  | -6.9927 | -7.6873 | -7.5368 | -8.0132 | -6.3215 | -15.7458 | -5.4061 | -- | -- | --
Opto-board QA (10C) |  | 1482.8064 | 1217.8355 | 1481.2487 | 1162.5013 | 1413.2279 | 1239.2847 | 1537.8848 | -- | -- | --
Change (%) |  | 4.2039 | 5.1223 | 3.4677 | 2.3491 | 4.098 | -1.1743 | 6.4706 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1972.0786 | 1841.642 | 1944.3735 | 1877.1804 | 1917.2074 | 1902.7976 | 1890.2172 | -- | -- | --
Post Opto-pack Burn-in |  | 1868.9539 | 1773.4533 | 1861.9519 | 1784.4694 | 1828.2527 | 1809.1716 | 1789.5446 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1276.7172 | 1264.0009 | 1300.0301 | 1229.5261 | 1343.5356 | 1313.8997 | 1365.8802 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1171.7892 | 1145.4799 | 1223.4771 | 1126.7317 | 1214.974 | 1190.9047 | 1257.4745 | -- | -- | --
Change (%) |  | -8.2186 | -9.3767 | -5.8886 | -8.3605 | -9.5689 | -9.3611 | -7.9367 | -- | -- | --
Opto-board at 0C |  | 1266.5146 | 1285.4372 | 1345.1748 | 1177.9085 | 1336.261 | 1304.1063 | 1409.6851 | -- | -- | --
Change (%) |  | -0.79913 | 1.6959 | 3.4726 | -4.1982 | -0.54145 | -0.74537 | 3.2071 | -- | -- | --
Opto-board at 50C |  | 1109.375 | 1112.5614 | 1178.9421 | 1062.9536 | 1167.0468 | 1144.4729 | 1216.8436 | -- | -- | --
Change (%) |  | -13.1072 | -11.981 | -9.3142 | -13.5477 | -13.1361 | -12.895 | -10.9114 | -- | -- | --
Opto-board QA (10C) |  | 1257.9614 | 1258.5949 | 1338.6068 | 1181.8854 | 1311.5841 | 1293.5148 | 1387.0245 | -- | -- | --
Change (%) |  | -1.4691 | -0.42769 | 2.9674 | -3.8747 | -2.3782 | -1.5515 | 1.548 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 362.793 |  |  |  | 2021-07-06 |  |  |  | Pass
QA | mA | 304 | 366 | 340.4419 |  |  |  | 2021-07-06 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.67805 |  | 2021-07-06 |  |  |  | Pass
QA | uA | 1 | 0.67242 |  | 2021-07-06 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.09043 | 0.09532 | 0.36374 | 0.082 | 0.0861 | 0.034851 | 0.032978 | 0.12981 | 0.0715 | 0.03759 | 0.04154 | 0.030167 | 0.028059 | 0.033047 |  |  | Pass
Fall | ns | 1 | 0.27007 | 0.3609 | 0.27852 | 0.23634 | 0.53323 | 0.4782 | 0.26217 | 0.33762 | 0.31936 | 0.23458 | 0.43132 | 0.27714 | 0.25093 | 0.33433 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/06/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/06/2021 1: 0.48393; Date (DD/MM/YY):07/06/2021 2: 0.50222; Date (DD/MM/YY):07/06/2021 3: 0.52547; Date (DD/MM/YY):07/06/2021 4: 0.52912; Date (DD/MM/YY):07/06/2021 5: 0.54981; Date (DD/MM/YY):07/06/2021 6: 0.57332; Initial: 7: 0.58131 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/06/2021 1: 0.47227; Date (DD/MM/YY):07/06/2021 2: 0.49385; Date (DD/MM/YY):07/06/2021 3: 0.51553; Date (DD/MM/YY):07/06/2021 4: 0.52247; Date (DD/MM/YY):07/06/2021 5: 0.54698; Date (DD/MM/YY):07/06/2021 6: 0.55958; Initial: 7: 0.58315 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/06/2021 1: 0.63192; Date (DD/MM/YY):07/06/2021 2: 0.629; Date (DD/MM/YY):07/06/2021 3: 0.61747; Date (DD/MM/YY):07/06/2021 4: 0.59999; Date (DD/MM/YY):07/06/2021 5: 0.62018; Date (DD/MM/YY):07/06/2021 6: 0.61717; Initial: 7: 0.62281 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/06/2021 1: 0.61028; Date (DD/MM/YY):07/06/2021 2: 0.59786; Date (DD/MM/YY):07/06/2021 3: 0.61626; Date (DD/MM/YY):07/06/2021 4: 0.6063; Date (DD/MM/YY):07/06/2021 5: 0.59161; Date (DD/MM/YY):07/06/2021 6: 0.59774; Initial: 7: 0.62854 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/06/2021 1: 0.09388; Date (DD/MM/YY):07/06/2021 2: 0.0991; Date (DD/MM/YY):07/06/2021 3: 0.16446; Date (DD/MM/YY):07/06/2021 4: 0.07111; Date (DD/MM/YY):07/06/2021 5: 0.32331; Date (DD/MM/YY):07/06/2021 6: 0.17793; Initial: 7: 0.06504 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/06/2021 1: 0.10199; Date (DD/MM/YY):07/06/2021 2: 0.09601; Date (DD/MM/YY):07/06/2021 3: 0.15707; Date (DD/MM/YY):07/06/2021 4: 0.06003; Date (DD/MM/YY):07/06/2021 5: 0.31504; Date (DD/MM/YY):07/06/2021 6: 0.171; Initial: 7: 0.0521 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/06/2021 1: 11.862; Date (DD/MM/YY):07/06/2021 2: 11.988; Date (DD/MM/YY):07/06/2021 3: 12.68; Date (DD/MM/YY):07/06/2021 4: 11.834; Date (DD/MM/YY):07/06/2021 5: 12.715; Date (DD/MM/YY):07/06/2021 6: 12.894; Initial: 7: 13.002
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/06/2021 1: 11.867; Date (DD/MM/YY):07/06/2021 2: 11.999; Date (DD/MM/YY):07/06/2021 3: 12.705; Date (DD/MM/YY):07/06/2021 4: 11.806; Date (DD/MM/YY):07/06/2021 5: 12.721; Date (DD/MM/YY):07/06/2021 6: 12.781; Initial: 7: 12.933
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/06/2021 1: 11.361; Date (DD/MM/YY):07/06/2021 2: 11.493; Date (DD/MM/YY):07/06/2021 3: 11.998; Date (DD/MM/YY):07/06/2021 4: 11.438; Date (DD/MM/YY):07/06/2021 5: 11.824; Date (DD/MM/YY):07/06/2021 6: 12.146; Initial: 7: 12.564
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/06/2021 1: 11.352; Date (DD/MM/YY):07/06/2021 2: 11.532; Date (DD/MM/YY):07/06/2021 3: 12.031; Date (DD/MM/YY):07/06/2021 4: 11.466; Date (DD/MM/YY):07/06/2021 5: 11.808; Date (DD/MM/YY):07/06/2021 6: 12.192; Initial: 7: 12.65
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/06/2021 1: 11.5791; Date (DD/MM/YY):07/06/2021 2: 11.7462; Date (DD/MM/YY):07/06/2021 3: 12.3279; Date (DD/MM/YY):07/06/2021 4: 11.6511; Date (DD/MM/YY):07/06/2021 5: 12.2614; Date (DD/MM/YY):07/06/2021 6: 12.4877; Initial: 7: 12.7814
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/06/2021 1: 11.5884; Date (DD/MM/YY):07/06/2021 2: 11.7527; Date (DD/MM/YY):07/06/2021 3: 12.3348; Date (DD/MM/YY):07/06/2021 4: 11.6425; Date (DD/MM/YY):07/06/2021 5: 12.259; Date (DD/MM/YY):07/06/2021 6: 12.4908; Initial: 7: 12.7889
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):07/06/2021 1: 46.3417; Date (DD/MM/YY):07/06/2021 2: 47.1256; Date (DD/MM/YY):07/06/2021 3: 49.4809; Date (DD/MM/YY):07/06/2021 4: 46.6643; Date (DD/MM/YY):07/06/2021 5: 49.2288; Date (DD/MM/YY):07/06/2021 6: 49.9373; Initial: 7: 51.1715 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):07/06/2021 1: 46.3398; Date (DD/MM/YY):07/06/2021 2: 47.0558; Date (DD/MM/YY):07/06/2021 3: 49.3446; Date (DD/MM/YY):07/06/2021 4: 46.6471; Date (DD/MM/YY):07/06/2021 5: 49.1189; Date (DD/MM/YY):07/06/2021 6: 49.9982; Initial: 7: 51.1768 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):07/06/2021 1: 46.3501; Date (DD/MM/YY):07/06/2021 2: 47.009; Date (DD/MM/YY):07/06/2021 3: 49.3555; Date (DD/MM/YY):07/06/2021 4: 46.5711; Date (DD/MM/YY):07/06/2021 5: 49.0486; Date (DD/MM/YY):07/06/2021 6: 49.9674; Initial: 7: 51.1652 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/06/2021 1: 1.0141; Date (DD/MM/YY):07/06/2021 2: 1.0011; Date (DD/MM/YY):07/06/2021 3: 1.0054; Date (DD/MM/YY):07/06/2021 4: 1.0805; Date (DD/MM/YY):07/06/2021 5: 1.0966; Date (DD/MM/YY):07/06/2021 6: 1.0891; Initial: 7: 1.0835 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/06/2021 1: 1.011; Date (DD/MM/YY):07/06/2021 2: 0.99913; Date (DD/MM/YY):07/06/2021 3: 1.0014; Date (DD/MM/YY):07/06/2021 4: 1.0698; Date (DD/MM/YY):07/06/2021 5: 1.0886; Date (DD/MM/YY):07/06/2021 6: 1.0829; Initial: 7: 1.0782 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/06/2021 1: 1.0372; Date (DD/MM/YY):07/06/2021 2: 1.0276; Date (DD/MM/YY):07/06/2021 3: 1.0322; Date (DD/MM/YY):07/06/2021 4: 1.107; Date (DD/MM/YY):07/06/2021 5: 1.12; Date (DD/MM/YY):07/06/2021 6: 1.1186; Initial: 7: 1.1233 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/06/2021 1: 1.0288; Date (DD/MM/YY):07/06/2021 2: 1.0117; Date (DD/MM/YY):07/06/2021 3: 1.027; Date (DD/MM/YY):07/06/2021 4: 1.109; Date (DD/MM/YY):07/06/2021 5: 1.1045; Date (DD/MM/YY):07/06/2021 6: 1.1122; Initial: 7: 1.1154 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/06/2021 1: 0.34262; Date (DD/MM/YY):07/06/2021 2: 0.3323; Date (DD/MM/YY):07/06/2021 3: 0.33418; Date (DD/MM/YY):07/06/2021 4: 0.36882; Date (DD/MM/YY):07/06/2021 5: 0.36765; Date (DD/MM/YY):07/06/2021 6: 0.36236; Initial: 7: 0.36173 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/06/2021 1: 0.30327; Date (DD/MM/YY):07/06/2021 2: 0.29597; Date (DD/MM/YY):07/06/2021 3: 0.30032; Date (DD/MM/YY):07/06/2021 4: 0.32594; Date (DD/MM/YY):07/06/2021 5: 0.3389; Date (DD/MM/YY):07/06/2021 6: 0.33795; Initial: 7: 0.33649 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/06/2021 1: 0.37664; Date (DD/MM/YY):07/06/2021 2: 0.37289; Date (DD/MM/YY):07/06/2021 3: 0.37737; Date (DD/MM/YY):07/06/2021 4: 0.39283; Date (DD/MM/YY):07/06/2021 5: 0.40764; Date (DD/MM/YY):07/06/2021 6: 0.40056; Initial: 7: 0.40667 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/06/2021 1: 0.35065; Date (DD/MM/YY):07/06/2021 2: 0.33527; Date (DD/MM/YY):07/06/2021 3: 0.34816; Date (DD/MM/YY):07/06/2021 4: 0.38163; Date (DD/MM/YY):07/06/2021 5: 0.37361; Date (DD/MM/YY):07/06/2021 6: 0.37608; Initial: 7: 0.37888 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/06/2021 1: 0; Date (DD/MM/YY):07/06/2021 2: 0; Date (DD/MM/YY):07/06/2021 3: 0; Date (DD/MM/YY):07/06/2021 4: 0; Date (DD/MM/YY):07/06/2021 5: 0; Date (DD/MM/YY):07/06/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/06/2021 1: 0; Date (DD/MM/YY):07/06/2021 2: 0; Date (DD/MM/YY):07/06/2021 3: 0; Date (DD/MM/YY):07/06/2021 4: 0; Date (DD/MM/YY):07/06/2021 5: 0; Date (DD/MM/YY):07/06/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/06/2021 1: 0; Date (DD/MM/YY):07/06/2021 2: 0; Date (DD/MM/YY):07/06/2021 3: 0; Date (DD/MM/YY):07/06/2021 4: 0; Date (DD/MM/YY):07/06/2021 5: 0; Date (DD/MM/YY):07/06/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/06/2021 1: 0; Date (DD/MM/YY):07/06/2021 2: 0; Date (DD/MM/YY):07/06/2021 3: 0; Date (DD/MM/YY):07/06/2021 4: 0; Date (DD/MM/YY):07/06/2021 5: 0; Date (DD/MM/YY):07/06/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass