## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2178.4032 | 2055.6654 | 2078.9121 | 2155.7598 | 2159.9957 | 2233.92 | 2140.6506 | -- | -- | --
Post Opto-pack Burn-in |  | 1968.7271 | 1838.7735 | 1899.8328 | 1954.7479 | 1939.8084 | 2016.7956 | 1964.2187 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1803.2194 | 1517.9365 | 1794.4732 | 1612.0693 | 1796.8585 | 1629.0608 | 1886.0005 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1562.958 | 1438.4333 | 1657.9386 | 1505.512 | 1648.4568 | 1546.2202 | 1852.0803 | -- | -- | --
Change (%) |  | -13.324 | -5.2376 | -7.6086 | -6.61 | -8.259 | -5.0852 | -1.7985 | -- | -- | --
Opto-board at 0C |  | 1733.6199 | 1534.2411 | 1832.9988 | 1683.1702 | 1845.6516 | 1701.3662 | 2052.0425 | -- | -- | --
Change (%) |  | -3.8597 | 1.0741 | 2.1469 | 4.4105 | 2.7155 | 4.4385 | 8.8039 | -- | -- | --
Opto-board at 50C |  | 1522.6646 | 1394.622 | 1642.0704 | 1472.8968 | 1613.4995 | 1523.9109 | 1833.4636 | -- | -- | --
Change (%) |  | -15.5586 | -8.1238 | -8.4929 | -8.6332 | -10.2044 | -6.4546 | -2.7856 | -- | -- | --
Opto-board QA (10C) |  | 1697.6305 | 1525.3799 | 1816.2007 | 1676.6991 | 1848.1866 | 1703.3081 | 2054.9555 | -- | -- | --
Change (%) |  | -5.8556 | 0.49036 | 1.2108 | 4.0091 | 2.8565 | 4.5577 | 8.9584 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2168.3276 | 1968.9747 | 2136.6883 | 2141.5833 | 2285.2146 | 2251.6679 | 2186.267 | -- | -- | --
Post Opto-pack Burn-in |  | 2022.4736 | 1874.9315 | 2015.068 | 2017.5481 | 2122.126 | 2121.7153 | 2053.0858 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1444.0864 | 1442.6402 | 1518.5852 | 1473.7089 | 1635.5201 | 1649.2697 | 1564.8249 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1373.2542 | 1354.0354 | 1435.6582 | 1400.0022 | 1539.4484 | 1537.5423 | 1465.5739 | -- | -- | --
Change (%) |  | -4.905 | -6.1419 | -5.4608 | -5.0014 | -5.8741 | -6.7744 | -6.3426 | -- | -- | --
Opto-board at 0C |  | 1485.798 | 1433.8298 | 1566.1132 | 1499.6555 | 1731.6673 | 1724.3493 | 1643.7416 | -- | -- | --
Change (%) |  | 2.8884 | -0.61072 | 3.1298 | 1.7606 | 5.8787 | 4.5523 | 5.0432 | -- | -- | --
Opto-board at 50C |  | 1315.103 | 1293.8903 | 1406.1806 | 1335.2688 | 1526.0897 | 1496.7161 | 1421.1661 | -- | -- | --
Change (%) |  | -8.9318 | -10.311 | -7.4019 | -9.394 | -6.6909 | -9.2498 | -9.1805 | -- | -- | --
Opto-board QA (10C) |  | 1491.8908 | 1442.7385 | 1580.949 | 1480.5882 | 1714.1422 | 1708.4433 | 1624.5469 | -- | -- | --
Change (%) |  | 3.3104 | 0.0068133 | 4.1067 | 0.4668 | 4.8072 | 3.5879 | 3.8165 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 363.8916 |  |  |  | 2021-07-07 |  |  |  | Pass
QA | mA | 304 | 366 | 342.627 |  |  |  | 2021-07-07 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.54728 |  | 2021-07-07 |  |  |  | Pass
QA | uA | 1 | 0.81166 |  | 2021-07-07 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.034213 | 0.035545 | 0.43562 | 0.42909 | 0.2598 | 0.43983 | 0.19 | 0.032811 | 0.030604 | 0.03367 | 0.03744 | 0.0769 | 0.030284 | 0.04339 |  |  | Pass
Fall | ns | 1 | 0.28466 | 0.46478 | 0.34986 | 0.32385 | 0.51608 | 0.36231 | 0.24128 | 0.29548 | 0.3612 | 0.35153 | 0.3509 | 0.29881 | 0.31993 | 0.39948 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/07/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.52023; Date (DD/MM/YY):07/07/2021 2: 0.53489; Date (DD/MM/YY):07/07/2021 3: 0.56072; Date (DD/MM/YY):07/07/2021 4: 0.57174; Date (DD/MM/YY):07/07/2021 5: 0.58254; Date (DD/MM/YY):07/07/2021 6: 0.57937; Initial: 7: 0.60303 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.50219; Date (DD/MM/YY):07/07/2021 2: 0.5212; Date (DD/MM/YY):07/07/2021 3: 0.54869; Date (DD/MM/YY):07/07/2021 4: 0.54822; Date (DD/MM/YY):07/07/2021 5: 0.57511; Date (DD/MM/YY):07/07/2021 6: 0.58064; Initial: 7: 0.60156 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.64705; Date (DD/MM/YY):07/07/2021 2: 0.70432; Date (DD/MM/YY):07/07/2021 3: 0.67755; Date (DD/MM/YY):07/07/2021 4: 0.66734; Date (DD/MM/YY):07/07/2021 5: 0.68432; Date (DD/MM/YY):07/07/2021 6: 0.65496; Initial: 7: 0.6914 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.661; Date (DD/MM/YY):07/07/2021 2: 0.63136; Date (DD/MM/YY):07/07/2021 3: 0.65449; Date (DD/MM/YY):07/07/2021 4: 0.67095; Date (DD/MM/YY):07/07/2021 5: 0.62189; Date (DD/MM/YY):07/07/2021 6: 0.65902; Initial: 7: 0.68955 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.17533; Date (DD/MM/YY):07/07/2021 2: 0.15531; Date (DD/MM/YY):07/07/2021 3: 0.08897; Date (DD/MM/YY):07/07/2021 4: 0.09908; Date (DD/MM/YY):07/07/2021 5: 0.07087; Date (DD/MM/YY):07/07/2021 6: 0.28642; Initial: 7: 0.08907 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.15901; Date (DD/MM/YY):07/07/2021 2: 0.15638; Date (DD/MM/YY):07/07/2021 3: 0.07424; Date (DD/MM/YY):07/07/2021 4: 0.0687; Date (DD/MM/YY):07/07/2021 5: 0.04747; Date (DD/MM/YY):07/07/2021 6: 0.27795; Initial: 7: 0.05933 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 12.401; Date (DD/MM/YY):07/07/2021 2: 12.441; Date (DD/MM/YY):07/07/2021 3: 12.009; Date (DD/MM/YY):07/07/2021 4: 12.426; Date (DD/MM/YY):07/07/2021 5: 12.22; Date (DD/MM/YY):07/07/2021 6: 12.086; Initial: 7: 12.737
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 12.325; Date (DD/MM/YY):07/07/2021 2: 12.325; Date (DD/MM/YY):07/07/2021 3: 11.999; Date (DD/MM/YY):07/07/2021 4: 12.312; Date (DD/MM/YY):07/07/2021 5: 12.145; Date (DD/MM/YY):07/07/2021 6: 12.021; Initial: 7: 12.551
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 11.627; Date (DD/MM/YY):07/07/2021 2: 11.666; Date (DD/MM/YY):07/07/2021 3: 11.488; Date (DD/MM/YY):07/07/2021 4: 11.855; Date (DD/MM/YY):07/07/2021 5: 11.805; Date (DD/MM/YY):07/07/2021 6: 11.124; Initial: 7: 12.169
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 11.656; Date (DD/MM/YY):07/07/2021 2: 11.666; Date (DD/MM/YY):07/07/2021 3: 11.513; Date (DD/MM/YY):07/07/2021 4: 11.943; Date (DD/MM/YY):07/07/2021 5: 11.833; Date (DD/MM/YY):07/07/2021 6: 11.169; Initial: 7: 12.19
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 11.9814; Date (DD/MM/YY):07/07/2021 2: 12.0108; Date (DD/MM/YY):07/07/2021 3: 11.7454; Date (DD/MM/YY):07/07/2021 4: 12.1204; Date (DD/MM/YY):07/07/2021 5: 11.9821; Date (DD/MM/YY):07/07/2021 6: 11.5826; Initial: 7: 12.3786
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 11.9821; Date (DD/MM/YY):07/07/2021 2: 12.0056; Date (DD/MM/YY):07/07/2021 3: 11.749; Date (DD/MM/YY):07/07/2021 4: 12.12; Date (DD/MM/YY):07/07/2021 5: 11.9947; Date (DD/MM/YY):07/07/2021 6: 11.5794; Initial: 7: 12.3747
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):07/07/2021 1: 48.0357; Date (DD/MM/YY):07/07/2021 2: 48.1021; Date (DD/MM/YY):07/07/2021 3: 47.0186; Date (DD/MM/YY):07/07/2021 4: 48.6042; Date (DD/MM/YY):07/07/2021 5: 48.0689; Date (DD/MM/YY):07/07/2021 6: 46.4761; Initial: 7: 49.6001 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):07/07/2021 1: 47.9744; Date (DD/MM/YY):07/07/2021 2: 48.0653; Date (DD/MM/YY):07/07/2021 3: 47.0393; Date (DD/MM/YY):07/07/2021 4: 48.5344; Date (DD/MM/YY):07/07/2021 5: 47.9374; Date (DD/MM/YY):07/07/2021 6: 46.3809; Initial: 7: 49.6462 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):07/07/2021 1: 47.9343; Date (DD/MM/YY):07/07/2021 2: 48.0204; Date (DD/MM/YY):07/07/2021 3: 47.019; Date (DD/MM/YY):07/07/2021 4: 48.4873; Date (DD/MM/YY):07/07/2021 5: 47.9839; Date (DD/MM/YY):07/07/2021 6: 46.3078; Initial: 7: 49.5038 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/07/2021 1: 1.055; Date (DD/MM/YY):07/07/2021 2: 1.0511; Date (DD/MM/YY):07/07/2021 3: 1.0604; Date (DD/MM/YY):07/07/2021 4: 1.0514; Date (DD/MM/YY):07/07/2021 5: 1.0516; Date (DD/MM/YY):07/07/2021 6: 1.026; Initial: 7: 1.0403 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/07/2021 1: 1.0466; Date (DD/MM/YY):07/07/2021 2: 1.0445; Date (DD/MM/YY):07/07/2021 3: 1.0522; Date (DD/MM/YY):07/07/2021 4: 1.0425; Date (DD/MM/YY):07/07/2021 5: 1.0457; Date (DD/MM/YY):07/07/2021 6: 1.0205; Initial: 7: 1.0366 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/07/2021 1: 1.0799; Date (DD/MM/YY):07/07/2021 2: 1.0884; Date (DD/MM/YY):07/07/2021 3: 1.1026; Date (DD/MM/YY):07/07/2021 4: 1.065; Date (DD/MM/YY):07/07/2021 5: 1.0793; Date (DD/MM/YY):07/07/2021 6: 1.0762; Initial: 7: 1.071 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/07/2021 1: 1.0686; Date (DD/MM/YY):07/07/2021 2: 1.0657; Date (DD/MM/YY):07/07/2021 3: 1.0918; Date (DD/MM/YY):07/07/2021 4: 1.0668; Date (DD/MM/YY):07/07/2021 5: 1.064; Date (DD/MM/YY):07/07/2021 6: 1.0712; Initial: 7: 1.0626 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/07/2021 1: 0.361; Date (DD/MM/YY):07/07/2021 2: 0.35138; Date (DD/MM/YY):07/07/2021 3: 0.3575; Date (DD/MM/YY):07/07/2021 4: 0.35538; Date (DD/MM/YY):07/07/2021 5: 0.35122; Date (DD/MM/YY):07/07/2021 6: 0.33856; Initial: 7: 0.34558 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/07/2021 1: 0.31151; Date (DD/MM/YY):07/07/2021 2: 0.31277; Date (DD/MM/YY):07/07/2021 3: 0.31586; Date (DD/MM/YY):07/07/2021 4: 0.32021; Date (DD/MM/YY):07/07/2021 5: 0.32234; Date (DD/MM/YY):07/07/2021 6: 0.31251; Initial: 7: 0.32216 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/07/2021 1: 0.3952; Date (DD/MM/YY):07/07/2021 2: 0.40051; Date (DD/MM/YY):07/07/2021 3: 0.40778; Date (DD/MM/YY):07/07/2021 4: 0.37865; Date (DD/MM/YY):07/07/2021 5: 0.39349; Date (DD/MM/YY):07/07/2021 6: 0.38561; Initial: 7: 0.38884 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/07/2021 1: 0.37054; Date (DD/MM/YY):07/07/2021 2: 0.36093; Date (DD/MM/YY):07/07/2021 3: 0.37843; Date (DD/MM/YY):07/07/2021 4: 0.36978; Date (DD/MM/YY):07/07/2021 5: 0.3617; Date (DD/MM/YY):07/07/2021 6: 0.36548; Initial: 7: 0.36263 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/07/2021 1: 0; Date (DD/MM/YY):07/07/2021 2: 0; Date (DD/MM/YY):07/07/2021 3: 0; Date (DD/MM/YY):07/07/2021 4: 0; Date (DD/MM/YY):07/07/2021 5: 0; Date (DD/MM/YY):07/07/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/07/2021 1: 0; Date (DD/MM/YY):07/07/2021 2: 0; Date (DD/MM/YY):07/07/2021 3: 0; Date (DD/MM/YY):07/07/2021 4: 0; Date (DD/MM/YY):07/07/2021 5: 0; Date (DD/MM/YY):07/07/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/07/2021 1: 0; Date (DD/MM/YY):07/07/2021 2: 0; Date (DD/MM/YY):07/07/2021 3: 0; Date (DD/MM/YY):07/07/2021 4: 0; Date (DD/MM/YY):07/07/2021 5: 0; Date (DD/MM/YY):07/07/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/07/2021 1: 0; Date (DD/MM/YY):07/07/2021 2: 0; Date (DD/MM/YY):07/07/2021 3: 0; Date (DD/MM/YY):07/07/2021 4: 0; Date (DD/MM/YY):07/07/2021 5: 0; Date (DD/MM/YY):07/07/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass