## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1824.1018 | 1618.7692 | 1671.7253 | 1681.4636 | 1695.7563 | 1730.9432 | 1630.7932 | -- | -- | --
Post Opto-pack Burn-in |  | 1818.1465 | 1567.7431 | 1639.7034 | 1648.5187 | 1667.325 | 1667.5414 | 1618.5736 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1513.1957 | 1186.0259 | 1436.8437 | 1240.8262 | 1282.1937 | 1226.6846 | 1423.3027 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1408.9416 | 1094.3808 | 1333.3255 | 1177.3883 | 1228.7563 | 1123.5733 | 1350.0465 | -- | -- | --
Change (%) |  | -6.8897 | -7.7271 | -7.2046 | -5.1125 | -4.1677 | -8.4057 | -5.1469 | -- | -- | --
Opto-board at 0C |  | 1530.3345 | 1177.8736 | 1479.9188 | 1215.4797 | 1382.5084 | 1256.858 | 1453.4586 | -- | -- | --
Change (%) |  | 1.1326 | -0.68736 | 2.9979 | -2.0427 | 7.8237 | 2.4597 | 2.1187 | -- | -- | --
Opto-board at 50C |  | 1361.3555 | 1035.8064 | 1292.8101 | 1112.5254 | 1221.1127 | 1071.9868 | 1297.284 | -- | -- | --
Change (%) |  | -10.0344 | -12.6658 | -10.0243 | -10.3399 | -4.7638 | -12.6111 | -8.854 | -- | -- | --
Opto-board QA (10C) |  | 1521.8038 | 1180.124 | 1459.0012 | 1215.5514 | 1354.6723 | 1232.519 | 1443.3759 | -- | -- | --
Change (%) |  | 0.56887 | -0.49762 | 1.5421 | -2.0369 | 5.6527 | 0.47562 | 1.4103 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1940.7155 | 1927.7185 | 1929.5728 | 1845.1425 | 1945.8939 | 1981.6363 | 1881.7075 | -- | -- | --
Post Opto-pack Burn-in |  | 1916.2303 | 1904.9428 | 1901.9589 | 1847.4786 | 1934.9616 | 1971.8192 | 1826.6643 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1408.783 | 1512.7664 | 1506.5854 | 1395.814 | 1572.4863 | 1544.0211 | 1505.5549 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1326.6756 | 1411.2229 | 1384.0101 | 1360.3429 | 1468.6583 | 1470.9697 | 1438.7126 | -- | -- | --
Change (%) |  | -5.8282 | -6.7124 | -8.136 | -2.5412 | -6.6028 | -4.7312 | -4.4397 | -- | -- | --
Opto-board at 0C |  | 1446.1774 | 1545.676 | 1543.0189 | 1430.4492 | 1569.5765 | 1526.3404 | 1541.9947 | -- | -- | --
Change (%) |  | 2.6544 | 2.1755 | 2.4183 | 2.4814 | -0.18505 | -1.1451 | 2.4204 | -- | -- | --
Opto-board at 50C |  | 1284.8378 | 1378.9119 | 1316.3808 | 1227.6708 | 1277.9416 | 1342.9043 | 1267.7971 | -- | -- | --
Change (%) |  | -8.798 | -8.8483 | -12.6249 | -12.0462 | -18.7311 | -13.0255 | -15.792 | -- | -- | --
Opto-board QA (10C) |  | 1419.9409 | 1539.0368 | 1526.8437 | 1429.9808 | 1564.1725 | 1551.0728 | 1542.9648 | -- | -- | --
Change (%) |  | 0.79203 | 1.7366 | 1.3447 | 2.4478 | -0.5287 | 0.45671 | 2.4848 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 363.7695 |  |  |  | 2021-07-07 |  |  |  | Pass
QA | mA | 304 | 366 | 340.686 |  |  |  | 2021-07-07 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.93555 |  | 2021-07-07 |  |  |  | Pass
QA | uA | 1 | 0.78433 |  | 2021-07-07 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.034202 | 0.04135 | 0.06792 | 0.028822 | 0.1867 | 0.03343 | 0.029558 | 0.3009 | 0.0365 | 0.04036 | 0.3633 | 0.029673 | 0.030823 | 0.3964 |  |  | Pass
Fall | ns | 1 | 0.27133 | 0.37022 | 0.26542 | 0.49699 | 0.39037 | 0.31719 | 0.32718 | 0.44446 | 0.37879 | 0.25885 | 0.46378 | 0.32779 | 0.27307 | 0.39891 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/07/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.5323; Date (DD/MM/YY):07/07/2021 2: 0.55036; Date (DD/MM/YY):07/07/2021 3: 0.57036; Date (DD/MM/YY):07/07/2021 4: 0.58183; Date (DD/MM/YY):07/07/2021 5: 0.59419; Date (DD/MM/YY):07/07/2021 6: 0.61368; Initial: 7: 0.6225 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.50826; Date (DD/MM/YY):07/07/2021 2: 0.53021; Date (DD/MM/YY):07/07/2021 3: 0.5559; Date (DD/MM/YY):07/07/2021 4: 0.55146; Date (DD/MM/YY):07/07/2021 5: 0.58073; Date (DD/MM/YY):07/07/2021 6: 0.5997; Initial: 7: 0.61374 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.67622; Date (DD/MM/YY):07/07/2021 2: 0.69318; Date (DD/MM/YY):07/07/2021 3: 0.66716; Date (DD/MM/YY):07/07/2021 4: 0.63416; Date (DD/MM/YY):07/07/2021 5: 0.68861; Date (DD/MM/YY):07/07/2021 6: 0.66527; Initial: 7: 0.6768 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.64143; Date (DD/MM/YY):07/07/2021 2: 0.62507; Date (DD/MM/YY):07/07/2021 3: 0.68666; Date (DD/MM/YY):07/07/2021 4: 0.65653; Date (DD/MM/YY):07/07/2021 5: 0.6468; Date (DD/MM/YY):07/07/2021 6: 0.68034; Initial: 7: 0.69324 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.16755; Date (DD/MM/YY):07/07/2021 2: 0.17655; Date (DD/MM/YY):07/07/2021 3: 0.1068; Date (DD/MM/YY):07/07/2021 4: 0.1209; Date (DD/MM/YY):07/07/2021 5: 0.08058; Date (DD/MM/YY):07/07/2021 6: 0.13928; Initial: 7: 0.0598 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/07/2021 1: 0.15778; Date (DD/MM/YY):07/07/2021 2: 0.1732; Date (DD/MM/YY):07/07/2021 3: 0.10816; Date (DD/MM/YY):07/07/2021 4: 0.0974; Date (DD/MM/YY):07/07/2021 5: 0.08004; Date (DD/MM/YY):07/07/2021 6: 0.13492; Initial: 7: 0.04969 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 12.852; Date (DD/MM/YY):07/07/2021 2: 12.335; Date (DD/MM/YY):07/07/2021 3: 13.162; Date (DD/MM/YY):07/07/2021 4: 13.102; Date (DD/MM/YY):07/07/2021 5: 12.102; Date (DD/MM/YY):07/07/2021 6: 12.182; Initial: 7: 12.441
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 12.812; Date (DD/MM/YY):07/07/2021 2: 12.261; Date (DD/MM/YY):07/07/2021 3: 13.149; Date (DD/MM/YY):07/07/2021 4: 12.98; Date (DD/MM/YY):07/07/2021 5: 12.064; Date (DD/MM/YY):07/07/2021 6: 12.146; Initial: 7: 12.399
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 12.077; Date (DD/MM/YY):07/07/2021 2: 11.513; Date (DD/MM/YY):07/07/2021 3: 12.507; Date (DD/MM/YY):07/07/2021 4: 12.503; Date (DD/MM/YY):07/07/2021 5: 11.68; Date (DD/MM/YY):07/07/2021 6: 11.571; Initial: 7: 12.053
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 12.08; Date (DD/MM/YY):07/07/2021 2: 11.533; Date (DD/MM/YY):07/07/2021 3: 12.508; Date (DD/MM/YY):07/07/2021 4: 12.568; Date (DD/MM/YY):07/07/2021 5: 11.674; Date (DD/MM/YY):07/07/2021 6: 11.633; Initial: 7: 12.079
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 12.4504; Date (DD/MM/YY):07/07/2021 2: 11.8743; Date (DD/MM/YY):07/07/2021 3: 12.8115; Date (DD/MM/YY):07/07/2021 4: 12.7823; Date (DD/MM/YY):07/07/2021 5: 11.8744; Date (DD/MM/YY):07/07/2021 6: 11.9007; Initial: 7: 12.2314
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/07/2021 1: 12.4367; Date (DD/MM/YY):07/07/2021 2: 11.8682; Date (DD/MM/YY):07/07/2021 3: 12.8187; Date (DD/MM/YY):07/07/2021 4: 12.7749; Date (DD/MM/YY):07/07/2021 5: 11.8615; Date (DD/MM/YY):07/07/2021 6: 11.8949; Initial: 7: 12.2285
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):07/07/2021 1: 49.931; Date (DD/MM/YY):07/07/2021 2: 47.6503; Date (DD/MM/YY):07/07/2021 3: 51.3036; Date (DD/MM/YY):07/07/2021 4: 51.1839; Date (DD/MM/YY):07/07/2021 5: 47.6168; Date (DD/MM/YY):07/07/2021 6: 47.647; Initial: 7: 48.9537 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):07/07/2021 1: 49.9059; Date (DD/MM/YY):07/07/2021 2: 47.5769; Date (DD/MM/YY):07/07/2021 3: 51.2782; Date (DD/MM/YY):07/07/2021 4: 51.1776; Date (DD/MM/YY):07/07/2021 5: 47.5189; Date (DD/MM/YY):07/07/2021 6: 47.6118; Initial: 7: 48.9639 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):07/07/2021 1: 49.7602; Date (DD/MM/YY):07/07/2021 2: 47.4912; Date (DD/MM/YY):07/07/2021 3: 51.2693; Date (DD/MM/YY):07/07/2021 4: 51.0924; Date (DD/MM/YY):07/07/2021 5: 47.4423; Date (DD/MM/YY):07/07/2021 6: 47.595; Initial: 7: 48.9319 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/07/2021 1: 1.0258; Date (DD/MM/YY):07/07/2021 2: 1.0266; Date (DD/MM/YY):07/07/2021 3: 1.0159; Date (DD/MM/YY):07/07/2021 4: 1.1025; Date (DD/MM/YY):07/07/2021 5: 1.0965; Date (DD/MM/YY):07/07/2021 6: 1.0811; Initial: 7: 1.0753 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/07/2021 1: 1.0201; Date (DD/MM/YY):07/07/2021 2: 1.0216; Date (DD/MM/YY):07/07/2021 3: 1.0099; Date (DD/MM/YY):07/07/2021 4: 1.0932; Date (DD/MM/YY):07/07/2021 5: 1.0866; Date (DD/MM/YY):07/07/2021 6: 1.0735; Initial: 7: 1.0676 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/07/2021 1: 1.067; Date (DD/MM/YY):07/07/2021 2: 1.0615; Date (DD/MM/YY):07/07/2021 3: 1.0453; Date (DD/MM/YY):07/07/2021 4: 1.1077; Date (DD/MM/YY):07/07/2021 5: 1.1229; Date (DD/MM/YY):07/07/2021 6: 1.112; Initial: 7: 1.107 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/07/2021 1: 1.0556; Date (DD/MM/YY):07/07/2021 2: 1.0399; Date (DD/MM/YY):07/07/2021 3: 1.0363; Date (DD/MM/YY):07/07/2021 4: 1.1064; Date (DD/MM/YY):07/07/2021 5: 1.1043; Date (DD/MM/YY):07/07/2021 6: 1.1041; Initial: 7: 1.0956 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/07/2021 1: 0.34136; Date (DD/MM/YY):07/07/2021 2: 0.33718; Date (DD/MM/YY):07/07/2021 3: 0.32911; Date (DD/MM/YY):07/07/2021 4: 0.37357; Date (DD/MM/YY):07/07/2021 5: 0.37286; Date (DD/MM/YY):07/07/2021 6: 0.36465; Initial: 7: 0.36292 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/07/2021 1: 0.29429; Date (DD/MM/YY):07/07/2021 2: 0.29424; Date (DD/MM/YY):07/07/2021 3: 0.29237; Date (DD/MM/YY):07/07/2021 4: 0.34215; Date (DD/MM/YY):07/07/2021 5: 0.33808; Date (DD/MM/YY):07/07/2021 6: 0.33454; Initial: 7: 0.33283 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/07/2021 1: 0.38339; Date (DD/MM/YY):07/07/2021 2: 0.38038; Date (DD/MM/YY):07/07/2021 3: 0.37277; Date (DD/MM/YY):07/07/2021 4: 0.39457; Date (DD/MM/YY):07/07/2021 5: 0.4111; Date (DD/MM/YY):07/07/2021 6: 0.402; Initial: 7: 0.40392 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/07/2021 1: 0.35669; Date (DD/MM/YY):07/07/2021 2: 0.34223; Date (DD/MM/YY):07/07/2021 3: 0.3453; Date (DD/MM/YY):07/07/2021 4: 0.38605; Date (DD/MM/YY):07/07/2021 5: 0.37837; Date (DD/MM/YY):07/07/2021 6: 0.3794; Initial: 7: 0.37507 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/07/2021 1: 0; Date (DD/MM/YY):07/07/2021 2: 0; Date (DD/MM/YY):07/07/2021 3: 0; Date (DD/MM/YY):07/07/2021 4: 0; Date (DD/MM/YY):07/07/2021 5: 0; Date (DD/MM/YY):07/07/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/07/2021 1: 0; Date (DD/MM/YY):07/07/2021 2: 0; Date (DD/MM/YY):07/07/2021 3: 0; Date (DD/MM/YY):07/07/2021 4: 0; Date (DD/MM/YY):07/07/2021 5: 0; Date (DD/MM/YY):07/07/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/07/2021 1: 0; Date (DD/MM/YY):07/07/2021 2: 0; Date (DD/MM/YY):07/07/2021 3: 0; Date (DD/MM/YY):07/07/2021 4: 0; Date (DD/MM/YY):07/07/2021 5: 0; Date (DD/MM/YY):07/07/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/07/2021 1: 0; Date (DD/MM/YY):07/07/2021 2: 0; Date (DD/MM/YY):07/07/2021 3: 0; Date (DD/MM/YY):07/07/2021 4: 0; Date (DD/MM/YY):07/07/2021 5: 0; Date (DD/MM/YY):07/07/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass