## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1978.3349 | 1934.4978 | 1929.0391 | 1989.6116 | 2016.5583 | 1951.9844 | 1965.6138 | -- | -- | --
Post Opto-pack Burn-in |  | 1974.9792 | 1924.0514 | 1921.0328 | 1968.3789 | 2003.4021 | 1941.8242 | 1940.3616 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1616.444 | 1400.4003 | 1652.5992 | 1475.2629 | 1625.1584 | 1417.3375 | 1679.6994 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1552.0577 | 1358.0728 | 1609.9841 | 1412.4704 | 1540.7113 | 1359.7761 | 1640.8558 | -- | -- | --
Change (%) |  | -3.9832 | -3.0225 | -2.5787 | -4.2564 | -5.1962 | -4.0612 | -2.3125 | -- | -- | --
Opto-board at 0C |  | 1641.6685 | 1455.1005 | 1734.9299 | 1497.7682 | 1666.5111 | 1455.1377 | 1755.5917 | -- | -- | --
Change (%) |  | 1.5605 | 3.906 | 4.9819 | 1.5255 | 2.5445 | 2.667 | 4.5182 | -- | -- | --
Opto-board at 50C |  | 1450.1151 | 1255.5634 | 1522.814 | 1316.4174 | 1455.3257 | 1245.1366 | 1522.8273 | -- | -- | --
Change (%) |  | -10.2898 | -10.3425 | -7.8534 | -10.7673 | -10.4502 | -12.1496 | -9.3393 | -- | -- | --
Opto-board QA (10C) |  | 1619.51 | 1473.6307 | 1701.0837 | 1461.2811 | 1628.5351 | 1454.2503 | 1739.365 | -- | -- | --
Change (%) |  | 0.18968 | 5.2292 | 2.9338 | -0.94775 | 0.20778 | 2.6044 | 3.5522 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2150.4172 | 2084.6236 | 2111.2405 | 2140.2554 | 2104.5428 | 2106.3173 | 2061.9855 | -- | -- | --
Post Opto-pack Burn-in |  | 2000.761 | 1943.7234 | 2027.6188 | 2040.9738 | 2003.3302 | 2017.6762 | 1984.8551 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1428.9988 | 1490.0165 | 1470.8169 | 1466.1407 | 1600.9422 | 1508.1715 | 1518.3451 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1491.9629 | 1530.414 | 1560.7369 | 1550.2628 | 1587.5646 | 1581.8051 | 1573.8665 | -- | -- | --
Change (%) |  | 4.4062 | 2.7112 | 6.1136 | 5.7377 | -0.83561 | 4.8823 | 3.6567 | -- | -- | --
Opto-board at 0C |  | 1584.7145 | 1607.6975 | 1624.4217 | 1633.7145 | 1652.4122 | 1704.0583 | 1676.0749 | -- | -- | --
Change (%) |  | 10.8968 | 7.898 | 10.4435 | 11.4296 | 3.215 | 12.9884 | 10.3883 | -- | -- | --
Opto-board at 50C |  | 1405.6014 | 1449.0559 | 1439.9815 | 1432.6535 | 1471.6437 | 1483.5894 | 1472.1008 | -- | -- | --
Change (%) |  | -1.6373 | -2.749 | -2.0965 | -2.284 | -8.0764 | -1.6299 | -3.0457 | -- | -- | --
Opto-board QA (10C) |  | 1571.8441 | 1603.3817 | 1620.3479 | 1638.1139 | 1649.748 | 1667.2603 | 1675.2272 | -- | -- | --
Change (%) |  | 9.9962 | 7.6083 | 10.1665 | 11.7296 | 3.0486 | 10.5485 | 10.3324 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 354.126 |  |  |  | 2021-07-08 |  |  |  | Pass
QA | mA | 304 | 366 | 339.1846 |  |  |  | 2021-07-08 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.79894 |  | 2021-07-08 |  |  |  | Pass
QA | uA | 1 | 0.84227 |  | 2021-07-08 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.0659 | 0.1156 | 0.47614 | 0.44109 | 0.237 | 0.46356 | 0.033164 | 0.0716 | 0.035687 | 0.03727 | 0.44994 | 0.030605 | 0.05851 | 0.31474 |  |  | Pass
Fall | ns | 1 | 0.29904 | 0.30955 | 0.34598 | 0.37536 | 0.20043 | 0.52152 | 0.38527 | 0.38181 | 0.39842 | 0.59717 | 0.42367 | 0.33727 | 0.24241 | 0.34292 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/08/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/08/2021 1: 0.5471; Date (DD/MM/YY):07/08/2021 2: 0.55685; Date (DD/MM/YY):07/08/2021 3: 0.5782; Date (DD/MM/YY):07/08/2021 4: 0.59568; Date (DD/MM/YY):07/08/2021 5: 0.60734; Date (DD/MM/YY):07/08/2021 6: 0.59869; Initial: 7: 0.61806 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/08/2021 1: 0.50845; Date (DD/MM/YY):07/08/2021 2: 0.54263; Date (DD/MM/YY):07/08/2021 3: 0.5515; Date (DD/MM/YY):07/08/2021 4: 0.56497; Date (DD/MM/YY):07/08/2021 5: 0.58952; Date (DD/MM/YY):07/08/2021 6: 0.58158; Initial: 7: 0.60495 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/08/2021 1: 0.67414; Date (DD/MM/YY):07/08/2021 2: 0.69917; Date (DD/MM/YY):07/08/2021 3: 0.67367; Date (DD/MM/YY):07/08/2021 4: 0.64622; Date (DD/MM/YY):07/08/2021 5: 0.69466; Date (DD/MM/YY):07/08/2021 6: 0.67512; Initial: 7: 0.68283 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/08/2021 1: 0.63184; Date (DD/MM/YY):07/08/2021 2: 0.63141; Date (DD/MM/YY):07/08/2021 3: 0.66248; Date (DD/MM/YY):07/08/2021 4: 0.66738; Date (DD/MM/YY):07/08/2021 5: 0.62465; Date (DD/MM/YY):07/08/2021 6: 0.64085; Initial: 7: 0.66407 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/08/2021 1: 0.12043; Date (DD/MM/YY):07/08/2021 2: 0.38075; Date (DD/MM/YY):07/08/2021 3: 0.07382; Date (DD/MM/YY):07/08/2021 4: 0.19766; Date (DD/MM/YY):07/08/2021 5: 0.32979; Date (DD/MM/YY):07/08/2021 6: 0.24847; Initial: 7: 0.15801 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/08/2021 1: 0.13099; Date (DD/MM/YY):07/08/2021 2: 0.36491; Date (DD/MM/YY):07/08/2021 3: 0.07581; Date (DD/MM/YY):07/08/2021 4: 0.17008; Date (DD/MM/YY):07/08/2021 5: 0.31818; Date (DD/MM/YY):07/08/2021 6: 0.25638; Initial: 7: 0.14137 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/08/2021 1: 12.602; Date (DD/MM/YY):07/08/2021 2: 12.6; Date (DD/MM/YY):07/08/2021 3: 12.692; Date (DD/MM/YY):07/08/2021 4: 12.788; Date (DD/MM/YY):07/08/2021 5: 12.813; Date (DD/MM/YY):07/08/2021 6: 12.948; Initial: 7: 13.262
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/08/2021 1: 12.562; Date (DD/MM/YY):07/08/2021 2: 12.556; Date (DD/MM/YY):07/08/2021 3: 12.669; Date (DD/MM/YY):07/08/2021 4: 12.698; Date (DD/MM/YY):07/08/2021 5: 12.689; Date (DD/MM/YY):07/08/2021 6: 12.891; Initial: 7: 13.098
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/08/2021 1: 12.003; Date (DD/MM/YY):07/08/2021 2: 11.455; Date (DD/MM/YY):07/08/2021 3: 12.206; Date (DD/MM/YY):07/08/2021 4: 12.038; Date (DD/MM/YY):07/08/2021 5: 11.744; Date (DD/MM/YY):07/08/2021 6: 12.088; Initial: 7: 12.475
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/08/2021 1: 11.988; Date (DD/MM/YY):07/08/2021 2: 11.498; Date (DD/MM/YY):07/08/2021 3: 12.212; Date (DD/MM/YY):07/08/2021 4: 12.132; Date (DD/MM/YY):07/08/2021 5: 11.781; Date (DD/MM/YY):07/08/2021 6: 12.083; Initial: 7: 12.543
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/08/2021 1: 12.2609; Date (DD/MM/YY):07/08/2021 2: 11.9976; Date (DD/MM/YY):07/08/2021 3: 12.4247; Date (DD/MM/YY):07/08/2021 4: 12.4072; Date (DD/MM/YY):07/08/2021 5: 12.2334; Date (DD/MM/YY):07/08/2021 6: 12.4973; Initial: 7: 12.8529
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/08/2021 1: 12.2438; Date (DD/MM/YY):07/08/2021 2: 11.9813; Date (DD/MM/YY):07/08/2021 3: 12.4165; Date (DD/MM/YY):07/08/2021 4: 12.4215; Date (DD/MM/YY):07/08/2021 5: 12.2418; Date (DD/MM/YY):07/08/2021 6: 12.4881; Initial: 7: 12.8441
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):07/08/2021 1: 49.0929; Date (DD/MM/YY):07/08/2021 2: 48.0928; Date (DD/MM/YY):07/08/2021 3: 49.7636; Date (DD/MM/YY):07/08/2021 4: 49.6607; Date (DD/MM/YY):07/08/2021 5: 49.0003; Date (DD/MM/YY):07/08/2021 6: 49.9348; Initial: 7: 51.399 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):07/08/2021 1: 49.1803; Date (DD/MM/YY):07/08/2021 2: 48.0547; Date (DD/MM/YY):07/08/2021 3: 49.7665; Date (DD/MM/YY):07/08/2021 4: 49.702; Date (DD/MM/YY):07/08/2021 5: 49.0365; Date (DD/MM/YY):07/08/2021 6: 50.0094; Initial: 7: 51.5025 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):07/08/2021 1: 48.9751; Date (DD/MM/YY):07/08/2021 2: 47.9508; Date (DD/MM/YY):07/08/2021 3: 49.674; Date (DD/MM/YY):07/08/2021 4: 49.7002; Date (DD/MM/YY):07/08/2021 5: 48.9484; Date (DD/MM/YY):07/08/2021 6: 49.9807; Initial: 7: 51.3996 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/08/2021 1: 1.0444; Date (DD/MM/YY):07/08/2021 2: 1.0207; Date (DD/MM/YY):07/08/2021 3: 1.0338; Date (DD/MM/YY):07/08/2021 4: 1.0512; Date (DD/MM/YY):07/08/2021 5: 1.0324; Date (DD/MM/YY):07/08/2021 6: 1.0424; Initial: 7: 1.0399 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/08/2021 1: 1.0389; Date (DD/MM/YY):07/08/2021 2: 1.0153; Date (DD/MM/YY):07/08/2021 3: 1.0275; Date (DD/MM/YY):07/08/2021 4: 1.0453; Date (DD/MM/YY):07/08/2021 5: 1.0297; Date (DD/MM/YY):07/08/2021 6: 1.0381; Initial: 7: 1.0377 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/08/2021 1: 1.0627; Date (DD/MM/YY):07/08/2021 2: 1.0654; Date (DD/MM/YY):07/08/2021 3: 1.0568; Date (DD/MM/YY):07/08/2021 4: 1.0487; Date (DD/MM/YY):07/08/2021 5: 1.0687; Date (DD/MM/YY):07/08/2021 6: 1.0723; Initial: 7: 1.0711 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/08/2021 1: 1.051; Date (DD/MM/YY):07/08/2021 2: 1.0472; Date (DD/MM/YY):07/08/2021 3: 1.05; Date (DD/MM/YY):07/08/2021 4: 1.0539; Date (DD/MM/YY):07/08/2021 5: 1.0556; Date (DD/MM/YY):07/08/2021 6: 1.0687; Initial: 7: 1.0648 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/08/2021 1: 0.34169; Date (DD/MM/YY):07/08/2021 2: 0.34387; Date (DD/MM/YY):07/08/2021 3: 0.35211; Date (DD/MM/YY):07/08/2021 4: 0.35669; Date (DD/MM/YY):07/08/2021 5: 0.34407; Date (DD/MM/YY):07/08/2021 6: 0.34685; Initial: 7: 0.34776 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/08/2021 1: 0.3161; Date (DD/MM/YY):07/08/2021 2: 0.29886; Date (DD/MM/YY):07/08/2021 3: 0.30347; Date (DD/MM/YY):07/08/2021 4: 0.31619; Date (DD/MM/YY):07/08/2021 5: 0.31162; Date (DD/MM/YY):07/08/2021 6: 0.31982; Initial: 7: 0.31906 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/08/2021 1: 0.38791; Date (DD/MM/YY):07/08/2021 2: 0.39117; Date (DD/MM/YY):07/08/2021 3: 0.38679; Date (DD/MM/YY):07/08/2021 4: 0.369; Date (DD/MM/YY):07/08/2021 5: 0.38726; Date (DD/MM/YY):07/08/2021 6: 0.38468; Initial: 7: 0.38599 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/08/2021 1: 0.35695; Date (DD/MM/YY):07/08/2021 2: 0.35077; Date (DD/MM/YY):07/08/2021 3: 0.35774; Date (DD/MM/YY):07/08/2021 4: 0.36142; Date (DD/MM/YY):07/08/2021 5: 0.35457; Date (DD/MM/YY):07/08/2021 6: 0.36268; Initial: 7: 0.36012 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/08/2021 1: 0; Date (DD/MM/YY):07/08/2021 2: 0; Date (DD/MM/YY):07/08/2021 3: 0; Date (DD/MM/YY):07/08/2021 4: 0; Date (DD/MM/YY):07/08/2021 5: 0; Date (DD/MM/YY):07/08/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/08/2021 1: 0; Date (DD/MM/YY):07/08/2021 2: 0; Date (DD/MM/YY):07/08/2021 3: 0; Date (DD/MM/YY):07/08/2021 4: 0; Date (DD/MM/YY):07/08/2021 5: 0; Date (DD/MM/YY):07/08/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/08/2021 1: 0; Date (DD/MM/YY):07/08/2021 2: 0; Date (DD/MM/YY):07/08/2021 3: 0; Date (DD/MM/YY):07/08/2021 4: 0; Date (DD/MM/YY):07/08/2021 5: 0; Date (DD/MM/YY):07/08/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/08/2021 1: 0; Date (DD/MM/YY):07/08/2021 2: 0; Date (DD/MM/YY):07/08/2021 3: 0; Date (DD/MM/YY):07/08/2021 4: 0; Date (DD/MM/YY):07/08/2021 5: 0; Date (DD/MM/YY):07/08/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass