## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2317.1314 | 2202.3174 | 2249.6741 | 2328.7339 | 2251.8142 | 2246.4433 | 2289.3509 | -- | -- | --
Post Opto-pack Burn-in |  | 2162.8914 | 2104.8609 | 2124.3647 | 2225.7178 | 2141.9208 | 2179.4415 | 2163.3442 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1816.9536 | 1616.0689 | 1892.3521 | 1653.0914 | 1758.9792 | 1596.4184 | 1950.3946 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1747.2961 | 1575.2003 | 1813.841 | 1593.6151 | 1707.6317 | 1526.5381 | 1891.1393 | -- | -- | --
Change (%) |  | -3.8338 | -2.5289 | -4.1489 | -3.5979 | -2.9192 | -4.3773 | -3.0381 | -- | -- | --
Opto-board at 0C |  | 1905.897 | 1721.7435 | 1989.831 | 1788.6878 | 1815.2902 | 1720.7584 | 2077.1006 | -- | -- | --
Change (%) |  | 4.8952 | 6.539 | 5.1512 | 8.2026 | 3.2013 | 7.7887 | 6.4964 | -- | -- | --
Opto-board at 50C |  | 1681.0624 | 1506.3799 | 1747.5885 | 1541.5509 | 1597.477 | 1466.3319 | 1808.8569 | -- | -- | --
Change (%) |  | -7.4791 | -6.7874 | -7.6499 | -6.7474 | -9.1816 | -8.1486 | -7.2569 | -- | -- | --
Opto-board QA (10C) |  | 1894.7162 | 1700.0151 | 1968.0035 | 1747.8897 | 1811.6619 | 1688.2214 | 2057.4172 | -- | -- | --
Change (%) |  | 4.2798 | 5.1945 | 3.9977 | 5.7346 | 2.9951 | 5.7506 | 5.4872 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2169.9061 | 1984.2546 | 2110.6165 | 1993.3231 | 2012.8066 | 2032.0899 | 2100.4451 | -- | -- | --
Post Opto-pack Burn-in |  | 2004.719 | 1830.2688 | 1946.6614 | 1825.7604 | 1896.077 | 1922.5892 | 1946.3424 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1543.7599 | 1362.5688 | 1509.3198 | 1310.4611 | 1403.2816 | 1417.4581 | 1489.4683 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1396.0568 | 1267.9772 | 1411.7325 | 1167.8513 | 1242.4662 | 1248.5853 | 1313.3538 | -- | -- | --
Change (%) |  | -9.5678 | -6.9422 | -6.4656 | -10.8824 | -11.4599 | -11.9138 | -11.824 | -- | -- | --
Opto-board at 0C |  | 1533.4041 | 1365.7499 | 1527.3518 | 1289.364 | 1364.783 | 1392.6131 | 1396.9891 | -- | -- | --
Change (%) |  | -0.67082 | 0.23346 | 1.1947 | -1.6099 | -2.7435 | -1.7528 | -6.2089 | -- | -- | --
Opto-board at 50C |  | 1382.249 | 1198.0566 | 1363.8996 | 1130.5066 | 1194.8792 | 1216.8483 | 1249.3276 | -- | -- | --
Change (%) |  | -10.4622 | -12.0737 | -9.6348 | -13.7322 | -14.8511 | -14.1528 | -16.1226 | -- | -- | --
Opto-board QA (10C) |  | 1537.8475 | 1380.4489 | 1515.5922 | 1268.0281 | 1364.0178 | 1370.4347 | 1396.942 | -- | -- | --
Change (%) |  | -0.38299 | 1.3122 | 0.41558 | -3.238 | -2.798 | -3.3174 | -6.212 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 363.7695 |  |  |  | 2021-07-13 |  |  |  | Pass
QA | mA | 304 | 366 | 340.0391 |  |  |  | 2021-07-13 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.98835 |  | 2021-07-13 |  |  |  | Pass
QA | uA | 1 | 0.86518 |  | 2021-07-13 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.1071 | 0.27949 | 0.2585 | 0.1625 | 0.3172 | 0.33024 | 0.039496 | 0.035351 | 0.1396 | 0.033768 | 0.03421 | 0.04574 | 0.030591 | 0.034213 |  |  | Pass
Fall | ns | 1 | 0.42631 | 0.39314 | 0.30841 | 0.43591 | 0.49018 | 0.47338 | 0.29436 | 0.4317 | 0.34098 | 0.26011 | 0.38105 | 0.30441 | 0.31389 | 0.4477 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/13/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/13/2021 1: 0.50918; Date (DD/MM/YY):07/13/2021 2: 0.51192; Date (DD/MM/YY):07/13/2021 3: 0.53248; Date (DD/MM/YY):07/13/2021 4: 0.53773; Date (DD/MM/YY):07/13/2021 5: 0.55979; Date (DD/MM/YY):07/13/2021 6: 0.55365; Initial: 7: 0.57092 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/13/2021 1: 0.49167; Date (DD/MM/YY):07/13/2021 2: 0.51313; Date (DD/MM/YY):07/13/2021 3: 0.52522; Date (DD/MM/YY):07/13/2021 4: 0.5362; Date (DD/MM/YY):07/13/2021 5: 0.5541; Date (DD/MM/YY):07/13/2021 6: 0.54125; Initial: 7: 0.5807 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/13/2021 1: 0.63292; Date (DD/MM/YY):07/13/2021 2: 0.63998; Date (DD/MM/YY):07/13/2021 3: 0.6547; Date (DD/MM/YY):07/13/2021 4: 0.60308; Date (DD/MM/YY):07/13/2021 5: 0.62345; Date (DD/MM/YY):07/13/2021 6: 0.60952; Initial: 7: 0.61885 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/13/2021 1: 0.65904; Date (DD/MM/YY):07/13/2021 2: 0.62389; Date (DD/MM/YY):07/13/2021 3: 0.62598; Date (DD/MM/YY):07/13/2021 4: 0.61954; Date (DD/MM/YY):07/13/2021 5: 0.58457; Date (DD/MM/YY):07/13/2021 6: 0.60504; Initial: 7: 0.6345 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/13/2021 1: 0.18754; Date (DD/MM/YY):07/13/2021 2: 0.07664; Date (DD/MM/YY):07/13/2021 3: 0.12139; Date (DD/MM/YY):07/13/2021 4: 0.17376; Date (DD/MM/YY):07/13/2021 5: 0.11101; Date (DD/MM/YY):07/13/2021 6: 0.09945; Initial: 7: 0.08388 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/13/2021 1: 0.17318; Date (DD/MM/YY):07/13/2021 2: 0.07334; Date (DD/MM/YY):07/13/2021 3: 0.09532; Date (DD/MM/YY):07/13/2021 4: 0.18101; Date (DD/MM/YY):07/13/2021 5: 0.10184; Date (DD/MM/YY):07/13/2021 6: 0.09092; Initial: 7: 0.05745 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/13/2021 1: 12.463; Date (DD/MM/YY):07/13/2021 2: 12.605; Date (DD/MM/YY):07/13/2021 3: 12.538; Date (DD/MM/YY):07/13/2021 4: 12.205; Date (DD/MM/YY):07/13/2021 5: 12.539; Date (DD/MM/YY):07/13/2021 6: 12.404; Initial: 7: 13.282
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/13/2021 1: 12.419; Date (DD/MM/YY):07/13/2021 2: 12.568; Date (DD/MM/YY):07/13/2021 3: 12.441; Date (DD/MM/YY):07/13/2021 4: 12.183; Date (DD/MM/YY):07/13/2021 5: 12.461; Date (DD/MM/YY):07/13/2021 6: 12.293; Initial: 7: 13.228
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/13/2021 1: 11.741; Date (DD/MM/YY):07/13/2021 2: 12.084; Date (DD/MM/YY):07/13/2021 3: 11.867; Date (DD/MM/YY):07/13/2021 4: 11.544; Date (DD/MM/YY):07/13/2021 5: 11.955; Date (DD/MM/YY):07/13/2021 6: 11.807; Initial: 7: 12.821
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/13/2021 1: 11.758; Date (DD/MM/YY):07/13/2021 2: 12.116; Date (DD/MM/YY):07/13/2021 3: 11.947; Date (DD/MM/YY):07/13/2021 4: 11.589; Date (DD/MM/YY):07/13/2021 5: 11.985; Date (DD/MM/YY):07/13/2021 6: 11.855; Initial: 7: 12.869
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/13/2021 1: 12.0928; Date (DD/MM/YY):07/13/2021 2: 12.3239; Date (DD/MM/YY):07/13/2021 3: 12.1894; Date (DD/MM/YY):07/13/2021 4: 11.8801; Date (DD/MM/YY):07/13/2021 5: 12.2275; Date (DD/MM/YY):07/13/2021 6: 12.0872; Initial: 7: 13.0576
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/13/2021 1: 12.0981; Date (DD/MM/YY):07/13/2021 2: 12.3181; Date (DD/MM/YY):07/13/2021 3: 12.1951; Date (DD/MM/YY):07/13/2021 4: 11.885; Date (DD/MM/YY):07/13/2021 5: 12.232; Date (DD/MM/YY):07/13/2021 6: 12.0839; Initial: 7: 13.0587
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):07/13/2021 1: 48.461; Date (DD/MM/YY):07/13/2021 2: 49.1613; Date (DD/MM/YY):07/13/2021 3: 48.7712; Date (DD/MM/YY):07/13/2021 4: 47.5428; Date (DD/MM/YY):07/13/2021 5: 49.0177; Date (DD/MM/YY):07/13/2021 6: 48.3556; Initial: 7: 52.2164 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):07/13/2021 1: 48.487; Date (DD/MM/YY):07/13/2021 2: 49.333; Date (DD/MM/YY):07/13/2021 3: 48.8626; Date (DD/MM/YY):07/13/2021 4: 47.5498; Date (DD/MM/YY):07/13/2021 5: 48.9794; Date (DD/MM/YY):07/13/2021 6: 48.4372; Initial: 7: 52.245 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):07/13/2021 1: 48.4023; Date (DD/MM/YY):07/13/2021 2: 49.2863; Date (DD/MM/YY):07/13/2021 3: 48.7978; Date (DD/MM/YY):07/13/2021 4: 47.5252; Date (DD/MM/YY):07/13/2021 5: 48.9346; Date (DD/MM/YY):07/13/2021 6: 48.3352; Initial: 7: 52.2588 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/13/2021 1: 1.0288; Date (DD/MM/YY):07/13/2021 2: 1.0103; Date (DD/MM/YY):07/13/2021 3: 1.0225; Date (DD/MM/YY):07/13/2021 4: 1.0581; Date (DD/MM/YY):07/13/2021 5: 1.0535; Date (DD/MM/YY):07/13/2021 6: 1.0619; Initial: 7: 1.0545 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/13/2021 1: 1.0261; Date (DD/MM/YY):07/13/2021 2: 1.0072; Date (DD/MM/YY):07/13/2021 3: 1.0153; Date (DD/MM/YY):07/13/2021 4: 1.05; Date (DD/MM/YY):07/13/2021 5: 1.0476; Date (DD/MM/YY):07/13/2021 6: 1.0557; Initial: 7: 1.0495 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/13/2021 1: 1.0533; Date (DD/MM/YY):07/13/2021 2: 1.0545; Date (DD/MM/YY):07/13/2021 3: 1.0407; Date (DD/MM/YY):07/13/2021 4: 1.0746; Date (DD/MM/YY):07/13/2021 5: 1.099; Date (DD/MM/YY):07/13/2021 6: 1.091; Initial: 7: 1.0934 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/13/2021 1: 1.0413; Date (DD/MM/YY):07/13/2021 2: 1.0349; Date (DD/MM/YY):07/13/2021 3: 1.0321; Date (DD/MM/YY):07/13/2021 4: 1.0763; Date (DD/MM/YY):07/13/2021 5: 1.0809; Date (DD/MM/YY):07/13/2021 6: 1.0842; Initial: 7: 1.0835 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/13/2021 1: 0.34124; Date (DD/MM/YY):07/13/2021 2: 0.32856; Date (DD/MM/YY):07/13/2021 3: 0.34482; Date (DD/MM/YY):07/13/2021 4: 0.34757; Date (DD/MM/YY):07/13/2021 5: 0.33942; Date (DD/MM/YY):07/13/2021 6: 0.34512; Initial: 7: 0.34183 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/13/2021 1: 0.31897; Date (DD/MM/YY):07/13/2021 2: 0.3084; Date (DD/MM/YY):07/13/2021 3: 0.3093; Date (DD/MM/YY):07/13/2021 4: 0.32071; Date (DD/MM/YY):07/13/2021 5: 0.32426; Date (DD/MM/YY):07/13/2021 6: 0.3301; Initial: 7: 0.32973 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/13/2021 1: 0.37939; Date (DD/MM/YY):07/13/2021 2: 0.38248; Date (DD/MM/YY):07/13/2021 3: 0.37646; Date (DD/MM/YY):07/13/2021 4: 0.37139; Date (DD/MM/YY):07/13/2021 5: 0.39215; Date (DD/MM/YY):07/13/2021 6: 0.38387; Initial: 7: 0.39064 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/13/2021 1: 0.36188; Date (DD/MM/YY):07/13/2021 2: 0.3529; Date (DD/MM/YY):07/13/2021 3: 0.35793; Date (DD/MM/YY):07/13/2021 4: 0.37359; Date (DD/MM/YY):07/13/2021 5: 0.36963; Date (DD/MM/YY):07/13/2021 6: 0.37217; Initial: 7: 0.37221 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/13/2021 1: 0; Date (DD/MM/YY):07/13/2021 2: 0; Date (DD/MM/YY):07/13/2021 3: 0; Date (DD/MM/YY):07/13/2021 4: 0; Date (DD/MM/YY):07/13/2021 5: 0; Date (DD/MM/YY):07/13/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/13/2021 1: 0; Date (DD/MM/YY):07/13/2021 2: 0; Date (DD/MM/YY):07/13/2021 3: 0; Date (DD/MM/YY):07/13/2021 4: 0; Date (DD/MM/YY):07/13/2021 5: 0; Date (DD/MM/YY):07/13/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/13/2021 1: 0; Date (DD/MM/YY):07/13/2021 2: 0; Date (DD/MM/YY):07/13/2021 3: 0; Date (DD/MM/YY):07/13/2021 4: 0; Date (DD/MM/YY):07/13/2021 5: 0; Date (DD/MM/YY):07/13/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/13/2021 1: 0; Date (DD/MM/YY):07/13/2021 2: 0; Date (DD/MM/YY):07/13/2021 3: 0; Date (DD/MM/YY):07/13/2021 4: 0; Date (DD/MM/YY):07/13/2021 5: 0; Date (DD/MM/YY):07/13/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass