## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1995.0834 | 1782.435 | 1893.3179 | 1924.2267 | 1923.582 | 1949.2673 | 1918.6988 | -- | -- | --
Post Opto-pack Burn-in |  | 1916.9607 | 1710.6002 | 1820.5939 | 1810.4698 | 1832.7578 | 1908.3287 | 1843.5699 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1633.2829 | 1355.0476 | 1636.891 | 1378.224 | 1563.7485 | 1448.5829 | 1672.5297 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1555.9555 | 1243.5122 | 1545.1914 | 1322.261 | 1471.2224 | 1365.0305 | 1611.8077 | -- | -- | --
Change (%) |  | -4.7345 | -8.2311 | -5.6021 | -4.0605 | -5.9169 | -5.7679 | -3.6306 | -- | -- | --
Opto-board at 0C |  | 1648.5453 | 1400.0046 | 1651.1294 | 1433.3714 | 1538.0312 | 1488.5621 | 1759.0073 | -- | -- | --
Change (%) |  | 0.93446 | 3.3177 | 0.86984 | 4.0013 | -1.6446 | 2.7599 | 5.1705 | -- | -- | --
Opto-board at 50C |  | 1360.1078 | 1175.2277 | 1371.7711 | 1254.2791 | 1375.0584 | 1288.2088 | 1543.3723 | -- | -- | --
Change (%) |  | -16.7255 | -13.2704 | -16.1966 | -8.9931 | -12.0665 | -11.0711 | -7.7223 | -- | -- | --
Opto-board QA (10C) |  | 1657.5595 | 1390.0389 | 1659.4085 | 1408.4193 | 1497.0461 | 1485.3726 | 1754.566 | -- | -- | --
Change (%) |  | 1.4864 | 2.5823 | 1.3756 | 2.1909 | -4.2655 | 2.5397 | 4.9049 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2102.4786 | 1986.8267 | 1977.8278 | 1973.3064 | 2118.9673 | 2159.5505 | 2139.2769 | -- | -- | --
Post Opto-pack Burn-in |  | 2040.3712 | 1937.049 | 1921.7492 | 1958.3081 | 2027.3261 | 2081.635 | 2086.9211 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1445.3933 | 1379.9395 | 1427.4643 | 1390.5328 | 1516.8878 | 1540.6503 | 1594.2573 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1347.7297 | 1295.4182 | 1362.8096 | 1269.4334 | 1399.5782 | 1443.7773 | 1473.8338 | -- | -- | --
Change (%) |  | -6.7569 | -6.125 | -4.5293 | -8.7089 | -7.7336 | -6.2878 | -7.5536 | -- | -- | --
Opto-board at 0C |  | 1475.298 | 1428.8437 | 1491.9713 | 1375.4608 | 1496.2072 | 1564.5187 | 1584.5375 | -- | -- | --
Change (%) |  | 2.069 | 3.5439 | 4.519 | -1.0839 | -1.3634 | 1.5492 | -0.60967 | -- | -- | --
Opto-board at 50C |  | 1305.4863 | 1231.2343 | 1322.5978 | 1198.1055 | 1328.3724 | 1397.2046 | 1393.721 | -- | -- | --
Change (%) |  | -9.6795 | -10.7762 | -7.3464 | -13.8384 | -12.4278 | -9.3107 | -12.5787 | -- | -- | --
Opto-board QA (10C) |  | 1456.2989 | 1419.7652 | 1501.4677 | 1357.8722 | 1487.4777 | 1564.0117 | 1591.3753 | -- | -- | --
Change (%) |  | 0.75451 | 2.886 | 5.1843 | -2.3488 | -1.9388 | 1.5163 | -0.18078 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 353.8818 |  |  |  | 2021-07-14 |  |  |  | Pass
QA | mA | 304 | 366 | 341.4185 |  |  |  | 2021-07-14 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.98224 |  | 2021-07-14 |  |  |  | Pass
QA | uA | 1 | 0.99416 |  | 2021-07-14 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.035606 | 0.036461 | 0.07842 | 0.03528 | 0.1235 | 0.20515 | 0.033399 | 0.38725 | 0.034597 | 0.04563 | 0.0989 | 0.038697 | 0.032733 | 0.04191 |  |  | Pass
Fall | ns | 1 | 0.35898 | 0.35117 | 0.41281 | 0.35131 | 0.36352 | 0.34995 | 0.28694 | 0.38688 | 0.30042 | 0.24553 | 0.40925 | 0.33118 | 0.40993 | 0.43646 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/14/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/14/2021 1: 0.49143; Date (DD/MM/YY):07/14/2021 2: 0.50459; Date (DD/MM/YY):07/14/2021 3: 0.52921; Date (DD/MM/YY):07/14/2021 4: 0.53534; Date (DD/MM/YY):07/14/2021 5: 0.54178; Date (DD/MM/YY):07/14/2021 6: 0.55327; Initial: 7: 0.56676 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/14/2021 1: 0.48481; Date (DD/MM/YY):07/14/2021 2: 0.49682; Date (DD/MM/YY):07/14/2021 3: 0.51499; Date (DD/MM/YY):07/14/2021 4: 0.52169; Date (DD/MM/YY):07/14/2021 5: 0.52813; Date (DD/MM/YY):07/14/2021 6: 0.55245; Initial: 7: 0.57094 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/14/2021 1: 0.60367; Date (DD/MM/YY):07/14/2021 2: 0.63238; Date (DD/MM/YY):07/14/2021 3: 0.64665; Date (DD/MM/YY):07/14/2021 4: 0.57186; Date (DD/MM/YY):07/14/2021 5: 0.61374; Date (DD/MM/YY):07/14/2021 6: 0.59822; Initial: 7: 0.62049 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/14/2021 1: 0.61965; Date (DD/MM/YY):07/14/2021 2: 0.60574; Date (DD/MM/YY):07/14/2021 3: 0.62746; Date (DD/MM/YY):07/14/2021 4: 0.61213; Date (DD/MM/YY):07/14/2021 5: 0.57282; Date (DD/MM/YY):07/14/2021 6: 0.60125; Initial: 7: 0.63107 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/14/2021 1: 0.084; Date (DD/MM/YY):07/14/2021 2: 0.25107; Date (DD/MM/YY):07/14/2021 3: 0.09795; Date (DD/MM/YY):07/14/2021 4: 0.12175; Date (DD/MM/YY):07/14/2021 5: 0.14055; Date (DD/MM/YY):07/14/2021 6: 0.0953; Initial: 7: 0.06027 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/14/2021 1: 0.0726; Date (DD/MM/YY):07/14/2021 2: 0.24256; Date (DD/MM/YY):07/14/2021 3: 0.06609; Date (DD/MM/YY):07/14/2021 4: 0.10538; Date (DD/MM/YY):07/14/2021 5: 0.12617; Date (DD/MM/YY):07/14/2021 6: 0.0846; Initial: 7: 0.04753 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/14/2021 1: 12.43; Date (DD/MM/YY):07/14/2021 2: 12.915; Date (DD/MM/YY):07/14/2021 3: 13.693; Date (DD/MM/YY):07/14/2021 4: 12.791; Date (DD/MM/YY):07/14/2021 5: 13.037; Date (DD/MM/YY):07/14/2021 6: 12.179; Initial: 7: 12.357
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/14/2021 1: 12.405; Date (DD/MM/YY):07/14/2021 2: 12.799; Date (DD/MM/YY):07/14/2021 3: 13.62; Date (DD/MM/YY):07/14/2021 4: 12.745; Date (DD/MM/YY):07/14/2021 5: 12.975; Date (DD/MM/YY):07/14/2021 6: 12.152; Initial: 7: 12.265
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/14/2021 1: 11.957; Date (DD/MM/YY):07/14/2021 2: 11.965; Date (DD/MM/YY):07/14/2021 3: 13.144; Date (DD/MM/YY):07/14/2021 4: 12.239; Date (DD/MM/YY):07/14/2021 5: 12.426; Date (DD/MM/YY):07/14/2021 6: 11.721; Initial: 7: 11.927
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/14/2021 1: 11.904; Date (DD/MM/YY):07/14/2021 2: 11.962; Date (DD/MM/YY):07/14/2021 3: 13.19; Date (DD/MM/YY):07/14/2021 4: 12.269; Date (DD/MM/YY):07/14/2021 5: 12.463; Date (DD/MM/YY):07/14/2021 6: 11.712; Initial: 7: 11.947
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/14/2021 1: 12.2183; Date (DD/MM/YY):07/14/2021 2: 12.4243; Date (DD/MM/YY):07/14/2021 3: 13.4044; Date (DD/MM/YY):07/14/2021 4: 12.4824; Date (DD/MM/YY):07/14/2021 5: 12.7088; Date (DD/MM/YY):07/14/2021 6: 11.9333; Initial: 7: 12.1197
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/14/2021 1: 12.2156; Date (DD/MM/YY):07/14/2021 2: 12.417; Date (DD/MM/YY):07/14/2021 3: 13.416; Date (DD/MM/YY):07/14/2021 4: 12.491; Date (DD/MM/YY):07/14/2021 5: 12.6969; Date (DD/MM/YY):07/14/2021 6: 11.9368; Initial: 7: 12.1241
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):07/14/2021 1: 48.8528; Date (DD/MM/YY):07/14/2021 2: 49.6604; Date (DD/MM/YY):07/14/2021 3: 53.5533; Date (DD/MM/YY):07/14/2021 4: 49.9386; Date (DD/MM/YY):07/14/2021 5: 50.6843; Date (DD/MM/YY):07/14/2021 6: 47.8253; Initial: 7: 48.6752 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):07/14/2021 1: 48.9527; Date (DD/MM/YY):07/14/2021 2: 49.7346; Date (DD/MM/YY):07/14/2021 3: 53.7007; Date (DD/MM/YY):07/14/2021 4: 49.9561; Date (DD/MM/YY):07/14/2021 5: 50.8837; Date (DD/MM/YY):07/14/2021 6: 47.7535; Initial: 7: 48.5086 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):07/14/2021 1: 48.8709; Date (DD/MM/YY):07/14/2021 2: 49.6736; Date (DD/MM/YY):07/14/2021 3: 53.6682; Date (DD/MM/YY):07/14/2021 4: 49.9643; Date (DD/MM/YY):07/14/2021 5: 50.7841; Date (DD/MM/YY):07/14/2021 6: 47.7702; Initial: 7: 48.5017 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/14/2021 1: 1.0333; Date (DD/MM/YY):07/14/2021 2: 1.0365; Date (DD/MM/YY):07/14/2021 3: 1.0252; Date (DD/MM/YY):07/14/2021 4: 1.0319; Date (DD/MM/YY):07/14/2021 5: 1.0118; Date (DD/MM/YY):07/14/2021 6: 1.0047; Initial: 7: 1.0139 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/14/2021 1: 1.0285; Date (DD/MM/YY):07/14/2021 2: 1.0316; Date (DD/MM/YY):07/14/2021 3: 1.0235; Date (DD/MM/YY):07/14/2021 4: 1.0291; Date (DD/MM/YY):07/14/2021 5: 1.0084; Date (DD/MM/YY):07/14/2021 6: 1.0014; Initial: 7: 1.0109 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/14/2021 1: 1.0664; Date (DD/MM/YY):07/14/2021 2: 1.0761; Date (DD/MM/YY):07/14/2021 3: 1.0607; Date (DD/MM/YY):07/14/2021 4: 1.0441; Date (DD/MM/YY):07/14/2021 5: 1.0444; Date (DD/MM/YY):07/14/2021 6: 1.0481; Initial: 7: 1.0492 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/14/2021 1: 1.0567; Date (DD/MM/YY):07/14/2021 2: 1.0534; Date (DD/MM/YY):07/14/2021 3: 1.0517; Date (DD/MM/YY):07/14/2021 4: 1.045; Date (DD/MM/YY):07/14/2021 5: 1.0322; Date (DD/MM/YY):07/14/2021 6: 1.0439; Initial: 7: 1.0414 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/14/2021 1: 0.34214; Date (DD/MM/YY):07/14/2021 2: 0.33847; Date (DD/MM/YY):07/14/2021 3: 0.33147; Date (DD/MM/YY):07/14/2021 4: 0.34139; Date (DD/MM/YY):07/14/2021 5: 0.33104; Date (DD/MM/YY):07/14/2021 6: 0.32861; Initial: 7: 0.33586 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/14/2021 1: 0.31352; Date (DD/MM/YY):07/14/2021 2: 0.31738; Date (DD/MM/YY):07/14/2021 3: 0.31505; Date (DD/MM/YY):07/14/2021 4: 0.32174; Date (DD/MM/YY):07/14/2021 5: 0.3137; Date (DD/MM/YY):07/14/2021 6: 0.3054; Initial: 7: 0.31454 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/14/2021 1: 0.38413; Date (DD/MM/YY):07/14/2021 2: 0.39032; Date (DD/MM/YY):07/14/2021 3: 0.3837; Date (DD/MM/YY):07/14/2021 4: 0.37659; Date (DD/MM/YY):07/14/2021 5: 0.37557; Date (DD/MM/YY):07/14/2021 6: 0.37225; Initial: 7: 0.37733 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/14/2021 1: 0.37102; Date (DD/MM/YY):07/14/2021 2: 0.36222; Date (DD/MM/YY):07/14/2021 3: 0.36442; Date (DD/MM/YY):07/14/2021 4: 0.3673; Date (DD/MM/YY):07/14/2021 5: 0.35457; Date (DD/MM/YY):07/14/2021 6: 0.35972; Initial: 7: 0.35876 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/14/2021 1: 0; Date (DD/MM/YY):07/14/2021 2: 0; Date (DD/MM/YY):07/14/2021 3: 0; Date (DD/MM/YY):07/14/2021 4: 0; Date (DD/MM/YY):07/14/2021 5: 0; Date (DD/MM/YY):07/14/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/14/2021 1: 0; Date (DD/MM/YY):07/14/2021 2: 0; Date (DD/MM/YY):07/14/2021 3: 0; Date (DD/MM/YY):07/14/2021 4: 0; Date (DD/MM/YY):07/14/2021 5: 0; Date (DD/MM/YY):07/14/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/14/2021 1: 0; Date (DD/MM/YY):07/14/2021 2: 0; Date (DD/MM/YY):07/14/2021 3: 0; Date (DD/MM/YY):07/14/2021 4: 0; Date (DD/MM/YY):07/14/2021 5: 0; Date (DD/MM/YY):07/14/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/14/2021 1: 0; Date (DD/MM/YY):07/14/2021 2: 0; Date (DD/MM/YY):07/14/2021 3: 0; Date (DD/MM/YY):07/14/2021 4: 0; Date (DD/MM/YY):07/14/2021 5: 0; Date (DD/MM/YY):07/14/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass