## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2068.5266 | 1995.4386 | 2004.6414 | 1978.1154 | 2024.3782 | 2141.2392 | 2019.9713 | -- | -- | --
Post Opto-pack Burn-in |  | 1873.5249 | 1804.1348 | 1835.3379 | 1843.2731 | 1882.4881 | 2008.6014 | 1915.9879 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1564.3701 | 1351.7257 | 1624.1325 | 1361.0425 | 1525.5499 | 1448.3193 | 1748.5656 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1641.301 | 1399.7656 | 1699.074 | 1387.7961 | 1562.51 | 1490.6358 | 1773.8596 | -- | -- | --
Change (%) |  | 4.9177 | 3.554 | 4.6142 | 1.9657 | 2.4227 | 2.9218 | 1.4466 | -- | -- | --
Opto-board at 0C |  | 1664.9683 | 1422.4255 | 1736.1398 | 1393.2813 | 1619.3531 | 1503.3764 | 1807.585 | -- | -- | --
Change (%) |  | 6.4306 | 5.2303 | 6.8964 | 2.3687 | 6.1488 | 3.8015 | 3.3753 | -- | -- | --
Opto-board at 50C |  | 1468.8884 | 1257.1131 | 1533.8727 | 1221.646 | 1417.4657 | 1320.2713 | 1576.1335 | -- | -- | --
Change (%) |  | -6.1035 | -6.9994 | -5.5574 | -10.2419 | -7.0849 | -8.8411 | -9.8613 | -- | -- | --
Opto-board QA (10C) |  | 1646.1369 | 1415.6333 | 1748.4684 | 1401.285 | 1608.478 | 1489.3178 | 1811.0621 | -- | -- | --
Change (%) |  | 5.2268 | 4.7279 | 7.6555 | 2.9567 | 5.4359 | 2.8308 | 3.5742 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1969.5324 | 1862.1545 | 1867.6872 | 1909.9464 | 1920.3345 | 1974.001 | 1944.2724 | -- | -- | --
Post Opto-pack Burn-in |  | 1797.0299 | 1668.9128 | 1694.1443 | 1721.3875 | 1759.3313 | 1817.7349 | 1767.6503 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1327.4777 | 1290.2446 | 1293.6283 | 1291.8622 | 1407.4101 | 1382.9417 | 1454.0834 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1428.5933 | 1361.3268 | 1330.8656 | 1357.7804 | 1481.8376 | 1488.9696 | 1527.7446 | -- | -- | --
Change (%) |  | 7.6171 | 5.5092 | 2.8785 | 5.1026 | 5.2883 | 7.6668 | 5.0658 | -- | -- | --
Opto-board at 0C |  | 1445.1049 | 1379.0192 | 1380.5552 | 1389.5409 | 1485.6071 | 1506.4438 | 1544.1515 | -- | -- | --
Change (%) |  | 8.861 | 6.8804 | 6.7196 | 7.5611 | 5.5561 | 8.9304 | 6.1941 | -- | -- | --
Opto-board at 50C |  | 1268.2451 | 1207.0189 | 1202.2766 | 1179.6444 | 1303.7522 | 1319.0076 | 1347.5143 | -- | -- | --
Change (%) |  | -4.462 | -6.4504 | -7.0617 | -8.6865 | -7.3652 | -4.6231 | -7.329 | -- | -- | --
Opto-board QA (10C) |  | 1437.8585 | 1377.9022 | 1369.4884 | 1379.1255 | 1483.7932 | 1510.256 | 1544.2457 | -- | -- | --
Change (%) |  | 8.3151 | 6.7939 | 5.8641 | 6.7548 | 5.4272 | 9.206 | 6.2006 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 353.0273 |  |  |  | 2021-07-19 |  |  |  | Pass
QA | mA | 304 | 366 | 342.1143 |  |  |  | 2021-07-19 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.91862 |  | 2021-07-19 |  |  |  | Pass
QA | uA | 1 | 0.86044 |  | 2021-07-19 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.031209 | 0.036453 | 0.35395 | 0.03803 | 0.03668 | 0.03526 | 0.031317 | 0.037792 | 0.0937 | 0.0976 | 0.03521 | 0.030813 | 0.035024 | 0.032099 |  |  | Pass
Fall | ns | 1 | 0.30023 | 0.43611 | 0.35258 | 0.32662 | 0.50667 | 0.48101 | 0.28929 | 0.39724 | 0.2808 | 0.26623 | 0.38795 | 0.33944 | 0.32155 | 0.4148 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/19/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/19/2021 1: 0.54383; Date (DD/MM/YY):07/19/2021 2: 0.56354; Date (DD/MM/YY):07/19/2021 3: 0.57412; Date (DD/MM/YY):07/19/2021 4: 0.60014; Date (DD/MM/YY):07/19/2021 5: 0.62209; Date (DD/MM/YY):07/19/2021 6: 0.61244; Initial: 7: 0.62051 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/19/2021 1: 0.52278; Date (DD/MM/YY):07/19/2021 2: 0.54233; Date (DD/MM/YY):07/19/2021 3: 0.56553; Date (DD/MM/YY):07/19/2021 4: 0.57838; Date (DD/MM/YY):07/19/2021 5: 0.59937; Date (DD/MM/YY):07/19/2021 6: 0.60598; Initial: 7: 0.61489 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/19/2021 1: 0.68215; Date (DD/MM/YY):07/19/2021 2: 0.70051; Date (DD/MM/YY):07/19/2021 3: 0.66197; Date (DD/MM/YY):07/19/2021 4: 0.62136; Date (DD/MM/YY):07/19/2021 5: 0.69771; Date (DD/MM/YY):07/19/2021 6: 0.66181; Initial: 7: 0.67035 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/19/2021 1: 0.67142; Date (DD/MM/YY):07/19/2021 2: 0.61665; Date (DD/MM/YY):07/19/2021 3: 0.68275; Date (DD/MM/YY):07/19/2021 4: 0.64926; Date (DD/MM/YY):07/19/2021 5: 0.63183; Date (DD/MM/YY):07/19/2021 6: 0.66437; Initial: 7: 0.68574 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/19/2021 1: 0.07738; Date (DD/MM/YY):07/19/2021 2: 0.11089; Date (DD/MM/YY):07/19/2021 3: 0.1115; Date (DD/MM/YY):07/19/2021 4: 0.08111; Date (DD/MM/YY):07/19/2021 5: 0.16744; Date (DD/MM/YY):07/19/2021 6: 0.11737; Initial: 7: 0.07027 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/19/2021 1: 0.06795; Date (DD/MM/YY):07/19/2021 2: 0.11488; Date (DD/MM/YY):07/19/2021 3: 0.10886; Date (DD/MM/YY):07/19/2021 4: 0.05907; Date (DD/MM/YY):07/19/2021 5: 0.15873; Date (DD/MM/YY):07/19/2021 6: 0.09472; Initial: 7: 0.06077 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/19/2021 1: 13.106; Date (DD/MM/YY):07/19/2021 2: 13.045; Date (DD/MM/YY):07/19/2021 3: 12.043; Date (DD/MM/YY):07/19/2021 4: 12.657; Date (DD/MM/YY):07/19/2021 5: 12.517; Date (DD/MM/YY):07/19/2021 6: 12.905; Initial: 7: 12.783
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/19/2021 1: 13.086; Date (DD/MM/YY):07/19/2021 2: 13.023; Date (DD/MM/YY):07/19/2021 3: 12.088; Date (DD/MM/YY):07/19/2021 4: 12.618; Date (DD/MM/YY):07/19/2021 5: 12.469; Date (DD/MM/YY):07/19/2021 6: 12.869; Initial: 7: 12.747
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/19/2021 1: 12.649; Date (DD/MM/YY):07/19/2021 2: 12.432; Date (DD/MM/YY):07/19/2021 3: 11.48; Date (DD/MM/YY):07/19/2021 4: 12.177; Date (DD/MM/YY):07/19/2021 5: 11.856; Date (DD/MM/YY):07/19/2021 6: 12.358; Initial: 7: 12.368
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/19/2021 1: 12.639; Date (DD/MM/YY):07/19/2021 2: 12.437; Date (DD/MM/YY):07/19/2021 3: 11.551; Date (DD/MM/YY):07/19/2021 4: 12.242; Date (DD/MM/YY):07/19/2021 5: 11.879; Date (DD/MM/YY):07/19/2021 6: 12.395; Initial: 7: 12.386
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/19/2021 1: 12.8558; Date (DD/MM/YY):07/19/2021 2: 12.6995; Date (DD/MM/YY):07/19/2021 3: 11.7702; Date (DD/MM/YY):07/19/2021 4: 12.4279; Date (DD/MM/YY):07/19/2021 5: 12.1736; Date (DD/MM/YY):07/19/2021 6: 12.6303; Initial: 7: 12.5682
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/19/2021 1: 12.8334; Date (DD/MM/YY):07/19/2021 2: 12.6917; Date (DD/MM/YY):07/19/2021 3: 11.786; Date (DD/MM/YY):07/19/2021 4: 12.4175; Date (DD/MM/YY):07/19/2021 5: 12.1779; Date (DD/MM/YY):07/19/2021 6: 12.6208; Initial: 7: 12.5672
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):07/19/2021 1: 51.3335; Date (DD/MM/YY):07/19/2021 2: 50.7261; Date (DD/MM/YY):07/19/2021 3: 47.0607; Date (DD/MM/YY):07/19/2021 4: 49.6218; Date (DD/MM/YY):07/19/2021 5: 48.7187; Date (DD/MM/YY):07/19/2021 6: 50.4149; Initial: 7: 50.2554 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):07/19/2021 1: 51.505; Date (DD/MM/YY):07/19/2021 2: 50.9355; Date (DD/MM/YY):07/19/2021 3: 47.1245; Date (DD/MM/YY):07/19/2021 4: 49.8449; Date (DD/MM/YY):07/19/2021 5: 48.6842; Date (DD/MM/YY):07/19/2021 6: 50.6099; Initial: 7: 50.3082 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):07/19/2021 1: 51.3483; Date (DD/MM/YY):07/19/2021 2: 50.7691; Date (DD/MM/YY):07/19/2021 3: 47.1519; Date (DD/MM/YY):07/19/2021 4: 49.6686; Date (DD/MM/YY):07/19/2021 5: 48.7261; Date (DD/MM/YY):07/19/2021 6: 50.486; Initial: 7: 50.2791 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/19/2021 1: 1.0202; Date (DD/MM/YY):07/19/2021 2: 1.0107; Date (DD/MM/YY):07/19/2021 3: 1.0184; Date (DD/MM/YY):07/19/2021 4: 1.0331; Date (DD/MM/YY):07/19/2021 5: 1.0422; Date (DD/MM/YY):07/19/2021 6: 1.0215; Initial: 7: 1.0274 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/19/2021 1: 1.0151; Date (DD/MM/YY):07/19/2021 2: 1.0058; Date (DD/MM/YY):07/19/2021 3: 1.0115; Date (DD/MM/YY):07/19/2021 4: 1.0311; Date (DD/MM/YY):07/19/2021 5: 1.0393; Date (DD/MM/YY):07/19/2021 6: 1.0211; Initial: 7: 1.0265 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/19/2021 1: 1.0539; Date (DD/MM/YY):07/19/2021 2: 1.0433; Date (DD/MM/YY):07/19/2021 3: 1.0507; Date (DD/MM/YY):07/19/2021 4: 1.0669; Date (DD/MM/YY):07/19/2021 5: 1.0628; Date (DD/MM/YY):07/19/2021 6: 1.055; Initial: 7: 1.0611 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/19/2021 1: 1.042; Date (DD/MM/YY):07/19/2021 2: 1.0254; Date (DD/MM/YY):07/19/2021 3: 1.044; Date (DD/MM/YY):07/19/2021 4: 1.0698; Date (DD/MM/YY):07/19/2021 5: 1.0504; Date (DD/MM/YY):07/19/2021 6: 1.0521; Initial: 7: 1.0535 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/19/2021 1: 0.34612; Date (DD/MM/YY):07/19/2021 2: 0.33959; Date (DD/MM/YY):07/19/2021 3: 0.3477; Date (DD/MM/YY):07/19/2021 4: 0.35691; Date (DD/MM/YY):07/19/2021 5: 0.35856; Date (DD/MM/YY):07/19/2021 6: 0.34606; Initial: 7: 0.35376 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/19/2021 1: 0.29695; Date (DD/MM/YY):07/19/2021 2: 0.29275; Date (DD/MM/YY):07/19/2021 3: 0.2934; Date (DD/MM/YY):07/19/2021 4: 0.31334; Date (DD/MM/YY):07/19/2021 5: 0.31883; Date (DD/MM/YY):07/19/2021 6: 0.31485; Initial: 7: 0.32054 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/19/2021 1: 0.3846; Date (DD/MM/YY):07/19/2021 2: 0.381; Date (DD/MM/YY):07/19/2021 3: 0.38747; Date (DD/MM/YY):07/19/2021 4: 0.38945; Date (DD/MM/YY):07/19/2021 5: 0.39601; Date (DD/MM/YY):07/19/2021 6: 0.38797; Initial: 7: 0.39499 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/19/2021 1: 0.34853; Date (DD/MM/YY):07/19/2021 2: 0.33577; Date (DD/MM/YY):07/19/2021 3: 0.35095; Date (DD/MM/YY):07/19/2021 4: 0.37282; Date (DD/MM/YY):07/19/2021 5: 0.35649; Date (DD/MM/YY):07/19/2021 6: 0.35934; Initial: 7: 0.36051 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/19/2021 1: 0; Date (DD/MM/YY):07/19/2021 2: 0; Date (DD/MM/YY):07/19/2021 3: 0; Date (DD/MM/YY):07/19/2021 4: 0; Date (DD/MM/YY):07/19/2021 5: 0; Date (DD/MM/YY):07/19/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/19/2021 1: 0; Date (DD/MM/YY):07/19/2021 2: 0; Date (DD/MM/YY):07/19/2021 3: 0; Date (DD/MM/YY):07/19/2021 4: 0; Date (DD/MM/YY):07/19/2021 5: 0; Date (DD/MM/YY):07/19/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/19/2021 1: 0; Date (DD/MM/YY):07/19/2021 2: 0; Date (DD/MM/YY):07/19/2021 3: 0; Date (DD/MM/YY):07/19/2021 4: 0; Date (DD/MM/YY):07/19/2021 5: 0; Date (DD/MM/YY):07/19/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/19/2021 1: 0; Date (DD/MM/YY):07/19/2021 2: 0; Date (DD/MM/YY):07/19/2021 3: 0; Date (DD/MM/YY):07/19/2021 4: 0; Date (DD/MM/YY):07/19/2021 5: 0; Date (DD/MM/YY):07/19/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass