## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2212.4812 | 2143.3074 | 2083.5277 | 2052.4242 | 2062.5965 | 2154.3539 | 2057.8154 | -- | -- | --
Post Opto-pack Burn-in |  | 2086.0803 | 2014.2594 | 1961.4138 | 1933.3637 | 1942.0029 | 2084.1362 | 1981.8057 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1348.4434 | 1280.7539 | 1373.3909 | 1159.1045 | 1276.9593 | 1233.4064 | 1409.3838 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1333.9258 | 1225.2046 | 1305.7886 | 1115.2859 | 1223.4155 | 1142.1131 | 1333.9018 | -- | -- | --
Change (%) |  | -1.0766 | -4.3372 | -4.9223 | -3.7804 | -4.1931 | -7.4017 | -5.3557 | -- | -- | --
Opto-board at 0C |  | 1489.3446 | 1315.0033 | 1468.3102 | 1242.6725 | 1345.3935 | 1277.1376 | 1474.2292 | -- | -- | --
Change (%) |  | 10.4492 | 2.6742 | 6.9113 | 7.2097 | 5.3592 | 3.5456 | 4.601 | -- | -- | --
Opto-board at 50C |  | 1342.6983 | 1190.2381 | 1279.4416 | 1083.2981 | 1187.9841 | 1123.4063 | 1298.72 | -- | -- | --
Change (%) |  | -0.42606 | -7.0674 | -6.8407 | -6.5401 | -6.9677 | -8.9184 | -7.8519 | -- | -- | --
Opto-board QA (10C) |  | 1463.7429 | 1326.766 | 1448.0625 | 1228.0992 | 1339.2109 | 1266.4267 | 1479.4398 | -- | -- | --
Change (%) |  | 8.5506 | 3.5926 | 5.437 | 5.9524 | 4.875 | 2.6772 | 4.9707 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1983.2243 | 2050.6133 | 1924.0159 | 1933.4053 | 2005.5881 | 2008.2734 | 2032.6766 | -- | -- | --
Post Opto-pack Burn-in |  | 1856.3086 | 1905.4093 | 1793.0724 | 1789.7247 | 1828.4301 | 1841.9484 | 1857.9854 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1290.2725 | 1427.5302 | 1357.2947 | 1301.0561 | 1451.7945 | 1421.89 | 1483.3934 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1346.7202 | 1459.3586 | 1410.0143 | 1357.1283 | 1502.7921 | 1455.4768 | 1540.0356 | -- | -- | --
Change (%) |  | 4.3749 | 2.2296 | 3.8842 | 4.3097 | 3.5127 | 2.3621 | 3.8184 | -- | -- | --
Opto-board at 0C |  | 1475.956 | 1612.3083 | 1543.0559 | 1474.2324 | 1643.3521 | 1593.6642 | 1693.4518 | -- | -- | --
Change (%) |  | 14.391 | 12.9439 | 13.6861 | 13.3104 | 13.1945 | 12.0807 | 14.1607 | -- | -- | --
Opto-board at 50C |  | 1291.1738 | 1418.8806 | 1349.6458 | 1293.6992 | 1415.176 | 1386.8197 | 1483.7137 | -- | -- | --
Change (%) |  | 0.069853 | -0.60591 | -0.56353 | -0.56546 | -2.5223 | -2.4665 | 0.021587 | -- | -- | --
Opto-board QA (10C) |  | 1476.659 | 1606.4108 | 1549.9934 | 1469.8421 | 1623.1344 | 1589.1102 | 1675.9807 | -- | -- | --
Change (%) |  | 14.4455 | 12.5308 | 14.1973 | 12.973 | 11.8019 | 11.7604 | 12.9829 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 360.3516 |  |  |  | 2021-07-20 |  |  |  | Pass
QA | mA | 304 | 366 | 340.0635 |  |  |  | 2021-07-20 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.86646 |  | 2021-07-20 |  |  |  | Pass
QA | uA | 1 | 0.71608 |  | 2021-07-20 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.031562 | 0.033149 | 0.48121 | 0.41364 | 0.031908 | 0.42397 | 0.05285 | 0.11226 | 0.1336 | 0.06639 | 0.03709 | 0.065 | 0.031982 | 0.038371 |  |  | Pass
Fall | ns | 1 | 0.28445 | 0.45707 | 0.42142 | 0.38199 | 0.17722 | 0.40363 | 0.27999 | 0.38408 | 0.34827 | 0.2638 | 0.44991 | 0.32578 | 0.34167 | 0.45511 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/20/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/20/2021 1: 0.52117; Date (DD/MM/YY):07/20/2021 2: 0.54326; Date (DD/MM/YY):07/20/2021 3: 0.5624; Date (DD/MM/YY):07/20/2021 4: 0.59127; Date (DD/MM/YY):07/20/2021 5: 0.58876; Date (DD/MM/YY):07/20/2021 6: 0.60542; Initial: 7: 0.60542 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/20/2021 1: 0.49907; Date (DD/MM/YY):07/20/2021 2: 0.52222; Date (DD/MM/YY):07/20/2021 3: 0.53712; Date (DD/MM/YY):07/20/2021 4: 0.57396; Date (DD/MM/YY):07/20/2021 5: 0.59528; Date (DD/MM/YY):07/20/2021 6: 0.60083; Initial: 7: 0.61402 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/20/2021 1: 0.66932; Date (DD/MM/YY):07/20/2021 2: 0.67662; Date (DD/MM/YY):07/20/2021 3: 0.67574; Date (DD/MM/YY):07/20/2021 4: 0.62199; Date (DD/MM/YY):07/20/2021 5: 0.67759; Date (DD/MM/YY):07/20/2021 6: 0.65119; Initial: 7: 0.6676 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/20/2021 1: 0.67642; Date (DD/MM/YY):07/20/2021 2: 0.63026; Date (DD/MM/YY):07/20/2021 3: 0.65944; Date (DD/MM/YY):07/20/2021 4: 0.67202; Date (DD/MM/YY):07/20/2021 5: 0.62606; Date (DD/MM/YY):07/20/2021 6: 0.65804; Initial: 7: 0.67942 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/20/2021 1: 0.07383; Date (DD/MM/YY):07/20/2021 2: 0.1012; Date (DD/MM/YY):07/20/2021 3: 0.0828; Date (DD/MM/YY):07/20/2021 4: 0.2653; Date (DD/MM/YY):07/20/2021 5: 0.08206; Date (DD/MM/YY):07/20/2021 6: 0.17267; Initial: 7: 0.1287 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/20/2021 1: 0.06089; Date (DD/MM/YY):07/20/2021 2: 0.09561; Date (DD/MM/YY):07/20/2021 3: 0.06114; Date (DD/MM/YY):07/20/2021 4: 0.23799; Date (DD/MM/YY):07/20/2021 5: 0.08143; Date (DD/MM/YY):07/20/2021 6: 0.14176; Initial: 7: 0.12475 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/20/2021 1: 13.212; Date (DD/MM/YY):07/20/2021 2: 12.875; Date (DD/MM/YY):07/20/2021 3: 13.431; Date (DD/MM/YY):07/20/2021 4: 12.651; Date (DD/MM/YY):07/20/2021 5: 12.554; Date (DD/MM/YY):07/20/2021 6: 13.08; Initial: 7: 12.588
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/20/2021 1: 13.08; Date (DD/MM/YY):07/20/2021 2: 12.784; Date (DD/MM/YY):07/20/2021 3: 13.382; Date (DD/MM/YY):07/20/2021 4: 12.577; Date (DD/MM/YY):07/20/2021 5: 12.537; Date (DD/MM/YY):07/20/2021 6: 13.021; Initial: 7: 12.519
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/20/2021 1: 12.684; Date (DD/MM/YY):07/20/2021 2: 12.222; Date (DD/MM/YY):07/20/2021 3: 12.95; Date (DD/MM/YY):07/20/2021 4: 11.753; Date (DD/MM/YY):07/20/2021 5: 12.06; Date (DD/MM/YY):07/20/2021 6: 12.335; Initial: 7: 11.983
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/20/2021 1: 12.686; Date (DD/MM/YY):07/20/2021 2: 12.251; Date (DD/MM/YY):07/20/2021 3: 12.98; Date (DD/MM/YY):07/20/2021 4: 11.832; Date (DD/MM/YY):07/20/2021 5: 12.081; Date (DD/MM/YY):07/20/2021 6: 12.472; Initial: 7: 11.95
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/20/2021 1: 12.8899; Date (DD/MM/YY):07/20/2021 2: 12.5007; Date (DD/MM/YY):07/20/2021 3: 13.1766; Date (DD/MM/YY):07/20/2021 4: 12.1977; Date (DD/MM/YY):07/20/2021 5: 12.3016; Date (DD/MM/YY):07/20/2021 6: 12.7398; Initial: 7: 12.2467
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/20/2021 1: 12.8931; Date (DD/MM/YY):07/20/2021 2: 12.5022; Date (DD/MM/YY):07/20/2021 3: 13.1787; Date (DD/MM/YY):07/20/2021 4: 12.1929; Date (DD/MM/YY):07/20/2021 5: 12.2939; Date (DD/MM/YY):07/20/2021 6: 12.7404; Initial: 7: 12.2414
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):07/20/2021 1: 51.4788; Date (DD/MM/YY):07/20/2021 2: 50.0108; Date (DD/MM/YY):07/20/2021 3: 52.6705; Date (DD/MM/YY):07/20/2021 4: 48.7858; Date (DD/MM/YY):07/20/2021 5: 49.1756; Date (DD/MM/YY):07/20/2021 6: 50.9535; Initial: 7: 49.0148 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):07/20/2021 1: 51.6209; Date (DD/MM/YY):07/20/2021 2: 50.0825; Date (DD/MM/YY):07/20/2021 3: 52.7623; Date (DD/MM/YY):07/20/2021 4: 48.8281; Date (DD/MM/YY):07/20/2021 5: 49.255; Date (DD/MM/YY):07/20/2021 6: 51.0229; Initial: 7: 49.0278 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):07/20/2021 1: 51.6029; Date (DD/MM/YY):07/20/2021 2: 50.021; Date (DD/MM/YY):07/20/2021 3: 52.7096; Date (DD/MM/YY):07/20/2021 4: 48.7786; Date (DD/MM/YY):07/20/2021 5: 49.1897; Date (DD/MM/YY):07/20/2021 6: 50.9584; Initial: 7: 48.9958 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/20/2021 1: 1.0326; Date (DD/MM/YY):07/20/2021 2: 1.0231; Date (DD/MM/YY):07/20/2021 3: 1.0289; Date (DD/MM/YY):07/20/2021 4: 1.0127; Date (DD/MM/YY):07/20/2021 5: 1.0142; Date (DD/MM/YY):07/20/2021 6: 1.014; Initial: 7: 1.0102 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/20/2021 1: 1.0278; Date (DD/MM/YY):07/20/2021 2: 1.0195; Date (DD/MM/YY):07/20/2021 3: 1.0256; Date (DD/MM/YY):07/20/2021 4: 1.0104; Date (DD/MM/YY):07/20/2021 5: 1.0112; Date (DD/MM/YY):07/20/2021 6: 1.0153; Initial: 7: 1.0074 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/20/2021 1: 1.0669; Date (DD/MM/YY):07/20/2021 2: 1.0814; Date (DD/MM/YY):07/20/2021 3: 1.0559; Date (DD/MM/YY):07/20/2021 4: 1.0346; Date (DD/MM/YY):07/20/2021 5: 1.0433; Date (DD/MM/YY):07/20/2021 6: 1.0478; Initial: 7: 1.0523 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/20/2021 1: 1.0558; Date (DD/MM/YY):07/20/2021 2: 1.0596; Date (DD/MM/YY):07/20/2021 3: 1.0479; Date (DD/MM/YY):07/20/2021 4: 1.0367; Date (DD/MM/YY):07/20/2021 5: 1.0326; Date (DD/MM/YY):07/20/2021 6: 1.044; Initial: 7: 1.0454 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/20/2021 1: 0.35477; Date (DD/MM/YY):07/20/2021 2: 0.34724; Date (DD/MM/YY):07/20/2021 3: 0.35031; Date (DD/MM/YY):07/20/2021 4: 0.33697; Date (DD/MM/YY):07/20/2021 5: 0.33447; Date (DD/MM/YY):07/20/2021 6: 0.32989; Initial: 7: 0.33342 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/20/2021 1: 0.32561; Date (DD/MM/YY):07/20/2021 2: 0.319; Date (DD/MM/YY):07/20/2021 3: 0.32965; Date (DD/MM/YY):07/20/2021 4: 0.30676; Date (DD/MM/YY):07/20/2021 5: 0.3124; Date (DD/MM/YY):07/20/2021 6: 0.31685; Initial: 7: 0.31416 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/20/2021 1: 0.39844; Date (DD/MM/YY):07/20/2021 2: 0.40893; Date (DD/MM/YY):07/20/2021 3: 0.39485; Date (DD/MM/YY):07/20/2021 4: 0.3662; Date (DD/MM/YY):07/20/2021 5: 0.37279; Date (DD/MM/YY):07/20/2021 6: 0.371; Initial: 7: 0.37908 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/20/2021 1: 0.38373; Date (DD/MM/YY):07/20/2021 2: 0.3781; Date (DD/MM/YY):07/20/2021 3: 0.37635; Date (DD/MM/YY):07/20/2021 4: 0.36235; Date (DD/MM/YY):07/20/2021 5: 0.35328; Date (DD/MM/YY):07/20/2021 6: 0.35997; Initial: 7: 0.36098 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/20/2021 1: 0; Date (DD/MM/YY):07/20/2021 2: 0; Date (DD/MM/YY):07/20/2021 3: 0; Date (DD/MM/YY):07/20/2021 4: 0; Date (DD/MM/YY):07/20/2021 5: 0; Date (DD/MM/YY):07/20/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/20/2021 1: 0; Date (DD/MM/YY):07/20/2021 2: 0; Date (DD/MM/YY):07/20/2021 3: 0; Date (DD/MM/YY):07/20/2021 4: 0; Date (DD/MM/YY):07/20/2021 5: 0; Date (DD/MM/YY):07/20/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/20/2021 1: 0; Date (DD/MM/YY):07/20/2021 2: 0; Date (DD/MM/YY):07/20/2021 3: 0; Date (DD/MM/YY):07/20/2021 4: 0; Date (DD/MM/YY):07/20/2021 5: 0; Date (DD/MM/YY):07/20/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/20/2021 1: 0; Date (DD/MM/YY):07/20/2021 2: 0; Date (DD/MM/YY):07/20/2021 3: 0; Date (DD/MM/YY):07/20/2021 4: 0; Date (DD/MM/YY):07/20/2021 5: 0; Date (DD/MM/YY):07/20/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass