## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2169.8228 | 2059.343 | 2163.3885 | 2166.1915 | 2175.03 | 2304.9556 | 2152.7774 | -- | -- | --
Post Opto-pack Burn-in |  | 2126.9915 | 1987.5853 | 2091.6056 | 2067.0904 | 2067.6902 | 2191.859 | 2044.6898 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1544.8908 | 1395.9491 | 1724.7011 | 1442.2175 | 1598.8412 | 1547.8018 | 1721.1792 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1579.9226 | 1317.9131 | 1644.4202 | 1396.3734 | 1529.0427 | 1490.4601 | 1674.7555 | -- | -- | --
Change (%) |  | 2.2676 | -5.5902 | -4.6548 | -3.1787 | -4.3656 | -3.7047 | -2.6972 | -- | -- | --
Opto-board at 0C |  | 1724.5669 | 1454.0042 | 1794.0632 | 1548.3446 | 1686.6554 | 1628.2612 | 1849.7827 | -- | -- | --
Change (%) |  | 11.6303 | 4.1588 | 4.0217 | 7.3586 | 5.4924 | 5.1983 | 7.4718 | -- | -- | --
Opto-board at 50C |  | 1530.2764 | 1274.3326 | 1590.2663 | 1358.7481 | 1475.4409 | 1443.4866 | 1653.1438 | -- | -- | --
Change (%) |  | -0.94598 | -8.7121 | -7.7947 | -5.7876 | -7.7181 | -6.7396 | -3.9528 | -- | -- | --
Opto-board QA (10C) |  | 1711.6839 | 1451.1769 | 1792.9433 | 1542.6533 | 1685.4653 | 1631.1608 | 1833.32 | -- | -- | --
Change (%) |  | 10.7964 | 3.9563 | 3.9568 | 6.964 | 5.4179 | 5.3856 | 6.5154 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1887.8576 | 1763.3893 | 1788.648 | 1872.8567 | 1887.0522 | 1955.2559 | 1901.5424 | -- | -- | --
Post Opto-pack Burn-in |  | 1811.1682 | 1730.4486 | 1675.4858 | 1783.3615 | 1819.1773 | 1879.3608 | 1854.7346 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1305.5494 | 1326.1297 | 1296.4828 | 1349.5785 | 1429.4417 | 1449.796 | 1436.1225 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1322.2142 | 1257.058 | 1265.481 | 1298.9895 | 1421.2791 | 1365.0169 | 1366.1439 | -- | -- | --
Change (%) |  | 1.2765 | -5.2085 | -2.3912 | -3.7485 | -0.57104 | -5.8477 | -4.8727 | -- | -- | --
Opto-board at 0C |  | 1392.8031 | 1383.7907 | 1418.3837 | 1406.3028 | 1840.1436 | 1808.2553 | 1829.0484 | -- | -- | --
Change (%) |  | 6.6833 | 4.3481 | 9.4024 | 4.2031 | 28.7316 | 24.7248 | 27.3602 | -- | -- | --
Opto-board at 50C |  | 1284.3421 | 1220.4401 | 1229.9066 | 1263.6654 | 1377.4899 | 1348.97 | 1318.3833 | -- | -- | --
Change (%) |  | -1.6244 | -7.9698 | -5.1351 | -6.3659 | -3.6344 | -6.9545 | -8.1984 | -- | -- | --
Opto-board QA (10C) |  | 1405.331 | 1393.8343 | 1423.8154 | 1393.1504 | 1823.2325 | 1787.4008 | 1805.8886 | -- | -- | --
Change (%) |  | 7.6429 | 5.1054 | 9.8214 | 3.2286 | 27.5486 | 23.2864 | 25.7475 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 361.9385 |  |  |  | 2021-07-22 |  |  |  | Pass
QA | mA | 304 | 366 | 343.4937 |  |  |  | 2021-07-22 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.57493 |  | 2021-07-22 |  |  |  | Pass
QA | uA | 1 | 0.53978 |  | 2021-07-22 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.07933 | 0.03851 | 0.08722 | 0.03703 | 0.36629 | 0.30479 | 0.04513 | 0.36585 | 0.0351 | 0.034787 | 0.38099 | 0.04715 | 0.03853 | 0.2157 |  |  | Pass
Fall | ns | 1 | 0.29712 | 0.40162 | 0.39974 | 0.35704 | 0.40007 | 0.35905 | 0.24428 | 0.38403 | 0.29201 | 0.25491 | 0.47431 | 0.35017 | 0.42855 | 0.39763 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/22/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/22/2021 1: 0.50126; Date (DD/MM/YY):07/22/2021 2: 0.52288; Date (DD/MM/YY):07/22/2021 3: 0.5295; Date (DD/MM/YY):07/22/2021 4: 0.55182; Date (DD/MM/YY):07/22/2021 5: 0.5562; Date (DD/MM/YY):07/22/2021 6: 0.56995; Initial: 7: 0.57646 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/22/2021 1: 0.49105; Date (DD/MM/YY):07/22/2021 2: 0.51969; Date (DD/MM/YY):07/22/2021 3: 0.52989; Date (DD/MM/YY):07/22/2021 4: 0.53776; Date (DD/MM/YY):07/22/2021 5: 0.54644; Date (DD/MM/YY):07/22/2021 6: 0.56728; Initial: 7: 0.57581 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/22/2021 1: 0.64339; Date (DD/MM/YY):07/22/2021 2: 0.65184; Date (DD/MM/YY):07/22/2021 3: 0.63909; Date (DD/MM/YY):07/22/2021 4: 0.59054; Date (DD/MM/YY):07/22/2021 5: 0.62725; Date (DD/MM/YY):07/22/2021 6: 0.61921; Initial: 7: 0.6296 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/22/2021 1: 0.63746; Date (DD/MM/YY):07/22/2021 2: 0.60077; Date (DD/MM/YY):07/22/2021 3: 0.63818; Date (DD/MM/YY):07/22/2021 4: 0.61421; Date (DD/MM/YY):07/22/2021 5: 0.58527; Date (DD/MM/YY):07/22/2021 6: 0.61923; Initial: 7: 0.63189 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/22/2021 1: 0.05751; Date (DD/MM/YY):07/22/2021 2: 0.07936; Date (DD/MM/YY):07/22/2021 3: 0.06571; Date (DD/MM/YY):07/22/2021 4: 0.13233; Date (DD/MM/YY):07/22/2021 5: 0.1358; Date (DD/MM/YY):07/22/2021 6: 0.13312; Initial: 7: 0.10987 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/22/2021 1: 0.07776; Date (DD/MM/YY):07/22/2021 2: 0.06355; Date (DD/MM/YY):07/22/2021 3: 0.06745; Date (DD/MM/YY):07/22/2021 4: 0.11542; Date (DD/MM/YY):07/22/2021 5: 0.11701; Date (DD/MM/YY):07/22/2021 6: 0.11566; Initial: 7: 0.11274 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/22/2021 1: 12.213; Date (DD/MM/YY):07/22/2021 2: 13.112; Date (DD/MM/YY):07/22/2021 3: 11.843; Date (DD/MM/YY):07/22/2021 4: 12.466; Date (DD/MM/YY):07/22/2021 5: 12.561; Date (DD/MM/YY):07/22/2021 6: 12.308; Initial: 7: 12.558
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/22/2021 1: 12.309; Date (DD/MM/YY):07/22/2021 2: 13.05; Date (DD/MM/YY):07/22/2021 3: 11.836; Date (DD/MM/YY):07/22/2021 4: 12.355; Date (DD/MM/YY):07/22/2021 5: 12.438; Date (DD/MM/YY):07/22/2021 6: 12.253; Initial: 7: 12.503
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/22/2021 1: 11.866; Date (DD/MM/YY):07/22/2021 2: 12.628; Date (DD/MM/YY):07/22/2021 3: 11.424; Date (DD/MM/YY):07/22/2021 4: 11.86; Date (DD/MM/YY):07/22/2021 5: 11.945; Date (DD/MM/YY):07/22/2021 6: 11.738; Initial: 7: 12.015
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/22/2021 1: 11.866; Date (DD/MM/YY):07/22/2021 2: 12.677; Date (DD/MM/YY):07/22/2021 3: 11.422; Date (DD/MM/YY):07/22/2021 4: 11.891; Date (DD/MM/YY):07/22/2021 5: 11.965; Date (DD/MM/YY):07/22/2021 6: 11.788; Initial: 7: 11.963
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/22/2021 1: 12.0271; Date (DD/MM/YY):07/22/2021 2: 12.8356; Date (DD/MM/YY):07/22/2021 3: 11.5914; Date (DD/MM/YY):07/22/2021 4: 12.137; Date (DD/MM/YY):07/22/2021 5: 12.2086; Date (DD/MM/YY):07/22/2021 6: 12.0182; Initial: 7: 12.2709
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/22/2021 1: 12.0448; Date (DD/MM/YY):07/22/2021 2: 12.8351; Date (DD/MM/YY):07/22/2021 3: 11.601; Date (DD/MM/YY):07/22/2021 4: 12.1238; Date (DD/MM/YY):07/22/2021 5: 12.2184; Date (DD/MM/YY):07/22/2021 6: 12.027; Initial: 7: 12.2712
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):07/22/2021 1: 48.2175; Date (DD/MM/YY):07/22/2021 2: 51.3538; Date (DD/MM/YY):07/22/2021 3: 46.5775; Date (DD/MM/YY):07/22/2021 4: 48.6102; Date (DD/MM/YY):07/22/2021 5: 48.7519; Date (DD/MM/YY):07/22/2021 6: 48.1872; Initial: 7: 49.1897 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):07/22/2021 1: 48.141; Date (DD/MM/YY):07/22/2021 2: 51.4909; Date (DD/MM/YY):07/22/2021 3: 46.421; Date (DD/MM/YY):07/22/2021 4: 48.6581; Date (DD/MM/YY):07/22/2021 5: 48.8902; Date (DD/MM/YY):07/22/2021 6: 48.0718; Initial: 7: 49.1205 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):07/22/2021 1: 48.2015; Date (DD/MM/YY):07/22/2021 2: 51.3428; Date (DD/MM/YY):07/22/2021 3: 46.3857; Date (DD/MM/YY):07/22/2021 4: 48.5028; Date (DD/MM/YY):07/22/2021 5: 48.8732; Date (DD/MM/YY):07/22/2021 6: 48.138; Initial: 7: 49.1239 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/22/2021 1: 1.0478; Date (DD/MM/YY):07/22/2021 2: 1.0356; Date (DD/MM/YY):07/22/2021 3: 1.0553; Date (DD/MM/YY):07/22/2021 4: 1.0775; Date (DD/MM/YY):07/22/2021 5: 1.0703; Date (DD/MM/YY):07/22/2021 6: 1.0607; Initial: 7: 1.0531 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/22/2021 1: 1.0404; Date (DD/MM/YY):07/22/2021 2: 1.0314; Date (DD/MM/YY):07/22/2021 3: 1.0448; Date (DD/MM/YY):07/22/2021 4: 1.0687; Date (DD/MM/YY):07/22/2021 5: 1.0616; Date (DD/MM/YY):07/22/2021 6: 1.0554; Initial: 7: 1.047 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/22/2021 1: 1.0757; Date (DD/MM/YY):07/22/2021 2: 1.0718; Date (DD/MM/YY):07/22/2021 3: 1.0766; Date (DD/MM/YY):07/22/2021 4: 1.0799; Date (DD/MM/YY):07/22/2021 5: 1.1058; Date (DD/MM/YY):07/22/2021 6: 1.0854; Initial: 7: 1.1081 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/22/2021 1: 1.0629; Date (DD/MM/YY):07/22/2021 2: 1.0499; Date (DD/MM/YY):07/22/2021 3: 1.0665; Date (DD/MM/YY):07/22/2021 4: 1.0763; Date (DD/MM/YY):07/22/2021 5: 1.088; Date (DD/MM/YY):07/22/2021 6: 1.0792; Initial: 7: 1.0976 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/22/2021 1: 0.33681; Date (DD/MM/YY):07/22/2021 2: 0.33527; Date (DD/MM/YY):07/22/2021 3: 0.35494; Date (DD/MM/YY):07/22/2021 4: 0.37111; Date (DD/MM/YY):07/22/2021 5: 0.36461; Date (DD/MM/YY):07/22/2021 6: 0.35931; Initial: 7: 0.35847 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/22/2021 1: 0.32305; Date (DD/MM/YY):07/22/2021 2: 0.31745; Date (DD/MM/YY):07/22/2021 3: 0.31754; Date (DD/MM/YY):07/22/2021 4: 0.34522; Date (DD/MM/YY):07/22/2021 5: 0.3456; Date (DD/MM/YY):07/22/2021 6: 0.34009; Initial: 7: 0.33947 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/22/2021 1: 0.38573; Date (DD/MM/YY):07/22/2021 2: 0.383; Date (DD/MM/YY):07/22/2021 3: 0.38755; Date (DD/MM/YY):07/22/2021 4: 0.40731; Date (DD/MM/YY):07/22/2021 5: 0.40966; Date (DD/MM/YY):07/22/2021 6: 0.39389; Initial: 7: 0.40932 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/22/2021 1: 0.36805; Date (DD/MM/YY):07/22/2021 2: 0.3554; Date (DD/MM/YY):07/22/2021 3: 0.36904; Date (DD/MM/YY):07/22/2021 4: 0.38865; Date (DD/MM/YY):07/22/2021 5: 0.38727; Date (DD/MM/YY):07/22/2021 6: 0.38172; Initial: 7: 0.39173 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/22/2021 1: 0; Date (DD/MM/YY):07/22/2021 2: 0; Date (DD/MM/YY):07/22/2021 3: 0; Date (DD/MM/YY):07/22/2021 4: 0; Date (DD/MM/YY):07/22/2021 5: 0; Date (DD/MM/YY):07/22/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/22/2021 1: 0; Date (DD/MM/YY):07/22/2021 2: 0; Date (DD/MM/YY):07/22/2021 3: 0; Date (DD/MM/YY):07/22/2021 4: 0; Date (DD/MM/YY):07/22/2021 5: 0; Date (DD/MM/YY):07/22/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/22/2021 1: 0; Date (DD/MM/YY):07/22/2021 2: 0; Date (DD/MM/YY):07/22/2021 3: 0; Date (DD/MM/YY):07/22/2021 4: 0; Date (DD/MM/YY):07/22/2021 5: 0; Date (DD/MM/YY):07/22/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/22/2021 1: 0; Date (DD/MM/YY):07/22/2021 2: 0; Date (DD/MM/YY):07/22/2021 3: 0; Date (DD/MM/YY):07/22/2021 4: 0; Date (DD/MM/YY):07/22/2021 5: 0; Date (DD/MM/YY):07/22/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass