## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2036.2637 | 2159.0496 | 2127.7596 | 2104.7735 | 2042.1034 | 2070.6137 | 2088.2754 | -- | -- | --
Post Opto-pack Burn-in |  | 1951.6988 | 2063.6552 | 2060.4161 | 2011.5626 | 1977.9164 | 1986.8351 | 1992.5268 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1231.8188 | 1369.2832 | 1534.4726 | 1281.7766 | 1338.7949 | 1209.085 | 1449.6942 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1350.726 | 1377.4354 | 1571.3485 | 1348.7995 | 1392.6289 | 1275.5385 | 1560.7684 | -- | -- | --
Change (%) |  | 9.653 | 0.59537 | 2.4032 | 5.2289 | 4.0211 | 5.4962 | 7.6619 | -- | -- | --
Opto-board at 0C |  | 1495.1672 | 1552.3509 | 1722.1014 | 1468.4513 | 1553.986 | 1425.1928 | 1735.1801 | -- | -- | --
Change (%) |  | 21.3788 | 13.3696 | 12.2276 | 14.5637 | 16.0735 | 17.8737 | 19.6928 | -- | -- | --
Opto-board at 50C |  | 1287.3553 | 1350.819 | 1511.1853 | 1292.1196 | 1352.563 | 1232.5541 | 1523.8941 | -- | -- | --
Change (%) |  | 4.5085 | -1.3485 | -1.5176 | 0.80692 | 1.0284 | 1.9411 | 5.1183 | -- | -- | --
Opto-board QA (10C) |  | 1491.0566 | 1527.7127 | 1729.2605 | 1466.9097 | 1545.7135 | 1429.4367 | 1723.9178 | -- | -- | --
Change (%) |  | 21.0451 | 11.5703 | 12.6941 | 14.4435 | 15.4556 | 18.2247 | 18.916 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2036.9365 | 1890.3332 | 2059.208 | 1970.9059 | 2005.2145 | 2011.9442 | 1986.0187 | -- | -- | --
Post Opto-pack Burn-in |  | 1994.2076 | 1889.7974 | 1980.496 | 1949.3121 | 1980.3346 | 2004.0048 | 1992.1775 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1172.9428 | 1193.9105 | 1253.8692 | 1221.8845 | 1310.3843 | 1293.6462 | 1324.9008 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1200.1978 | 1187.2893 | 1299.6328 | 1242.1642 | 1340.2006 | 1305.111 | 1363.1489 | -- | -- | --
Change (%) |  | 2.3236 | -0.55458 | 3.6498 | 1.6597 | 2.2754 | 0.88624 | 2.8869 | -- | -- | --
Opto-board at 0C |  | 1339.0953 | 1325.9063 | 1437.5704 | 1371.5114 | 1490.841 | 1444.5848 | 1529.8167 | -- | -- | --
Change (%) |  | 14.1654 | 11.0558 | 14.6507 | 12.2456 | 13.7713 | 11.6677 | 15.4665 | -- | -- | --
Opto-board at 50C |  | 1173.4926 | 1153.924 | 1261.1023 | 1208.6219 | 1318.5847 | 1259.8059 | 1313.2314 | -- | -- | --
Change (%) |  | 0.046872 | -3.3492 | 0.57686 | -1.0854 | 0.6258 | -2.6159 | -0.88077 | -- | -- | --
Opto-board QA (10C) |  | 1327.667 | 1329.5252 | 1436.0462 | 1364.5862 | 1482.0926 | 1442.0496 | 1504.4435 | -- | -- | --
Change (%) |  | 13.1911 | 11.3589 | 14.5292 | 11.6788 | 13.1037 | 11.4717 | 13.5514 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 364.502 |  |  |  | 2021-07-21 |  |  |  | Pass
QA | mA | 304 | 366 | 343.1885 |  |  |  | 2021-07-21 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.87654 |  | 2021-07-21 |  |  |  | Pass
QA | uA | 1 | 0.86131 |  | 2021-07-21 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.030007 | 0.03704 | 0.03837 | 0.035089 | 0.05181 | 0.2983 | 0.036275 | 0.032246 | 0.030267 | 0.035375 | 0.032562 | 0.035657 | 0.033261 | 0.036697 |  |  | Pass
Fall | ns | 1 | 0.29295 | 0.39684 | 0.44683 | 0.39135 | 0.22083 | 0.36801 | 0.25278 | 0.37037 | 0.28996 | 0.23718 | 0.46489 | 0.335 | 0.35866 | 0.42925 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/21/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/21/2021 1: 0.4941; Date (DD/MM/YY):07/21/2021 2: 0.52012; Date (DD/MM/YY):07/21/2021 3: 0.53482; Date (DD/MM/YY):07/21/2021 4: 0.55309; Date (DD/MM/YY):07/21/2021 5: 0.56524; Date (DD/MM/YY):07/21/2021 6: 0.57173; Initial: 7: 0.58665 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/21/2021 1: 0.47824; Date (DD/MM/YY):07/21/2021 2: 0.50796; Date (DD/MM/YY):07/21/2021 3: 0.5206; Date (DD/MM/YY):07/21/2021 4: 0.54731; Date (DD/MM/YY):07/21/2021 5: 0.56115; Date (DD/MM/YY):07/21/2021 6: 0.578; Initial: 7: 0.58913 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/21/2021 1: 0.66393; Date (DD/MM/YY):07/21/2021 2: 0.64458; Date (DD/MM/YY):07/21/2021 3: 0.62094; Date (DD/MM/YY):07/21/2021 4: 0.61478; Date (DD/MM/YY):07/21/2021 5: 0.6315; Date (DD/MM/YY):07/21/2021 6: 0.6036; Initial: 7: 0.63609 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/21/2021 1: 0.60968; Date (DD/MM/YY):07/21/2021 2: 0.59275; Date (DD/MM/YY):07/21/2021 3: 0.63677; Date (DD/MM/YY):07/21/2021 4: 0.61789; Date (DD/MM/YY):07/21/2021 5: 0.58896; Date (DD/MM/YY):07/21/2021 6: 0.61551; Initial: 7: 0.63674 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/21/2021 1: 0.14501; Date (DD/MM/YY):07/21/2021 2: 0.11937; Date (DD/MM/YY):07/21/2021 3: 0.08231; Date (DD/MM/YY):07/21/2021 4: 0.10953; Date (DD/MM/YY):07/21/2021 5: 0.09239; Date (DD/MM/YY):07/21/2021 6: 0.10377; Initial: 7: 0.06318 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/21/2021 1: 0.13654; Date (DD/MM/YY):07/21/2021 2: 0.1164; Date (DD/MM/YY):07/21/2021 3: 0.0757; Date (DD/MM/YY):07/21/2021 4: 0.09392; Date (DD/MM/YY):07/21/2021 5: 0.08172; Date (DD/MM/YY):07/21/2021 6: 0.10408; Initial: 7: 0.05791 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/21/2021 1: 12.601; Date (DD/MM/YY):07/21/2021 2: 12.377; Date (DD/MM/YY):07/21/2021 3: 12.286; Date (DD/MM/YY):07/21/2021 4: 12.241; Date (DD/MM/YY):07/21/2021 5: 12.111; Date (DD/MM/YY):07/21/2021 6: 11.848; Initial: 7: 12.108
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/21/2021 1: 12.559; Date (DD/MM/YY):07/21/2021 2: 12.297; Date (DD/MM/YY):07/21/2021 3: 12.235; Date (DD/MM/YY):07/21/2021 4: 12.196; Date (DD/MM/YY):07/21/2021 5: 12.049; Date (DD/MM/YY):07/21/2021 6: 11.818; Initial: 7: 12.126
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/21/2021 1: 11.939; Date (DD/MM/YY):07/21/2021 2: 11.778; Date (DD/MM/YY):07/21/2021 3: 11.775; Date (DD/MM/YY):07/21/2021 4: 11.638; Date (DD/MM/YY):07/21/2021 5: 11.593; Date (DD/MM/YY):07/21/2021 6: 11.301; Initial: 7: 11.739
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/21/2021 1: 11.95; Date (DD/MM/YY):07/21/2021 2: 11.71; Date (DD/MM/YY):07/21/2021 3: 11.787; Date (DD/MM/YY):07/21/2021 4: 11.77; Date (DD/MM/YY):07/21/2021 5: 11.613; Date (DD/MM/YY):07/21/2021 6: 11.319; Initial: 7: 11.728
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/21/2021 1: 12.2479; Date (DD/MM/YY):07/21/2021 2: 12.0406; Date (DD/MM/YY):07/21/2021 3: 11.9992; Date (DD/MM/YY):07/21/2021 4: 11.9792; Date (DD/MM/YY):07/21/2021 5: 11.8354; Date (DD/MM/YY):07/21/2021 6: 11.5397; Initial: 7: 11.9441
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/21/2021 1: 12.2621; Date (DD/MM/YY):07/21/2021 2: 12.0317; Date (DD/MM/YY):07/21/2021 3: 12.0031; Date (DD/MM/YY):07/21/2021 4: 11.9766; Date (DD/MM/YY):07/21/2021 5: 11.8367; Date (DD/MM/YY):07/21/2021 6: 11.532; Initial: 7: 11.9419
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):07/21/2021 1: 49.1555; Date (DD/MM/YY):07/21/2021 2: 48.27; Date (DD/MM/YY):07/21/2021 3: 48.1114; Date (DD/MM/YY):07/21/2021 4: 48.0658; Date (DD/MM/YY):07/21/2021 5: 47.3449; Date (DD/MM/YY):07/21/2021 6: 46.2378; Initial: 7: 47.8959 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):07/21/2021 1: 48.9966; Date (DD/MM/YY):07/21/2021 2: 48.221; Date (DD/MM/YY):07/21/2021 3: 48.0153; Date (DD/MM/YY):07/21/2021 4: 47.9707; Date (DD/MM/YY):07/21/2021 5: 47.3824; Date (DD/MM/YY):07/21/2021 6: 46.2259; Initial: 7: 47.8071 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):07/21/2021 1: 49.0448; Date (DD/MM/YY):07/21/2021 2: 48.1306; Date (DD/MM/YY):07/21/2021 3: 48.0197; Date (DD/MM/YY):07/21/2021 4: 47.8936; Date (DD/MM/YY):07/21/2021 5: 47.3489; Date (DD/MM/YY):07/21/2021 6: 46.1519; Initial: 7: 47.7665 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/21/2021 1: 1.0809; Date (DD/MM/YY):07/21/2021 2: 1.0798; Date (DD/MM/YY):07/21/2021 3: 1.0771; Date (DD/MM/YY):07/21/2021 4: 1.017; Date (DD/MM/YY):07/21/2021 5: 1.0095; Date (DD/MM/YY):07/21/2021 6: 1.0042; Initial: 7: 1.0111 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/21/2021 1: 1.0726; Date (DD/MM/YY):07/21/2021 2: 1.0754; Date (DD/MM/YY):07/21/2021 3: 1.0678; Date (DD/MM/YY):07/21/2021 4: 1.0133; Date (DD/MM/YY):07/21/2021 5: 1.0059; Date (DD/MM/YY):07/21/2021 6: 1.0003; Initial: 7: 1.007 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/21/2021 1: 1.1048; Date (DD/MM/YY):07/21/2021 2: 1.112; Date (DD/MM/YY):07/21/2021 3: 1.1012; Date (DD/MM/YY):07/21/2021 4: 1.0214; Date (DD/MM/YY):07/21/2021 5: 1.0435; Date (DD/MM/YY):07/21/2021 6: 1.0361; Initial: 7: 1.0244 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):07/21/2021 1: 1.0905; Date (DD/MM/YY):07/21/2021 2: 1.0878; Date (DD/MM/YY):07/21/2021 3: 1.0918; Date (DD/MM/YY):07/21/2021 4: 1.0248; Date (DD/MM/YY):07/21/2021 5: 1.0325; Date (DD/MM/YY):07/21/2021 6: 1.0353; Initial: 7: 1.0198 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2021 1: 0.373; Date (DD/MM/YY):07/21/2021 2: 0.36569; Date (DD/MM/YY):07/21/2021 3: 0.36774; Date (DD/MM/YY):07/21/2021 4: 0.33282; Date (DD/MM/YY):07/21/2021 5: 0.32646; Date (DD/MM/YY):07/21/2021 6: 0.32258; Initial: 7: 0.32879 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2021 1: 0.33932; Date (DD/MM/YY):07/21/2021 2: 0.33755; Date (DD/MM/YY):07/21/2021 3: 0.33733; Date (DD/MM/YY):07/21/2021 4: 0.30365; Date (DD/MM/YY):07/21/2021 5: 0.30185; Date (DD/MM/YY):07/21/2021 6: 0.29998; Initial: 7: 0.30573 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2021 1: 0.40926; Date (DD/MM/YY):07/21/2021 2: 0.41373; Date (DD/MM/YY):07/21/2021 3: 0.41086; Date (DD/MM/YY):07/21/2021 4: 0.34641; Date (DD/MM/YY):07/21/2021 5: 0.36612; Date (DD/MM/YY):07/21/2021 6: 0.35618; Initial: 7: 0.35354 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2021 1: 0.39405; Date (DD/MM/YY):07/21/2021 2: 0.38574; Date (DD/MM/YY):07/21/2021 3: 0.39262; Date (DD/MM/YY):07/21/2021 4: 0.3485; Date (DD/MM/YY):07/21/2021 5: 0.34808; Date (DD/MM/YY):07/21/2021 6: 0.34857; Initial: 7: 0.33943 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2021 1: 0; Date (DD/MM/YY):07/21/2021 2: 0; Date (DD/MM/YY):07/21/2021 3: 0; Date (DD/MM/YY):07/21/2021 4: 0; Date (DD/MM/YY):07/21/2021 5: 0; Date (DD/MM/YY):07/21/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2021 1: 0; Date (DD/MM/YY):07/21/2021 2: 0; Date (DD/MM/YY):07/21/2021 3: 0; Date (DD/MM/YY):07/21/2021 4: 0; Date (DD/MM/YY):07/21/2021 5: 0; Date (DD/MM/YY):07/21/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2021 1: 0; Date (DD/MM/YY):07/21/2021 2: 0; Date (DD/MM/YY):07/21/2021 3: 0; Date (DD/MM/YY):07/21/2021 4: 0; Date (DD/MM/YY):07/21/2021 5: 0; Date (DD/MM/YY):07/21/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2021 1: 0; Date (DD/MM/YY):07/21/2021 2: 0; Date (DD/MM/YY):07/21/2021 3: 0; Date (DD/MM/YY):07/21/2021 4: 0; Date (DD/MM/YY):07/21/2021 5: 0; Date (DD/MM/YY):07/21/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass