## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1955.2446 | 1900.0169 | 1917.7196 | 1927.5131 | 1972.5442 | 1951.6045 | 2022.0392 | -- | -- | --
Post Opto-pack Burn-in |  | 1933.7691 | 1858.4496 | 1862.7145 | 1900.9504 | 1914.1351 | 1895.1084 | 1981.1521 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1437.6383 | 1293.176 | 1480.4988 | 1303.0719 | 1398.5116 | 1273.8953 | 1598.4119 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1324.6504 | 1198.8602 | 1261.6636 | 1219.2261 | 1312.9228 | 1207.064 | 1498.4462 | -- | -- | --
Change (%) |  | -7.8593 | -7.2933 | -14.7812 | -6.4345 | -6.12 | -5.2462 | -6.2541 | -- | -- | --
Opto-board at 0C |  | 1471.2581 | 1331.2997 | 1384.5297 | 1301.7813 | 1447.208 | 1314.683 | 1609.4383 | -- | -- | --
Change (%) |  | 2.3385 | 2.9481 | -6.4822 | -0.099045 | 3.482 | 3.2018 | 0.68983 | -- | -- | --
Opto-board at 50C |  | 1277.3738 | 1140.3929 | 1185.5123 | 1155.3401 | 1255.5282 | 1146.7173 | 1431.7443 | -- | -- | --
Change (%) |  | -11.1478 | -11.8146 | -19.9248 | -11.3372 | -10.224 | -9.9834 | -10.4271 | -- | -- | --
Opto-board QA (10C) |  | 1467.0604 | 1309.0684 | 1377.1805 | 1319.6798 | 1442.7863 | 1279.0355 | 1617.6748 | -- | -- | --
Change (%) |  | 2.0466 | 1.2289 | -6.9786 | 1.2745 | 3.1658 | 0.4035 | 1.2051 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1941.7428 | 1833.4441 | 1961.7119 | 1974.4868 | 2015.4147 | 1975.0348 | 1990.461 | -- | -- | --
Post Opto-pack Burn-in |  | 1785.4228 | 1715.3117 | 1769.0341 | 1823.2189 | 1870.1421 | 1837.7619 | 1875.4888 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1352.7228 | 1362.1846 | 1460.8772 | 1410.8217 | 1545.098 | 1493.6832 | 494.3215 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1226.5605 | 1240.7506 | 1359.8073 | 1294.7554 | 1413.9478 | 1381.8995 | 1386.8173 | -- | -- | --
Change (%) |  | -9.3265 | -8.9147 | -6.9184 | -8.2269 | -8.4881 | -7.4838 | 180.5497 | -- | -- | --
Opto-board at 0C |  | 1369.1713 | 1363.2479 | 1485.4125 | 1448.5705 | 1561.6123 | 1500.0119 | 1547.1183 | -- | -- | --
Change (%) |  | 1.216 | 0.078061 | 1.6795 | 2.6757 | 1.0688 | 0.42369 | 212.9782 | -- | -- | --
Opto-board at 50C |  | 1182.0999 | 1193.5352 | 1297.7761 | 1245.9391 | 1369.5162 | 1322.0781 | 1329.1767 | -- | -- | --
Change (%) |  | -12.6133 | -12.3808 | -11.1646 | -11.687 | -11.3638 | -11.4887 | 168.8891 | -- | -- | --
Opto-board QA (10C) |  | 1356.0486 | 1349.8714 | 1465.0064 | 1427.7949 | 1542.7834 | 1491.4579 | 1542.7952 | -- | -- | --
Change (%) |  | 0.24586 | -0.90393 | 0.28266 | 1.2031 | -0.14981 | -0.14898 | 212.1036 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 366.0889 |  |  |  | 2021-07-29 |  |  |  | Pass
QA | mA | 304 | 366 | 353.6499 |  |  |  | 2021-07-29 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.6734 |  | 2021-07-29 |  |  |  | Pass
QA | uA | 1 | 0.62414 |  | 2021-07-29 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.03836 | 0.032825 | 0.06181 | 0.032914 | 0.2004 | 0.0819 | 0.032227 | 0.14003 | 0.05442 | 0.2518 | 0.41774 | 0.1245 | 0.2297 | 0.3361 |  |  | Pass
Fall | ns | 1 | 0.24413 | 0.3122 | 0.34225 | 0.2768 | 0.47848 | 0.37146 | 0.24659 | 0.31224 | 0.32954 | 0.25318 | 0.42971 | 0.30507 | 0.25642 | 0.33273 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):08/05/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):08/05/2021 1: 0.49332; Date (DD/MM/YY):08/05/2021 2: 0.50718; Date (DD/MM/YY):08/05/2021 3: 0.52479; Date (DD/MM/YY):08/05/2021 4: 0.54338; Date (DD/MM/YY):08/05/2021 5: 0.55373; Date (DD/MM/YY):08/05/2021 6: 0.56069; Initial: 7: 0.57231 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):08/05/2021 1: 0.47618; Date (DD/MM/YY):08/05/2021 2: 0.49726; Date (DD/MM/YY):08/05/2021 3: 0.51392; Date (DD/MM/YY):08/05/2021 4: 0.54084; Date (DD/MM/YY):08/05/2021 5: 0.53423; Date (DD/MM/YY):08/05/2021 6: 0.55896; Initial: 7: 0.5766 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):08/05/2021 1: 0.59383; Date (DD/MM/YY):08/05/2021 2: 0.60622; Date (DD/MM/YY):08/05/2021 3: 0.59739; Date (DD/MM/YY):08/05/2021 4: 0.60895; Date (DD/MM/YY):08/05/2021 5: 0.59664; Date (DD/MM/YY):08/05/2021 6: 0.5939; Initial: 7: 0.57096 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):08/05/2021 1: 0.60303; Date (DD/MM/YY):08/05/2021 2: 0.60181; Date (DD/MM/YY):08/05/2021 3: 0.60606; Date (DD/MM/YY):08/05/2021 4: 0.60875; Date (DD/MM/YY):08/05/2021 5: 0.61201; Date (DD/MM/YY):08/05/2021 6: 0.61477; Initial: 7: 0.66554 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):08/05/2021 1: 0.08928; Date (DD/MM/YY):08/05/2021 2: 0.08109; Date (DD/MM/YY):08/05/2021 3: 0.07601; Date (DD/MM/YY):08/05/2021 4: 0.14628; Date (DD/MM/YY):08/05/2021 5: 0.16793; Date (DD/MM/YY):08/05/2021 6: 0.09929; Initial: 7: 0.06766 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):08/05/2021 1: 0.06925; Date (DD/MM/YY):08/05/2021 2: 0.06246; Date (DD/MM/YY):08/05/2021 3: 0.05844; Date (DD/MM/YY):08/05/2021 4: 0.13333; Date (DD/MM/YY):08/05/2021 5: 0.15049; Date (DD/MM/YY):08/05/2021 6: 0.08151; Initial: 7: 0.04426 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/05/2021 1: 12.727; Date (DD/MM/YY):08/05/2021 2: 12.437; Date (DD/MM/YY):08/05/2021 3: 12.504; Date (DD/MM/YY):08/05/2021 4: 12.5; Date (DD/MM/YY):08/05/2021 5: 13.616; Date (DD/MM/YY):08/05/2021 6: 12.506; Initial: 7: 12.033
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/05/2021 1: 12.588; Date (DD/MM/YY):08/05/2021 2: 12.319; Date (DD/MM/YY):08/05/2021 3: 12.434; Date (DD/MM/YY):08/05/2021 4: 12.389; Date (DD/MM/YY):08/05/2021 5: 13.443; Date (DD/MM/YY):08/05/2021 6: 12.36; Initial: 7: 11.941
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/05/2021 1: 12.147; Date (DD/MM/YY):08/05/2021 2: 11.912; Date (DD/MM/YY):08/05/2021 3: 11.99; Date (DD/MM/YY):08/05/2021 4: 11.802; Date (DD/MM/YY):08/05/2021 5: 12.853; Date (DD/MM/YY):08/05/2021 6: 11.902; Initial: 7: 11.577
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/05/2021 1: 12.202; Date (DD/MM/YY):08/05/2021 2: 11.944; Date (DD/MM/YY):08/05/2021 3: 12.077; Date (DD/MM/YY):08/05/2021 4: 11.851; Date (DD/MM/YY):08/05/2021 5: 12.867; Date (DD/MM/YY):08/05/2021 6: 11.942; Initial: 7: 11.633
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/05/2021 1: 12.4082; Date (DD/MM/YY):08/05/2021 2: 12.1396; Date (DD/MM/YY):08/05/2021 3: 12.2338; Date (DD/MM/YY):08/05/2021 4: 12.1134; Date (DD/MM/YY):08/05/2021 5: 13.1959; Date (DD/MM/YY):08/05/2021 6: 12.1751; Initial: 7: 11.7802
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/05/2021 1: 12.3857; Date (DD/MM/YY):08/05/2021 2: 12.1324; Date (DD/MM/YY):08/05/2021 3: 12.2304; Date (DD/MM/YY):08/05/2021 4: 12.1055; Date (DD/MM/YY):08/05/2021 5: 13.1673; Date (DD/MM/YY):08/05/2021 6: 12.1542; Initial: 7: 11.7759
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):08/05/2021 1: 49.6508; Date (DD/MM/YY):08/05/2021 2: 48.5638; Date (DD/MM/YY):08/05/2021 3: 49.0199; Date (DD/MM/YY):08/05/2021 4: 48.5636; Date (DD/MM/YY):08/05/2021 5: 52.7179; Date (DD/MM/YY):08/05/2021 6: 48.7743; Initial: 7: 47.1373 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):08/05/2021 1: 49.6726; Date (DD/MM/YY):08/05/2021 2: 48.5951; Date (DD/MM/YY):08/05/2021 3: 48.9629; Date (DD/MM/YY):08/05/2021 4: 48.5052; Date (DD/MM/YY):08/05/2021 5: 52.8847; Date (DD/MM/YY):08/05/2021 6: 48.7414; Initial: 7: 47.1933 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):08/05/2021 1: 49.5522; Date (DD/MM/YY):08/05/2021 2: 48.536; Date (DD/MM/YY):08/05/2021 3: 48.9355; Date (DD/MM/YY):08/05/2021 4: 48.4267; Date (DD/MM/YY):08/05/2021 5: 52.681; Date (DD/MM/YY):08/05/2021 6: 48.6233; Initial: 7: 47.0939 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/05/2021 1: 1.1315; Date (DD/MM/YY):08/05/2021 2: 1.1251; Date (DD/MM/YY):08/05/2021 3: 1.1079; Date (DD/MM/YY):08/05/2021 4: 1.0637; Date (DD/MM/YY):08/05/2021 5: 1.072; Date (DD/MM/YY):08/05/2021 6: 1.0479; Initial: 7: 1.0483 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/05/2021 1: 1.1219; Date (DD/MM/YY):08/05/2021 2: 1.1181; Date (DD/MM/YY):08/05/2021 3: 1.0974; Date (DD/MM/YY):08/05/2021 4: 1.0561; Date (DD/MM/YY):08/05/2021 5: 1.0661; Date (DD/MM/YY):08/05/2021 6: 1.0448; Initial: 7: 1.0439 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/05/2021 1: 1.1025; Date (DD/MM/YY):08/05/2021 2: 1.0989; Date (DD/MM/YY):08/05/2021 3: 1.1014; Date (DD/MM/YY):08/05/2021 4: 1.0518; Date (DD/MM/YY):08/05/2021 5: 1.0455; Date (DD/MM/YY):08/05/2021 6: 1.0403; Initial: 7: 1.0392 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/05/2021 1: 1.1088; Date (DD/MM/YY):08/05/2021 2: 1.1053; Date (DD/MM/YY):08/05/2021 3: 1.1085; Date (DD/MM/YY):08/05/2021 4: 1.0551; Date (DD/MM/YY):08/05/2021 5: 1.0472; Date (DD/MM/YY):08/05/2021 6: 1.0439; Initial: 7: 1.0568 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/05/2021 1: 0.38993; Date (DD/MM/YY):08/05/2021 2: 0.38098; Date (DD/MM/YY):08/05/2021 3: 0.38333; Date (DD/MM/YY):08/05/2021 4: 0.35458; Date (DD/MM/YY):08/05/2021 5: 0.35337; Date (DD/MM/YY):08/05/2021 6: 0.34396; Initial: 7: 0.34912 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/05/2021 1: 0.3541; Date (DD/MM/YY):08/05/2021 2: 0.35456; Date (DD/MM/YY):08/05/2021 3: 0.34807; Date (DD/MM/YY):08/05/2021 4: 0.33055; Date (DD/MM/YY):08/05/2021 5: 0.34369; Date (DD/MM/YY):08/05/2021 6: 0.32661; Initial: 7: 0.32777 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/05/2021 1: 0.42119; Date (DD/MM/YY):08/05/2021 2: 0.41761; Date (DD/MM/YY):08/05/2021 3: 0.41806; Date (DD/MM/YY):08/05/2021 4: 0.40493; Date (DD/MM/YY):08/05/2021 5: 0.40233; Date (DD/MM/YY):08/05/2021 6: 0.39832; Initial: 7: 0.39645 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/05/2021 1: 0.40121; Date (DD/MM/YY):08/05/2021 2: 0.39687; Date (DD/MM/YY):08/05/2021 3: 0.39911; Date (DD/MM/YY):08/05/2021 4: 0.37266; Date (DD/MM/YY):08/05/2021 5: 0.36815; Date (DD/MM/YY):08/05/2021 6: 0.3703; Initial: 7: 0.38086 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/05/2021 1: 0; Date (DD/MM/YY):08/05/2021 2: 0; Date (DD/MM/YY):08/05/2021 3: 0; Date (DD/MM/YY):08/05/2021 4: 0; Date (DD/MM/YY):08/05/2021 5: 0; Date (DD/MM/YY):08/05/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/05/2021 1: 0; Date (DD/MM/YY):08/05/2021 2: 0; Date (DD/MM/YY):08/05/2021 3: 0; Date (DD/MM/YY):08/05/2021 4: 0; Date (DD/MM/YY):08/05/2021 5: 0; Date (DD/MM/YY):08/05/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/05/2021 1: 0; Date (DD/MM/YY):08/05/2021 2: 0; Date (DD/MM/YY):08/05/2021 3: 0; Date (DD/MM/YY):08/05/2021 4: 0; Date (DD/MM/YY):08/05/2021 5: 0; Date (DD/MM/YY):08/05/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/05/2021 1: 0; Date (DD/MM/YY):08/05/2021 2: 0; Date (DD/MM/YY):08/05/2021 3: 0; Date (DD/MM/YY):08/05/2021 4: 0; Date (DD/MM/YY):08/05/2021 5: 0; Date (DD/MM/YY):08/05/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass