## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2034.8218 | 1922.0236 | 2041.2287 | 2080.5532 | 1971.2085 | 2102.9464 | 1963.3595 | -- | -- | --
Post Opto-pack Burn-in |  | 1995.878 | 1858.8742 | 1968.9013 | 2005.7549 | 1925.1434 | 2046.2555 | 1873.7166 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1413.3326 | 1241.6576 | 1529.5232 | 1344.2555 | 1378.4061 | 1363.8883 | 1551.7011 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1320.0755 | 1149.724 | 1418.6758 | 1230.4474 | 1280.1715 | 1239.4341 | 1418.5434 | -- | -- | --
Change (%) |  | -6.5984 | -7.4041 | -7.2472 | -8.4663 | -7.1267 | -9.125 | -8.5814 | -- | -- | --
Opto-board at 0C |  | 1369.7894 | 1188.0289 | 1490.6876 | 1279.8407 | 1311.6456 | 1298.3223 | 1500.3643 | -- | -- | --
Change (%) |  | -3.0809 | -4.3191 | -2.5391 | -4.7919 | -4.8433 | -4.8073 | -3.3084 | -- | -- | --
Opto-board at 50C |  | 1202.1162 | 1056.0593 | 1288.2206 | 1136.2407 | 1177.9894 | 1155.8994 | 1332.2812 | -- | -- | --
Change (%) |  | -14.9446 | -14.9476 | -15.7763 | -15.4743 | -14.5397 | -15.2497 | -14.1406 | -- | -- | --
Opto-board QA (10C) |  | 1362.5451 | 1176.5877 | 1472.2397 | 1260.6157 | 1293.1559 | 1292.6724 | 1480.0245 | -- | -- | --
Change (%) |  | -3.5935 | -5.2406 | -3.7452 | -6.222 | -6.1847 | -5.2215 | -4.6192 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1982.0815 | 1907.8764 | 1974.3488 | 1964.0033 | 2037.2497 | 2008.5842 | 1920.711 | -- | -- | --
Post Opto-pack Burn-in |  | 1930.9432 | 1864.8591 | 1938.0666 | 1908.3281 | 2002.6128 | 1981.4053 | 1936.1957 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1334.5078 | 1368.0285 | 1439.418 | 1414.569 | 1564.1914 | 1533.4108 | 1512.9484 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1290.3537 | 1332.6705 | 1398.2547 | 1338.658 | 1541.7442 | 1453.2608 | 1402.6496 | -- | -- | --
Change (%) |  | -3.3086 | -2.5846 | -2.8597 | -5.3664 | -1.4351 | -5.2269 | -7.2903 | -- | -- | --
Opto-board at 0C |  | 1320.7721 | 1362.0416 | 1450.5494 | 1327.7466 | 1557.5404 | 1492.7631 | 1462.7483 | -- | -- | --
Change (%) |  | -1.0293 | -0.43762 | 0.77333 | -6.1377 | -0.42521 | -2.6508 | -3.318 | -- | -- | --
Opto-board at 50C |  | 1142.1278 | 1180.4715 | 1250.6729 | 1173.0039 | 1382.4498 | 1307.9654 | 1241.1148 | -- | -- | --
Change (%) |  | -14.4158 | -13.71 | -13.1126 | -17.0769 | -11.6189 | -14.7022 | -17.9671 | -- | -- | --
Opto-board QA (10C) |  | 1307.4331 | 1332.7688 | 1458.4661 | 1335.0851 | 1547.0348 | 1493.7678 | 1439.4001 | -- | -- | --
Change (%) |  | -2.0288 | -2.5774 | 1.3233 | -5.6189 | -1.0968 | -2.5853 | -4.8613 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 361.4502 |  |  |  | 2021-08-16 |  |  |  | Pass
QA | mA | 304 | 366 | 348.4253 |  |  |  | 2021-08-16 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.56786 |  | 2021-08-16 |  |  |  | Pass
QA | uA | 1 | 0.42199 |  | 2021-08-16 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.030029 | 0.031406 | 0.03942 | 0.03248 | 0.032233 | 0.04362 | 0.032797 | 0.04948 | 0.03759 | 0.0705 | 0.29186 | 0.0921 | 0.03488 | 0.09021 |  |  | Pass
Fall | ns | 1 | 0.32513 | 0.41452 | 0.32105 | 0.31636 | 0.21469 | 0.42652 | 0.29509 | 0.28272 | 0.34373 | 0.30237 | 0.3453 | 0.30901 | 0.30681 | 0.38308 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):08/16/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):08/16/2021 1: 0.48629; Date (DD/MM/YY):08/16/2021 2: 0.49532; Date (DD/MM/YY):08/16/2021 3: 0.50426; Date (DD/MM/YY):08/16/2021 4: 0.52391; Date (DD/MM/YY):08/16/2021 5: 0.52658; Date (DD/MM/YY):08/16/2021 6: 0.53207; Initial: 7: 0.5592 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):08/16/2021 1: 0.47215; Date (DD/MM/YY):08/16/2021 2: 0.48395; Date (DD/MM/YY):08/16/2021 3: 0.48938; Date (DD/MM/YY):08/16/2021 4: 0.5114; Date (DD/MM/YY):08/16/2021 5: 0.52045; Date (DD/MM/YY):08/16/2021 6: 0.5301; Initial: 7: 0.56138 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):08/16/2021 1: 0.61227; Date (DD/MM/YY):08/16/2021 2: 0.62225; Date (DD/MM/YY):08/16/2021 3: 0.5805; Date (DD/MM/YY):08/16/2021 4: 0.58826; Date (DD/MM/YY):08/16/2021 5: 0.60354; Date (DD/MM/YY):08/16/2021 6: 0.57291; Initial: 7: 0.59633 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):08/16/2021 1: 0.59583; Date (DD/MM/YY):08/16/2021 2: 0.57445; Date (DD/MM/YY):08/16/2021 3: 0.61688; Date (DD/MM/YY):08/16/2021 4: 0.5857; Date (DD/MM/YY):08/16/2021 5: 0.55929; Date (DD/MM/YY):08/16/2021 6: 0.5847; Initial: 7: 0.62497 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):08/16/2021 1: 0.11583; Date (DD/MM/YY):08/16/2021 2: 0.22957; Date (DD/MM/YY):08/16/2021 3: 0.25578; Date (DD/MM/YY):08/16/2021 4: 0.15448; Date (DD/MM/YY):08/16/2021 5: 0.1824; Date (DD/MM/YY):08/16/2021 6: 0.11964; Initial: 7: 0.10709 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):08/16/2021 1: 0.12834; Date (DD/MM/YY):08/16/2021 2: 0.23694; Date (DD/MM/YY):08/16/2021 3: 0.25731; Date (DD/MM/YY):08/16/2021 4: 0.15978; Date (DD/MM/YY):08/16/2021 5: 0.18372; Date (DD/MM/YY):08/16/2021 6: 0.11364; Initial: 7: 0.10562 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/16/2021 1: 12.883; Date (DD/MM/YY):08/16/2021 2: 12.81; Date (DD/MM/YY):08/16/2021 3: 13.648; Date (DD/MM/YY):08/16/2021 4: 11.782; Date (DD/MM/YY):08/16/2021 5: 12.861; Date (DD/MM/YY):08/16/2021 6: 13.005; Initial: 7: 13.125
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/16/2021 1: 12.839; Date (DD/MM/YY):08/16/2021 2: 12.702; Date (DD/MM/YY):08/16/2021 3: 13.619; Date (DD/MM/YY):08/16/2021 4: 11.734; Date (DD/MM/YY):08/16/2021 5: 12.839; Date (DD/MM/YY):08/16/2021 6: 12.915; Initial: 7: 13.054
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/16/2021 1: 12.265; Date (DD/MM/YY):08/16/2021 2: 11.859; Date (DD/MM/YY):08/16/2021 3: 12.703; Date (DD/MM/YY):08/16/2021 4: 11.164; Date (DD/MM/YY):08/16/2021 5: 12.232; Date (DD/MM/YY):08/16/2021 6: 12.401; Initial: 7: 12.595
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/16/2021 1: 12.279; Date (DD/MM/YY):08/16/2021 2: 11.866; Date (DD/MM/YY):08/16/2021 3: 12.764; Date (DD/MM/YY):08/16/2021 4: 11.161; Date (DD/MM/YY):08/16/2021 5: 12.23; Date (DD/MM/YY):08/16/2021 6: 12.446; Initial: 7: 12.609
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/16/2021 1: 12.5517; Date (DD/MM/YY):08/16/2021 2: 12.2836; Date (DD/MM/YY):08/16/2021 3: 13.1826; Date (DD/MM/YY):08/16/2021 4: 11.4567; Date (DD/MM/YY):08/16/2021 5: 12.5475; Date (DD/MM/YY):08/16/2021 6: 12.6919; Initial: 7: 12.8271
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/16/2021 1: 12.5447; Date (DD/MM/YY):08/16/2021 2: 12.2645; Date (DD/MM/YY):08/16/2021 3: 13.1698; Date (DD/MM/YY):08/16/2021 4: 11.4598; Date (DD/MM/YY):08/16/2021 5: 12.547; Date (DD/MM/YY):08/16/2021 6: 12.6756; Initial: 7: 12.8255
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):08/16/2021 1: 50.178; Date (DD/MM/YY):08/16/2021 2: 49.2087; Date (DD/MM/YY):08/16/2021 3: 52.7961; Date (DD/MM/YY):08/16/2021 4: 45.9086; Date (DD/MM/YY):08/16/2021 5: 50.1781; Date (DD/MM/YY):08/16/2021 6: 50.7219; Initial: 7: 51.2917 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):08/16/2021 1: 50.2828; Date (DD/MM/YY):08/16/2021 2: 49.1644; Date (DD/MM/YY):08/16/2021 3: 52.7758; Date (DD/MM/YY):08/16/2021 4: 45.8744; Date (DD/MM/YY):08/16/2021 5: 50.2079; Date (DD/MM/YY):08/16/2021 6: 50.8139; Initial: 7: 51.3473 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):08/16/2021 1: 50.1719; Date (DD/MM/YY):08/16/2021 2: 49.0517; Date (DD/MM/YY):08/16/2021 3: 52.6612; Date (DD/MM/YY):08/16/2021 4: 45.8296; Date (DD/MM/YY):08/16/2021 5: 50.1863; Date (DD/MM/YY):08/16/2021 6: 50.712; Initial: 7: 51.3019 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/16/2021 1: 1.0521; Date (DD/MM/YY):08/16/2021 2: 1.0311; Date (DD/MM/YY):08/16/2021 3: 1.0338; Date (DD/MM/YY):08/16/2021 4: 1.0469; Date (DD/MM/YY):08/16/2021 5: 1.0537; Date (DD/MM/YY):08/16/2021 6: 1.0332; Initial: 7: 1.0478 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/16/2021 1: 1.0492; Date (DD/MM/YY):08/16/2021 2: 1.0308; Date (DD/MM/YY):08/16/2021 3: 1.0333; Date (DD/MM/YY):08/16/2021 4: 1.043; Date (DD/MM/YY):08/16/2021 5: 1.0515; Date (DD/MM/YY):08/16/2021 6: 1.0342; Initial: 7: 1.0468 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/16/2021 1: 1.0736; Date (DD/MM/YY):08/16/2021 2: 1.0764; Date (DD/MM/YY):08/16/2021 3: 1.064; Date (DD/MM/YY):08/16/2021 4: 1.0475; Date (DD/MM/YY):08/16/2021 5: 1.0682; Date (DD/MM/YY):08/16/2021 6: 1.0726; Initial: 7: 1.0651 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/16/2021 1: 1.0631; Date (DD/MM/YY):08/16/2021 2: 1.0548; Date (DD/MM/YY):08/16/2021 3: 1.0563; Date (DD/MM/YY):08/16/2021 4: 1.0505; Date (DD/MM/YY):08/16/2021 5: 1.0557; Date (DD/MM/YY):08/16/2021 6: 1.0679; Initial: 7: 1.0586 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/16/2021 1: 0.35123; Date (DD/MM/YY):08/16/2021 2: 0.33983; Date (DD/MM/YY):08/16/2021 3: 0.34084; Date (DD/MM/YY):08/16/2021 4: 0.35265; Date (DD/MM/YY):08/16/2021 5: 0.3486; Date (DD/MM/YY):08/16/2021 6: 0.33606; Initial: 7: 0.3466 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/16/2021 1: 0.33114; Date (DD/MM/YY):08/16/2021 2: 0.32247; Date (DD/MM/YY):08/16/2021 3: 0.32268; Date (DD/MM/YY):08/16/2021 4: 0.32517; Date (DD/MM/YY):08/16/2021 5: 0.33679; Date (DD/MM/YY):08/16/2021 6: 0.32896; Initial: 7: 0.33645 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/16/2021 1: 0.38999; Date (DD/MM/YY):08/16/2021 2: 0.39102; Date (DD/MM/YY):08/16/2021 3: 0.38729; Date (DD/MM/YY):08/16/2021 4: 0.36622; Date (DD/MM/YY):08/16/2021 5: 0.38514; Date (DD/MM/YY):08/16/2021 6: 0.38197; Initial: 7: 0.38145 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/16/2021 1: 0.37899; Date (DD/MM/YY):08/16/2021 2: 0.36688; Date (DD/MM/YY):08/16/2021 3: 0.37033; Date (DD/MM/YY):08/16/2021 4: 0.36821; Date (DD/MM/YY):08/16/2021 5: 0.36597; Date (DD/MM/YY):08/16/2021 6: 0.37183; Initial: 7: 0.36806 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/16/2021 1: 0; Date (DD/MM/YY):08/16/2021 2: 0; Date (DD/MM/YY):08/16/2021 3: 0; Date (DD/MM/YY):08/16/2021 4: 0; Date (DD/MM/YY):08/16/2021 5: 0; Date (DD/MM/YY):08/16/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/16/2021 1: 0; Date (DD/MM/YY):08/16/2021 2: 0; Date (DD/MM/YY):08/16/2021 3: 0; Date (DD/MM/YY):08/16/2021 4: 0; Date (DD/MM/YY):08/16/2021 5: 0; Date (DD/MM/YY):08/16/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/16/2021 1: 0; Date (DD/MM/YY):08/16/2021 2: 0; Date (DD/MM/YY):08/16/2021 3: 0; Date (DD/MM/YY):08/16/2021 4: 0; Date (DD/MM/YY):08/16/2021 5: 0; Date (DD/MM/YY):08/16/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/16/2021 1: 0; Date (DD/MM/YY):08/16/2021 2: 0; Date (DD/MM/YY):08/16/2021 3: 0; Date (DD/MM/YY):08/16/2021 4: 0; Date (DD/MM/YY):08/16/2021 5: 0; Date (DD/MM/YY):08/16/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass