## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2048.6782 | 1923.0091 | 2026.1754 | 1989.2546 | 2071.5898 | 2096.9233 | 2039.7612 | -- | -- | --
Post Opto-pack Burn-in |  | 1957.6135 | 1865.5485 | 1953.1467 | 1913.5606 | 1988.3212 | 2045.977 | 1971.9975 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1377.2369 | 1280.8693 | 1590.2163 | 1188.3676 | 1523.3439 | 1451.6582 | 1623.6239 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1363.6187 | 1252.1509 | 1600.4252 | 1210.6578 | 1416.9046 | 1384.2733 | 1569.5484 | -- | -- | --
Change (%) |  | -0.9888 | -2.2421 | 0.64198 | 1.8757 | -6.9872 | -4.6419 | -3.3305 | -- | -- | --
Opto-board at 0C |  | 1516.165 | 1361.6337 | 1714.2323 | 1318.9717 | 1542.6464 | 1523.4012 | 1738.7906 | -- | -- | --
Change (%) |  | 10.0875 | 6.3054 | 7.7987 | 10.9902 | 1.2671 | 4.9421 | 7.0932 | -- | -- | --
Opto-board at 50C |  | 1238.8987 | 1192.612 | 1491.6875 | 1171.5447 | 1325.8105 | 1333.0383 | 1471.6649 | -- | -- | --
Change (%) |  | -10.0446 | -6.8904 | -6.1959 | -1.4156 | -12.9671 | -8.1713 | -9.3592 | -- | -- | --
Opto-board QA (10C) |  | 1534.3 | 1331.2007 | 1696.2143 | 1328.9741 | 1555.9791 | 1496.0572 | 1721.0048 | -- | -- | --
Change (%) |  | 11.4042 | 3.9295 | 6.6656 | 11.8319 | 2.1423 | 3.0585 | 5.9978 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2102.7241 | 2055.1441 | 2072.3238 | 2169.1043 | 2101.4451 | 2198.5383 | 2178.694 | -- | -- | --
Post Opto-pack Burn-in |  | 2029.1614 | 1966.287 | 1979.8279 | 2028.6562 | 2000.7116 | 2128.7959 | 2096.9929 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1394.8671 | 1375.4181 | 1430.5497 | 1499.8116 | 1521.2903 | 1613.5421 | 1663.8687 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1284.1618 | 1341.1235 | 1410.1344 | 1443.8312 | 1425.8895 | 1507.2419 | 1541.0717 | -- | -- | --
Change (%) |  | -7.9366 | -2.4934 | -1.4271 | -3.7325 | -6.271 | -6.588 | -7.3802 | -- | -- | --
Opto-board at 0C |  | 1414.407 | 1456.3831 | 1504.6547 | 1538.4514 | 1579.7231 | 1619.5045 | 1716.8659 | -- | -- | --
Change (%) |  | 1.4008 | 5.8866 | 5.1802 | 2.5763 | 3.841 | 0.36952 | 3.1852 | -- | -- | --
Opto-board at 50C |  | 1227.7862 | 1270.4702 | 1338.8931 | 1346.8782 | 1374.2589 | 1410.8572 | 1476.405 | -- | -- | --
Change (%) |  | -11.9783 | -7.6303 | -6.4071 | -10.1968 | -9.6649 | -12.5615 | -11.2667 | -- | -- | --
Opto-board QA (10C) |  | 1418.8954 | 1439.6289 | 1499.8326 | 1517.3175 | 1583.3888 | 1609.5703 | 1683.8545 | -- | -- | --
Change (%) |  | 1.7226 | 4.6685 | 4.8431 | 1.1672 | 4.082 | -0.24616 | 1.2012 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 359.2529 |  |  |  | 2021-08-17 |  |  |  | Pass
QA | mA | 304 | 366 | 343.9087 |  |  |  | 2021-08-17 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.57062 |  | 2021-08-17 |  |  |  | Pass
QA | uA | 1 | 0.65421 |  | 2021-08-17 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.04221 | 0.029871 | 0.48281 | 0.31522 | 0.53743 | 0.43942 | 0.034827 | 0.06565 | 0.34148 | 0.0768 | 0.08206 | 0.031218 | 0.11341 | 0.04468 |  |  | Pass
Fall | ns | 1 | 0.24034 | 0.45247 | 0.38705 | 0.28618 | 0.41409 | 0.36579 | 0.21867 | 0.35863 | 0.30476 | 0.23964 | 0.4597 | 0.31742 | 0.27017 | 0.32723 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):08/17/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):08/17/2021 1: 0.47249; Date (DD/MM/YY):08/17/2021 2: 0.49134; Date (DD/MM/YY):08/17/2021 3: 0.50184; Date (DD/MM/YY):08/17/2021 4: 0.52199; Date (DD/MM/YY):08/17/2021 5: 0.5359; Date (DD/MM/YY):08/17/2021 6: 0.5406; Initial: 7: 0.56551 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):08/17/2021 1: 0.47461; Date (DD/MM/YY):08/17/2021 2: 0.48439; Date (DD/MM/YY):08/17/2021 3: 0.50538; Date (DD/MM/YY):08/17/2021 4: 0.51187; Date (DD/MM/YY):08/17/2021 5: 0.53019; Date (DD/MM/YY):08/17/2021 6: 0.53935; Initial: 7: 0.5569 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):08/17/2021 1: 0.62765; Date (DD/MM/YY):08/17/2021 2: 0.63396; Date (DD/MM/YY):08/17/2021 3: 0.6328; Date (DD/MM/YY):08/17/2021 4: 0.60901; Date (DD/MM/YY):08/17/2021 5: 0.6246; Date (DD/MM/YY):08/17/2021 6: 0.57841; Initial: 7: 0.62209 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):08/17/2021 1: 0.63104; Date (DD/MM/YY):08/17/2021 2: 0.59543; Date (DD/MM/YY):08/17/2021 3: 0.62988; Date (DD/MM/YY):08/17/2021 4: 0.59587; Date (DD/MM/YY):08/17/2021 5: 0.57186; Date (DD/MM/YY):08/17/2021 6: 0.60843; Initial: 7: 0.64288 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):08/17/2021 1: 0.25833; Date (DD/MM/YY):08/17/2021 2: 0.10112; Date (DD/MM/YY):08/17/2021 3: 0.07078; Date (DD/MM/YY):08/17/2021 4: 0.10524; Date (DD/MM/YY):08/17/2021 5: 0.18303; Date (DD/MM/YY):08/17/2021 6: 0.16663; Initial: 7: 0.22512 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):08/17/2021 1: 0.24914; Date (DD/MM/YY):08/17/2021 2: 0.09928; Date (DD/MM/YY):08/17/2021 3: 0.07495; Date (DD/MM/YY):08/17/2021 4: 0.11828; Date (DD/MM/YY):08/17/2021 5: 0.15832; Date (DD/MM/YY):08/17/2021 6: 0.16099; Initial: 7: 0.22099 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/17/2021 1: 12.206; Date (DD/MM/YY):08/17/2021 2: 12.91; Date (DD/MM/YY):08/17/2021 3: 12.168; Date (DD/MM/YY):08/17/2021 4: 12.456; Date (DD/MM/YY):08/17/2021 5: 12.625; Date (DD/MM/YY):08/17/2021 6: 12.474; Initial: 7: 12.308
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/17/2021 1: 12.189; Date (DD/MM/YY):08/17/2021 2: 12.893; Date (DD/MM/YY):08/17/2021 3: 12.215; Date (DD/MM/YY):08/17/2021 4: 12.456; Date (DD/MM/YY):08/17/2021 5: 12.535; Date (DD/MM/YY):08/17/2021 6: 12.477; Initial: 7: 12.263
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/17/2021 1: 11.327; Date (DD/MM/YY):08/17/2021 2: 12.335; Date (DD/MM/YY):08/17/2021 3: 11.778; Date (DD/MM/YY):08/17/2021 4: 11.962; Date (DD/MM/YY):08/17/2021 5: 11.922; Date (DD/MM/YY):08/17/2021 6: 11.871; Initial: 7: 11.525
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/17/2021 1: 11.367; Date (DD/MM/YY):08/17/2021 2: 12.391; Date (DD/MM/YY):08/17/2021 3: 11.789; Date (DD/MM/YY):08/17/2021 4: 11.964; Date (DD/MM/YY):08/17/2021 5: 11.957; Date (DD/MM/YY):08/17/2021 6: 11.886; Initial: 7: 11.598
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/17/2021 1: 11.7515; Date (DD/MM/YY):08/17/2021 2: 12.609; Date (DD/MM/YY):08/17/2021 3: 11.9776; Date (DD/MM/YY):08/17/2021 4: 12.2087; Date (DD/MM/YY):08/17/2021 5: 12.2687; Date (DD/MM/YY):08/17/2021 6: 12.1748; Initial: 7: 11.9391
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/17/2021 1: 11.7475; Date (DD/MM/YY):08/17/2021 2: 12.6051; Date (DD/MM/YY):08/17/2021 3: 11.9812; Date (DD/MM/YY):08/17/2021 4: 12.2032; Date (DD/MM/YY):08/17/2021 5: 12.24; Date (DD/MM/YY):08/17/2021 6: 12.1698; Initial: 7: 11.9274
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):08/17/2021 1: 47.1413; Date (DD/MM/YY):08/17/2021 2: 50.4585; Date (DD/MM/YY):08/17/2021 3: 47.967; Date (DD/MM/YY):08/17/2021 4: 48.8328; Date (DD/MM/YY):08/17/2021 5: 49.0217; Date (DD/MM/YY):08/17/2021 6: 48.7588; Initial: 7: 47.771 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):08/17/2021 1: 47.0373; Date (DD/MM/YY):08/17/2021 2: 50.4756; Date (DD/MM/YY):08/17/2021 3: 47.9214; Date (DD/MM/YY):08/17/2021 4: 48.8381; Date (DD/MM/YY):08/17/2021 5: 49.1254; Date (DD/MM/YY):08/17/2021 6: 48.7004; Initial: 7: 47.7922 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):08/17/2021 1: 46.9885; Date (DD/MM/YY):08/17/2021 2: 50.4199; Date (DD/MM/YY):08/17/2021 3: 47.9526; Date (DD/MM/YY):08/17/2021 4: 48.8064; Date (DD/MM/YY):08/17/2021 5: 48.9643; Date (DD/MM/YY):08/17/2021 6: 48.697; Initial: 7: 47.7139 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/17/2021 1: 1.0708; Date (DD/MM/YY):08/17/2021 2: 1.0537; Date (DD/MM/YY):08/17/2021 3: 1.0541; Date (DD/MM/YY):08/17/2021 4: 1.0531; Date (DD/MM/YY):08/17/2021 5: 1.0505; Date (DD/MM/YY):08/17/2021 6: 1.0432; Initial: 7: 1.0535 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/17/2021 1: 1.0627; Date (DD/MM/YY):08/17/2021 2: 1.0493; Date (DD/MM/YY):08/17/2021 3: 1.0456; Date (DD/MM/YY):08/17/2021 4: 1.0474; Date (DD/MM/YY):08/17/2021 5: 1.0458; Date (DD/MM/YY):08/17/2021 6: 1.0401; Initial: 7: 1.0483 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/17/2021 1: 1.0848; Date (DD/MM/YY):08/17/2021 2: 1.1059; Date (DD/MM/YY):08/17/2021 3: 1.0839; Date (DD/MM/YY):08/17/2021 4: 1.073; Date (DD/MM/YY):08/17/2021 5: 1.0723; Date (DD/MM/YY):08/17/2021 6: 1.0849; Initial: 7: 1.0912 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):08/17/2021 1: 1.0722; Date (DD/MM/YY):08/17/2021 2: 1.0799; Date (DD/MM/YY):08/17/2021 3: 1.0738; Date (DD/MM/YY):08/17/2021 4: 1.0733; Date (DD/MM/YY):08/17/2021 5: 1.0566; Date (DD/MM/YY):08/17/2021 6: 1.0779; Initial: 7: 1.0805 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/17/2021 1: 0.36488; Date (DD/MM/YY):08/17/2021 2: 0.34601; Date (DD/MM/YY):08/17/2021 3: 0.35494; Date (DD/MM/YY):08/17/2021 4: 0.34729; Date (DD/MM/YY):08/17/2021 5: 0.34257; Date (DD/MM/YY):08/17/2021 6: 0.33686; Initial: 7: 0.34486 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/17/2021 1: 0.32741; Date (DD/MM/YY):08/17/2021 2: 0.32676; Date (DD/MM/YY):08/17/2021 3: 0.31866; Date (DD/MM/YY):08/17/2021 4: 0.32448; Date (DD/MM/YY):08/17/2021 5: 0.32645; Date (DD/MM/YY):08/17/2021 6: 0.32429; Initial: 7: 0.33033 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/17/2021 1: 0.39251; Date (DD/MM/YY):08/17/2021 2: 0.40214; Date (DD/MM/YY):08/17/2021 3: 0.39451; Date (DD/MM/YY):08/17/2021 4: 0.3744; Date (DD/MM/YY):08/17/2021 5: 0.38177; Date (DD/MM/YY):08/17/2021 6: 0.38351; Initial: 7: 0.39088 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/17/2021 1: 0.37883; Date (DD/MM/YY):08/17/2021 2: 0.37483; Date (DD/MM/YY):08/17/2021 3: 0.37671; Date (DD/MM/YY):08/17/2021 4: 0.37543; Date (DD/MM/YY):08/17/2021 5: 0.36186; Date (DD/MM/YY):08/17/2021 6: 0.37255; Initial: 7: 0.37383 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/17/2021 1: 0; Date (DD/MM/YY):08/17/2021 2: 0; Date (DD/MM/YY):08/17/2021 3: 0; Date (DD/MM/YY):08/17/2021 4: 0; Date (DD/MM/YY):08/17/2021 5: 0; Date (DD/MM/YY):08/17/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/17/2021 1: 0; Date (DD/MM/YY):08/17/2021 2: 0; Date (DD/MM/YY):08/17/2021 3: 0; Date (DD/MM/YY):08/17/2021 4: 0; Date (DD/MM/YY):08/17/2021 5: 0; Date (DD/MM/YY):08/17/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/17/2021 1: 0; Date (DD/MM/YY):08/17/2021 2: 0; Date (DD/MM/YY):08/17/2021 3: 0; Date (DD/MM/YY):08/17/2021 4: 0; Date (DD/MM/YY):08/17/2021 5: 0; Date (DD/MM/YY):08/17/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/17/2021 1: 0; Date (DD/MM/YY):08/17/2021 2: 0; Date (DD/MM/YY):08/17/2021 3: 0; Date (DD/MM/YY):08/17/2021 4: 0; Date (DD/MM/YY):08/17/2021 5: 0; Date (DD/MM/YY):08/17/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass