## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2005.567 | 1927.8341 | 2003.8683 | 1936.395 | 1967.2901 | 2079.6473 | 2058.6575 | -- | -- | --
Post Opto-pack Burn-in |  | 1833.3486 | 1774.792 | 1868.4309 | 1829.5551 | 1847.5599 | 1980.376 | 1909.0299 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1381.4648 | 1224.7627 | 1508.5363 | 1219.263 | 1425.2103 | 1380.9231 | 1568.5288 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1344.8294 | 1182.7998 | 1487.0329 | 1203.6295 | 1360.3952 | 1339.9559 | 1544.2528 | -- | -- | --
Change (%) |  | -2.6519 | -3.4262 | -1.4255 | -1.2822 | -4.5478 | -2.9667 | -1.5477 | -- | -- | --
Opto-board at 0C |  | 1433.703 | 1268.6806 | 1542.6176 | 1264.8988 | 1425.0264 | 1406.7486 | 1670.2826 | -- | -- | --
Change (%) |  | 3.7814 | 3.5858 | 2.2592 | 3.7429 | -0.012908 | 1.8702 | 6.4872 | -- | -- | --
Opto-board at 50C |  | 1245.5507 | 1117.4097 | 1353.1992 | 1118.0086 | 1272.4677 | 1236.4165 | 1439.861 | -- | -- | --
Change (%) |  | -9.8384 | -8.7652 | -10.2972 | -8.3046 | -10.7172 | -10.4645 | -8.2031 | -- | -- | --
Opto-board QA (10C) |  | 1388.1434 | 1256.7112 | 1524.4663 | 1250.1264 | 1423.8548 | 1405.2362 | 1657.2669 | -- | -- | --
Change (%) |  | 0.48344 | 2.6085 | 1.056 | 2.5313 | -0.095113 | 1.7606 | 5.6574 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2075.381 | 2020.4924 | 2108.8014 | 2103.5639 | 2131.5581 | 2171.2085 | 2103.4387 | -- | -- | --
Post Opto-pack Burn-in |  | 1941.8347 | 1938.3583 | 1979.7628 | 1976.7005 | 2010.2534 | 2024.1503 | 1998.557 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1465.1199 | 1488.2531 | 1575.8372 | 1555.321 | 1644.3837 | 1661.6673 | 1613.6987 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1398.4654 | 1418.6564 | 1519.2976 | 1480.3189 | 1588.2903 | 1586.7765 | 1580.6251 | -- | -- | --
Change (%) |  | -4.5494 | -4.6764 | -3.5879 | -4.8223 | -3.4112 | -4.507 | -2.0496 | -- | -- | --
Opto-board at 0C |  | 1485.2154 | 1529.4138 | 1617.3082 | 1534.5116 | 1678.0701 | 1708.1429 | 1701.9954 | -- | -- | --
Change (%) |  | 1.3716 | 2.7657 | 2.6317 | -1.3379 | 2.0486 | 2.7969 | 5.4717 | -- | -- | --
Opto-board at 50C |  | 1298.4206 | 1335.718 | 1408.4277 | 1353.6611 | 1476.5099 | 1494.1919 | 1480.3488 | -- | -- | --
Change (%) |  | -11.3779 | -10.2493 | -10.6235 | -12.9658 | -10.2089 | -10.0788 | -8.2636 | -- | -- | --
Opto-board QA (10C) |  | 1479.1813 | 1495.541 | 1572.6663 | 1505.3564 | 1652.2309 | 1677.9422 | 1676.2359 | -- | -- | --
Change (%) |  | 0.95975 | 0.48969 | -0.20122 | -3.2125 | 0.47721 | 0.97943 | 3.8754 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 356.8115 |  |  |  | 2022-01-25 |  |  |  | Pass
QA | mA | 304 | 366 | 338.9893 |  |  |  | 2022-01-25 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.64516 |  | 2022-01-25 |  |  |  | Pass
QA | uA | 1 | 0.47748 |  | 2022-01-25 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.09402 | 0.2187 | 0.4921 | 0.0675 | 0.1386 | 0.296 | 0.03555 | 0.37884 | 0.03682 | 0.04856 | 0.39269 | 0.40991 | 0.32743 | 0.0442 |  |  | Pass
Fall | ns | 1 | 0.34725 | 0.26117 | 0.41544 | 0.32128 | 0.17972 | 0.38039 | 0.22226 | 0.35903 | 0.29385 | 0.26051 | 0.46155 | 0.29921 | 0.32821 | 0.40481 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):01/25/2022 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):01/25/2022 1: 0.54639; Date (DD/MM/YY):01/25/2022 2: 0.5611; Date (DD/MM/YY):01/25/2022 3: 0.57697; Date (DD/MM/YY):01/25/2022 4: 0.6036; Date (DD/MM/YY):01/25/2022 5: 0.61463; Date (DD/MM/YY):01/25/2022 6: 0.61865; Initial: 7: 0.64325 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):01/25/2022 1: 0.53147; Date (DD/MM/YY):01/25/2022 2: 0.55346; Date (DD/MM/YY):01/25/2022 3: 0.56569; Date (DD/MM/YY):01/25/2022 4: 0.57587; Date (DD/MM/YY):01/25/2022 5: 0.59886; Date (DD/MM/YY):01/25/2022 6: 0.60047; Initial: 7: 0.62662 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):01/25/2022 1: 0.6342; Date (DD/MM/YY):01/25/2022 2: 0.69338; Date (DD/MM/YY):01/25/2022 3: 0.63905; Date (DD/MM/YY):01/25/2022 4: 0.65163; Date (DD/MM/YY):01/25/2022 5: 0.69377; Date (DD/MM/YY):01/25/2022 6: 0.66304; Initial: 7: 0.69492 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):01/25/2022 1: 0.67013; Date (DD/MM/YY):01/25/2022 2: 0.65591; Date (DD/MM/YY):01/25/2022 3: 0.69137; Date (DD/MM/YY):01/25/2022 4: 0.6569; Date (DD/MM/YY):01/25/2022 5: 0.65536; Date (DD/MM/YY):01/25/2022 6: 0.68081; Initial: 7: 0.71464 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):01/25/2022 1: 0.20772; Date (DD/MM/YY):01/25/2022 2: 0.06444; Date (DD/MM/YY):01/25/2022 3: 0.1156; Date (DD/MM/YY):01/25/2022 4: 0.07303; Date (DD/MM/YY):01/25/2022 5: 0.18993; Date (DD/MM/YY):01/25/2022 6: 0.11653; Initial: 7: 0.2531 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):01/25/2022 1: 0.20356; Date (DD/MM/YY):01/25/2022 2: 0.06358; Date (DD/MM/YY):01/25/2022 3: 0.11642; Date (DD/MM/YY):01/25/2022 4: 0.0711; Date (DD/MM/YY):01/25/2022 5: 0.18192; Date (DD/MM/YY):01/25/2022 6: 0.09945; Initial: 7: 0.24909 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/25/2022 1: 12.699; Date (DD/MM/YY):01/25/2022 2: 12.491; Date (DD/MM/YY):01/25/2022 3: 12.674; Date (DD/MM/YY):01/25/2022 4: 12.666; Date (DD/MM/YY):01/25/2022 5: 12.144; Date (DD/MM/YY):01/25/2022 6: 12.251; Initial: 7: 12.444
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/25/2022 1: 12.679; Date (DD/MM/YY):01/25/2022 2: 12.457; Date (DD/MM/YY):01/25/2022 3: 12.7; Date (DD/MM/YY):01/25/2022 4: 12.663; Date (DD/MM/YY):01/25/2022 5: 12.127; Date (DD/MM/YY):01/25/2022 6: 12.235; Initial: 7: 12.381
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/25/2022 1: 11.954; Date (DD/MM/YY):01/25/2022 2: 12.07; Date (DD/MM/YY):01/25/2022 3: 12.127; Date (DD/MM/YY):01/25/2022 4: 12.201; Date (DD/MM/YY):01/25/2022 5: 11.47; Date (DD/MM/YY):01/25/2022 6: 11.653; Initial: 7: 11.554
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/25/2022 1: 11.96; Date (DD/MM/YY):01/25/2022 2: 12.056; Date (DD/MM/YY):01/25/2022 3: 12.147; Date (DD/MM/YY):01/25/2022 4: 12.241; Date (DD/MM/YY):01/25/2022 5: 11.483; Date (DD/MM/YY):01/25/2022 6: 11.75; Initial: 7: 11.594
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/25/2022 1: 12.3233; Date (DD/MM/YY):01/25/2022 2: 12.2535; Date (DD/MM/YY):01/25/2022 3: 12.3831; Date (DD/MM/YY):01/25/2022 4: 12.4613; Date (DD/MM/YY):01/25/2022 5: 11.8058; Date (DD/MM/YY):01/25/2022 6: 11.9634; Initial: 7: 11.9967
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/25/2022 1: 12.3152; Date (DD/MM/YY):01/25/2022 2: 12.237; Date (DD/MM/YY):01/25/2022 3: 12.385; Date (DD/MM/YY):01/25/2022 4: 12.4597; Date (DD/MM/YY):01/25/2022 5: 11.8117; Date (DD/MM/YY):01/25/2022 6: 11.9674; Initial: 7: 11.9937
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):01/25/2022 1: 49.3887; Date (DD/MM/YY):01/25/2022 2: 49.0589; Date (DD/MM/YY):01/25/2022 3: 49.6915; Date (DD/MM/YY):01/25/2022 4: 49.9052; Date (DD/MM/YY):01/25/2022 5: 47.1912; Date (DD/MM/YY):01/25/2022 6: 47.912; Initial: 7: 48.1158 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):01/25/2022 1: 49.3242; Date (DD/MM/YY):01/25/2022 2: 49.0247; Date (DD/MM/YY):01/25/2022 3: 49.5574; Date (DD/MM/YY):01/25/2022 4: 49.8792; Date (DD/MM/YY):01/25/2022 5: 47.2353; Date (DD/MM/YY):01/25/2022 6: 47.8487; Initial: 7: 47.9483 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):01/25/2022 1: 49.27; Date (DD/MM/YY):01/25/2022 2: 48.9585; Date (DD/MM/YY):01/25/2022 3: 49.5505; Date (DD/MM/YY):01/25/2022 4: 49.8508; Date (DD/MM/YY):01/25/2022 5: 47.2485; Date (DD/MM/YY):01/25/2022 6: 47.8722; Initial: 7: 48.0008 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/25/2022 1: 1.0231; Date (DD/MM/YY):01/25/2022 2: 1.0001; Date (DD/MM/YY):01/25/2022 3: 0.98434; Date (DD/MM/YY):01/25/2022 4: 1.0242; Date (DD/MM/YY):01/25/2022 5: 1.0358; Date (DD/MM/YY):01/25/2022 6: 1.0347; Initial: 7: 1.0289 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/25/2022 1: 1.0194; Date (DD/MM/YY):01/25/2022 2: 0.99678; Date (DD/MM/YY):01/25/2022 3: 0.97977; Date (DD/MM/YY):01/25/2022 4: 1.0245; Date (DD/MM/YY):01/25/2022 5: 1.0336; Date (DD/MM/YY):01/25/2022 6: 1.0332; Initial: 7: 1.0279 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/25/2022 1: 1.021; Date (DD/MM/YY):01/25/2022 2: 1.0209; Date (DD/MM/YY):01/25/2022 3: 1.0146; Date (DD/MM/YY):01/25/2022 4: 1.0554; Date (DD/MM/YY):01/25/2022 5: 1.062; Date (DD/MM/YY):01/25/2022 6: 1.0669; Initial: 7: 1.0588 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/25/2022 1: 1.0151; Date (DD/MM/YY):01/25/2022 2: 1.008; Date (DD/MM/YY):01/25/2022 3: 1.0113; Date (DD/MM/YY):01/25/2022 4: 1.0582; Date (DD/MM/YY):01/25/2022 5: 1.0516; Date (DD/MM/YY):01/25/2022 6: 1.0633; Initial: 7: 1.0532 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/25/2022 1: 0.34817; Date (DD/MM/YY):01/25/2022 2: 0.33006; Date (DD/MM/YY):01/25/2022 3: 0.32821; Date (DD/MM/YY):01/25/2022 4: 0.33557; Date (DD/MM/YY):01/25/2022 5: 0.33887; Date (DD/MM/YY):01/25/2022 6: 0.33603; Initial: 7: 0.33661 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/25/2022 1: 0.29985; Date (DD/MM/YY):01/25/2022 2: 0.2894; Date (DD/MM/YY):01/25/2022 3: 0.27616; Date (DD/MM/YY):01/25/2022 4: 0.30057; Date (DD/MM/YY):01/25/2022 5: 0.30659; Date (DD/MM/YY):01/25/2022 6: 0.30979; Initial: 7: 0.3125 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/25/2022 1: 0.35676; Date (DD/MM/YY):01/25/2022 2: 0.36262; Date (DD/MM/YY):01/25/2022 3: 0.35847; Date (DD/MM/YY):01/25/2022 4: 0.36458; Date (DD/MM/YY):01/25/2022 5: 0.3754; Date (DD/MM/YY):01/25/2022 6: 0.37299; Initial: 7: 0.37345 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/25/2022 1: 0.34447; Date (DD/MM/YY):01/25/2022 2: 0.33334; Date (DD/MM/YY):01/25/2022 3: 0.34012; Date (DD/MM/YY):01/25/2022 4: 0.36137; Date (DD/MM/YY):01/25/2022 5: 0.35209; Date (DD/MM/YY):01/25/2022 6: 0.35887; Initial: 7: 0.35549 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):01/25/2022 1: 0; Date (DD/MM/YY):01/25/2022 2: 0; Date (DD/MM/YY):01/25/2022 3: 0; Date (DD/MM/YY):01/25/2022 4: 0; Date (DD/MM/YY):01/25/2022 5: 0; Date (DD/MM/YY):01/25/2022 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):01/25/2022 1: 0; Date (DD/MM/YY):01/25/2022 2: 0; Date (DD/MM/YY):01/25/2022 3: 0; Date (DD/MM/YY):01/25/2022 4: 0; Date (DD/MM/YY):01/25/2022 5: 0; Date (DD/MM/YY):01/25/2022 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):01/25/2022 1: 0; Date (DD/MM/YY):01/25/2022 2: 0; Date (DD/MM/YY):01/25/2022 3: 0; Date (DD/MM/YY):01/25/2022 4: 0; Date (DD/MM/YY):01/25/2022 5: 0; Date (DD/MM/YY):01/25/2022 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):01/25/2022 1: 0; Date (DD/MM/YY):01/25/2022 2: 0; Date (DD/MM/YY):01/25/2022 3: 0; Date (DD/MM/YY):01/25/2022 4: 0; Date (DD/MM/YY):01/25/2022 5: 0; Date (DD/MM/YY):01/25/2022 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass