## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2015.0787 | 1957.9084 | 1936.2662 | 1949.5383 | 1979.0305 | 2044.7816 | 2040.657 | -- | -- | --
Post Opto-pack Burn-in |  | 1967.3771 | 1896.6966 | 1875.1873 | 1887.9502 | 1932.4589 | 1952.198 | 1970.1911 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1638.4164 | 1436.5074 | 1663.0229 | 1348.3761 | 1632.1657 | 1509.989 | 1767.407 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1601.5002 | 1389.9498 | 1626.29 | 1379.4009 | 1603.7473 | 1475.0538 | 1717.7567 | -- | -- | --
Change (%) |  | -2.2532 | -3.241 | -2.2088 | 2.3009 | -1.7411 | -2.3136 | -2.8092 | -- | -- | --
Opto-board at 0C |  | 1694.2843 | 1471.9783 | 1746.1349 | 1444.4912 | 1664.8444 | 1538.7778 | 1809.8207 | -- | -- | --
Change (%) |  | 3.4099 | 2.4692 | 4.9976 | 7.1282 | 2.0022 | 1.9066 | 2.3998 | -- | -- | --
Opto-board at 50C |  | 1474.1424 | 1296.1994 | 1518.0323 | 1261.338 | 1459.4189 | 1352.829 | 1588.3499 | -- | -- | --
Change (%) |  | -10.0264 | -9.7673 | -8.7185 | -6.455 | -10.5839 | -10.408 | -10.1311 | -- | -- | --
Opto-board QA (10C) |  | 1653.8739 | 1459.6212 | 1724.9517 | 1434.8043 | 1642.6907 | 1519.301 | 1790.4717 | -- | -- | --
Change (%) |  | 0.94344 | 1.609 | 3.7239 | 6.4098 | 0.64485 | 0.61669 | 1.305 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2043.6884 | 1897.2554 | 1977.6052 | 1987.4954 | 1954.4313 | 2066.768 | 1904.4226 | -- | -- | --
Post Opto-pack Burn-in |  | 1939.9359 | 1750.1542 | 1890.4544 | 1839.3977 | 1866.9369 | 1976.0576 | 1832.9066 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1449.6874 | 1332.1411 | 1505.7913 | 1420.0967 | 1477.6633 | 1556.5289 | 1430.9411 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1357.9586 | 1291.4812 | 1449.4273 | 1348.0083 | 1423.8768 | 1492.8106 | 1373.9837 | -- | -- | --
Change (%) |  | -6.3275 | -3.0522 | -3.7431 | -5.0763 | -3.64 | -4.0936 | -3.9804 | -- | -- | --
Opto-board at 0C |  | 1421.1405 | 1383.0219 | 1522.0524 | 1406.6312 | 1513.1082 | 1534.4281 | 1466.9836 | -- | -- | --
Change (%) |  | -1.9692 | 3.8195 | 1.0799 | -0.94821 | 2.3987 | -1.4199 | 2.5188 | -- | -- | --
Opto-board at 50C |  | 1265.6616 | 1202.1313 | 1299.037 | 1251.9487 | 1297.8296 | 1341.9296 | 1262.6986 | -- | -- | --
Change (%) |  | -12.6942 | -9.7595 | -13.7306 | -11.8406 | -12.1701 | -13.787 | -11.7575 | -- | -- | --
Opto-board QA (10C) |  | 1424.604 | 1381.305 | 1492.3867 | 1402.394 | 1484.1775 | 1511.9609 | 1453.7316 | -- | -- | --
Change (%) |  | -1.7303 | 3.6906 | -0.8902 | -1.2466 | 0.44084 | -2.8633 | 1.5927 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 364.9902 |  |  |  | 2022-01-26 |  |  |  | Pass
QA | mA | 304 | 366 | 344.9219 |  |  |  | 2022-01-26 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.60675 |  | 2022-01-26 |  |  |  | Pass
QA | uA | 1 | 0.5669 |  | 2022-01-26 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.08221 | 0.32717 | 0.32143 | 0.04683 | 0.43834 | 0.35692 | 0.06539 | 0.05607 | 0.2818 | 0.04908 | 0.22587 | 0.03576 | 0.031925 | 0.05811 |  |  | Pass
Fall | ns | 1 | 0.3391 | 0.39951 | 0.33446 | 0.52215 | 0.43192 | 0.36767 | 0.3269 | 0.41644 | 0.33924 | 0.30303 | 0.31591 | 0.29287 | 0.35828 | 0.35499 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):01/26/2022 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):01/26/2022 1: 0.55001; Date (DD/MM/YY):01/26/2022 2: 0.56862; Date (DD/MM/YY):01/26/2022 3: 0.59049; Date (DD/MM/YY):01/26/2022 4: 0.60058; Date (DD/MM/YY):01/26/2022 5: 0.62058; Date (DD/MM/YY):01/26/2022 6: 0.62119; Initial: 7: 0.62407 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):01/26/2022 1: 0.52118; Date (DD/MM/YY):01/26/2022 2: 0.54592; Date (DD/MM/YY):01/26/2022 3: 0.573; Date (DD/MM/YY):01/26/2022 4: 0.57017; Date (DD/MM/YY):01/26/2022 5: 0.59727; Date (DD/MM/YY):01/26/2022 6: 0.60722; Initial: 7: 0.61963 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):01/26/2022 1: 0.66718; Date (DD/MM/YY):01/26/2022 2: 0.7106; Date (DD/MM/YY):01/26/2022 3: 0.68869; Date (DD/MM/YY):01/26/2022 4: 0.63818; Date (DD/MM/YY):01/26/2022 5: 0.68576; Date (DD/MM/YY):01/26/2022 6: 0.68014; Initial: 7: 0.70712 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):01/26/2022 1: 0.68978; Date (DD/MM/YY):01/26/2022 2: 0.65177; Date (DD/MM/YY):01/26/2022 3: 0.69022; Date (DD/MM/YY):01/26/2022 4: 0.66213; Date (DD/MM/YY):01/26/2022 5: 0.6566; Date (DD/MM/YY):01/26/2022 6: 0.68547; Initial: 7: 0.69852 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):01/26/2022 1: 0.09777; Date (DD/MM/YY):01/26/2022 2: 0.19733; Date (DD/MM/YY):01/26/2022 3: 0.05701; Date (DD/MM/YY):01/26/2022 4: 0.13629; Date (DD/MM/YY):01/26/2022 5: 0.20593; Date (DD/MM/YY):01/26/2022 6: 0.101; Initial: 7: 0.07707 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):01/26/2022 1: 0.10756; Date (DD/MM/YY):01/26/2022 2: 0.17924; Date (DD/MM/YY):01/26/2022 3: 0.07866; Date (DD/MM/YY):01/26/2022 4: 0.11226; Date (DD/MM/YY):01/26/2022 5: 0.21695; Date (DD/MM/YY):01/26/2022 6: 0.10324; Initial: 7: 0.06278 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/26/2022 1: 12.658; Date (DD/MM/YY):01/26/2022 2: 12.316; Date (DD/MM/YY):01/26/2022 3: 11.982; Date (DD/MM/YY):01/26/2022 4: 12.886; Date (DD/MM/YY):01/26/2022 5: 12.653; Date (DD/MM/YY):01/26/2022 6: 12.868; Initial: 7: 12.939
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/26/2022 1: 12.679; Date (DD/MM/YY):01/26/2022 2: 12.317; Date (DD/MM/YY):01/26/2022 3: 12.019; Date (DD/MM/YY):01/26/2022 4: 12.815; Date (DD/MM/YY):01/26/2022 5: 12.648; Date (DD/MM/YY):01/26/2022 6: 12.835; Initial: 7: 12.901
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/26/2022 1: 12.143; Date (DD/MM/YY):01/26/2022 2: 11.633; Date (DD/MM/YY):01/26/2022 3: 11.606; Date (DD/MM/YY):01/26/2022 4: 12.296; Date (DD/MM/YY):01/26/2022 5: 11.932; Date (DD/MM/YY):01/26/2022 6: 12.325; Initial: 7: 12.492
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/26/2022 1: 12.12; Date (DD/MM/YY):01/26/2022 2: 11.637; Date (DD/MM/YY):01/26/2022 3: 11.601; Date (DD/MM/YY):01/26/2022 4: 12.312; Date (DD/MM/YY):01/26/2022 5: 11.931; Date (DD/MM/YY):01/26/2022 6: 12.355; Initial: 7: 12.544
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/26/2022 1: 12.3905; Date (DD/MM/YY):01/26/2022 2: 11.9658; Date (DD/MM/YY):01/26/2022 3: 11.7981; Date (DD/MM/YY):01/26/2022 4: 12.5685; Date (DD/MM/YY):01/26/2022 5: 12.2962; Date (DD/MM/YY):01/26/2022 6: 12.5883; Initial: 7: 12.7187
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/26/2022 1: 12.3773; Date (DD/MM/YY):01/26/2022 2: 11.9607; Date (DD/MM/YY):01/26/2022 3: 11.7834; Date (DD/MM/YY):01/26/2022 4: 12.5746; Date (DD/MM/YY):01/26/2022 5: 12.2841; Date (DD/MM/YY):01/26/2022 6: 12.5864; Initial: 7: 12.7126
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):01/26/2022 1: 49.6401; Date (DD/MM/YY):01/26/2022 2: 47.9144; Date (DD/MM/YY):01/26/2022 3: 47.1527; Date (DD/MM/YY):01/26/2022 4: 50.4562; Date (DD/MM/YY):01/26/2022 5: 49.165; Date (DD/MM/YY):01/26/2022 6: 50.3517; Initial: 7: 50.8896 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):01/26/2022 1: 49.5789; Date (DD/MM/YY):01/26/2022 2: 47.9091; Date (DD/MM/YY):01/26/2022 3: 47.2046; Date (DD/MM/YY):01/26/2022 4: 50.2986; Date (DD/MM/YY):01/26/2022 5: 49.2047; Date (DD/MM/YY):01/26/2022 6: 50.3809; Initial: 7: 50.8965 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):01/26/2022 1: 49.524; Date (DD/MM/YY):01/26/2022 2: 47.8499; Date (DD/MM/YY):01/26/2022 3: 47.1648; Date (DD/MM/YY):01/26/2022 4: 50.3096; Date (DD/MM/YY):01/26/2022 5: 49.1349; Date (DD/MM/YY):01/26/2022 6: 50.3447; Initial: 7: 50.8493 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/26/2022 1: 1.0757; Date (DD/MM/YY):01/26/2022 2: 1.0807; Date (DD/MM/YY):01/26/2022 3: 1.082; Date (DD/MM/YY):01/26/2022 4: 1.0576; Date (DD/MM/YY):01/26/2022 5: 1.0517; Date (DD/MM/YY):01/26/2022 6: 1.0575; Initial: 7: 1.0497 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/26/2022 1: 1.0662; Date (DD/MM/YY):01/26/2022 2: 1.072; Date (DD/MM/YY):01/26/2022 3: 1.0718; Date (DD/MM/YY):01/26/2022 4: 1.0509; Date (DD/MM/YY):01/26/2022 5: 1.047; Date (DD/MM/YY):01/26/2022 6: 1.0541; Initial: 7: 1.0456 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/26/2022 1: 1.0871; Date (DD/MM/YY):01/26/2022 2: 1.1103; Date (DD/MM/YY):01/26/2022 3: 1.1035; Date (DD/MM/YY):01/26/2022 4: 1.0808; Date (DD/MM/YY):01/26/2022 5: 1.0867; Date (DD/MM/YY):01/26/2022 6: 1.0783; Initial: 7: 1.0865 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/26/2022 1: 1.0745; Date (DD/MM/YY):01/26/2022 2: 1.0898; Date (DD/MM/YY):01/26/2022 3: 1.0954; Date (DD/MM/YY):01/26/2022 4: 1.0812; Date (DD/MM/YY):01/26/2022 5: 1.0748; Date (DD/MM/YY):01/26/2022 6: 1.0742; Initial: 7: 1.0781 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/26/2022 1: 0.37851; Date (DD/MM/YY):01/26/2022 2: 0.37523; Date (DD/MM/YY):01/26/2022 3: 0.37961; Date (DD/MM/YY):01/26/2022 4: 0.36553; Date (DD/MM/YY):01/26/2022 5: 0.3583; Date (DD/MM/YY):01/26/2022 6: 0.35777; Initial: 7: 0.35518 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/26/2022 1: 0.32143; Date (DD/MM/YY):01/26/2022 2: 0.32487; Date (DD/MM/YY):01/26/2022 3: 0.32298; Date (DD/MM/YY):01/26/2022 4: 0.32521; Date (DD/MM/YY):01/26/2022 5: 0.32632; Date (DD/MM/YY):01/26/2022 6: 0.33246; Initial: 7: 0.33105 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/26/2022 1: 0.3994; Date (DD/MM/YY):01/26/2022 2: 0.41276; Date (DD/MM/YY):01/26/2022 3: 0.40997; Date (DD/MM/YY):01/26/2022 4: 0.38998; Date (DD/MM/YY):01/26/2022 5: 0.39991; Date (DD/MM/YY):01/26/2022 6: 0.39023; Initial: 7: 0.39717 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/26/2022 1: 0.37568; Date (DD/MM/YY):01/26/2022 2: 0.37827; Date (DD/MM/YY):01/26/2022 3: 0.38669; Date (DD/MM/YY):01/26/2022 4: 0.38394; Date (DD/MM/YY):01/26/2022 5: 0.37514; Date (DD/MM/YY):01/26/2022 6: 0.37415; Initial: 7: 0.37475 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):01/26/2022 1: 0; Date (DD/MM/YY):01/26/2022 2: 0; Date (DD/MM/YY):01/26/2022 3: 0; Date (DD/MM/YY):01/26/2022 4: 0; Date (DD/MM/YY):01/26/2022 5: 0; Date (DD/MM/YY):01/26/2022 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):01/26/2022 1: 0; Date (DD/MM/YY):01/26/2022 2: 0; Date (DD/MM/YY):01/26/2022 3: 0; Date (DD/MM/YY):01/26/2022 4: 0; Date (DD/MM/YY):01/26/2022 5: 0; Date (DD/MM/YY):01/26/2022 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):01/26/2022 1: 0; Date (DD/MM/YY):01/26/2022 2: 0; Date (DD/MM/YY):01/26/2022 3: 0; Date (DD/MM/YY):01/26/2022 4: 0; Date (DD/MM/YY):01/26/2022 5: 0; Date (DD/MM/YY):01/26/2022 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):01/26/2022 1: 0; Date (DD/MM/YY):01/26/2022 2: 0; Date (DD/MM/YY):01/26/2022 3: 0; Date (DD/MM/YY):01/26/2022 4: 0; Date (DD/MM/YY):01/26/2022 5: 0; Date (DD/MM/YY):01/26/2022 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass