## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2232.6217 | 2107.1158 | 1986.2607 | 2000.3005 | 2052.8753 | 2156.5702 | 1988.2902 | -- | -- | --
Post Opto-pack Burn-in |  | 2070.7096 | 1958.5766 | 1868.3596 | 1857.7049 | 1944.1131 | 2045.785 | 1877.8502 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1636.1224 | 1425.2227 | 1588.6464 | 1322.993 | 1545.8939 | 1493.7393 | 1659.8023 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1445.4825 | 1281.7223 | 1547.0404 | 1168.8466 | 1420.6305 | 1439.0811 | 1414.9589 | -- | -- | --
Change (%) |  | -11.6519 | -10.0686 | -2.619 | -11.6513 | -8.103 | -3.6592 | -14.7514 | -- | -- | --
Opto-board at 0C |  | 1619.968 | 1448.4025 | 1649.8247 | 1304.6418 | 1647.7353 | 1560.0045 | 1712.2651 | -- | -- | --
Change (%) |  | -0.98736 | 1.6264 | 3.851 | -1.3871 | 6.5879 | 4.4362 | 3.1608 | -- | -- | --
Opto-board at 50C |  | 1436.2777 | 1208.1656 | 1389.582 | 1172.8379 | 1345.3194 | 1323.0994 | 1381.1265 | -- | -- | --
Change (%) |  | -12.2145 | -15.2297 | -12.5304 | -11.3497 | -12.9747 | -11.4237 | -16.7897 | -- | -- | --
Opto-board QA (10C) |  | 1671.1512 | 1473.3971 | 1579.5207 | 1326.2758 | 1597.7248 | 1438.0259 | 1703.5915 | -- | -- | --
Change (%) |  | 2.141 | 3.3801 | -0.57443 | 0.24813 | 3.3528 | -3.7298 | 2.6382 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2019.9809 | 1868.3035 | 1904.9378 | 2005.3337 | 2033.3356 | 1944.6448 | 1898.7674 | -- | -- | --
Post Opto-pack Burn-in |  | 1959.0318 | 1817.349 | 1884.2737 | 1954.2852 | 1945.2672 | 1867.9987 | 1797.7799 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1495.8134 | 1319.2913 | 1378.0409 | 1334.3774 | 1392.989 | 1318.9174 | 1374.0025 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1426.7146 | 1336.791 | 1458.9214 | 1395.1695 | 1500.6283 | 1375.0244 | 1329.0059 | -- | -- | --
Change (%) |  | -4.6195 | 1.3265 | 5.8692 | 4.5558 | 7.7272 | 4.254 | -3.2749 | -- | -- | --
Opto-board at 0C |  | 1543.5178 | 1452.9048 | 1574.4783 | 1508.4906 | 1653.2048 | 1536.3168 | 1465.7678 | -- | -- | --
Change (%) |  | 3.1892 | 10.1277 | 14.2548 | 13.0483 | 18.6804 | 16.4832 | 6.6787 | -- | -- | --
Opto-board at 50C |  | 1336.2937 | 1258.744 | 1356.8802 | 1344.534 | 1416.3699 | 1299.0248 | 1238.7016 | -- | -- | --
Change (%) |  | -10.6644 | -4.5894 | -1.5356 | 0.76114 | 1.6785 | -1.5083 | -9.8472 | -- | -- | --
Opto-board QA (10C) |  | 1526.5249 | 1432.6598 | 1559.0768 | 1520.2924 | 1611.2836 | 1500.14 | 1430.6018 | -- | -- | --
Change (%) |  | 2.0532 | 8.5931 | 13.1372 | 13.9327 | 15.671 | 13.7403 | 4.1193 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 368.1641 |  |  |  | 2022-03-15 |  |  |  | Pass
QA | mA | 304 | 366 | 333.374 |  |  |  | 2022-03-15 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.52211 |  | 2022-03-15 |  |  |  | Pass
QA | uA | 1 | 0.91558 |  | 2022-03-15 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.2538 | 0.5259 | 0.53014 | 0.55102 | 0.4667 | 0.57082 | 0.2448 | 0.45998 | 0.5342 | 0.0797 | 0.50534 | 0.4924 | 0.32277 | 0.2143 |  |  | Pass
Fall | ns | 1 | 0.25118 | 0.227 | 0.35529 | 0.31879 | 0.5525 | 0.46095 | 0.29976 | 0.35588 | 0.29131 | 0.45911 | 0.4204 | 0.33992 | 0.24119 | 0.29462 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/15/2022 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.48616; Date (DD/MM/YY):03/15/2022 2: 0.51952; Date (DD/MM/YY):03/15/2022 3: 0.50099; Date (DD/MM/YY):03/15/2022 4: 0.57346; Date (DD/MM/YY):03/15/2022 5: 0.53503; Date (DD/MM/YY):03/15/2022 6: 0.55763; Initial: 7: 0.58179 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.47753; Date (DD/MM/YY):03/15/2022 2: 0.51743; Date (DD/MM/YY):03/15/2022 3: 0.50116; Date (DD/MM/YY):03/15/2022 4: 0.5632; Date (DD/MM/YY):03/15/2022 5: 0.53114; Date (DD/MM/YY):03/15/2022 6: 0.56121; Initial: 7: 0.58051 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.62044; Date (DD/MM/YY):03/15/2022 2: 0.61867; Date (DD/MM/YY):03/15/2022 3: 0.63241; Date (DD/MM/YY):03/15/2022 4: 0.59302; Date (DD/MM/YY):03/15/2022 5: 0.61286; Date (DD/MM/YY):03/15/2022 6: 0.57552; Initial: 7: 0.65042 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.61529; Date (DD/MM/YY):03/15/2022 2: 0.59344; Date (DD/MM/YY):03/15/2022 3: 0.64045; Date (DD/MM/YY):03/15/2022 4: 0.62608; Date (DD/MM/YY):03/15/2022 5: 0.57472; Date (DD/MM/YY):03/15/2022 6: 0.61543; Initial: 7: 0.66738 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.06094; Date (DD/MM/YY):03/15/2022 2: 0.08645; Date (DD/MM/YY):03/15/2022 3: 0.23505; Date (DD/MM/YY):03/15/2022 4: 0.08592; Date (DD/MM/YY):03/15/2022 5: 0.09608; Date (DD/MM/YY):03/15/2022 6: 0.11899; Initial: 7: 0.0891 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.22448; Date (DD/MM/YY):03/15/2022 2: 0.08408; Date (DD/MM/YY):03/15/2022 3: 0.22723; Date (DD/MM/YY):03/15/2022 4: 0.09019; Date (DD/MM/YY):03/15/2022 5: 0.08086; Date (DD/MM/YY):03/15/2022 6: 0.09598; Initial: 7: 0.08568 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 12.709; Date (DD/MM/YY):03/15/2022 2: 12.875; Date (DD/MM/YY):03/15/2022 3: 12.894; Date (DD/MM/YY):03/15/2022 4: 12.823; Date (DD/MM/YY):03/15/2022 5: 12.424; Date (DD/MM/YY):03/15/2022 6: 12.445; Initial: 7: 12.632
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 12.763; Date (DD/MM/YY):03/15/2022 2: 12.709; Date (DD/MM/YY):03/15/2022 3: 12.868; Date (DD/MM/YY):03/15/2022 4: 12.684; Date (DD/MM/YY):03/15/2022 5: 12.387; Date (DD/MM/YY):03/15/2022 6: 12.422; Initial: 7: 12.591
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 12.201; Date (DD/MM/YY):03/15/2022 2: 12.293; Date (DD/MM/YY):03/15/2022 3: 12.102; Date (DD/MM/YY):03/15/2022 4: 12.205; Date (DD/MM/YY):03/15/2022 5: 11.886; Date (DD/MM/YY):03/15/2022 6: 11.898; Initial: 7: 12.109
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 5.602; Date (DD/MM/YY):03/15/2022 2: 12.272; Date (DD/MM/YY):03/15/2022 3: 12.068; Date (DD/MM/YY):03/15/2022 4: 12.236; Date (DD/MM/YY):03/15/2022 5: 11.961; Date (DD/MM/YY):03/15/2022 6: 11.932; Initial: 7: 12.137
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 12.3663; Date (DD/MM/YY):03/15/2022 2: 12.5361; Date (DD/MM/YY):03/15/2022 3: 12.475; Date (DD/MM/YY):03/15/2022 4: 12.4775; Date (DD/MM/YY):03/15/2022 5: 12.1784; Date (DD/MM/YY):03/15/2022 6: 12.197; Initial: 7: 12.3593
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 12.3444; Date (DD/MM/YY):03/15/2022 2: 12.5043; Date (DD/MM/YY):03/15/2022 3: 12.4803; Date (DD/MM/YY):03/15/2022 4: 12.4613; Date (DD/MM/YY):03/15/2022 5: 12.1738; Date (DD/MM/YY):03/15/2022 6: 12.186; Initial: 7: 12.3635
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/15/2022 1: 49.5069; Date (DD/MM/YY):03/15/2022 2: 50.1589; Date (DD/MM/YY):03/15/2022 3: 49.9296; Date (DD/MM/YY):03/15/2022 4: 49.9553; Date (DD/MM/YY):03/15/2022 5: 48.6575; Date (DD/MM/YY):03/15/2022 6: 48.7717; Initial: 7: 49.5097 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/15/2022 1: 49.4953; Date (DD/MM/YY):03/15/2022 2: 50.1715; Date (DD/MM/YY):03/15/2022 3: 49.9278; Date (DD/MM/YY):03/15/2022 4: 49.9536; Date (DD/MM/YY):03/15/2022 5: 48.7228; Date (DD/MM/YY):03/15/2022 6: 48.8059; Initial: 7: 49.465 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/15/2022 1: 49.4116; Date (DD/MM/YY):03/15/2022 2: 50.0138; Date (DD/MM/YY):03/15/2022 3: 49.9175; Date (DD/MM/YY):03/15/2022 4: 49.8465; Date (DD/MM/YY):03/15/2022 5: 48.7056; Date (DD/MM/YY):03/15/2022 6: 48.7577; Initial: 7: 49.4711 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2022 1: 1.0561; Date (DD/MM/YY):03/15/2022 2: 1.0558; Date (DD/MM/YY):03/15/2022 3: 1.0752; Date (DD/MM/YY):03/15/2022 4: 1.065; Date (DD/MM/YY):03/15/2022 5: 1.0682; Date (DD/MM/YY):03/15/2022 6: 1.0559; Initial: 7: 1.0561 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2022 1: 1.0408; Date (DD/MM/YY):03/15/2022 2: 1.0415; Date (DD/MM/YY):03/15/2022 3: 1.069; Date (DD/MM/YY):03/15/2022 4: 1.0603; Date (DD/MM/YY):03/15/2022 5: 1.0633; Date (DD/MM/YY):03/15/2022 6: 1.0508; Initial: 7: 1.0532 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2022 1: 1.0887; Date (DD/MM/YY):03/15/2022 2: 1.1; Date (DD/MM/YY):03/15/2022 3: 1.1043; Date (DD/MM/YY):03/15/2022 4: 1.0876; Date (DD/MM/YY):03/15/2022 5: 1.0928; Date (DD/MM/YY):03/15/2022 6: 1.0897; Initial: 7: 1.093 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2022 1: 1.0706; Date (DD/MM/YY):03/15/2022 2: 1.0718; Date (DD/MM/YY):03/15/2022 3: 1.0952; Date (DD/MM/YY):03/15/2022 4: 1.0745; Date (DD/MM/YY):03/15/2022 5: 1.0745; Date (DD/MM/YY):03/15/2022 6: 1.0752; Initial: 7: 1.0752 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2022 1: 0.36153; Date (DD/MM/YY):03/15/2022 2: 0.35958; Date (DD/MM/YY):03/15/2022 3: 0.38647; Date (DD/MM/YY):03/15/2022 4: 0.3629; Date (DD/MM/YY):03/15/2022 5: 0.36174; Date (DD/MM/YY):03/15/2022 6: 0.35047; Initial: 7: 0.35494 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2022 1: 0.33405; Date (DD/MM/YY):03/15/2022 2: 0.32446; Date (DD/MM/YY):03/15/2022 3: 0.31988; Date (DD/MM/YY):03/15/2022 4: 0.32641; Date (DD/MM/YY):03/15/2022 5: 0.34093; Date (DD/MM/YY):03/15/2022 6: 0.33336; Initial: 7: 0.33837 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2022 1: 0.40335; Date (DD/MM/YY):03/15/2022 2: 0.40891; Date (DD/MM/YY):03/15/2022 3: 0.41294; Date (DD/MM/YY):03/15/2022 4: 0.38719; Date (DD/MM/YY):03/15/2022 5: 0.39811; Date (DD/MM/YY):03/15/2022 6: 0.39081; Initial: 7: 0.39889 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2022 1: 0.39113; Date (DD/MM/YY):03/15/2022 2: 0.38353; Date (DD/MM/YY):03/15/2022 3: 0.39458; Date (DD/MM/YY):03/15/2022 4: 0.38819; Date (DD/MM/YY):03/15/2022 5: 0.37904; Date (DD/MM/YY):03/15/2022 6: 0.38203; Initial: 7: 0.38293 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2022 1: 0; Date (DD/MM/YY):03/15/2022 2: 0; Date (DD/MM/YY):03/15/2022 3: 0; Date (DD/MM/YY):03/15/2022 4: 0; Date (DD/MM/YY):03/15/2022 5: 0; Date (DD/MM/YY):03/15/2022 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2022 1: 0; Date (DD/MM/YY):03/15/2022 2: 0; Date (DD/MM/YY):03/15/2022 3: 0; Date (DD/MM/YY):03/15/2022 4: 0; Date (DD/MM/YY):03/15/2022 5: 0; Date (DD/MM/YY):03/15/2022 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2022 1: 0; Date (DD/MM/YY):03/15/2022 2: 0; Date (DD/MM/YY):03/15/2022 3: 0; Date (DD/MM/YY):03/15/2022 4: 0; Date (DD/MM/YY):03/15/2022 5: 0; Date (DD/MM/YY):03/15/2022 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2022 1: 0; Date (DD/MM/YY):03/15/2022 2: 0; Date (DD/MM/YY):03/15/2022 3: 0; Date (DD/MM/YY):03/15/2022 4: 0; Date (DD/MM/YY):03/15/2022 5: 0; Date (DD/MM/YY):03/15/2022 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass