## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1944.43 | 1850.7583 | 1870.4247 | 1881.3484 | 1916.8296 | 1967.0088 | 1951.7276 | -- | -- | --
Post Opto-pack Burn-in |  | 1875.5477 | 1789.3677 | 1830.5563 | 1817.5695 | 1837.9508 | 1871.2464 | 1841.4398 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1320.2831 | 1144.8955 | 1365.9272 | 1243.4263 | 1387.458 | 1219.1468 | 1566.0652 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1331.4915 | 1245.7235 | 1307.1604 | 1188.8122 | 1409.602 | 1358.5534 | 1582.7556 | -- | -- | --
Change (%) |  | 0.84894 | 8.8067 | -4.3023 | -4.3922 | 1.596 | 11.4348 | 1.0658 | -- | -- | --
Opto-board at 0C |  | 1435.7937 | 1312.747 | 1618.1849 | 1342.6447 | 1533.9844 | 1434.9395 | 1680.2804 | -- | -- | --
Change (%) |  | 8.7489 | 14.6609 | 18.4679 | 7.9794 | 10.5608 | 17.7003 | 7.2931 | -- | -- | --
Opto-board at 50C |  | 1255.617 | 1135.1863 | 1411.5257 | 1172.1831 | 1444.8659 | 1251.8397 | 1455.2683 | -- | -- | --
Change (%) |  | -4.8979 | -0.84804 | 3.3383 | -5.7296 | 4.1376 | 2.6816 | -7.0749 | -- | -- | --
Opto-board QA (10C) |  | 1433.5385 | 1189.696 | 1314.1048 | 1318.5173 | 1387.9421 | 1391.0792 | 1659.7921 | -- | -- | --
Change (%) |  | 8.5781 | 3.9131 | -3.7939 | 6.039 | 0.034893 | 14.1027 | 5.9849 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2083.3184 | 1982.9747 | 2003.4523 | 2066.7439 | 2059.0327 | 2109.7573 | 2160.207 | -- | -- | --
Post Opto-pack Burn-in |  | 1990.2006 | 1908.5362 | 1926.3732 | 1996.3648 | 1977.927 | 2000.3532 | 2059.1054 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1354.1794 | 1314.6235 | 1388.4595 | 1456.0903 | 1462.0067 | 1392.5772 | 1526.4576 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1316.5679 | 1343.6318 | 1379.178 | 1456.4947 | 1483.3644 | 1518.4539 | 1604.7163 | -- | -- | --
Change (%) |  | -2.7774 | 2.2066 | -0.66848 | 0.027775 | 1.4608 | 9.0391 | 5.1268 | -- | -- | --
Opto-board at 0C |  | 1415.1335 | 1441.8881 | 1471.3091 | 1538.7764 | 1559.7188 | 1620.2942 | 1683.6725 | -- | -- | --
Change (%) |  | 4.5012 | 9.6807 | 5.967 | 5.6786 | 6.6834 | 16.3522 | 10.2993 | -- | -- | --
Opto-board at 50C |  | 1209.4067 | 1229.3333 | 1279.7807 | 1327.8148 | 1350.491 | 1386.7608 | 1464.2314 | -- | -- | --
Change (%) |  | -10.6908 | -6.4878 | -7.8273 | -8.8096 | -7.6276 | -0.41768 | -4.0765 | -- | -- | --
Opto-board QA (10C) |  | 1383.6733 | 1395.4157 | 1442.9006 | 1533.9141 | 1543.8636 | 1577.192 | 1655.3493 | -- | -- | --
Change (%) |  | 2.178 | 6.1457 | 3.921 | 5.3447 | 5.5989 | 13.2571 | 8.4438 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 347.168 |  |  |  | 2022-03-15 |  |  |  | Pass
QA | mA | 304 | 366 | 354.3213 |  |  |  | 2022-03-15 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.28018 |  | 2022-03-15 |  |  |  | Pass
QA | uA | 1 | 0.99541 |  | 2022-03-15 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.41981 | 0.1792 | 0.53435 | 0.60057 | 0.21994 | 0.59275 | 0.3578 | 0.45189 | 0.56554 | 0.3287 | 0.56207 | 0.53293 | 0.3273 | 0.16929 |  |  | Pass
Fall | ns | 1 | 0.30315 | 0.19891 | 0.44945 | 0.37163 | 0.4123 | 0.47401 | 0.34662 | 0.3374 | 0.28674 | 0.46865 | 0.44509 | 0.33235 | 0.25149 | 0.2631 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):03/15/2022 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.48845; Date (DD/MM/YY):03/15/2022 2: 0.50441; Date (DD/MM/YY):03/15/2022 3: 0.53548; Date (DD/MM/YY):03/15/2022 4: 0.52355; Date (DD/MM/YY):03/15/2022 5: 0.53486; Date (DD/MM/YY):03/15/2022 6: 0.54021; Initial: 7: 0.56941 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.48421; Date (DD/MM/YY):03/15/2022 2: 0.50252; Date (DD/MM/YY):03/15/2022 3: 0.5259; Date (DD/MM/YY):03/15/2022 4: 0.51624; Date (DD/MM/YY):03/15/2022 5: 0.53699; Date (DD/MM/YY):03/15/2022 6: 0.55307; Initial: 7: 0.57324 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.59183; Date (DD/MM/YY):03/15/2022 2: 0.59195; Date (DD/MM/YY):03/15/2022 3: 0.59851; Date (DD/MM/YY):03/15/2022 4: 0.58253; Date (DD/MM/YY):03/15/2022 5: 0.57952; Date (DD/MM/YY):03/15/2022 6: 0.57251; Initial: 7: 0.57542 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.59853; Date (DD/MM/YY):03/15/2022 2: 0.60051; Date (DD/MM/YY):03/15/2022 3: 0.58961; Date (DD/MM/YY):03/15/2022 4: 0.60217; Date (DD/MM/YY):03/15/2022 5: 0.6008; Date (DD/MM/YY):03/15/2022 6: 0.60145; Initial: 7: 0.61518 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.09173; Date (DD/MM/YY):03/15/2022 2: 0.08763; Date (DD/MM/YY):03/15/2022 3: 0.12419; Date (DD/MM/YY):03/15/2022 4: 0.16354; Date (DD/MM/YY):03/15/2022 5: 0.18106; Date (DD/MM/YY):03/15/2022 6: 0.20198; Initial: 7: 0.16181 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):03/15/2022 1: 0.07517; Date (DD/MM/YY):03/15/2022 2: 0.07856; Date (DD/MM/YY):03/15/2022 3: 0.11751; Date (DD/MM/YY):03/15/2022 4: 0.15746; Date (DD/MM/YY):03/15/2022 5: 0.17754; Date (DD/MM/YY):03/15/2022 6: 0.2053; Initial: 7: 0.15566 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 12.322; Date (DD/MM/YY):03/15/2022 2: 12.735; Date (DD/MM/YY):03/15/2022 3: 12.488; Date (DD/MM/YY):03/15/2022 4: 12.44; Date (DD/MM/YY):03/15/2022 5: 12.621; Date (DD/MM/YY):03/15/2022 6: 12.1; Initial: 7: 12.974
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 12.292; Date (DD/MM/YY):03/15/2022 2: 12.682; Date (DD/MM/YY):03/15/2022 3: 12.425; Date (DD/MM/YY):03/15/2022 4: 12.358; Date (DD/MM/YY):03/15/2022 5: 12.564; Date (DD/MM/YY):03/15/2022 6: 12.098; Initial: 7: 12.95
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 11.749; Date (DD/MM/YY):03/15/2022 2: 12.237; Date (DD/MM/YY):03/15/2022 3: 11.808; Date (DD/MM/YY):03/15/2022 4: 11.737; Date (DD/MM/YY):03/15/2022 5: 11.932; Date (DD/MM/YY):03/15/2022 6: 11.375; Initial: 7: 12.33
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 11.862; Date (DD/MM/YY):03/15/2022 2: 12.237; Date (DD/MM/YY):03/15/2022 3: 11.864; Date (DD/MM/YY):03/15/2022 4: 11.761; Date (DD/MM/YY):03/15/2022 5: 11.955; Date (DD/MM/YY):03/15/2022 6: 11.359; Initial: 7: 12.363
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 12.0693; Date (DD/MM/YY):03/15/2022 2: 12.4766; Date (DD/MM/YY):03/15/2022 3: 12.1262; Date (DD/MM/YY):03/15/2022 4: 12.0478; Date (DD/MM/YY):03/15/2022 5: 12.2566; Date (DD/MM/YY):03/15/2022 6: 11.7316; Initial: 7: 12.6475
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):03/15/2022 1: 12.0721; Date (DD/MM/YY):03/15/2022 2: 12.4616; Date (DD/MM/YY):03/15/2022 3: 12.1167; Date (DD/MM/YY):03/15/2022 4: 12.0431; Date (DD/MM/YY):03/15/2022 5: 12.2573; Date (DD/MM/YY):03/15/2022 6: 11.7302; Initial: 7: 12.6341
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):03/15/2022 1: 48.3799; Date (DD/MM/YY):03/15/2022 2: 49.8366; Date (DD/MM/YY):03/15/2022 3: 48.5701; Date (DD/MM/YY):03/15/2022 4: 48.2005; Date (DD/MM/YY):03/15/2022 5: 49.1014; Date (DD/MM/YY):03/15/2022 6: 46.9205; Initial: 7: 50.6621 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):03/15/2022 1: 48.3197; Date (DD/MM/YY):03/15/2022 2: 49.9278; Date (DD/MM/YY):03/15/2022 3: 48.4931; Date (DD/MM/YY):03/15/2022 4: 48.1985; Date (DD/MM/YY):03/15/2022 5: 49.0601; Date (DD/MM/YY):03/15/2022 6: 46.9441; Initial: 7: 50.5912 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):03/15/2022 1: 48.3045; Date (DD/MM/YY):03/15/2022 2: 49.8551; Date (DD/MM/YY):03/15/2022 3: 48.483; Date (DD/MM/YY):03/15/2022 4: 48.1845; Date (DD/MM/YY):03/15/2022 5: 49.035; Date (DD/MM/YY):03/15/2022 6: 46.9236; Initial: 7: 50.5511 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2022 1: 1.0508; Date (DD/MM/YY):03/15/2022 2: 1.0456; Date (DD/MM/YY):03/15/2022 3: 1.0469; Date (DD/MM/YY):03/15/2022 4: 1.048; Date (DD/MM/YY):03/15/2022 5: 1.0348; Date (DD/MM/YY):03/15/2022 6: 1.0393; Initial: 7: 1.0427 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2022 1: 1.0431; Date (DD/MM/YY):03/15/2022 2: 1.039; Date (DD/MM/YY):03/15/2022 3: 1.0385; Date (DD/MM/YY):03/15/2022 4: 1.028; Date (DD/MM/YY):03/15/2022 5: 1.0324; Date (DD/MM/YY):03/15/2022 6: 1.0344; Initial: 7: 1.0392 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2022 1: 1.0501; Date (DD/MM/YY):03/15/2022 2: 1.0463; Date (DD/MM/YY):03/15/2022 3: 1.0435; Date (DD/MM/YY):03/15/2022 4: 1.0599; Date (DD/MM/YY):03/15/2022 5: 1.0429; Date (DD/MM/YY):03/15/2022 6: 1.0536; Initial: 7: 1.0496 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):03/15/2022 1: 1.0561; Date (DD/MM/YY):03/15/2022 2: 1.0523; Date (DD/MM/YY):03/15/2022 3: 1.0499; Date (DD/MM/YY):03/15/2022 4: 1.0648; Date (DD/MM/YY):03/15/2022 5: 1.0464; Date (DD/MM/YY):03/15/2022 6: 1.0565; Initial: 7: 1.0504 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2022 1: 0.35905; Date (DD/MM/YY):03/15/2022 2: 0.34835; Date (DD/MM/YY):03/15/2022 3: 0.35376; Date (DD/MM/YY):03/15/2022 4: 0.34712; Date (DD/MM/YY):03/15/2022 5: 0.33369; Date (DD/MM/YY):03/15/2022 6: 0.33658; Initial: 7: 0.33664 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2022 1: 0.32372; Date (DD/MM/YY):03/15/2022 2: 0.3223; Date (DD/MM/YY):03/15/2022 3: 0.32033; Date (DD/MM/YY):03/15/2022 4: 0.32126; Date (DD/MM/YY):03/15/2022 5: 0.31944; Date (DD/MM/YY):03/15/2022 6: 0.3228; Initial: 7: 0.3285 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2022 1: 0.38861; Date (DD/MM/YY):03/15/2022 2: 0.38543; Date (DD/MM/YY):03/15/2022 3: 0.38326; Date (DD/MM/YY):03/15/2022 4: 0.39751; Date (DD/MM/YY):03/15/2022 5: 0.38461; Date (DD/MM/YY):03/15/2022 6: 0.39679; Initial: 7: 0.39839 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):03/15/2022 1: 0.37426; Date (DD/MM/YY):03/15/2022 2: 0.37192; Date (DD/MM/YY):03/15/2022 3: 0.37109; Date (DD/MM/YY):03/15/2022 4: 0.37782; Date (DD/MM/YY):03/15/2022 5: 0.36627; Date (DD/MM/YY):03/15/2022 6: 0.37278; Initial: 7: 0.37092 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2022 1: 0; Date (DD/MM/YY):03/15/2022 2: 0; Date (DD/MM/YY):03/15/2022 3: 0; Date (DD/MM/YY):03/15/2022 4: 0; Date (DD/MM/YY):03/15/2022 5: 0; Date (DD/MM/YY):03/15/2022 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2022 1: 0; Date (DD/MM/YY):03/15/2022 2: 0; Date (DD/MM/YY):03/15/2022 3: 0; Date (DD/MM/YY):03/15/2022 4: 0; Date (DD/MM/YY):03/15/2022 5: 0; Date (DD/MM/YY):03/15/2022 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2022 1: 0; Date (DD/MM/YY):03/15/2022 2: 0; Date (DD/MM/YY):03/15/2022 3: 0; Date (DD/MM/YY):03/15/2022 4: 0; Date (DD/MM/YY):03/15/2022 5: 0; Date (DD/MM/YY):03/15/2022 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):03/15/2022 1: 0; Date (DD/MM/YY):03/15/2022 2: 0; Date (DD/MM/YY):03/15/2022 3: 0; Date (DD/MM/YY):03/15/2022 4: 0; Date (DD/MM/YY):03/15/2022 5: 0; Date (DD/MM/YY):03/15/2022 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass